| Journal Name: | Journal of Engineering Research and Reports |
| --- | --- |
| Manuscript Number: | Ms_JERR_131444 |
| Title of the Manuscript: | Wind Energy Potential in Nigeria: A Computational Study of Wind Turbine Performance |
| Type of the Article | Original Research Article |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | ## Author’s Feedback (Please correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | This study explores the potential of wind energy in Nigeria, by taking an example of sokoto state. It shows that wind turbines can help to address the country’s energy deficiency, specifically in areas with decent wind. The research calls for more investment and support to add wind energy to the national grid. | Accepted |
| Is the title of the article suitable? (If not please suggest an alternative title) | Yes | Accepted |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | Add the percentage of power increased or decreased in the considered parameters. | done |
| ## Is the manuscript scientifically, correct? Please write here. | In the abstract it is discussed about the two months of maximum wind speed 3.93 m/s and minimum 2.74 m/s and in calculation table 1. it is considered till 6 m/s and generates 760 Kw which is not feasible. Proper justification is missing in the manuscript. | The inclusion of higher wind speeds in Table 1 is intended to demonstrate the turbine's capabilities under varying conditions, but it does not imply that such conditions are consistently present in Sokoto. It has been added in the discussion and abstract for clarity. |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | No. Have to add some more recent relevant references | ## The paper focuses more on the calculations not the references. |
| ## Is the language/English quality of the article suitable for scholarly communications? | Yes | Accepted |
| ## Optional/General comments | 1. Nowhere is it mentioned the power generated and alternative arrangement to generate power other than those two months which is considered. 2. Validation of findings is missing. | corrected |

| PART 2: |  |  |
| --- | --- | --- |
|  | - Reviewer’s comment | - Author’s comment (if agreed with reviewer, correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in details) |  |