| Journal Name: | Advances in Research |
| --- | --- |
| Manuscript Number: | Ms_AIR_132368 |
| Title of the Manuscript: | Research Progress on Monitoring and Reinforcement of Prestressed Concrete Cylinder Pipe |
| Type of the Article | Review |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | ## Author’s Feedback (Please correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | This paper is valuable for engineers and researchers working on aging PCCP infrastructure. It highlights non-destructive monitoring technologies and effective reinforcement strategies, offering practical guidance for maintenance and emergency repairs. The emphasis on real-time monitoring and trenchless repair methods aligns with modern infrastructure sustainability goals. | ## This manuscript provides a systematic review of monitoring and reinforcement technologies for Prestressed Concrete Cylinder Pipes (PCCP), addressing critical challenges such as wire breakage, corrosion, and structural degradation. By integrating electromagnetic principles and distributed optical fiber sensing, it offers innovative solutions for real-time structural health assessment, which is vital for preventing catastrophic failures in water supply systems. |
| Is the title of the article suitable? (If not please suggest an alternative title) | The title is appropriate but could be refined to "Research Progress on Monitoring and Reinforcement of Prestressed Concrete Cylinder Pipe" for consistency with the term "reinforcement" used in the text. | ## Thank you for your valuable comments, and I will revise my title. |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | The abstract succinctly outlines the paper’s scope but could explicitly mention the comparative analysis of CFRP vs. external prestressing for emergency repairs. Formatting issues (e.g., missing spaces after "Keywords:") should be corrected. | ## Thank you for your valuable comments, and I will make changes accordingly. |
| ## Is the manuscript scientifically, correct? Please write here. | The content is scientifically sound, supported by cited studies and standards. The descriptions of technical methods (e.g., finite element models, prototype tests) are accurate and well-referenced. | The content is scientifically sound, supported by cited studies and standards. |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | References are sufficient (24 sources) and include recent works (up to 2024). However, overreliance on Chinese journals may limit global applicability. Adding more international studies (e.g., Hassi et al., 2021) would strengthen the review. | ## Thank you for your valuable comments. |
| ## Is the language/English quality of the article suitable for scholarly communications? | The English is understandable but requires polishing for clarity and grammar. Examples include restructuring long sentences and correcting phrases like "wire breakage monitoring and reinforcement repair of PCCP have become research hotspots." Professional editing is recommended. | Thank you for your valuable comments, and I will make changes accordingly. |
| ## Optional/General comments | Recommendations: - Revise the title for terminological consistency. - Enhance the abstract by specifying key comparative findings. - Include more international references to broaden applicability. - Improve language clarity through professional editing. Overall, the manuscript is a valuable contribution to PCCP research and infrastructure management, particularly in water transmission systems. | Thank you for your valuable comments, and I will make changes accordingly. |

| PART 2: |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment | ## Author’s comment (if agreed with the reviewer, correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in detail) . | No |