| Journal Name: | International Journal of Environment and Climate Change |
| --- | --- |
| Manuscript Number: | Ms_IJECC_132780 |
| Title of the Manuscript: | Climatic Influences on Photovoltaic Panel Performance: A Case Study of Yomou Prefecture, Republic of Guinea |
| Type of the Article | Original Research Article |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | ## Author’s Feedback (Please correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | The research investigates the effect of climatic variables on photovoltaic panel performance in Yomou, Guinea. It employs statistical analysis, modelling, and graphical representations to give insights on optimising solar energy output under seasonal changes. The study examines technological constraints and consequences for renewable energy implementation in Sub-Saharan Africa. The results are beneficial to stakeholders, including legislators and energy planners, since they provide practical ideas for enhancing system design and operation, such as panel tilt adjustment and bifacial panels. | ## The aim of this work is to study the impact of climatic factors on the performance of photovoltaic energy production in order to identify the causes of solar energy production losses in this locality. The results show that the solar potential is high, especially during the dry season (January to April and November), providing optimal conditions for solar production. The relative humidity in the locality is on average 70%, peaking during the wet season (May to October) and decreasing during the dry season (November to April). These seasonal changes can affect the performance of photovoltaic panels, highlighting the importance of having systems adapted to local climatic conditions. |
| Is the title of the article suitable? (If not please suggest an alternative title) | The title is appropriate for the study, however for greater clarity and accuracy, consider a title such as "Climatic Influences on Photovoltaic Panel Performance: A Case Study of Yomou Prefecture, Republic of Guinea." This more clearly emphasises the study's subject (PV performance) and geographic focus, enabling a more thorough grasp of the subject matter. | ## Ok done. Thank you for your contribution. |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | The abstract is extensive, including the study's aims, methodologies, and significant findings. It emphasises the seasonal fluctuations in climatic conditions and their influence on PV performance. Clarity might be increased by defining the analytical tools used for simulation, measuring performance loss during the wet season against the dry season, and summarising practical advice in a simple last phrase. This would emphasize the relevance of these recommendations to local energy planning. | ## We revised the abstract by completing the methodology. Ok done |
| ## Is the manuscript scientifically, correct? Please write here. | Of course, the manuscript offers a detailed analysis of climatic impacts on PV performance using established models and statistical methods. It details data collection from Meteonorm, simulation using PVsyst, and statistical analysis of climatic data. However, for transparency and reproducibility, additional details on data resolution, model calibration, and potential limitations like spatial variability in meteorological conditions should be provided. The methodology section provides clear explanations. | ## Yes, the manuscript is scientifically correct. ## The aim of this work is to study the impact of climatic factors on the performance of photovoltaic energy production in order to identify the causes of solar energy production losses in this locality. |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | The manuscript is well-researched, with both classic and recent sources. To enhance the manuscript, it is suggested to include post-2020 studies on tropical PV performance and advancements in bifacial PV technology. | ## The references are sufficient and recent. We have also just completed some. Osma-Pinto G, Ordóñez-Plata G. (2019) Measuring factors influencing performance of rooftop PV panels in warm tropical climates. Solar Energy. 185:112-23. Zheng, Y., and Weng, Q. (2020) "Modeling the Effect of Green Roof Systems and Photovoltaic Panels for Building Energy Savings to Mitigate Climate Change" Remote Sensing 12(15) : 2402. https://doi.org/10.3390/rs12152402 Mishra P. R. and Kiran K. C. H. (2024) Real and Simulated Performance Assessment and Tilt Optimization of 5 MW Solar PV Plant Operating Under Tropical Climate of an Indian Island. Strategic Planning for Energy and the Environment, 43-4, 1007–1028. https://doi.org/10.13052/spee1048-5236.43410 Mishra P. R., Rathore S., Varma K.S. V., Yadav S. K. (2024) Long-term performance and degradation analysis of a 5 MW solar PV plant in the Andaman & Nicobar Islands, Energy for Sustainable Development, 79, 0973-0826, https://doi.org/10.1016/j.esd.2024.101413 Chakraborty V., Yadav S.K., Bajpai U. (2021) Thermal Regulation of Solar Photovoltaic Modules by Incorporating Phase Change Materials to Enhance the Yield, Lect. Notes Electr. Eng. 616, 341–350. https://doi.org/10.1007/978-981-16-1978-6 30 Orosz, T.; Rassõlkin, A.; Arsénio, P.; Poór, P.; Valme, D.; Sleisz, Á. (2024) Current Challenges in Operation, Performance, and Maintenance of Photovoltaic Panels. Energies,17(6), 1306. https://doi.org/10.3390/en17061306 Mermoud A. and Chedmail A. (2013) PVSyst : A simulation tool for photovoltaic systems. Internatioal journal of solar Energy Systems, 5(1), 26-36. |
| ## Is the language/English quality of the article suitable for scholarly communications? | The scholarly English manuscript needs refinement for clarity and conciseness. A thorough proofreading is recommended to correct grammatical errors and ensure technical terms consistency. Improvements include breaking down long sentences, defining technical terms and symbols, and improving figure and table captions with more descriptive details. | Yes, The language/English quality of the article is suitable for scholarly communications. |
| ## Optional/General comments | The study offers valuable insights but requires a dedicated section to address uncertainties in meteorological data and generalizability. More detailed figures and annotations would help understand key trends and seasonal variations. Future research could explore emerging PV technologies or analyze similar climates in other regions. | Thank you for your contribution. |

| PART 2: |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment | ## Author’s comment (if agreed with the reviewer, correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in detail) |  |