| Journal Name: | International Journal of Environment and Climate Change |
| --- | --- |
| Manuscript Number: | Ms_IJECC_132780 |
| Title of the Manuscript: | Climatic Influences on Photovoltaic Panel Performance: A Case Study of Yomou Prefecture, Republic of Guinea |
| Type of the Article | Original Research Article |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | ## Author’s Feedback (Please correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | For adaptation of renewable energy every county need to conduct these types of R&D work to know more about the environmental impact on solar PV plant to increase the efficiency of the solar plant by using different technique like MMS, solar PV modules and many more, because worldwide every county has their target in field of renewable energy to fulfil the requirement of the electricity for their nation and reduce the carbon footprint to reduce the environmental impact and climate chance. | ## The aim of this work is to study the impact of climatic factors on the performance of photovoltaic energy production in order to identify the causes of solar energy production losses in this locality. The results show that the solar potential is high, especially during the dry season (January to April and November), providing optimal conditions for solar production. The relative humidity in the locality is on average 70%, peaking during the wet season (May to October) and decreasing during the dry season (November to April). These seasonal changes can affect the performance of photovoltaic panels, highlighting the importance of having systems adapted to local climatic conditions. |
| Is the title of the article suitable? (If not please suggest an alternative title) | Yes | ## Ok done |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | - | ## We revised the abstract by completing the methodology. ## Ok done |
| ## Is the manuscript scientifically, correct? Please write here. | Yes | ## Yes, the manuscript is scientifically correct. ## The aim of this work is to study the impact of climatic factors on the performance of photovoltaic energy production in order to identify the causes of solar energy production losses in this locality. |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | - “Long-term performance and degradation analysis of a 5 MW solar PV plant in the Andaman & Nicobar Islands” https://doi.org/10.1016/j.esd.2024.101413 , - Real and Simulated Performance Assessment and Tilt Optimization of 5 MW Solar PV Plant Operating Under Tropical Climate of an Indian Island - https://doi.org/10.13052/spee1048-5236.43410 | ## The references are sufficient and recent. We have also just completed some. Osma-Pinto G, Ordóñez-Plata G. (2019) Measuring factors influencing performance of rooftop PV panels in warm tropical climates. Solar Energy. 185:112-23. Zheng, Y., and Weng, Q. (2020) "Modeling the Effect of Green Roof Systems and Photovoltaic Panels for Building Energy Savings to Mitigate Climate Change" Remote Sensing 12(15) : 2402. https://doi.org/10.3390/rs12152402 Mishra P. R. and Kiran K. C. H. (2024) Real and Simulated Performance Assessment and Tilt Optimization of 5 MW Solar PV Plant Operating Under Tropical Climate of an Indian Island. Strategic Planning for Energy and the Environment, 43-4, 1007–1028. https://doi.org/10.13052/spee1048-5236.43410 Mishra P. R., Rathore S., Varma K.S. V., Yadav S. K. (2024) Long-term performance and degradation analysis of a 5 MW solar PV plant in the Andaman & Nicobar Islands, Energy for Sustainable Development, 79, 0973-0826, https://doi.org/10.1016/j.esd.2024.101413 Chakraborty V., Yadav S.K., Bajpai U. (2021) Thermal Regulation of Solar Photovoltaic Modules by Incorporating Phase Change Materials to Enhance the Yield, Lect. Notes Electr. Eng. 616, 341–350. https://doi.org/10.1007/978-981-16-1978-6 30 |
| ## Is the language/English quality of the article suitable for scholarly communications? | Yes | Yes, The language/English quality of the article is suitable for scholarly communications. |
| ## Optional/General comments | - Elaborate in brief about the followings - Thanks to the use of solar panels, local communities can acquire greater energy autonomy (ADB, 2020). This stimulates the economy by allowing access to electricity in schools, health centers and small businesses. In this way, solar energy can help improve the quality of life of populations and support the local economy (BAD, 2020). _ (page number -4) - Mention the name of the rural areas/geographical locations for - rural areas of Guinea/Yomou_(page number -4) - Technical challenges facing solar systems – Mention the technical challenges for the solar system for the mentioned locations_(page number -4) - Classify the dry season (November to April) - winter/summer or any others - More details about processed and analytical work done by using PVsyst 8.0.5 software – used some graph if possible - Correctly mention the indication for Saturated vapor pressure , Like this - es - Longer sunshine duration (12 to 13 hours) – Kindly clear about the sunshine duration, according to the mentioned sunshine durations we are getting the generation or not. - Mention the types of seasonal tilt as used - Increase the references - Check the spelling and grammar - Revision with the mentioned points | ## The references are sufficient and recent. We have also just completed some. Osma-Pinto G, Ordóñez-Plata G. (2019) Measuring factors influencing performance of rooftop PV panels in warm tropical climates. Solar Energy. 185:112-23. Zheng, Y., and Weng, Q. (2020) "Modeling the Effect of Green Roof Systems and Photovoltaic Panels for Building Energy Savings to Mitigate Climate Change" Remote Sensing 12(15) : 2402. https://doi.org/10.3390/rs12152402 Mishra P. R. and Kiran K. C. H. (2024) Real and Simulated Performance Assessment and Tilt Optimization of 5 MW Solar PV Plant Operating Under Tropical Climate of an Indian Island. Strategic Planning for Energy and the Environment, 43-4, 1007–1028. https://doi.org/10.13052/spee1048-5236.43410 Mishra P. R., Rathore S., Varma K.S. V., Yadav S. K. (2024) Long-term performance and degradation analysis of a 5 MW solar PV plant in the Andaman & Nicobar Islands, Energy for Sustainable Development, 79, 0973-0826, https://doi.org/10.1016/j.esd.2024.101413 Chakraborty V., Yadav S.K., Bajpai U. (2021) Thermal Regulation of Solar Photovoltaic Modules by Incorporating Phase Change Materials to Enhance the Yield, Lect. Notes Electr. Eng. 616, 341–350. https://doi.org/10.1007/978-981-16-1978-6 30 Orosz, T.; Rassõlkin, A.; Arsénio, P.; Poór, P.; Valme, D.; Sleisz, Á. (2024) Current Challenges in Operation, Performance, and Maintenance of Photovoltaic Panels. Energies,17(6), 1306. https://doi.org/10.3390/en17061306 Mermoud A. and Chedmail A. (2013) PVSyst : A simulation tool for photovoltaic systems. Internatioal journal of solar Energy Systems, 5(1), 26-36. |

| PART 2: |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment | ## Author’s comment (if agreed with the reviewer, correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in detail) |  |