| Journal Name: | Journal of Advances in Mathematics and Computer Science |
| --- | --- |
| Manuscript Number: | Ms_JAMCS_131951 |
| Title of the Manuscript: | Modelling and Optimizing Hybrids of Wind and Solar Renewable Energy Systems in the Case of Oda Robe New Residential Area by Iteration Method |
| Type of the Article | Original Research Article |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | ## Author’s Feedback (Please correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | The solar and wind integration may be useful to reduce emission. Eventhough various researches are available, this also good. | ## Using renewable energy for local community is important due to its multidimensional importance. The site under consideration has great challenge in power consistency. Thus, the result of this research may solve the societal problem. |
| Is the title of the article suitable? (If not please suggest an alternative title) | Title needs improvement | ## The title contains two concepts, modelling and optimizing. As a result it was suitable topic. Better if as it is. |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | Important results and its advantages should be added in the abstract. | ## Yes, some highlight of the result and its impact will be added. ## The researchers revised it and incorporated all important concepts related to result and its importance. |
| ## Is the manuscript scientifically, correct? Please write here. | Yes | ## Yes, it was correct. |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | - It is recommended to add some of the following references in the paper, (Compare power flow in AC and in DC with these references, explain ---anything is needed to consider for better power flow in DC) - Silas Stephen, D., & Somasundaram, P. (2012). Solution for multi-objective reactive power optimization using fuzzy guided tabu search. Arabian Journal for Science and Engineering, 37, 2231-2241. - Anbuchandran, S., Rengaraj, R., Stephen, D.S. and Babu, M.A. (2022). Power flow study of a power system with distributed generators. Neuro Quantology, 20(10), pp.9001-9013. - Anbuchandran, S., JayaChrista, S., T, Suresh, S., Bhuvanesh, A, (2025). Enhancing grid voltage stability and reliability by harnessing off-grid power sources with multi-objective fuzzy spark firefly optimization algorithm. Journal of the Chinese Institute of Engineers, 1-13. https://doi.org/10.1080/02533839.2024.2420096 - Anbuchandran. S, Arumuga Babu. M, Silas Stephen. D, Thinakaran. M, (2024), A Hybrid Optimization for Distributed Generation and D-STATCOM Placement in Radial Distribution Network: A Multi-faceted Evaluation, IOP - Engineering Research Express, vol. 6, no. 3, pp.1-14, 035351. https://doi.org/10.1088/2631-8695/ad734c - Anbuchandran, S., Stephen, D. S., Babu, M. A., Bhuvanesh, A. (2024). MIWO based MPPT of PV System for Induction Motor driven Water Pumping System. e-Prime-Advances in Electrical Engineering, Electronics and Energy, vol.10, 100835, pp. 1-18. https://doi.org/10.1016/j.prime.2024.100835 - Anbuchandran, S., Babu, A., Stephen, D., Thinakaran, M. (2024). DC microgrid for EV charging station with EV control by using STSM Controllers. IOP-Engineering Research Express, vol. 6, no.4, 045345, pp. 1-18. https://doi.org/10.1088/2631-8695/ad92d9 | ## Important and related literatures were reviewed and correctly cited. Literature review part was improved by reviewing some literatures. |
| ## Is the language/English quality of the article suitable for scholarly communications? | Needed improvement | We have improved language quality and grammatical errors. |
| ## Optional/General comments | - The title is not good. It may be rewritten as any of the following Modelling and Optimizing Hybrids of Wind and Solar Renewable Energy Systems in the Case of Oda Robe New Residential Area by Iteration Method Optimizing Hybrid Wind-Solar Energy Systems for Oda Robe Residential Area Using Iterative Methods Sustainable Energy Solutions: Iterative Optimization of Wind-Solar Hybrid Systems for Oda Robe’s Growing Residential Community Or the authors can write similar altered topic. - Include important results and its advantages in the abstract. - Literature survey is not good. Improve it with more recent research. - Correct the term “AC/Dc Bus” in figure 1 as AC/DC bus. - Change the figure 1 title as “Schematic Representation of a Hybrid Wind-Solar Energy System with Battery Storage” - Explain figure 1. - Add Nomenclature before to Introduction. - Check the figure numbers for all the figures. - The explanation for all the test results and figures are not enough. Analyse in detail. - Add future scope. - What are the complexities identified. - Other typical methods should be compared to the proposed one. - The main limitation of the proposed methods should be explained in details; - Check the grammar. | 2. The first alternative was taken as the topic “ Modelling and Optimizing Hybrids of Wind and Solar Renewable Energy Systems in the Case of Oda Robe New Residential Area by Iteration Method” 3. Highlight of the result and its importance was added to abstract. 4. Literature review was improved by reviewing more related papers including some recommended papers. 5. Thanks, corrected. 6. Changed 7. All function of the components in the system and how energy from wind and sunlight was converted to suitable voltage as final load was explained. 8. Basic Nomenclature was added. 9. All Figure numbers are checked. 10. All the results are explained in detail. 11. Future scope was added. |

| PART 2: |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment | ## Author’s comment (if agreed with the reviewer, correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in detail) | No. |