| Journal Name: | Journal of Advances in Medicine and Medical Research |
| --- | --- |
| Manuscript Number: | Ms_JAMMR_132736 |
| Title of the Manuscript: | High-speed compressed air filtration device: an effective alternative to decrease cross-contamination in dental care |
| Type of the Article | Original Research Article |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | ## Author’s Feedback (Please correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | The manuscript is of importance because the authors developed device that proved to be effective in filtering microorganisms from the dental chair air system when coupled to the high-speed handpiece. | ## The development of this filtration device is highly relevant to clinical practice, considering the significant microbial load present in the dental chair air system. Its use can help reduce airborne contamination, which is particularly important for immunocompromised patients. By minimizing the risk of cross-infections, this device enhances biosafety in dental settings. |
| Is the title of the article suitable? (If not please suggest an alternative title) | Yes, the title is suitable | ## Yes, the title accurately reflects the purpose of the article, as well as its central idea and practical application. |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | In the abstract, the column with the results should be placed on a new line And conclusion should be improved: Conclusion: The filtration device effectively reduced the microbial load in the dental chair's air system, demonstrating its potential as a biosafety measure to minimize cross-contamination in dental environments. | ## I have made the requested corrections. Additionally, I have refined the conclusion to ensure better alignment with the objectives and findings of the study. ## “The filtration device effectively reduced the microbial load in the dental chair's air system, demonstrating its effectiveness as a biosafety measure to minimize cross-contamination in dental environments. Its implementation can contribute to improving infection control, enhancing safety for both professionals and patients.” |
| ## Is the manuscript scientifically, correct? Please write here. | Yes, it is. | ## Thank you! I am very pleased with this positive evaluation. |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | References №1, 5, 6, 15, 17 should list more than one author. Ref №11 should be also corrected Add more recent data in the references | ## All cited references have been corrected accordingly. Regarding the inclusion of more recent references, it is important to highlight that very few recent studies specifically address air contamination within the dental chair system. The references cited in our manuscript are among the few that directly discuss this issue. The majority of available literature primarily focuses on water contamination rather than air contamination, which is not the main scope of our study. While we acknowledge that some of the references used are slightly older, they remain highly relevant due to the lack of more recent investigations on this specific topic. These foundational studies continue to be widely cited in the scientific community and provide essential background for understanding the persistence of microbial contamination in dental chair air systems. Moreover, the originality of our study lies precisely in addressing this gap in the literature, offering an updated perspective and proposing a potential biosafety measure to mitigate microbial contamination in dental environments. |
| ## Is the language/English quality of the article suitable for scholarly communications? | yes | Thank you! I appreciate the positive feedback on the language quality of the article. |
| ## Optional/General comments |  |  |

| PART 2: |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment | ## Author’s comment (if agreed with the reviewer, correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in detail) | No, this study does not involve any ethical issues. The research was conducted without human or animal involvement. All methodological procedures were performed using a dental clinic device and subsequently analyzed in a laboratory environment, which exempts the study from requiring ethical committee approval. |