| Journal Name: | Journal of Energy Research and Reviews |
| --- | --- |
| Manuscript Number: | Ms_JENRR_133327 |
| Title of the Manuscript: | Research on Transient Voltage Stability of Offshore Wind Farm Grid-Connection System |
| Type of the Article | Original Research Article |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | ## Author’s Feedback (Please correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | - Wind energy is one of the fastest growing renewable energy resource, study on the transient stability which of wind farms is crucial. - Transient stability is of paramount importance as it a vital aspect of power system operation. - Transient stability of wind farms ensures the stability of the grid - Apart from reliable grid operation transient stability also prevents outages owing to the integration of wind energy. | ## We sincerely appreciate the reviewer's constructive suggestion. As recommended, we have revised the abstract to provide a more detailed explanation of the study's importance. The revised abstract now more clearly conveys the value and impact of our research. Please see the highlighted changes in the updated manuscript (Page 1, Abstract section). |
| Is the title of the article suitable? (If not please suggest an alternative title) | No, the title of the article suitable. Kindly rephrase it to “Transient Voltage Stability of Offshore Wind Farm Grid-Connection System” | ## As suggested by the reviewer, we have revised the title to” Transient Voltage Stability Analysis of Offshore Wind Power Systems”. |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | Although the abstract of the article is comprehensive, the authors still need to add important numerical values of results obtained. | ## We sincerely appreciate the reviewer's constructive suggestion. In response to this comment, we have carefully revised the abstract by incorporating the key numerical findings from our study. These quantitative results have now been integrated to better highlight the significance and concrete outcomes of our research. |
| ## Is the manuscript scientifically, correct? Please write here. | Yes, the manuscript is scientifically correct. | ## We have carefully ensured that all methodologies and conclusions are supported by robust evidence, and we are glad this aspect was reflected in our manuscript. |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | Yes, the references cited in the article are recent and sufficient. | Thank you for your positive feedback regarding the references. We have carefully selected recent and relevant literature to ensure the manuscript is well-grounded in current research. |
| ## Is the language/English quality of the article suitable for scholarly communications? | Yes, the language/English quality of the article is suitable for scholarly communications | Thank you for your comment on the language. We have carefully reviewed the manuscript again to ensure clarity and readability, and we hope it meets the journal’s standards. |
| ## Optional/General comments | - Figure quality needs to be improved. - Heading of Section 4.5 needs to be rephrased as “Improving Transient Voltage Stability of Grid-Connected Systems” | - We appreciate your suggestion on the figure quality. The current version of Figure 1 is generated directly from the original vector-based software, and due to technical limitations, this represents the highest resolution achievable while preserving accuracy. However, we have carefully reviewed the figure to ensure all labels and details remain clear and legible in the submitted format. - We thank you for this suggestion. The heading of Section 4.5 has been revised as recommended to better reflect the content (now reads: "Improving Transient Voltage Stability of Grid-Connected Systems"). |

| PART 2: |  |  |
| --- | --- | --- |
|  | - Reviewer’s comment | - Author’s comment (if agreed with reviewer, correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in details) |  |