| Journal Name: | Journal of Engineering Research and Reports |
| --- | --- |
| Manuscript Number: | Ms_JERR_133222 |
| Title of the Manuscript: | Development of an Intelligent Model for Voltage Stability Assessment and Enhancement of Nigeria 330 kV System with High Penetration of Solar-Wind System |
| Type of the Article | Original Research Article |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | ## Author’s Feedback (Please correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | This paper proposes an intelligent model for voltage stability assessment and enhancement of Nigeria's 330 kV system with high penetration of solar-wind systems. Here, intelligent models, viz., Artificial Neural Network (ANN), Self-Organising Map (SOM), and Objective Grasshopper Optimisation Algorithm (MOGOA), are integrated as a single model for improving the voltage stability, efficiency, and resilience of modern power grids. This is needed due to the increasing world demand for electricity. A feedforward backpropagation ANN is applied for voltage stability assessment to classify the operating scenario of a power system into one of two states, i.e., safe or unsafe. An SOM neural network is used for stability results classification. MOGOA has been employed as an optimisation network on the dual-axis solar PV and wind turbine-based hybrid hydropower generation system to analyse technical, economic, and environmental relations of energy conversion. | ## Yes |
| Is the title of the article suitable? (If not please suggest an alternative title) | Yes, the article title is suitable. | ## Yes |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | Yes, it is comprehensive | ## Yes |
| ## Is the manuscript scientifically, correct? Please write here. | Yes, the manuscript is scientifically correct. | ## Yes |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | There are enough references provided. However, it can be properly arranged. | ## Reference rearranged |
| ## Is the language/English quality of the article suitable for scholarly communications? | Yes, the article’s English quality is appropriate for scholarly communications. | Yes |
| ## Optional/General comments | - The parameter of the horizontal axis on Fig. 3 is not clear. - The heading of Table 5 is not reflected in sub-section 3.7. - Reference can be arranged in proper order. | Figure 3 has been enlarged to make the parameters on the horizontal axis visible. The heading of Table 5 has been referred in the sub-section. The reference has been worked on. |

| PART 2: |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment | ## Author’s comment (if agreed with the reviewer, correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in detail) | No |