Method Article

ShinyBA.plot: An R Shiny Application for Bland-Altman Plots to Visualize Agreement Between Two Quantitative Measures in Medical Research

Abstract

Bland-Altman analysis is a widely used method to assess the agreement between two quantitative measurements by constructing limits of agreement in medical research. This article introduces an interactive and user-friendly application ‘ShinyBA.plot’ created using Shiny R framework to automate the process of generating Bland-Altman plots. This tool is beneficial for researchers and practitioners who require efficient visualization of the agreement between different measurement methods. ShinyBA.plot can be accessed here: https://kmk-puranik.shinyapps.io/shinybaplot/

Keywords

Bland-Altman plot, R Shiny, Reproducibility, Interactive tool, Limits of agreement

Introduction

In many research fields, determining whether measurements from two (or more) observers or methods yield similar results is crucial. This concept, referred to as agreement, concordance, or reproducibility, is vital in assessing the reliability of different measurement techniques. In clinical and experimental research, discrepancies in measurements can lead to erroneous conclusions, impacting decision-making and outcomes. Therefore, assessing measurement agreement is essential to ensure the accuracy and consistency of results, particularly when comparing a new method to a reference method or evaluating the reliability of repeated measurements.

The Bland-Altman analysis, introduced by Bland and Altman in 19831,2, is one of the most widely used statistical methods for evaluating the agreement between two quantitative measurement methods. It is particularly valuable for comparing a new measurement method to an established reference or gold standard, as well as for assessing the reproducibility of measurements taken using the same method. Unlike correlation analysis, which measures the degree of association between two methods and indicates whether they follow similar trends, it does not provide information about the magnitude of differences between them.

Correlation alone is insufficient when comparing measurement methods because it does not imply agreement. Two methods can be highly correlated yet yield significantly different measurements; for example, if one consistently reports values twice as large as the other, correlation remains perfect, but agreement is poor. Additionally, systematic bias may exist, where one method consistently overestimates or underestimates compared to another, potentially affecting clinical decisions—something correlation cannot detect. Assessing variability is also crucial, as Bland-Altman analysis evaluates measurement differences and their clinical significance, determining whether methods can be used interchangeably. By focusing on the differences between measurements rather than just their association, Bland-Altman analysis provides a more comprehensive and reliable approach to evaluating agreement.

Despite its widespread use in biomedical research, many commonly used statistical software packages lack menu-driven options for generating Bland-Altman plots, limiting accessibility for non-technical users.  The objective of this work is to introduce ‘ShinyBA.plot’, an R Shiny-based application3 designed to streamline this process.

The ShinyBA.plot application builds upon the existing BA.plot R function4, extending its capabilities to a web-based interface. The application offers an intuitive interface that allows researchers to upload their data, select variables for comparison, and generate Bland-Altman plots, thereby enhancing accessibility and usability for a broader audience.

Methodology

Bland-Altman analysis is a statistical approach used to assess the agreement between two quantitative measurement methods by constructing limits of agreement5. This method is widely applied to detect systematic differences between measurement methods and identify potential outliers in the data.

Steps to construct a Bland-Altman plot:

- Calculate the difference between the measurements obtained from Method 1 and Method 2 for each data point:

Difference = Method 1−Method 2

- Calculate the average of each pair of measurements:

Average = (Method 1+Method 2)/2

- Calculate the mean of the differences and standard deviation of the differences

- Determine the limits of agreement as follows,

  - Lower Limit (LL)= Mean of difference − (1.96 × Standard deviation of difference)

  - Upper Limit (UL)= Mean of difference + (1.96 × Standard deviation of difference)

- Create a scatter plot with the mean values of the two methods (Average) on the X-axis and the difference between the measurements on the Y-axis.

- Mark the Lower Limit (LL) and Upper Limit (UL) along with the mean of differences.

Interpretation of the plot:

- Data points that are close to the zero line indicate a high level of agreement between the two methods.

- Data points that deviate significantly from the zero line suggest weaker agreement.

- Trends in differences:

- If the differences increase with the mean → Proportional bias.

- If differences are spread out unevenly → Heteroscedasticity (variance depends on the measurement magnitude).

- Outliers:

- Any points beyond the limits of agreement suggest unacceptable variation.

- Investigate these points for potential errors or systematic issues.

Example Dataset:

To illustrate the Bland-Altman analysis, we use a dataset provided in Table 1 comparing blood pressure readings from two different devices: a manual sphygmomanometer (Method 1) and a digital blood pressure monitor (Method 2). The table also contains the calculated differences of the blood pressure measurements between two methods and average of the measurements.

Table 1: Comparison of blood pressure measurements (mmHg) from two devices

| Subject | Method 1 (mmHg) | Method 2 (mmHg) | Difference (M1 - M2) | Average of M1 and M2 |
| --- | --- | --- | --- | --- |
| 1 | 120 | 122 | -2 | 121 |
| 2 | 130 | 128 | 2 | 129 |
| 3 | 125 | 127 | -2 | 126 |
| 4 | 140 | 138 | 2 | 139 |
| 5 | 135 | 136 | -1 | 135.5 |
| 6 | 128 | 130 | -2 | 129 |
| 7 | 132 | 131 | 1 | 131.5 |
| 8 | 138 | 140 | -2 | 139 |
| 9 | 142 | 141 | 1 | 141.5 |
| 10 | 136 | 135 | 1 | 135.5 |
| 11 | 127 | 129 | -2 | 128 |
| 12 | 139 | 137 | 2 | 138 |
| 13 | 134 | 133 | 1 | 133.5 |
| 14 | 145 | 144 | 1 | 144.5 |
| 15 | 148 | 147 | 1 | 147.5 |
| 16 | 150 | 149 | 1 | 149.5 |
| 17 | 132 | 130 | 2 | 131 |
| 18 | 137 | 136 | 1 | 136.5 |
| 19 | 140 | 138 | 2 | 139 |
| 20 | 143 | 142 | 1 | 142.5 |

The mean of differences (bias) and standard deviation of differences are calculated as follows:

Mean of differences = 0.40 (rounded)

Standard deviation of differences = 1.57 (rounded)

The limits of agreement are calculated as:

Lower Limit (LL)= 0.40 − (1.96 × 1.57) =0.40 – 3.08 = –2.68 (rounded)

Upper Limit (UL)= 0.40 + (1.96 × 1.57) = 0.40 + 3.08 = 3.48 (rounded)

Fig. 1. Bland-Altman plot for the example data

The Bland-Altman analysis of blood pressure measurements from a manual sphygmomanometer and a digital blood pressure monitor yielded limits of agreement ranging from –2.68 to 3.48 mmHg. This narrow range is crucial in assessing the interchangeability of these two measurement methods. The limits of agreement represent the range within which 95% of the differences between measurements from the two devices are expected to fall. This close agreement is a positive indicator of the digital monitor's accuracy compared to the traditional manual method. In summary, if the estimated limits [-2.67, 3.47] are clinically acceptable, Methods 1 and Method 2 can be considered interchangeable for blood pressure measurement.

ShinyBA.plot Overview and User Interface

ShinyBA.plot is an interactive application built using the R Shiny framework4, designed for generating Bland-Altman plots to assess the agreement between two measurement methods. The app allows users to upload data in Excel formats (.xls, .xlsx), select the variables of interest, and generate the Bland-Altman plot. It automatically computes key statistical values such as the mean difference (bias), standard deviation of the mean difference, and 95% limits of agreement (lower and upper limits). These values are displayed on the plot for easy interpretation. All statistical calculations are performed using the existing BA.plot R function, ensuring reliability and reproducibility of results.

Users are encouraged to use the TrialData provided in the supplementary material and can gain practical experience in interpreting Bland-Altman plots, understanding limits of agreement, and identifying potential systematic differences or outliers in measurement comparisons (Fig. 2). ShinyBA.plot is designed for ease of use, requiring minimal setup and allowing researchers to quickly generate accurate results for method comparison studies.

ShinyBA.plot can be accessed here: https://kmk-puranik.shinyapps.io/shinybaplot/

Fig. 2. ShinyBA.plot interface generating a Bland-Altman plot using TrialData (Karun and Puranik, 2021)

Conclusion

ShinyBA.plot enhances the accessibility of Bland-Altman analysis by transforming the BA.plot R function into an interactive web-based tool. It automates the analysis, allowing researchers to generate plots, compute key statistics, and assess method agreement without programming expertise. By simplifying the process, ShinyBA.plot makes statistical analysis more user-friendly and is especially valuable in medical and clinical research for quickly evaluating measurement method comparisons.

References

- Bland JM, Altman DG. Measuring agreement in method comparison studies. Statistical Methods in Medical Research. 1999 Apr;8(2):135–160.

- Sedgwick P. Limits of agreement (Bland-Altman method). BMJ. 2013 Mar 15;346:f1630.

- Potter G, Wong J, Alcaraz I, Chi P. Web application teaching tools for statistics using R and shiny. Technology Innovations in Statistics Education. 2016;9(1).

- Karun KM, Puranik A. BA. plot: An R function for Bland-Altman analysis. Clinical Epidemiology and Global Health. 2021 Oct 1;12:100831.

- Giavarina D. Understanding Bland Altman analysis. Biochemia Medica. 2015;25(2):141-151