EVALUATION OF BACKGROUND IONIZING RADIATION IN 20 SELECTED LOCATIONS WITHIN RUMUOSI AND CHOBA VILLAGE, PORT-HARCOURT, RIVERS STATE, NIGERIA

ABSTRACT

The evaluation of background ionizing radiation in 20 selected locations within Rumuosi and Choba villages, Port Harcourt, Rivers state, was accomplished using a nuclear radiation detector (GQ GMC-300E plus), and global positioning system (GPS) used to measure the geographical coordinates of the sample points. The exposure rate, absorbed dose, annual effective dose and excess lifetime cancer risk parameters had average mean values of 0.010±0.0013 mR/h and 0.0100±0.0094 mR/h, 87.00±11.6 nGy/h and 87.00±8.20 nGy/h, 0.133±0.06 mSv/y and 0.133±0.01337 mSv/y and 0.47±0.063×10ˉ³ and 0.47±0.04×10ˉ³ for Rumuosi and Choba, respectively. The excess lifetime cancer risk parameters implies that people living within these areas may be exposed to cancer in their later life. Conclusively, the result indicates that people living within these locations may not be exposed to background ionizing radiation. However, a routine monitoring within these locations should be observed.

Key words: Background Ionizing Radiation, Excess lifetime cancer risk, Absorbed dose, Annual effective dose, International Commission on Radiological Protection.

- INTRODUCTION

Radiation emission is nothing more than release of energy by a system as it moves from one energy state to another. Radiation refers to the whole electromagnetic spectrum as well as to all the atomic and subatomic particles that have been discovered [6]. It can be found naturally in all places on earth. We can classify radiation according to the effects it produces on matter, into Ionizing and non-ionizing. Ionizing radiation includes cosmic rays, X-rays and the radiation from radioactive materials. Non-ionizing radiation includes gamma rays, ultraviolet light, radiant heat, radio waves and microwaves [5]. Nonionizing radiation is electromagnetic radiation with wavelength λ of about 10 nm or longer. That part of the electromagnetic spectrum includes radiowaves, microwaves, visible light (λ = 770 − 390 nm), and ultraviolet light (λ = 390 − 10 nm). Ionizing radiation includes the rest of the electromagnetic spectrum (x-rays, λ ≈ 0.01 − 10 nm) and γ-rays with wavelength shorter than that of x-rays. It also includes all the atomic and subatomic particles, such as electrons, positrons, protons, alphas, neutrons, heavy ions, etc [6]. It is important that the benefits and dangers of radiation use is adequately established to mitigate the risks it may pose.

Background ionizing radiation refers to the total radiation dose measurement at a location [11]. Background radiation is a measurement of the level of ionizing radiation present in the environment at a specific location, which is not due to deliberate introduction of radiation sources. Background ionizing radiation is the amount of ionizing radiation that is naturally present in the environment at a specific location.  It implies that a distinction between already existing radiation at a particular location and radiation introduced from a particular source [11]. The main source of radiation in the environment are natural sources which includes cosmic rays which enter the earth from outer space and primordial radionuclides 40K, 238U and 232Th that originated from the earth’s crust and are present everywhere in the environment; in rocks, soil, water, sediments, foods and including the human body itself [10].

Ionizing radiations are    highly    energetic    particles    with    characteristic    high penetrating power.  When such radiation passes through the biological cell, it causes both excitation and ionization which alters the cells’ structure [3].  The interaction of ionizing radiation with human body, either from external sources (i.e. outside the body) or from internal contamination of the body by radioactive substances, leads to biological effects which may later show up as clinical symptoms. The nature and severity of these symptoms and the time at which they appear depend on the amount of radiation absorbed and the rate at which it is received [21]. These reactive molecules, in turn, associates with the DNA and/or other molecules within the cell (membranes, mitochondria, lipids, proteins, etc.) to produce a wide range of health implication at the cellular and tissue levels of the organism [16]. The health consequences of radiation exposure depend on also some biological factors which include species, age, sex, the portion of the body tissues exposed, different radio sensitivity, and repair mechanisms [17]. Exposure to high levels of gamma radiation causes several harmful effects in man such as mutation and cancer of various types and different kinds of diseases [9]. Cellular changes in susceptible cell types may result in cell death; extensive cell death may produce irreversible damage to an organ or tissue or may result in the death of the individual [17]. It is also important to note that the that the biological effect depend not only on the total dose the tissue is exposed to, but also on the rate at which the dose was received [18]. As a result, in medical physics, determining the health risk of Background Radiation -a measurement of the amount of Ionizing Radiation existing in the Environment at a given area that is not attributable to the deliberate introduction of radiation sources is critical [13].

With minimal study available on these sample areas, there is need to delve into this research to accurately ascertain the background ionizing radiation exposure levels for the vast assortment of residents in the area (vulnerable residents inclusive) that will produce informed decisions for these residents with regards to continued exposure and its impact on their health. This study is aimed at evaluating these sample areas characterized by high population density, markets, communication masts and other radiation sources and providing baseline information on the severity of the background radiation present in them. This study is also geared towards determining the quality of the environment and create awareness of likely health effects on the residents of these areas.

Picture 1 Map of the Study Area Showing Rumuosi and Choba Village Respectively

- MATERIALS AND METHODS

The Background Ionizing Radiation (BIR) readings of the ten sample areas each in Rumuosi and Choba respectively was measured using the radiation meter (GQ GMC-300E plus). GQ GMC-300E plus is a portable device capable of detecting Beta, Gamma, and X-Ray with a sensitivity of 0.1~1 MeV to gamma radiation [12]. The process involved raising the radiation meter to 50cm above the ground level when taking readings. The Global Positioning System (GPS) was used to measure the geographical co-ordinates of each sample location. Also, the measuring tape was used to measure between one point to the other.

2.1 RADIOLOGICAL PARAMETERS

2.1.1   AVERAGE MEAN VALUE OF BACKGROUND IONIZATION RADIATION

The average mean value of the background ionization radiation was computed using equation 1. The health risk parameters were computed from the average background ionizing radiation. The statistical package for social science (SPSS) version 2.0 was also used in the computation of the health risks parameters.

Mean value (µx) = inxᵢn                                                                              1

Where,

n = number of reading(s)

x = total number of readings (average)

2.1.2 ANNUAL ABSORBED DOSE

Absorbed dose is a term used to describe the potential biochemical changes in specific tissues in the human body. In other words, absorbed dose rate due to radiation is the magnitude of energy delivered in a tissue from exposure to ionizing radiation within a specified period. The absorbed dose rate also describes the intensity of energy delivered to a specific organ in the human body within a specified time. The annual absorbed dose rate received by a population, is calculated based on the outdoor factor, the equation used in calculating the annual absorbed dose rate due to background ionizing radiation is given as

DmSvyˉ1=X×T×OF                                                   2

Where,

D(mSvy-1) = Annual absorbed rate

X = Hourly dose rate

T = Total number of hours in a year

OF = Occupancy factor (Indoor = 0.2 and Outdoor = 0.8)                                                  [22]

Based on 24 hours a day and 365 days in a year; the number of hours in a year was 24 x 365 = 8760 hours [22].

2.1.3 ANNUAL EFFECTIVE DOSE RATE

In general terms, the effective dose equivalent measures the probable biochemical changes in specific tissues in the body. It is calculated in mSvyˉ¹. This value is dependent on three factors which are:

- The absorbed dose to all organs in the body.

- The relative damage due to level of radiation.

- The sensitivities of individual organ to radiation

The annual effective dose rate (AEDR) is calculated by applying a tissue and radiation weighting factor. The equation is giving by,

AEDR (mSvyˉ¹) = TWTRWRDT,R                                                3

Where,

WT = Tissue Weighing Factor for the Lung (0.12)

WR = Radiation weighting Factor for Alpha Particles (20)

DT,R= Equivalent dose in a tissue or organ							[15]

2.1.4 EXCESS LIFE-TIME CANCER RISK

The excess life-time cancer risk (ELCR) describes the potential carcinogenic effects, from the calculation based on probability of cancer induced incidence in a population. This is because of exposure from radiation or the intakes of harmful chemical substances of a lifetime. In other words, the ELCR indicates the chances of contracting a cancer from the exposure from radiation or toxic chemical substances for a specific lifetime (7). According to ICRP, the excess life-time cancer risk is calculated from the equation;

ELCR = AEDR × DL × RF                                                                  4

Where,

AEDR = Annual effective dose rate (mSvy-1)

DL = Average Duration of Life (70 years)

RF = Risk Factor 0.05×10ˉ⁵ per Sievert							[7, 22]

- RESULTS AND DISCUSSION

Table 1 and 3 shows the measured levels of exposure to BIR in ten sample areas of the Rumuosi village with a range of 0.006 -0.015 mR/h and an average of 0.010± 0.0133 and the ten sample areas of the Choba village having a range of 0.007-0.014mR/h and an average of 0.0100±0.0094, respectively. The table 2 and 4 provides the values of the radiological parameters for these areas with all parameters below the acceptable limit except for the Absorbed dose and the Excess Lifetime Cancer Risk. The contour and surface map (figure 1 & 2) show the highest peaks of BIR exposure in the Northeast direction towards the extremes ends of the sample areas in Rumuosi village. Similarly, the contour and surface map (figure 3 & 4) show the highest peaks of BIR exposure in the Northeast direction towards the centre of the sample areas in Choba village. These observed peaks are likely due to higher sources of radiation caused by development attributed to a higher concentration of persons.

| TABLE 1 MEASUREMENT OF RADIATION IONIZATION RADIATION LEVEL OF TEN LOCATIONS IN RUMUOSI VILLAGE |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S/N | Geographical Coordinates |  |  |  | 1st Rd (mR/h) |  | 2nd Rd (mR/h) |  | 3rd Rd (mR/h) |  | Average Value (mR/h) |  |
|  | Latitude(N) |  | Longitude (E) |  |  |  |  |  |  |  |  |  |
| RMS-1 |  | 4°52’54.016” |  | 6°56’32.395” |  | 0.006 |  | 0.012 |  | 0.008 |  | 0.009 |  |
| RMS -2 |  | 4°53’.56400” |  | 6°56’22.315” |  | 0.010 |  | 0.009 |  | 0.006 |  | 0.008 |  |
| RMS -3 |  | 4°52’46.027” |  | 6°56’24.961” |  | 0.014 |  | 0.008 |  | 0.006 |  | 0.009 |  |
| RMS -4 |  | 4°52’11.582” |  | 6°57’7.0130” |  | 0.007 |  | 0.012 |  | 0.014 |  | 0.011 |  |
| RMS -5 |  | 4°52’40.112” |  | 6°56’25.930” |  | 0.011 |  | 0.013 |  | 0.012 |  | 0.012 |  |
| RMS -6 |  | 4°52’38.554” |  | 6°56’21.847” |  | 0.011 |  | 0.012 |  | 0.006 |  | 0.010 |  |
| RMS -7 |  | 4°52’31.530” |  | 6°56’16.663” |  | 0.008 |  | 0.009 |  | 0.011 |  | 0.009 |  |
| RMS -8 |  | 4°52’54.440” |  | 6°56’27.823” |  | 0.010 |  | 0.007 |  | 0.014 |  | 0.010 |  |
| RMS -9 |  | 4°52’56.892” |  | 6°56’27.809” |  | 0.006 |  | 0.016 |  | 0.009 |  | 0.010 |  |
| RMS -10 |  | 4°52’57.148” |  | 6°56’26.596” |  | 0.010 |  | 0.010 |  | 0.015 |  | 0.012 |  |
| Average 0.010± 0.0133 |  |  |  |  |  |  |  |  |  |  |  |  |

FIGURE 1 CONTOUR MAP OF RADIATION IONIZATION RADIATION LEVEL OF RUMUOSI VILLAGE

FIGURE 2 SURFACE MAP OF RADIATION IONIZATION RADIATION LEVEL OF RUMUOSI VILLAGE

| TABLE 2 RADIOLOGICAL PARAMETERS OF RUMUOSI VILLAGE |  |  |  |  |
| --- | --- | --- | --- | --- |
| S/N CODE | Average Radiation level (mR/h) | Absorbed dose (nGy/hr) | AEDR (mSv/y) | ELCR x 10¯³ |
| RMS-1 | 0.009 | 78.3 | 0.12 | 0.42 |
| RMS -2 | 0.008 | 69.6 | 0.11 | 0.37 |
| RMS -3 | 0.009 | 78.3 | 0.12 | 0.42 |
| RMS -4 | 0.011 | 95.7 | 0.15 | 0.51 |
| RMS -5 | 0.012 | 104.4 | 0.16 | 0.56 |
| RMS -6 | 0.010 | 87.0 | 0.13 | 0.47 |
| RMS -7 | 0.009 | 78.3 | 0.12 | 0.42 |
| RMS -8 | 0.010 | 87.0 | 0.13 | 0.47 |
| RMS -9 | 0.010 | 87.0 | 0.13 | 0.47 |
| RMS -10 | 0.012 | 104.4 | 0.16 | 0.56 |
| Average Mean | 0.010±0.0013 | 87.00±11.6 | 0.133±0.06 | 0.47±0.063 |
| Acceptable limits | 0.013 | 89.0 | 1.0 | 0.29 |

| Table 3 Measurement of Radiation Ionization Radiation level of Ten Locations in Choba Village |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S/N | Geographical Coordinates |  |  |  | 1st Rd (mR/h) |  | 2nd Rd (mR/h) |  | 3rd Rd (mR/h) |  | Average Value (mR/h) |  |  |
|  | Latitude(N) |  | Longitude (E) |  |  |  |  |  |  |  |  |  |  |
| CHB-1 |  | 4°53’54.830” |  | 6°54’29.448” |  | 0.007 |  | 0.009 |  | 0.008 |  | 0.008 |
| CHB -2 |  | 4°53’54.744” |  | 6°54’29.412” |  | 0.008 |  | 0.009 |  | 0.009 |  | 0.009 |
| CHB -3 |  | 4°53’54.521” |  | 6°54’26.698” |  | 0.010 |  | 0.009 |  | 0.012 |  | 0.010 |
| CHB -4 |  | 4°53’52.854” |  | 6°54’24.631” |  | 0.014 |  | 0.006 |  | 0.011 |  | 0.010 |
| CHB -5 |  | 4°53’49.996” |  | 6°54’26.597” |  | 0.010 |  | 0.014 |  | 0.010 |  | 0.011 |
| CHB -6 |  | 4°53’44.160” |  | 6°54’30.884” |  | 0.011 |  | 0.007 |  | 0.013 |  | 0.010 |
| CHB -7 |  | 4°53’29.353” |  | 6°54’4.9320” |  | 0.009 |  | 0.012 |  | 0.011 |  | 0.011 |
| CHB -8 |  | 4°53’29.519” |  | 6°54’33.631” |  | 0.014 |  | 0.010 |  | 0.008 |  | 0.011 |
| CHB -9 |  | 4°53’27.301” |  | 6°54’23.972” |  | 0.009 |  | 0.008 |  | 0.014 |  | 0.010 |
| CHB -10 |  | 4°54’18.274” |  | 6°54’8.4380” |  | 0.012 |  | 0.008 |  | 0.011 |  | 0.010 |
| Average 0.0100±0.0094 |  |  |  |  |  |  |  |  |  |  |  |  |  |

FIGURE 3 CONTOUR MAP OF BACKGROUND INIONIZATION RADIATION LEVEL OF CHOBA VILLAGE

FIGURE 4 SURFACE MAP OF BACKGROUND INIONIZATION RADIATION LEVEL OF CHOBA VILLAGE

| Table 4. Radiological Parameters of Rumuosi and Choba Village |  |  |  |  |
| --- | --- | --- | --- | --- |
| Location | Average Radiation level (mR/h) | Absorbed dose (nGy/hr) | AEDR (mSv/y) | ELCR x 10¯³ |
| RMS | 0.010 | 87.00 | 0.133 | 0.47 |
| CHB | 0.010 | 87.00 | 0.133 | 0.47 |
| Acceptable limit | 0.013 | 89.0 | 1.0 | 0.29 |

| TABLE 5 RADIOLOGICAL PARAMETERS OF CHOBA VILLAGE |  |  |  |  |
| --- | --- | --- | --- | --- |
| S/N CODE | Average Radiation level (mR/h) | Absorbed dose (nGy/hr) | AEDR (mSv/y) | ELCR x 10¯³ |
| CHB-1 | 0.008 | 69.6 | 0.11 | 0.37 |
| CHB -2 | 0.009 | 78.3 | 0.12 | 0.42 |
| CHB -3 | 0.010 | 87.0 | 0.13 | 0.47 |
| CHB -4 | 0.010 | 87.0 | 0.13 | 0.47 |
| CHB -5 | 0.011 | 95.7 | 0.15 | 0.51 |
| CHB -6 | 0.010 | 87.0 | 0.13 | 0.47 |
| CHB -7 | 0.011 | 95.7 | 0.15 | 0.51 |
| CHB -8 | 0.011 | 95.7 | 0.15 | 0.51 |
| CHB -9 | 0.010 | 87.0 | 0.13 | 0.47 |
| CHB -10 | 0.010 | 87.0 | 0.13 | 0.47 |
| Average Mean | 0.0100±0.0094 | 87.00±8.20 | 0.133±0.01337 | 0.47±0.043 |
| Acceptable limits | 0.013 | 89.0 | 1.0 | 0.29 |

FIGURE 5 COMPARISON OF BACKGROUND IONIZATION RADIATION LEVEL OF RUMUOSI AND CHOBA VILLAGE WITH WORLD AVERAGE, UNSCEAR, 2000

FIGURE 6 COMPARISON OF ABSORBED DOSE OF RUMUOSI AND CHOBA VILLAGE WITH WORLD AVERAGE, UNSCEAR, 2000

FIGURE 7 COMPARISON OF ANNUAL EFFECTIVE DOSE OF RUMUOSI AND CHOBA VILLAGES WITH THE WORLD AVERAGE, UNSCEAR, 2000

FIGURE 8 COMPARISON OF ELCR OF RUMUOSI AND CHOBA VILLAGE WITH WORLD AVERAGE, UNSCEAR, 2000

Table 2 and 4 provide the measured radiological parameters for analysis. The average background ionizing radiation varied from 0.008 to 0.012 mR/h with an overall average of 0.010±0.0013 mR/h and 0.008 to 0.011 mR/h with an overall average of 0.0100±0.0094 for the areas in the Rumuosi and Choba villages respectively. [1] reports slightly higher than the measure values in this work which are higher than the safe limits by ICRP 2000. However, these values of background ionizing radiation within the Rumuosi and Choba villages are slightly lower than the safe limits by ICRP2000 of 0.013mR/h. Figure 5 shows that the statistical view of average background radiation level in Rumuosi (0.010±0.0013 mR/h) is lower than the average radiation level in Choba (0.0100±0.0094 mR/h) both of which are slightly lower than the standard safe limits of 0.013 mR/h by UNSCEAR 2000.

The sample areas in the two locations had an absorbed dose varying from 69.6 to 104.4 nGy/h with an average mean value of 87.00±11.6 nGy/h and 69.6 to 95.7 nGy/h with an overall average mean value of 87.00±8.20 nGy/h respectively. Tallying with the report [4] whose values were slightly higher than the world safe limit, these measured values of absorbed dose rate within the locations slightly lower than the recommended safe limits by ICRP 2000 of 89.0nGy/h have tendencies of exceeding the safe limit increasing the likely occurrence of health deviations from exposure to the people of these areas. Figure 6 shows that the statistical view of the absorbed dose level in Rumuosi is higher than that of in Choba both of which are higher than the safe limits by UNSCEAR 2000.

The sample areas in the two locations also had an annual effective dose rate ranges from 0.11 to 0.16 mSv/y with an overall average mean value of 0.133±0.06 mSv/y and 0.11 to 0.15 with an overall average mean value of 0.133±0.01337 mSv/y respectively. In comparison with [2] whose measured value for the annual effective dose was recorded to be 0.828 mSv/y which is higher than the measured values in this work and the measured values from this work are all lower and within the recommended world acceptable safe limits of 1.0 mSv/h by the ICRP 2000. This indicates that the people within the sample location may not be exposed to any radiological hazards due to absorbed dose. Figure 7 shows that the statistical view of annual effective dose rate Choba is lower than that of Rumuosi. Both of which are slightly lower than the standard safe limits of 1.0 mSv/y UNSCEAR 2000.

The sample areas in the Rumuosi and Choba villages had the excess lifetime cancer risk ranged from 0.37×10ˉ³ to 0.56×10ˉ³ with an overall average mean value of 0.47±0.063×10ˉ³ and 0.37 ×10ˉ³ to 0.51×10ˉ³ with an overall average mean value of 0.47±0.043×10ˉ³, respectively. Similar to [1], these findings are higher than the acceptable safe limits of 0.29×10ˉ³ by the ICRP 2000. Figure 8 shows that the statistical view of Excess Lifetime Cancer Risk of Choba is lower than that of Rumuosi. The average computed Excess Lifetime Cancer Risk for Rumuosi is higher than the world average, while that of Choba is slightly lower than the world average by UNSCEAR 2000. These values, however, does not show any observed radiological health effects within the population.

- CONCLUSION

The computed radiological parameters of background ionizing radiation for Rumuosi and Choba villages are lower than the world standard except the excess lifetime cancer risk of Rumuosi which is higher than the world standard of 0.29×10ˉ³ and the value of the absorbed dose is higher than the world limit of 89.0 nGy/h. while the results indicate that persons who trade in these sample areas may not likely face the risk of exposure to ionizing radiation, the Rumousi residents are to tread cautiously as the prolonged subjection to BIR increases vulnerability to induced cancer. Subsequently, periodic evaluation of BIR levels and structured awareness measures should be employed by concerned individuals, professionals, health institution and government and government parastatals are proposed as preventive strategies in these areas. However, presently there is no indication of risk of the effect of cancer among the population due to exposure to background ionizing radiation but residents of the Rumuosi villages are to take extra caution in avoiding prolonged exposure to Background Ionizing Radiation as they have higher risk of cancer and cell mutation diseases at later stages in life.

Disclaimer (Artificial intelligence)

Option 1:

Author(s) hereby declare that NO generative AI technologies such as Large Language Models (ChatGPT, COPILOT, etc.) and text-to-image generators have been used during the writing or editing of this manuscript.

Option 2:

Author(s) hereby declare that generative AI technologies such as Large Language Models, etc. have been used during the writing or editing of manuscripts. This explanation will include the name, version, model, and source of the generative AI technology and as well as all input prompts provided to the generative AI technology

Details of the AI usage are given below:

1.

2.

3.

REFERENCES

- Agbalaba, E. O. & Ezekiel, A. O. (2018). Assessments of excess lifetime cancer risk from gamma radiation levels in Effurun and warri city of Delta state, Nigeria. Integrative medicine research, 11(3), 367-380. https://doi.org/10.1016/j.jtusci.2016.03.007

- Buhari, S., Sanusi, A., Hussainu, A. & Muhammad, N. Y. (2024). Sensitive organ dose and cancer implication due to background radiation exposure in federal university Birnin Kebbi. Journal of cancer research and cellular therapeutics, 8(3), 196. DOI:10.31579/2640-1053/196

- Emelue, H. & Eke, B. (2020). Measurement of background ionizing radiation in the federal university of technology owerri, Nigeria using calibrated digital Geiger counter. International journal of physics research and applications, 3(1), 070-074. https://doi.org/10.29328/journal.ijpra.1001025

- Haghparast, M., Afkhami, A. M., Navaser, M., Refahic, S., Najafzadeh, M., Ghaffari, H. & Masumbeigi, M. (2020). Assessment of background radiation levels in the southeast of iran. Medical journal of the Islamic republic of iran, 10, 34-56. DOI: https://doi.org/10.34171/mjiri.34.56

- Wrixon, A. D., Barraclough, I., & Clark, M. J. (2004). Radiation, people and the environment: a broad view of ionizing radiation, its effects and uses, as well as the measures in place to use it safely. In: Diane Publishing Company: IAEA.

- Nicholas T., and Sheldon L. (2021). Measurement and Detection of Radiation (5th Edition).  CRC Press.

- Orlunta A. N. & Sokari S. A (2023) Evaluation of Excess Lifetime Cancer Risk in Some Selected X- ray Diagnosis Centers in Port Harcourt, Rivers State, Nigeria. Asian Journal of Advance Research and Reports, 17(4), 26-33. DOI: 10.9734/AJARR/2023/v17i4477

- Orlunta, A. N., & Sokari, S. A. (2023). Terrestrial radiation of some selected active telecommunication sites in port harcourt, rivers state, Nigeria. Asian journal of research and reviews in physics,7(11), 24-32. https://doi.org/10.9734/ajr2p/2023/v7i1132

- Ugbede, F. O. (2018). Measurement of background ionizing radiation exposurenlevels in selected farms in communities of ishielu LGA, Ebonyi state, Nigeria. Journal of applied sciences and environmental management, 22(9), 1427-1432. DOI: 10.4314/jasem.v22i9.11

- UNSCEAR, 2000. Sources and Effects of Ionizing Radiation. Report to the General Assembly, United Nations, New York 1,1-65. http://www.unscear.org/unscear/en/publications/2000_1.html

- Yusuf, T. U., Bello, S., Yabagi, A. J., Suleiman, I. K., Ishaq, Y. & Saliau, U. M. (2022). Impact assessment of background ionizing radiation on habitat in the Mining environment at Lapai, Niger state, Nigeria. FUDMA journal of sciences (FJS), 6(2) 1-6. https://doi.org/10.33003/fjs-2022-0602-922

- GQ Electronics, (n.d) . GQ GMC-300E plus Geiger Counter Radiation Monitor. https://www.gqelectronicsllc.com/comersus/store/comersus_viewItem.asp?idProduct=4570&srsltid=AfmBOork6sNSlvYW5jtQ9Hc8uId7qcIUuzmHfEot2bXBuG0WxX7JhINn

- Tsepav, M. T., Yakubu, A., Gene, A. S., & Abbas, U. (2018). Assessment of Radiation Related Health Risks of Quarry Sites in the Vicinity of Lapai, North Central Nigeria.  Journal of Scientific & Engineering Research, 9(4), 1414–1421.

- Agbalagba, O.E., Avwiri, G.O., and Ononugbo, C.P (2016). GIS mapping of impact of industrial activities on the terrestrial background ionizing radiation levels of Ughelli metropolis and its environs, Nigeria. Environmental Earth Sciences, 75.

- Cousins, C., Miller, D.L., Bernardi, G., Rehani, M.M., Schofield, P., Vañó, E. et al (2013). ICRP PUBLICATION 120: Radiological Protection in Cardiology. Annuals of the ICRP, 42(1), 1-125. https://doi.org/10.1016/j.icrp.2012.09.001

- Rilwan, U*., Ugwu, E. I., and Alkasim A. (2022). Environmental Impact of Radiation Emitted from Radionuclide Across Southern Borno, Nigeria Using Inspector Alert Nuclear Radiation Monitor. Advances in Theoretical & Computational Physics, 5(3), 492-507.

- Waida, J., Ibrahim, U., Goki, N.G., Yusuf, S.D, and Rilwan, U.  (2022). Health Effects of Radiation Exposure to Human Sensitive Organs across Some Selected Mining Sites of Plateau State, Nigeria. Journal of Oncology Research, 4(2), 27-37.

- Rilwan U., Rufai A.M., and Yahaya I. (2021). Assessment of radiation levels and radiological health hazards in Keffi Dumpsite, Nasarawa State, Nigeria using inspector alert nuclear radiation monitor (Dose to Organs (Dorgan) Approach). Journal of Chemical Research Advances, 2(2), 13-19.

- Rilwan U., Maisalatee, A.U. and Jafar, M. (2021). Assessment of Indoor and Outdoor Radiation Exposure in Nasarawa General Hospital, Nasarawa State, Nigeria. Journal of Radiation and Nuclear Applications 6(3), 239-243. http://dx.doi.org/10.18576/jrna/060308

- Rilwan U., Galagima, O.O., Yahaya, I., and Rufai, A.M. (2022). Background Radiation Exposure in Keffi General Hospital. Keffi, Nasarawa State, Nigeria. Journal of Radiation and Nuclear Applications 7(1), 79-83.

- Usman, R. L., Waida, J., Ibrahim, U., Goki, N. G., & Yusuf, S. D. (2022). Health Effects of Radiation Exposure to Human Sensitive Organs Across Some Selected.  Journal of Oncology Research, 4(2), 27–37. https://doi.org/10.30564/jor.v4i2.4469

- Hyacienth U.C., Jonathan O. O., Daniel C. U., Daniel D. O., Michael P. O., Awajimijan N. M., et al (2021). Assessment of background ionizing radiation exposure levels in industrial buildings in Nnewi, Anambra State, Nigeria. International Journal of Research in Medical Sciences, 10(2), 305-315. DOI: https://dx.doi.org/10.18203/2320-6012.ijrms20220273