| Journal Name: | Journal of Engineering Research and Reports |
| --- | --- |
| Manuscript Number: | Ms_JERR_134678 |
| Title of the Manuscript: | Effect of dirt on Solar Photovoltaic Cell performance In Umuseti, Kwale, Delta State, Nigeria |
| Type of the Article | Original Research Article |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | ## Author’s Feedback (Please correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | This manuscript delivers highly vital information both for scientific study and renewable energy fields which specifically focus in the Effect of dirt on Solar Photovoltaic Cell performance applications In Delta State, Nigeria, West-African. Research-based findings demonstrate the practical effects of dirt and dust on solar photovoltaic (PV) performance in areas like Umuseti, Kwale, Delta State, Nigeria where these phenomena are properly studied. The study collected annual field data near oil flow stations which allowed researchers to show how natural and human-made pollutants collectively affect PV efficiency performance as regards it power generation. The obtained findings are useful for engineers along with researchers and policymakers who need to develop improved a maintenance approaches, maximize solar power production potential and advance the sustainability of standalone and rural electricity systems operating in a similar environmental condition. |  |
| Is the title of the article suitable? (If not please suggest an alternative title) | Yes, the title, Effect of dirt on Solar Photovoltaic Cell performance In Umuseti, Kwale, Delta State, Nigeria is suitable for the article according to research focus area in collaboration with the literature review. |  |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | The abstract is comprehensive as is the overview of the study which consist of the background knowledge of the investigation, experimental procedure, aim of the study. The minimum and maximum value of the finding after the conclusion of the research was summarized. concluded the abstract with recommendation of periodical cleaning procedure of solar panels for maximum efficiency. |  |
| ## Is the manuscript scientifically, correct? Please write here. | The Research is scientifically correct because it employed adequate scientific theories and experimental methodology in investigating the effect of accumulation of dust on solar panel and came out with sustainable solution to the problem. |  |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | Yes, the references are suitable and well up to date. |  |
| ## Is the language/English quality of the article suitable for scholarly communications? | Yes, the English language is quality and suitable for scholarly communications. |  |
| ## Optional/General comments | Thank you for this golden opportunity given to me in providing the peer review of the scientific article titled, Effect of dirt on Solar Photovoltaic Cell performance In Umuseti, Kwale, Delta State, Nigeria The study employed experimental method to collect primary data to analysed the effect of dirt on solar panel output voltage and generated power backed up with suitable literature review and mathematical analysis of the percentage of the impacts on solar photovoltaic cell efficiency. The research concluded with good contributions to the bank of knowledge especially in science and engineering field as related to renewable energy sustainability. The article in general needs minor revision before publishing. |  |

| PART 2: |  |  |
| --- | --- | --- |
|  | - Reviewer’s comment | - Author’s comment (if agreed with reviewer, correct the manuscript and highlight that part in the manuscript. It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in details) |  |

Reviewer details:

Augustine Olugbenga Folorunso, Bells University of Technology / The Nigerian Society of Engineers, Nigeria