EFFECT OF SEASONS ON PHYSICOCHEMICAL AND BACTERIOLOGICAL ASSESSMENTS OF BOREHOLE WATER FROM THREE SENOTARIAL DISTRICT OF DELTA STATE

Abstract

This study was aimed at determining the Physicochemical and microbial analysis of borehole water in five communities in Delta State which include, Abraka, Obiaruku, Warri, Eku and Kwale within three senotarial districts  during the wet and dry seasons. A total of twenty (20) water samples were collected from  the wells aseptically into sterile cans 10 samples for each season. Isolation and characterization of microorganisms was done following standard procedures Physicochemical analysis was carried out using APHA. Two Gram positive and  at least three Gram negative bacteria were observed in all the communities and seasons.  Study showed that the lead content of borehole water in wet season within the studied communities were higher (0.01-0.03 ppm) in raining season than permitted by WHO but none detected in dry season. However, the cadmium (<0.01-0.02 ppm) and iron (0.01-0.03 ppm) content were within the permitted value in both seasons. Study also  showed that season has effect on physicochemical parameters ,while  non in bacteriological report since  Escherichia coli, was detected in both seasons in Central and North senotarial districts of Delta State, Nigeria,  indication poor quality of water.fom such boreholes. It is therefore recommended that the borehole water undergo further purification before consumption.

Key words Bore hole water, bacteriological assessment, three senotarial district, Delta State

Introduction

Water is indispensable to human survival and required by all living organisms. Water is mostly used for the purposes of drinking, bathing, domestic, industrial and recreational  (Igbeneghu and Lamikanra, 2021). Nigeria like other developing nations is faced with problems of potable water supply for its estimated 160 million citizens (Orji and Oghonim,2023). In Nigeria, the public water supply is in a state of comatose in most towns and villages and without any hope which affect millions of homes (UNICEF, 2019). This has forced individuals and institutions to resort to self-help by using water from boreholes as the only source of water supply for drinking and general use. Boreholes tap into underground aquifers, which are susceptible to various natural and human-induced factors that can affect water quality (Luvhimbi et al., 2022). Boreholes serves as a primary water source for domestic, agricultural, and industrial purposes due to its perceived safety and relative abundance. Despite its importance, the quality of borehole water is often compromised by various natural and anthropogenic factors, necessitating regular monitoring and analysis of its physicochemical and bacteriological parameters (Adamou et al., 2020).

Groundwater quality is influenced by both its natural composition and external contaminants introduced through human activities (Yehia and Said, 2021). Physicochemical parameters, such as pH, turbidity, total dissolved solids (TDS), electrical conductivity (EC), and concentrations of essential and trace elements, are key indicators of water's chemical and physical suitability for consumption (WHO, 2020). In Delta State, studies have shown varying physicochemical characteristics across different borehole locations, attributed to geological differences, urbanization, and waste management practices (Ofuani and Destiny, 2022). For instance, borehole water in some areas has exhibited acidic pH levels, exceeding WHO's recommended range of 6.5–8.5, while others have shown elevated levels of heavy metals like lead and cadmium, raising significant health concerns (Oyelude et al., 2023).

Bacteriological quality is equally crucial, as the presence of pathogenic microorganisms like Escherichia coli and fecal coliforms indicates fecal contamination. This contamination often arises from poorly constructed boreholes, improper waste disposal, and the infiltration of sewage or agricultural runoff into groundwater sources.

Delta State is characterized by its diverse terrain, including coastal, swampy, and upland areas. This geographical diversity affects groundwater quality due to variations in soil and aquifer properties. Urbanization and industrial activities, particularly in cities like Warri, Ughelli, and Asaba, contribute significantly to groundwater pollution. For example, the proximity of boreholes to industrial sites, septic tanks, and waste dumps has been identified as a major factor in the contamination of groundwater in urban centers (Edeki et al., 2023). Rural areas are not exempt from this problem, as inadequate sanitation and agricultural practices often lead to the leaching of pollutants into boreholes (Otajevwo and Dio, 2020).

The health implications of consuming contaminated borehole water cannot be overemphasized. High concentrations of heavy metals like lead, cadmium, and arsenic are associated with chronic diseases such as kidney damage, neurological disorders, and cancer. Similarly, the ingestion of water contaminated with pathogenic bacteria increases the prevalence of gastrointestinal infections, particularly among children and immunocompromised individuals (WHO, 2022). Furthermore, the contamination of groundwater affects ecosystems, as polluted water often seeps into rivers, lakes, and other natural water bodies, disrupting aquatic life and biodiversity (Edeki et al., 2023).

Despite the critical role of borehole water in Delta State, its quality is frequently compromised due to inadequate monitoring, poor maintenance of boreholes, and increasing environmental pollution. Many communities rely on untreated borehole water, exposing them to potential health risks from chemical and microbial contaminants (Umar et al., 2020). The lack of comprehensive and periodic analysis of borehole water quality exacerbates the issue, as policymakers and stakeholders lack the necessary data to implement effective water management strategies. This study is significant as it provides a detailed comparative analysis of the physicochemical and bacteriological parameters of borehole water across different locations in Delta State. The findings will serve as a reference for public health interventions, environmental policies, and community-level awareness programs aimed at improving water quality. By identifying contamination hotspots and their underlying causes, this study will contribute to the development of targeted measures to ensure safe and sustainable access to groundwater. The aim of this study is to conduct a comprehensive comparative analysis of the physicochemical and bacteriological parameters of borehole water in Delta State to assess its suitability for human consumption and to identify potential health risks associated with its use.

MATERIALS AND METHODS

Physiochemical Analysis

Borehole water samples were collected  from four local govenments of Delta State. The local goverments were within the three senatorial district of Delta State. Two borehole waters from tanks from Warri South (Igbudu, and Nigeria Port Authority area), one from Warri South (Ugbuwangwe) two from Ndokwa West (Kwale town) Two from Ukwani local government (Obiaruku) and Three from Ethiope East (Abraka and Eku). The taps connected to tanks were allowed to run for five minutes before sample collection. Three samples were collected from each location and then pooled together. Sterile plastic bottles were used for sample collection. Samples were collected in wet and dry seasons. The samples were transported to the laboratory in icepack within few hours of collection. The physicochemical parameters determined included temperature, pH dissolved oxygen, biological oxygen demand, conductivity, colour, turbidity, total dissolved solids,  hardness, lead, chromium and cadmium,. These were carried out using standard techniques as described by Ademoroti (1999)and APHA,2006

3.5 	Determination of microbial load

This was carried out in accordance with the procedures reported by Cheesebrough (2004). Thus, the table and work benches were sterilized with disinfectant by using cotton wool before and after work daily.

All glass wares were washed and sterilized in a hot air oven at 16oC for 2hours. All media were prepared according to their manufacturer’s instruction and were sterilized by autoclaving  at 1210c for 15minutes at 1.5psi.

3.5.1	Serial dilution

This was carried out in accordance with the procedure reported by Cheesebrough, (2004) and Eboh, 2017. A nine-fold serial dilution was carried out using standard procedures. The sterile test tubes, each contained 9ml of normal saline. 1ml of the water sample each was drawn with a sterile pipette and placed in each of the test tubes containing 9ml of the sterile distilled water. 1ml of mixture from the first test tube was drawn and transferred to the second test tube and rocked. This procedure was repeated aseptically until the ninth test tube (10-8). There after 1ml was withdrawn from the last test tube and discarded. Dilution factor of 10-3, 10-4 to 10-6 were used in each set of water sample. Each set of the sample was inoculated onto freshly prepared Nutrient agar and MacConkey agar using spread plate technique. Inoculated Nutrient agar plates were labelled and incubated at 370c for 24h to assessed the total coliform count.

The presumptive test 
Coliform counts of borehole water samples were determined using the three tube analysis of Most Probable Number (MPN) techniques; as described earlier by Cheesbrough, (2000); Ibe and Okplenye, (2005); Kalpana et al., (2011) using sterile MacConkey broth. The first set of five tubes had sterile 10 ml double strength lactose broth; whereas the second and third sets had 10 ml single strength broth. All tubes contained Durham tubes before sterilization. The three sets of tubes received, 1 ml, 0.1 ml and 0.01 ml quantities of water samples, respectively. The experiment was conducted in duplicates (One set up of tubes for estimation of total coliform bacteria; whereas, the second set was for estimation of faecal coliform). Tubes were then incubated at 37˚C for 24-48 hours for the estimation of total coliforms; and at 37˚C for 24-48 h for faecal coliforms, and thereafter were examined for acid and gas production. Acid production was detected by color change of lactose broth from reddish purple to yellow and gas production was detected by the entrapment of gas in the Durham's tube. Positive tubes were noted and MPN was determined.

Confirmative tests

A loopful of inoculum from the positive presumptive tubes was transferred into bijou bottles containing brilliant green lactose bile broth to confirm the presence of coliforms. The tubes were incubated at 37°C for a duration on 24 to 48 hours. The definitive indication of the presence of coliforms was confirmed by a noticeable change in color within incubated media.

The completed test

A loopful of broth from a positively confirmed test tube was carefully streaked onto an Eosin Methylene Blue agar plate to obtain pure colonies. These streaked agar plates were subsequently incubated at 37°C for duration of 24 to 48 hours. Further identification of the isolated colonies was carried out based on their morphological, cultural, and biochemical characteristics.

After the incubation period, morphological distinct colonies from inoculated Nutrient agar plates and colonies from inoculated MacConkey agar plates were picked using a sterile wire loop, subcultured and streaked on freshly prepared Nutrient agar plates to produce pure colonies after incubation period of 24h at 370c.

Each different colony was sub-culturedand stored on a sterile nutrient agar slant for characterization and identification using Gram stain and biochemical tests.

RESULTS

Table 1 shows the physicochemical analyses of borehole water in two seasons. Bore hole within 1-3 senotorl dietrict locations were clear for the pH showed that stations1-10 for dry and wet season were6.10 to 6,80   and5.7-6.50  respectively

The values obtained for EC, turbidity and SS are higher in dry season compared to raining season. However, TDS, dry season was lower (6.74-12) than wet season (13.76-14 mg/l) For the heavy metals (lead, chromium, cadmium), there were not detected during the dry season but minimal values were recorded in wet season. Copper, zinc, nitrate and iron also showed lower values for wet season than dry season except for chloride which was higher in dry season.

The identification of bacterial isolates is presented in Table2. Bacteria isolated and identified were; Bacillus subtilis, Klebsiella pneumoniae, Escherichia coli, Proteus mirabilis, Staphylococcus aureus and Enterobacter sp.

Three Gram negative  and  two  Gram positive were observed in all the stations and seasons (Table 3)

Table 4, showed that the water samples contained most probable number (MPN) of bacteria ranging from 12 to more than 1,800 bacteria per 100 ml. Water samples labelled 6, 7 and 10 yielded relatively low coliform counts compared with samples labelled 1, 3 and 4 which had over 1,800 bacteria each.

Table 1: Physicochemical analyses of borehole water in two seasons

|  | Code | pH |  | Temperature |  | Colour |  | Hardness mg/L |  | Chloride mg/L |  | E.C µs/cm |  | Turbidity (NTU) |  | TDS mg/L |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Delta Central | 1 | 6.70 | 6.10 | 28.00 | 28.00 | clear | clear | 0.40 | 0.84 | ND | 0.01 | 1.84 | 0.19 | 1.84 | 2.10 | 11.7 | 0.40 |
|  | 2 | 6.50 | 6.30 | 28.00 | 28.00 | clear | clear | 0.30 | 1.05 | ND | 0.03 | 0.10 | 0.38 | 1.92 | 1.80 | 10.0 | 0.30 |
|  | 3 | 6.50 | 6.50 | 28.00 | 28.00 | clear | clear | 0.50 | 0.84 | ND | 0.01 | 1.87 | 0.03 | 2.07 | 2.40 | 11.95 | 0.50 |
| Delta North | 4 | 6.40 | 5.70 | 29.00 | 28.00 | clear | clear | 0.38 | 0.84 | ND | 0.02 | 2.08 | 0.22 | 2.16 | 2.61 | 10.50 | 0.38 |
|  | 5 | 6.70 | 6.40 | 27.00 | 28.00 | clear | clear | 0.60 | 0.96 | ND | 0.03 | 1.79 | 0.48 | 1.93 | 2.00 | 12.90 | 0.60 |
|  | 6 | 6.80 | 5.90 | 28.00 | 28.00 | clear | clear | 0.50 | 0.93 | ND | 0.03 | 1.99 | 0.48 | 1.97 | 1.70 | 12.11 | 0.50 |
|  | 7 | 5.90 | 6.10 | 28.00 | 28.00 | clear | clear | 0.40 | 0.84 | ND | 0.02 | 2.41 | 0.52 | 2.08 | 1.80 | 11.84 | 0.40 |
| Delta South | 8 | 6.30 | 6.10 | 27.5.00 | 28.00 | clear | clear | 0.70 | 0.84 | ND | 0.01 | 1.73 | 0.41 | 1.98 | 2.40 | 11.3 | 0.70 |
|  | 9 | 6.40 | 6.50 | 28.00 | 28.00 | clear | clear | 0.80 | 0.74 | ND | 0.02 | 2.83 | 0.27 | 2.73 | 2.90 | 10.1 | 0.80 |
|  | 10 | 6.10 | 6.20 | 28.00 | 28.00 | clear | clear | 0.60 | 1.03 | ND | 0.01 | 1.94 | 0.32 | 2.47 | 1.80 | 10.5 | 0.60 |
| WHO STANDARD |  | 6.5-8.5 |  | 25-40 |  |  | 100 |  | 250 |  |  |  |  |  |  |  |  |

1= Otoro, 2= Abraka, 3= Eku, 4= Amankpe,5= Umuebo, 6= Ase,7= River Niger,8= Igbudu, 9= Ugbangwe,

10= NPA

Table 1..continued….

|  | Code | LEAD ppm |  | CHROMIUM ppm |  | CADMIUM ppm |  | ZINC ppm |  | COPPER |  | NITRATE ppm |  | IRON ppm |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Delta Central | 1 | ND | 0.01 | ND | 11.7 | ND | <0.01 | 1.84 | 0.19 | 1.84 | 0.41 | 0.84 | 0.41 | 0.02 | 0.03 |
|  | 2 | ND | 0.03 | ND | 0.01 | ND | 0.01 | 0.10 | 0.38 | 1.92 | 0.21 | 0.92 | 0.32 | 0.02 | 0.01 |
|  | 3 | ND | 0.01 | ND | 0.02 | ND | 0.01 | 1.87 | 0.03 | 2.07 | 0.28 | 1.03 | 0.01 | 0.03 | 0.03 |
| Delta North | 4 | ND | 0.02 | ND | <0.01 | ND | <0.01 | 2.08 | 0.22 | 2.16 | 0.36 | 1.07 | 0.19 | 0.02 | 0.01 |
|  | 5 | ND | 0.03 | ND | 0.02 | ND | 0.02 | 1.79 | 0.48 | 1.93 | 0.21 | 0.87 | 0.38 | 0.01 | 0.03 |
|  | 6 | ND | 0.03 | ND | 0.02 | ND | 0.02 | 1.99 | 0.48 | 1.97 | 0.31 | 0.94 | 0.02 | 0.02 | 0.03 |
|  | 7 | ND | 0.02 | ND | 0.02 | ND | 0.01 | 2.41 | 0.52 | 2.08 | 0.29 | 0.97 | 0.01 | 0.02 | 0.03 |
| Delta South | 8 | ND | 0.01 | 0.03 | <0.01 | 0.01 | <0.01 | 1.73 | 0.41 | 1.98 | 0.19 | 1.00 | 0.41 | 0.02 | 0.02 |
|  | 9 | ND | 0.02 | 0.02 | <0.01 | 0.02 | <0.01 | 2.83 | 0.27 | 2.73 | 0.26 | 1.94 | 0.17 | 0.03 | 0,01 |
|  | 10 | ND | 0.01 | 0.01 | 0.01 | ND | 0.01 | 1.94 | 0.32 | 2.47 | 0.21 | 1.73 | 0.32 | 0.03 | 0.03 |
| WHO STANDARD |  |  | 0.01 |  |  |  | 0.03 |  | 3.00 |  | 2.00 |  |  | 0.30 |  |

_

Table2: Biochemical characteristics of isolates from borehole water

|  | Morphology | Gram reaction | Catalase | Oxidase | Indole | Citrate | H2S | Acid | Gas | Lactose | Glucose | Motility | Organism identified |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Cocci | + | + | - | - | + | - | + | - | + | + | - | Staphylococcus aureus |
|  | Rod | + | + | - | - | + | + | + | - | + | + | + | Bacillus subtilis |
|  | Rod | - | + | - | - | + | + | + | + | - | + | + | Proteus mirabilis |
|  | Rod | - | + | - | + | - | - | + | + | + | + | + | Escherichia coli |
|  | Rod | - | + | - | - | + | - | - | + | - | - | + | Enterobacter sp |
|  | Cocci | + | + | - | - | + | - | + | - | + | + | - | Enterococcus spp |
|  | Rod | - | + | - | - | + | - | + | + | + | + | - | Klebsiella pneumonia |

Table 3: Bacteria present in dry and wet seasons

| S/NO | Bacteria isolated in Dry Season | Bacteria isolated in Wet Season |
| --- | --- | --- |
| 1 | Staphylococcus aureus, Proteus, Bacillus sp, Esherichia oli | Klebsiella pneumonia, Escherichia coli, Bacillus sp |
| 2 | Enterobacter spp, E.coli Bacillus spp | Klebsiella pneumoniae, Pseudomonas aeruginosa, Enterococcus Sp Escherichia coli, Bacillus sp |
| 3 | Klebsiella pneumonia, Enterobacter spp Staphylococcus aureus | Pseudomonas aeruginosa, Escherichia coli, Bacillus sp, Staphylococcus aureus |
| 4 | Enterobacter spp, E.coli | Proteus Sp. Escherichia coli, Bacillus sp, Staphylococcus aureus |
| 5 | Enterobacter spp, E.coli | Klebsiella pneumonia, Escherichia coli, proteus sp, pseudomonas aeruginosa |
| 6 | Klebsiella pneumonia, Enterobacter spp Staphylococcus aureus | B acillus sp, Proteus sp, Klebsiella pneumonia,Pseudomonas aeruginosa |
| 7 | Klebsiella pneumonia, Staphylococcus aureus, E coli, Proteus sp | Staphylococcus aureus, Klebsiella pneumonia,Pseudomonas aeruginosa |
| 8 | Klebsiella pneumonia, Enterobacter spp Staphylococcus aureus | Staphylococcus aureus, Proteus spp |
| 9 | Proteus spp | Proteus spp, Klebsiella pneumonia |
| 10 | Klebsiella pneumonia, Enterobacter spp Staphylococcus aureus | Bacillus spp |

Table 4.a: Most probable number (MPN) presumptive test in dry season

|  | Numbers of test tubes giving positive reactions (Acid and Gas) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 95% confidence limits |  |
| Quantity of water/Samples | 10mL | 1mL | 0.1mL | MPN per 100mL | Lower | Upper |
| 1 | 3 | 3 | 0 | 21 | 7 | 63 |
| 2 | 5 | 3 | 2 | 109 | 31 | 254 |
| 3 | 4 | 4 | 0 | 34 | 12 | 96 |
| 4 | 5 | 5 | 0 | 240 | 18 | 754 |
| 5 | 2 | 2 | 0 | 9 | 2 | 21 |
| 6 | 4 | 2 | 0 | 22 | 7 | 67 |
| 7 | 3 | 2 | 0 | 14 | 24 | 34 |
| 8 | 3 | 2 | 1 | 17 | 5 | 48 |
| 9 | 5 | 3 | 1 | 21 | 7 | 63 |
| 10 | 2 | 3 | 0 | 17 | 3 | 28 |

Key: 1 – 10 = sampling locations

Table 4.b: Most probable number (MPN) presumptive test in dry season

|  | Numbers of test tubes giving positive reactions (Acid and Gas) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 95% confidence limits |  |
| Quantity of water/Samples | 10mL | 1mL | 0.1mL | MPN per 100mL | Lower | Upper |
| 1 | 3 | 2 | 1 | 17 | 5 | 46 |
| 2 | 5 | 2 | 1 | 70 | 23 | 168 |
| 3 | 4 | 4 | 0 | 34 | 12 | 96 |
| 4 | 5 | 5 | 1 | 348 | 118 | 1005 |
| 5 | 3 | 3 | 0 | 17 | 5 | 46 |
| 6 | 2 | 3 | 0 | 12 | .3 | 28 |
| 7 | 2 | 2 | 0 | 9 | 2 | 21 |
| 8 | 3 | 2 | 1 | 17 | 5 | 46 |
| 9 | 4 | 2 | 2 | 32 | 11 | 91 |
| 10 | 2 | 3 | 0 | 12 | 3 | 28 |

Key: 1 – 10 = sampling locations

1= Otoro, 2= Abraka, 3= Eku, 4= Amankpe,5= Umuebo, 6= Ase,7= River Niger,8= Igbudu, 9= Ugbangwe,

10= NPA

Discussion

The study assessed the physicochemical parameters of bore hole water collected within three senatorial districts of Delta State during wet and dry seasons. Though no selective criteria were used for selecting the towns and local government within the Senotorial districts, attempt was to see the quality of the drinking water across these communities. Result showed that all parameters studied were within the world health organization acceptable limits, except for BOD, SS, and lead. From all the senatorial districts, there were notable changes in these seasons for all while the heavy metals were not detectable in the dry season. The pH values obtained in the wet season was not within the permitted value by WHO. About  (80%) of stations were lower than permitted values by WHO and only 20% were within the approved values  (6.5-8.5) Also in dry season only 50% were within the permitted limit. These results contrasted other findings where the higher values were noticed during the raining season (Onuorah et al, 2019, Otieno et al., 2015). The reason for lower pH in  both dry and wet could be  soil chemistry. Previous studies on soil physicochemical analysis showed acidic soil in Abraka area which is under the Central Senatorial district of Delta State (Adomi and Morka, 2021; Akporhornor and Agbarire, 2009) this study is consistent with Kortasi et al., 2009 and Edeki, et al. 2023,whose pH range over over 4.5-6.9 and 4.7-6.8 respectively. Temperature was 27-28oC. Which conformed with WHO standard of 25-40oC. No much variation between wet and dry season in this study. Previous research on borehole water during dry and wet season in Nigeria (Anambra and do) yielded similar results (Onuorah et al./ 2019; Josaiah etal., 2014). All the water both in dry and wet were colourless/clear. The values recorded in hardnes were within the recommended value.

DO values generally in both dry and wet seasons, were below the permitted limit except for two locations in dry season (one each in DC and DN) and only one three in wet season. In both locations as in dry season. In  both dry and wet seasons there were below the permitted of 65-14mg/l

The BOD values obtained  are all above the permitted value except only in one location during wet season, The electrical conductivity were low for all the bore hole water both in dry and wet season but within the recommended value.

Turbidity is greater than as stated in WHO standards  Likewise for TDS (mg/l), SS, are well over the WHO standard. The study revealed that the cadmium and iron content of the borehole water in the studied communities were within WHO permitted standard. However, the lead content was higher than 0.01 permitted by who. In Delta Cntral (Abraka) and delta North (Obiaruko and Kwale). This study does not align with previous study concening cadmium and iron ( Onuorah, et al., 2019)The heavy metals were more then the approved standard. The presence of heavy metals in water is dangerous as there may lead to unwanted and unhealthy condition.

Concerning microbiological analysis,  all the stations had two members of Gram positive  and at least three Gram negative bacteria. Boreholes in locations 6,8,9,10 were devoid of E. coli, the indication of fecal contamination of water.by implication are safe for human consumption.  The results from MPN test correlated with those one obtained from other researches. This correlated with previous studies (Terebeet al., 2022; Ibe and Okplenye, 2005).

Conclusion

Study showed that the lead content of  borehole water in wet and dry season within the studied communities were higher  than permitted by who, however, the cadmium and iron content were were within the permitted values. Bacteriological repot revealed hat borehole water within communities within two senotarial districts (Central and North)  in both seasons contained Escherichia coli, indicating poor quality of water from such boreholes. It is therefore recommended that the borehole water undergo further purification before consumption.

REFERENCES

Abubakar, M.M., and Tijjani, A. (2018). Assessment of borehole water quality for domestic use in three selected wards in Wudil Local Government Area, Kano State. Journal of Environmental Science Studies, 1(1), 1

Adamou, H., Ibrahim, B., Salack, S., Adamou, R., Sanfo, S., and Liersch, S. (2020). Physico-chemical and bacteriological quality of groundwater in a rural area of Western Niger: A case study of Bonkoukou. Journal of Water Health, 18(1), 77–90..

Ademoroti, C.M.A. (1996). Standard methods of isolation and effluent analysis foludex press Ltd Ibadan, Nigeria 40-71.

Adesakin, T. A., Oyewale, A. T., Bayero, U., Mohammed, A. N., Aduwo, I. A., Ahmed, P. Z., Abubakar, N. D., and Barje, I. B. (2020). Assessment of bacteriological quality and physico-chemical parameters of domestic water sources in Samaru community, Zaria, Northwest Nigeria. Heliyon, 6(8), e04773

Adomi, P.O. and  Morka, E. (2020) Microbial and Physicochemical characteristics of Cassava mill effluent receiving soil in Abraka and Environs, Delta State, Fupre Journal of Scientific and Industrial Research, 4(1): 27-35.

Adogo, L.Y., Ajiji, M.A., Anyanwu, N.C.J., and Ajide, B. (2016). Bacteriological and physicochemical analysis of borehole water in Auta Balefi Community, Nasarawa State, Nigeria. British Microbiology Research Journal, 11(4), 1-7.

Akporhonor, E.E and Agbaire, P.O (2009).Physicochemical  properties and micronutrients staus of farmland soil in Abraka, Nigeria, African Journal of pure and applied chemistry3(7):131-134

American Public Health Association (APHA), American Water Works Association (AWWA), & Water Environment Federation (WEF). (2017). Standard methods for the examination of water and wastewater (23rd ed.). APHA Press.

Cheesbrough, M. (2000). District laboratory practice in tropical countries, Part 2. Cambridge University Press.

Cheesebrough, M. (2004). Sterilization of materials and glasswares. Clinical Laboratory Practises, 4: 15-19.

Eboh, J.O.’ Ogu, G.I.and Idara, M.U (2017) Microbiology Quality of borehole and well water sources in Amai Kingdom UKwani local government aarea of Delta State, Nigeria. International Journal Of Advanced Academic Science, Technology and Engineering 3(2) 17-28

Edeki, P. E., Isah, E. C., and Mokogwu, N. (2023). Assessment of physicochemical and bacteriological quality of drinking water in Sapele Local Government Area of Delta State, South-South, Nigeria. Journal of Water Health, 21(2), 286–298.

Internaional Sandard for drinking-water WHO palais DESnations Geneva. 1958

Luvhimbi, N., Tshitangano, T. G., Mabunda, J. T., Olaniyi, F. C., and Edokpayi, J. N. (2022). Water quality assessment and evaluation of human health risk of drinking water from source to point of use at Thulamela municipality, Limpopo Province. Scientific Reports, 12, 6059.

Ofuani, A. G., and Destiny, E. C. (2022). Physicochemical and microbial assessment of selected borehole water in Ogwashi-Uku, Delta State, Nigeria. IPS Journal of Applied Microbiology and Biotechnology, 1(1), 12–15.

Onuorah, S. Igwemadu, N. and Odibo,F. (2019). Effects of seasonal variaitionon the physicochemical characteristerics of borehole water in Ogbaru communities, Anambra State Nigeria, National Resource and Conservation 7(1): 1-8

Orji, M. U., and Oghonim, P. A. N. (2023). Evaluation of the average physical parameters of selected borehole water samples in Agbor, Delta State, Nigeria. IDOSR Journal of Scientific Research, 8(3), 125–138.

Otieno, R.O., Ndundi, E. and Makukha, M. (2015).l dcSeasonal variations of physicochemcaland microbiological characteristic of ground waterqualityin Ruiru, kiambu county, Kenya, International Journal of scientific and research publication 5(12) 411-423.

Oyelude, E. O., Okwori, O. S., and Eze, V. C. (2023). Assessment of physicochemical and bacteriological quality of drinking water in Sapele local government area of Delta State, South-South, Nigeria. Journal of Water and Health, 21(2), 286–298.

TERREBE, o. Soyingbe, A.Olayinka. O. and Bamgbose, O.(2022). Microbila qualityof borehole waterand prevalenceof water-related diseasesin selected settlementin the coastalarea of Ondo State, Nigeria Internationaljournalof AdvancedReseacrh in Sciences,Engineering and Technolog 9(8) 19394-19402

U.S. Environmental Protection Agency (EPA). (2009). National Primary Drinking Water Regulations. EPA 816-F-09-004.

Ukpong, E. C., and Okon, B. B. (2013). Comparative analysis of public and private borehole water supply sources in Uruan Local Government Area of Akwa Ibom State. International Journal of Applied Science and Technology, 3(1), 76-91.

Umar, H. O., Okareh, O. T., Adeleye, A. O., Orifah, M. O., Amoo, A. O., Sabiu, N., and Gana, S. A. (2020). Consumers’ perception of municipal water quality in Barnawa Community of Kaduna State, Nigeria. FUDMA Journal of Science, 4(1), 13–23.

WHO. (2020). Guidelines for drinking-water quality. Geneva: World Health Organization.

World Health Organization (WHO). (2011). Guidelines for drinking-water quality (4th ed.). WHO Press.

Yehia, H., and Said, S. (2021). Drinking water treatment: pH adjustment using natural physical field. Journal of Biosciences and Medicine, 9, 55–66.

Yusuf, K.A. (2007). Evaluation of groundwater quality characteristics in Lagos-City. Journal of Applied Sciences, 7, 1780-1784.

Igheneghn and lemikenra 2021

Kappana, et al., 2011