Review Form 3

	

	Journal Name:
	Journal of Energy Research and Reviews 

	Manuscript Number:
	Ms_JENRR_135359

	Title of the Manuscript: 
	Research on UFLS of Power System with Wind Power and Thermostatically controlled Resources Participating in Frequency Regulation

	Type of the Article
	


	PART  1: Comments



	
	Reviewer’s comment

Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review.

	Author’s Feedback (It is mandatory that authors should write his/her feedback here)



	Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part.


	Forming of Grid with Battery and Inverter System should as to be explained.

Governing of wind Turbine Speed and Stalling of Wind Turbine should also be explained.

In a grid mode, how LFC control should be maintained?

Wind power’s frequency support capability is highly uncertain because it depends on current wind speeds, turbine status, etc. Although over speed and pitch control are modelled, stochastic variations and forecasting errors are not integrated into the UFLS strategy.


	

	Is the title of the article suitable?

(If not please suggest an alternative title)


	Yes
	

	Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here.


	Stochastic variations and forecasting errors are not integrated into the UFLS strategy.


	

	Is the manuscript scientifically, correct? Please write here.
	Yes
	

	Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form.
	Add more references
	

	Is the language/English quality of the article suitable for scholarly communications?


	Yes
	

	Optional/General comments


	
	


	PART  2: 



	
	Reviewer’s comment
	Author’s Feedback (It is mandatory that authors should write his/her feedback here)



	Are there ethical issues in this manuscript? 


	(If yes, Kindly please write down the ethical issues here in detail)


	


Reviewer details:

G Pavan, St Peters Engineering College (JNTUH), India

Created by: DR
              Checked by: PM                                           Approved by: MBM
   
Version: 3 (07-07-2024)

