| Journal Name: | Journal of Engineering Research and Reports |
| --- | --- |
| Manuscript Number: | Ms_JERR_139449 |
| Title of the Manuscript: | Techno-Economic Evaluation of an Optimized Grid-Connected Solar Photo-Voltaic System for National Museum of Unity, Ibadan |
| Type of the Article | Original Research Article |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | The authors propose a techno-economic study of a photovoltaic system intended to power the National Museum of Unity in Ibadan. This system is justified by the frequent power outages from the grid, as well as its potential to reduce both the cost and pollution associated with the diesel generator usually in use. They propose the system sizing using HOMER software, and the economic analysis using RETScreen. | ## Thank you for the comment |
| Is the title of the article suitable? (If not please suggest an alternative title) | yes | ## Thank you for the comment |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | The part of the abstract that presents the results is inconsistent: the type and number of selected panels do not match those found later in the paper. Moreover, the figures suggest a payback period of less than 4 months, which seems unlikely, while the abstract mentions 9 months. | ## We appreciate this observation. The inconsistency was due to an earlier version of the system design in the abstract. The abstract has now been revised to align with the finalized results |
| ## Is the manuscript scientifically, correct? Please write here. | Overall, the scientific reasoning is sound. | ## We really appreciate the comment |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | The literature review is well documented, but some references are listed multiple times in the bibliography. | ## We appreciate the observation. It has been addressed |
| ## Is the language/English quality of the article suitable for scholarly communications? | yes | Thank you for the comment |
| ## Optional/General comments | 1- The authors provide a detailed introduction to the context of this work, but the section would benefit from improved clarity and flow. They should also elaborate a bit more on the specific contribution of this paper. 2- In the introduction, the authors mention a hybrid system involving renewable energy and a diesel generator, but there is no further mention of this in the presentation of the operating principle. 3- The literature review is extensive, but it lists previous works one after the other with their methods, tools, objectives, and results, without drawing clear and explicit connections between them or explaining how they relate to this paper. 4- The data acquisition methods (NASA) should be detailed are the values based on estimates or measurements? Measurement or estimation uncertainties should also be provided. 5- The physical quantities used should be listed in a nomenclature section at the end of the manuscript. 6- Equation (2) is incorrect: it is a summation, not a multiplication. 7- The voltage of a battery varies depending on its state of charge. I would like to know how this variation is taken into account in the calculations, and if it is not, what is the justification? 8- The introduction mentions 44 panels of 550 W, whereas the results indicate 116 panels of 215 W. 9- The results described in Table 2 do not match what is displayed: “As presented in Table 2, the annual energy purchased from the grid is 995,555 kWhr, and the yearly energy sold to the grid is 26,938 kWhr.” 10- Does the cost of 16,223,297 NGN include labor, or is it limited to the cost of panels, batteries, and converters? The introduction mentions an annual production of 60,713,246.03 NGN, implying a return on investment of 3.2, which seems unrealistic. However, the main text states that costs will be recovered in 9 months. | - Thank you for this helpful comment. We have improved the clarity and logical flow of the introduction by reorganizing the paragraphs and explicitly stating the contribution of this research at the end of the section. - This is a valid point. The mention of diesel generators was for contextual contrast. However, to prevent confusion, we have clarified in the introduction that although diesel generators are currently used at the Museum, this research focuses solely on a PV-grid-battery system, and does not incorporate diesel generation into the proposed model. - We acknowledge this concern. The literature review has been revised to include a concluding synthesis paragraph that summarizes key gaps in previous studies - This point is appreciated. In Section 3.2 (Data Collection), we have now clarified that the meteorological data were acquired from NASA’s POWER database, which is based on satellite-derived estimates. - We appreciate this suggestion. A Nomenclature section listing all symbols, variables, and their units has now been added at the end of the manuscript before the references. - Thank you. Equation (2) has been corrected to reflect a summation, not a multiplication. We have also verified the surrounding equations for mathematical consistency. - We acknowledge this important technical point. The modeling of the battery in HOMER accounts for dynamic voltage and SoC-dependent performance, including charge/discharge efficiency. The RETScreen, however, uses a simplified energy-based analysis - Thank you for the observation, it has been addressed. - Thank you for this observation, The incorrect value has been corrected in the text, and the explanation now matches Table 2 accurately. - Excellent observation. The capital cost includes components and installation labor, as per RETScreen input. |

| PART 2: |  |  |
| --- | --- | --- |
|  | - Reviewer’s comment | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in details) | There are no ethical issues in this manuscript. We confirm that all data used are publicly accessible. |