| Journal Name: | Physical Science International Journal |
| --- | --- |
| Manuscript Number: | Ms_PSIJ_140078 |
| Title of the Manuscript: | Experimental study of hygrothermal exchanges in an evaporative heat exchanger based on fired clay plates for air cooling in hot and dry climates |
| Type of the Article | Original Research Article |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | The manuscript highlights the usage of direct evaporative cooling technique for air cooling in hot and dry climatic conditions. The ecofriendly fired clay plates are used for the construction of heat exchanger. The work reported in the current manuscript helps to overcome dependence on conventional cooling methods which are highly energy intensive. Such an arrangement may prove to be helpful and affordable for the local and low-capacity air cooling applications. |  |
| Is the title of the article suitable? (If not please suggest an alternative title) | The title seems to be suitable for the manuscript. |  |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | The abstract need to be modified. In the line 9 of the abstract the plate spacing is stated as 2.5 cm, while in the Table 2 the channel gap is stated as 20 mm (2 cm). Are these plate spacing and channel gaps same or different? If same then, relook the values of them as stated. | ## Indeed, the plate spacing used is 2 cm. We have taken note of the error. |
| ## Is the manuscript scientifically, correct? Please write here. | - The Figure 1 need to be labelled properly. - The Figure 2 should clearly indicate the entire experimental set up. Please include the actual labelled photograph the experimental set up. - The Figure 3 does not have the relevance to be included in the manuscript . Can be deleted from the manuscript. - In Figure 4 the X Axis caption should be Length of Heat Exchanger and not as Length of Exchanger. Also please check the spelling of exchanger in the same figure on X axis. Same is applicable for Figure 5 and 6 respectively. - In para 3.3 Cooling efficiency is stated. But the equation 1 says it as a saturation efficiency. Whereas in the Figure 6 , the Y axis is labelled as simply Efficiency. Please clarify on this term. - The Figure 7 is missing from the manuscript. Please recheck it. - Table 2 states the parameter of Wet Bulb Efficiency. Whereas its significance and calculations are not reported in the manuscript. | The comments and suggestions have been taken into account as much as possible. |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | The references used seems to be appropriate in the present work. |  |
| ## Is the language/English quality of the article suitable for scholarly communications? | The language used in the manuscript needs to be more technically correct. Please modify the manuscript accordingly. | The manuscript has been revised to ensure greater technical accuracy. |
| ## Optional/General comments | Recommended subject to the corrections stated in the manuscript. |  |

| PART 2: |  |  |
| --- | --- | --- |
|  | - Reviewer’s comment | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in details) |  |