Original Research Article

## Original Research Article

## Principle of three-component force sensor and its research status in elastic structure design

Abstract：Three-component force sensors are capable of simultaneously detecting force or moment components in three directions in space, and are widely used in robotics, industrial automation, medical equipment, and sports technology. This article focuses on resistive-strain, capacitive, and piezoelectric three-component force sensors. Among them, the resistance strain gauge three-component force sensor technology is the most mature, with the characteristics of high accuracy, small creep and low manufacturing cost, so it is the most widely used in practice. The elastomer structure of combined and integral three-component force transducers is also distinguished and summarized. At present, the research and improvement work of this kind of sensor by scholars at home and abroad mainly focuses on reducing interdimensional coupling, improving sensitivity, reducing measurement error and reducing nonlinear error, in order to achieve better practical application results. This paper also analyzes the performance of three-component force sensors in specific applications such as manipulator grasping and plantar force sensing. Finally, combined with the research and application status of three-component force sensors, the future development trend of the three-component force sensor is prospected, indicating that this technology will play an important role in more fields and is expected to develop in a more precise and intelligent direction.

## Key words：Three-component force transducer；Elastomer structure；Flexible tactile sensors；Manipulator；Plantar force perception

## 0  INTRODUCTION *

Three-component force sensor, also known as three-dimensional force sensor or multi-dimensional force sensor, as an important component that can sense mechanical information in multiple directions in three-dimensional space in real time, is widely used in modern industry, scientific research and daily life, such as automobile collision test, industrial automation, engineering measurement[1], robot mechanical perception[2] and surgery. In recent years, with the rapid development of robot intelligence and automation, many fields need sensors with high sensitivity and small structure size. For intelligent equipment, accurate force information perception is very important, because the accuracy of measurement is directly related to the accuracy of equipment perception and control[3], so higher requirements are put forward for the accuracy and structure of sensors.

This paper mainly summarizes the measuring principle of three-component force sensor and its research status in elastic structure design, and deeply introduces the application scenarios of this kind of sensor. Based on the existing research progress, the future development trend of three-component force sensor is prospected.

## 1  MEASUREMENT PRINCIPLE OF THREE-COMPONENT FORCE SENSOR

With the development of micromachining technology, the research of three-component force sensors has developed rapidly at home and abroad, and three-component force sensors based on different working principles have been introduced one after another, such as resistance strain type [4], capacitance type[5] and piezoelectric type[6]. The measurement method based on the principle of resistance strain is one of the earliest developed technologies, which is not only highly mature, but also the most widely used method at present[7].

1.1  Resistance Strain Type

The resistance strain type three-component force sensor is a sensor that uses the resistance strain effect to measure the external force/torque. The basic principle is that when a force or torque is applied to the elastic body, the strain gauge attached to it will deform correspondingly, resulting in a slight change in the length and cross-sectional area of the resistance wire inside the strain gauge, which in turn causes a change in the resistance value. By using the Wheatstone bridge circuit, these resistance changes will be converted into measurable voltage signals for output, and the amplitude of the voltage signals directly reflects the magnitude of the force or torque. Qin Chong of Henan University of Science and Technology[8] designed a flexible three-dimensional force tactile sensor based on resistance strain, which has high sensitivity, and can reach 1.8V/N in X and Y axes, and within 3.1V/N in Z axis. This sensor can be applied to real-time detection of tangential force and normal force in dexterous hands. Yu Zhiwei of Nanjing University of Aeronautics and Astronautics and others[9] developed a small resistance strain type three-dimensional force sensor. By adopting a new elastic body structure, opening a slot in its upper layer and sticking the resistance strain gauge on the side of the elastic body, this design can effectively eliminate the coupling effect between the dimensions, thus meeting the application requirements of micro-robots and small-scale measurement. As shown in fig. 1, it can be used to detect three-dimensional forces in space.

Fig. 1 structural diagram of three-dimensional force sensor [9]

1.2  Capacitance

Capacitive three-component force sensor is a sensor that uses capacitance effect to measure force/torque. The basic principle is that when force/torque acts on elastic body, it will cause capacitance change. By measuring this capacitance change, the value of external force can be obtained. Lee et al. [10] put forward a capacitive sensor for detecting three-dimensional force. When external force is applied, the distance between the electrode plates of the output induction unit changes, which will produce signal output, and then the external force can be detected. Zhao Ningjuan, xidian university[11] designed a highly sensitive ionic capacitive flexible three-dimensional force tactile sensor, which not only has the ability to detect normal and tangential forces, but also has an ultra-fast force response time of 3ms and a long-term fatigue resistance under 8000 cycles, so it has shown high application value in health monitoring, rehabilitation and other fields. Xu Taipu [12] of Jiangsu University has developed a capacitive flexible three-dimensional force tactile sensor. As shown in Figure 2, this sensor has the advantages of fast response (<60ms) and good cycle stability. It provides an important reference for intelligent wear, human-computer interaction and humanoid robot.

Fig. 2 capacitive flexible three-dimensional force tactile sensor: (a) top view, (b) layered schematic diagram and (c) cross-sectional view. [12]

1.3  Piezoelectric Type

Piezoelectric three-component force sensor is a sensor that uses piezoelectric effect to measure force/torque. The basic principle is that under the action of force or torque, piezoelectric material will produce charge, which will lead to the change of output voltage signal. By measuring this voltage signal, the value of force/torque can be reflected. A new flexible piezoelectric sensor array has been developed by Yu Ping[13] of Zhejiang University. The sensor shows good linearity, relatively low coupling effect, high repeatability and acceptable frequency response in the range of 5–400 Hz, and is suitable for detecting normal and shear loads. In addition, the sensor array can be easily integrated into the curved surface, which makes it show significant advantages in the applications of robotics and prosthetic hands. Zhang Yanfang of South China University of Technology and others[14] put forward a three-dimensional force sensor based on PVDF piezoelectric film. As shown in Figure 3, compared with the traditional four prism structure, this sensor can maintain higher sensitivity and smaller error, and reduce the cost by reducing one piezoelectric sensing unit. Zhang Chunyan of Taiyuan University of Technology and others[15] developed a piezoelectric three-dimensional force sensor, which has excellent directional resolution, normal sensitivity and high linearity, and can feed back information in real time to distinguish different surface roughness and force directions. These characteristics make it possible to become a self-powered wearable device in future human-computer interaction or personalized identification applications.

Fig. 3 structural diagram of PVDF sensor [14]

Compared with capacitive and piezoelectric three-component force sensors, the resistance strain type three-component force sensor has the advantages of high precision, small creep, small nonlinear and hysteresis errors and low manufacturing cost, and can compensate the zero balance, sensitivity and zero temperature influence of the sensor, but the sensitivity and stiffness are mutually restricted, resulting in low dynamic response. Capacitive three-component force sensor has the advantages of good temperature stability, large pressure range, high sensitivity and low hysteresis, but it will be affected by parasitic capacitance in the surrounding environment, so it is rarely used in practice. Piezoelectric three-component force sensor has the advantages of high natural frequency and good dynamic performance, but compared with resistance strain three-component force sensor, its manufacturing cost is high and it is not suitable for measuring static force. Compared with capacitive three-component force sensor, it is easily affected by environmental temperature and humidity and has high noise.

## 2  ELASTOMER STRUCTURE DESIGN OF THREE-COMPONENT FORCE SENSOR

According to whether the elastomer structure of the three-component force sensor is integrated, it can be divided into two types: integral elastomer and combined elastomer. The design of elastomer will directly affect the dynamic performance, coupling degree between dimensions, sensitivity and measurement accuracy of the sensor[16]. Therefore, the core of developing a new multi-dimensional force sensor is to propose a unique and reasonable elastic structure design.

2.1  Structural Design of Integral Elastomer

Integral elastomer structure refers to that in the manufacturing process, the elastic element and other parts of the sensor (such as the base or connector) are made by single piece of material or one-time molding. Because of its integrated design, this structure has the advantages of simplicity, good reliability and high precision. Qin Yuanlin of Shanghai Institute of Aerospace Precision Machinery[17] designed a small three-dimensional force sensor elastomer, which belongs to cantilever double-hole parallel beam elastomer structure. This elastomer structure is suitable for small-size and high-precision stress measurement tasks. By adjusting the thickness and width of the double-hole parallel beam, its range can be flexibly controlled, which makes it show excellent applicability. Luo Xunhuang of Wuhan University of Science and Technology and others[18] put forward an integral elastic structure with simple structure, and attached strain gauges on the side walls between structural holes. Compared with the existing strain-type multi-dimensional force sensor, this design has significantly improved the coupling error between dimensions. As shown in Figure 4, the measurement accuracy is high, the maximum error occurs when the force Fz acts, and the inter-dimensional coupling interference is 0.8775%.

Fig. 4 structural diagram of integrated three-dimensional force sensor [18]

2.2  Structural Design of Combined Elastomer

The combined elastic structure means that the elastic element of the sensor and other components are manufactured independently, and then combined into a complete sensor by bonding and bolting. Because the components are manufactured separately, this structure is easy to maintain and has good adaptability and flexibility. Yang Wei[19] of Yanshan University put forward a kind of rigid-flexible hybrid large deformation parallel three-dimensional force sensor, as shown in Figure 5, which integrates the concept of rigid-flexible hybrid design into multi-dimensional force sensing technology, and adopts a new type of mobile parallel mechanism with stable force transmission characteristics to optimize the design of force sensing elements. This innovative idea not only effectively improves the sensitivity and operational reliability of the system, but also significantly improves the structural stability and dynamic response. Through the application of this mechanism, the system can still maintain excellent performance consistency and measurement accuracy in the face of complex and changeable working environment and load conditions, which provides a solid technical support for high-precision force control tasks.

Fig. 5 Structure diagram of rigid-flexible hybrid large deformation parallel three-dimensional force sensor [19]

Zhao Peng of Jinan University and others[20] designed a combined self-decoupling piezoelectric thin film three-dimensional force sensor, and the diamond-shaped structure of columns has the ability to offset the coupling between dimensions. As shown in fig. 6, it has the characteristics of high sensitivity and high natural frequency. The nonlinear errors in all three directions are less than 0.2%, and the coupling error between dimensions is less than 1.2%. The sensor has shown extremely important application value in the cold heading forming of high-precision bearing steel balls and transient strong impact scenes.

Fig. 6 Three-dimensional structure diagram of combined three-dimensional force sensor [20]

In the above literature, no matter in the research of integral elastic structure or combined elastic structure, a lot of work and continuous improvement of domestic and foreign scholars mainly focus on reducing the coupling effect between dimensions, improving the sensitivity of structures, reducing measurement errors and restraining nonlinear errors. The optimization of these key technical indexes aims to further improve the accuracy and stability of sensors or actuators under complex working conditions, so as to enhance their adaptability and use value in practical application scenarios such as industrial detection, robot sensing and precision assembly. At the same time, the related research has gradually expanded to the direction of lightweight structure, simplified manufacturing process and multi-functional integration, which has promoted the transformation of elastomer design from experience-driven to theoretical guidance.

## 3  APPLICATION SCENARIO OF THREE-COMPONENT FORCE SENSOR

Three-component force sensor plays an indispensable role in key fields such as intelligence, automation and human-computer interaction, and its application range extends from the control of manipulator accurately grasping objects to the action analysis and optimization in physical training, and even the fine monitoring of patients' rehabilitation process in clinical medicine. This kind of sensor not only improves the operation accuracy and intelligence level of robot technology, but also provides scientific basis for athletes' technical improvement, and promotes the development of personalized treatment scheme and the accuracy of curative effect evaluation in the medical field.

3.1  Manipulator Grasping

Manipulators (also known as robot end effectors) are designed to simulate the functions of human hands and arms, and can pick up, carry and place various types of objects. In order to accurately control the grasping force and grasping position, a variety of sensors are usually installed on the manipulator, which can help adjust the grasping force and sense whether the manipulator has successfully contacted and grasped the object. Mao Leidong of Hefei University of Technology[21] applied the flexible tactile three-dimensional force sensor to the palm of a robot to grasp and perceive objects. As shown in Figure 7, the soft grasping strategy based on tactile system was studied, and the grasping state was identified by support vector machine, with the recognition accuracy as high as 94.8%.

Fig. 7 schematic diagram of robot hand grasping [21]

Zhang Ting[22] of Harbin Institute of Technology studied the dynamic grasping of the three-dimensional force tactile sensor of humanoid artificial finger. As shown in Figure 8, through a dynamic grasping control method based on tactile sensor information feedback, the operational performance of the artificial hand was improved, and the research focused on the adaptive impedance force tracking control of the artificial hand, aiming at balancing the flexibility of contact and the accuracy of grasping force control. The experimental results show that the impedance force tracking control method can follow the expected grasping force with high accuracy and ensure the compliance of contact, which lays the foundation for the research of dynamic grasping control.

Fig. 8 Structure diagram of humanoid artificial finger [22]

3.2  Plantar Force Perception

The perception and measurement of plantar force can analyze the force distribution between the foot and the ground, and provide important data support for clinical medicine and sports training. Wu Jiaqi[23] of Fujian Institute of Engineering has designed a plantar three-dimensional force sensor based on the improvement of the traditional cross beam structure, as shown in Figure 9, which can realize the real-time display and storage of plantar force information. The experimental calibration shows that the sensor has small static error and high sensitivity. By analyzing the pressure distribution on the sole of the foot, it can be used to diagnose gait abnormalities, such as flat feet and high arch feet.

Fig. 9 Structure diagram of plantar three-dimensional force sensor [23]

Xue Hongwei of Huazhong University of Science and Technology[24] developed a flexible three-dimensional force sensor based on magnetic field. Aiming at the problems of low dimension, poor environmental adaptability and insufficient wearability of traditional force sensors, the corresponding solutions were put forward, and they were applied to human balance control and rehabilitation process guidance, which provided technical support for the development of wearable devices and human motion measurement. Xidian university Zhang Feng[25] studied a flexible sensor for three-dimensional force of parallel plate capacitance, as shown in Figure 10, which can realize long-term and long-distance real-time measurement of three-dimensional interface stress of sole, and has the advantages of high sensitivity, flexibility and portability. By monitoring the data of plantar force distribution in athletes' daily training, we can find out the factors that may lead to injuries and intervene in advance.

Fig. 10 Structure diagram of parallel plate capacitance three-dimensional force sensor [25]

## 4  DEVELOPMENT TREND OF THREE-COMPONENT FORCE SENSOR

4.1  Integration and Miniaturization

With the progress of microelectronics and materials science, the three-component force sensor is developing towards smaller volume and lighter weight. This trend is conducive to the integrated application of sensors, especially in space-limited occasions, such as micro-robots or wearable devices. The miniaturized three-component force sensor can be embedded in the end effector of the robot, so that it can perform fine operations in a narrow space, such as minimally invasive surgery or precision assembly tasks in the medical field. Miniaturized sensors have low production and manufacturing costs, and can improve economic benefits in large-scale production and manufacturing.

4.2  Measurement Accuracy and Durability

The three-component force sensor with high measurement accuracy can capture the tiny force change more accurately. In the precision manufacturing industry, it can be ensured that the force applied in the machining process is kept within an ideal range, thus improving the quality of products and reducing the rejection rate. In the aerospace field, it can be used to monitor various forces borne by aircraft during high-speed flight, thus improving the safety of aircraft. Durability is the key factor when the three-component force sensor adapts to harsh working environment. More durable materials and optimized manufacturing process can ensure the sensor to work normally in deep sea exploration, aerospace exploration and extreme environment.

4.3  Intelligentize

With the development of Internet of Things technology, the process of sensor intelligence is accelerating. Sensors are no longer simple data acquisition devices, but they have been able to conduct preliminary data processing and analysis. This data fusion ability enables the sensor to combine the collected information with the data of other sensors, and then only transmit useful data, which improves the efficiency and response speed of the whole system, and also enhances the intelligent level of the system, providing users with more refined services and management. With the continuous progress of technology, the application scope of smart sensors will continue to expand and become an important force to promote the development of various industries.

## 5  CONCLUSION

This paper introduces a three-component force sensor based on three different measuring principles: resistance strain type, capacitance type and piezoelectric type. Among them, the resistance strain type three-component force sensor is favored because of its wide application and the highest technical maturity. In this paper, the structural characteristics of integral and combined elastic body of three-component force sensor are summarized, and the application examples of this kind of sensor in manipulator grasping, plantar force sensing and other fields are discussed. These examples not only show the application results of the existing technology, but also provide valuable reference for the future development of three-component force sensor suitable for special environment. Finally, based on the current application status of the three-component force sensor, the paper looks forward to its future development trend. It is predicted that with the continuous innovation of technology and the growth of market demand, the three-component force sensor will play a key role in more industries and promote the development of related technologies in the direction of higher precision, smaller size, lower power consumption and higher intelligence.

COMPETING INTERESTS DISCLAIMER:

Authors have declared that they have no known competing financial interests OR non-financial interests OR personal relationships that could have appeared to influence the work reported in this paper.

REFERENCES

[1] Li Chao. Design of output feedback electronic throttle controller based on observer[D]. Jilin University, 2011.

[2] Song AG, Song GM, Constantinescu D, et al. Sensors for Robotics［J］． Journal of Sensors，2013,115(4):1-2． [3] Wang Congsi. Theory and technology of multi-field coupling of microwave antennas[M]. Science Press, 2015.

[4] Zhou Lei, Ren Cuifeng. Structural design of highly maneuverable radar antennas[J]. Mechanics and Electronics, 2011(4):78-80.

[5] Viry L, Levi A, Totaro M, et al. Flexible three-axial force sensor for soft and highly sensitive artificial touch[J]. Advanced materials, 2014, 26(17): 2659-2664.

[6] Lee Y R, Chung J, Oh Y, et al. Flexible shear and normal force sensor using only one layer of polyvinylidene fluoride film[J]. Applied Sciences, 2019, 9(20): 4339.

[7] Sun Yongjun. Research on six-component force sensor and its online calibration for space manipulators[D]. Harbin: Harbin Institute of Technology, 2016.

[8] Qin Chong. Design and research of a new flexible three-dimensional force tactile sensor[J]. Sensors and Microsystems, 2023, 42(10):99-102.

[9] Yu Zhiwei, Gong Jun, Wu Qiang, et al. Design and decoupling test research of small three-dimensional force sensor[J]. Journal of Sensor Technology, 2012, 25(1):38-43.

[10] Lee H K, Chung J, Chang S I, et al. Normal and shear force measurement using a flexible polymer tactile sensor with embedded multiple capacitors[J]. Journal of Microelectromechanical Systems, 2008, 17(4): 934-942.

[11] Zhao Ningjuan. Design and implementation of highly sensitive ionic capacitive flexible three-dimensional force tactile sensor[D]. Xidian University, 2023.

[12] Xu Taipu. Design, preparation and application of capacitive flexible three-dimensional force tactile sensor[D]. Jiangsu University, 2022.

[13] Yu P, Liu W, Gu C, et al. Flexible piezoelectric tactile sensor array for dynamic three-axis force measurement[J]. Sensors, 2016, 16(6): 819.

[14] Zhang Yanfang, Liu Yurong, Xu Zhangcheng. Design of three-dimensional force sensor based on PVDF[J]. Chinese Journal of Scientific Instruments, 2021, 42(07): 66-72.

[15] Zhang C, Zhang R, Ji C, et al. Bioinspired crocodile skin-based flexible piezoelectric sensor for three-dimensional force detection[J]. IEEE Sensors Journal, 2023.

[16] Cao Huibin, Ge Yunjian, Sun Yuxiang, et al. Research and development of six-dimensional force/torque sensors[J]. Measurement and Control Technology, 2020, 39(05):15-20+58.

[17] Qin Yuanlin, Liu Chi, Xu Kexin, et al. Design and analysis of elastic body of small three-dimensional force sensor[J]. Mechanical Manufacturing, 2024, 62(03):27-30+37.

[18] Luo Xunhuang, Zhou Xinglin, Guan Jiaxi, et al. Research on high-precision strain-type three-dimensional force sensor[J]. Sensors and Microsystems, 2022, 41(05):64-67+71.

[19] Yang Wei. Design and experimental study of rigid-flexible hybrid large deformation parallel three-dimensional force sensor[D]. Yanshan University, 2019.

[20] Zhao Peng, Wang Guicong, Li Yingjun, et al. Research and development of combined self-decoupling piezoelectric film three-dimensional force sensor[J]. Journal of Xi'an Jiaotong University, 2023, 57(03):139-149.

[21] Mao Leidong. Research on robot soft grasping strategy based on tactile perception system[D]. Hefei: Hefei University of Technology, 2018.

[22] Zhang Ting. Research on three-dimensional force tactile sensor and dynamic grasping of humanoid prosthetic fingertips[D]. Harbin: Harbin Institute of Technology, 2014.

[23] Wu Jiaqi. Research and development of plantar three-dimensional force sensor[D]. Fujian University of Technology, 2023.

[24] Xue Hongwei. Three-dimensional plantar force perception and application based on magnetic field[D]. Huazhong University of Science and Technology, 2023.

[25] Zhang Feng. Plantar interface stress measurement system based on flexible three-dimensional force sensor[D]. Xi'an: Xidian University, 2018.

*