| PART 1: |  |
| --- | --- |
| Journal Name: | Journal of Engineering Research and Reports |
| Manuscript Number: | Ms_JERR_135541 |
| Title of the Manuscript: | TREATMENT OF EFFLUENT WATER FROM FUTO HOSTEL USING PAWPAW SEEDS AS A NATURAL COAGULANT |
| Type of the Article |  |

| ## PART 2: |  |
| --- | --- |
| ## FINAL EVALUATOR’S comments on revised paper (if any) | ## Authors’ response to final evaluator’s comments |
| - While the abstract mentions the final turbidity levels, explicitly stating whether the treated effluent met the NESREA standard for turbidity (5 NTU) under the optimal conditions would be very informative. - If the pawpaw seed treatment resulted in notable reductions in parameters like COD, BOD, or E. coli, quantifying these reductions in the abstract would significantly strengthen it. - There was no consistency among the results displayed in Tables 3, 4, 5, 6 as some times they presented as %, and some tables represent just the no. these tables need to be restructured. - Graph Clarity: The titles for Graphs 1, 2, and 3 refer to "%Turbidity Removal against Time in pH2," "%Turbidity Removal against Time in pH4," and "%Turbidity Removal against Time in pH6," respectively. It would be more informative to include the coagulant dosage as a variable in the legend of these graphs to clearly distinguish the performance at different dosages over time for each pH. - Microbial Analysis Units: In Table 1, the units for E. coli and Klebsiella counts are "cfu\ml". It's standard practice to write this as "cfu/mL". Please ensure consistency throughout the manuscript. Also, the table indicates "NG" for some microbial counts, which might mean "Not detected" or "Not quantified." Please clarify this abbreviation in the caption or text. - Fig.4,5,6 are newly introduced but with the same title..they must be distinguished in their title. - Authors could have spent time on editing the previous manuscript based on our earlier comments. Instead, they come up with and an extended manuscript with new graphical results. It is encouraged to expand the content but they must focus on editing the document based on the comments received earlier too. - Figure 2 and 3 are not good in quality. - Figure captions style is not consistent…Fig..some times..Figure some places…need to be uniform style. |  |

| PART 3: Objective Evaluation: |  |
| --- | --- |
| Guideline | MARKS for this REVISED manuscript |
| Give OVERALL MARKS you want to give to this REVISED manuscript ( Highest: 10 Lowest: 0 ) Guideline: Accept (8-10) Revision required: (4-8) Rejected: (0-4) | As I couldn’t see much significant changes as a response to the first review in the revised manuscript. 7.5 (Revision Required) |