| Journal Name: | Asian Journal of Advanced Research and Reports |
| --- | --- |
| Manuscript Number: | Ms_AJARR_141186 |
| Title of the Manuscript: | PSO Enhanced and Deep ANN Control for Voltage Regulation and Harmonic Mitigation in Electrical Distribution Networks |
| Type of the Article | Original Research Article |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | This research provided valuable insights for the distribution network connected innIEEE 33 bus system with PSO and Deep ANN optimizer contributing to power quality enhancement . |  |
| Is the title of the article suitable? (If not please suggest an alternative title) | Yes. |  |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | Yes. |  |
| ## Is the manuscript scientifically, correct? Please write here. | Yes. - The author has mentioned Deep ANN in the Title and has not reflected the term Deep along with ANN in the Table and Results (picture) . It is requested to clarify the same. - The THD analysis and the tool used to determine the same using hybrid combination of PSO and Deep ANN is required. Suggesting the above for Minor revision. | ## 1. The controller implemented in this study utilized a 7-layer deep artificial neural network (ANN), as described in Section 3. The term "Deep ANN" refers to the use of this multi-layered architecture, which was explicitly incorporated in the methodology and the simulation results. ## 2. The study does not focus on a hybrid approach of combining PSO and Deep ANN in a single controller. Instead, the focus is on evaluating and comparing the performance of individually optimized controllers for Dynamic Voltage Restorers (DVRs): one enhanced by Particle Swarm Optimization (PSO) and the other enhanced by Deep ANN. The THD measurements presented are the results of these separate approaches. |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | Sufficient. |  |
| ## Is the language/English quality of the article suitable for scholarly communications? | YEs |  |
| ## Optional/General comments |  |  |

| PART 2: |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in detail) No |  |