| Journal Name: | Journal of Engineering Research and Reports |
| --- | --- |
| Manuscript Number: | Ms_JERR_142745 |
| Title of the Manuscript: | Design and Research of Magnetic Liquid Tilt Sensor |
| Type of the Article | Opinion Article |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. |  |  |
| Is the title of the article suitable? (If not please suggest an alternative title) | Need to revise the title and emphasis the methodology |  |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | NO |  |
| ## Is the manuscript scientifically, correct? Please write here. | yes |  |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | No |  |
| ## Is the language/English quality of the article suitable for scholarly communications? | Somehow |  |
| ## Optional/General comments | The authors investigate the second-order buoyancy mechanism in magnetic liquids and leverage this phenomenon to design and fabricate a novel miniaturized tilt sensor, with compact dimensions of 80 mm in length and 5.5 mm inner diameter. The study begins with a comprehensive review of theoretical models and recent advances in both first-order and second-order buoyancy effects, highlighting a key advantage of the latter: its ability to enable passive suspension and self-recovery of a permanent magnet without requiring an external magnetic field. This intrinsic restoring force mechanism eliminates the need for complex biasing or actuation components, thereby simplifying sensor architecture and reducing manufacturing costs. By harnessing second-order buoyancy, the proposed sensor achieves reliable tilt detection with enhanced structural simplicity and potential for low-power, maintenance-free operation, offering a promising approach for compact inclination sensing in industrial and environmental monitoring applications. The work is interesting and here are few comments: - Design parameters are not clear of buoyancy mechanism in magnetic liquids - Add ref for equation 2.1 - The equation 2.8 is missing and not clear to read. - The text in Figure 7 is too small and hard to read. - Figure 9, there are Chinese character in figure. Please revise it - Add error bar in Figure 12 and 13 and replace Chinese character to English from figure - Despite magnetic liquid tilt sensors, there are many optical fiber based liquid level sensors such as Sensors 2025, 25(16), 5009; IEEE Sensors Journal 24, 19, 30104 - 30111 2024; Scientific Reports 15 (1), 1163, 2025. | REVISED |

| PART 2: |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in details) |  |