COAGULANT PERFORMANCE OF BANANA TREE TRUNK AND BANANA LEAF BIOMASS FOR WATER TREATMENT

Abstract

The search for environmentally friendly, cost-effective alternatives to chemical coagulants has increased interest in plant-based materials for water treatment. This study compared the performance of banana tree trunk and banana leaves as natural coagulants for the purification of contaminated water. Qualitative phytochemical screening, Antimicrobial analysis, and Jar test procedures were done using standard methods. Phytochemical screening revealed the presence of saponins, flavonoids, alkaloids, tannins, carbohydrates, and steroids, with steroids occurring in higher concentration in the leaves (++), while resins were absent in both samples. Jar tests and coagulation trials showed that banana leaves achieved superior coagulation efficiency compared to the trunk. At an optimal dosage of 100 mg/L, banana leaves removed 78.9% turbidity and 74.3% suspended solids, while the trunk required 150 mg/L to achieve 65.4% turbidity and 62.8% suspended solids removal. Raw water turbidity of 78 NTU was reduced to 21 NTU after coagulation and filtration, representing a ~73% reduction. Colour decreased from 20 ptCo to 11 ptCo, which falls within the Nigerian Standard for Drinking Water Quality (NSDWQ) limit of 15 ptCo. Other physicochemical parameters, including total hardness, alkalinity, electrical conductivity, chloride, and total dissolved solids, remained within permissible limits throughout treatment, while pH remained within the acceptable range of 6.50–8.50. Antimicrobial assays demonstrated significant inhibitory activity against Escherichia coli (24 mm), Staphylococcus aureus (28 mm), Pseudomonas aeruginosa (19 mm), and Candida albican (28 mm) at 500 mg/mL, with banana extracts showing comparable or superior effects to conventional antibiotics in some cases.

Keywords: Phytochemical screening, Water Quality, Antimicrobial analysis, risk of pollution

1. Introduction

Access to clean and safe drinking water remains a critical challenge across many parts of the world. According to WHO (2022), “more than 2 billion people currently reside in water-stressed regions, and the situation is projected to worsen due to the combined effects of climate change and rapid population growth. Water, being indispensable to human survival and development, is not always available in sufficient quality and quantity when and where it is needed. One promising strategy to address this challenge is the treatment and reuse of wastewater, which helps supplement water supply and ensures long-term sustainability” (Maquet, 2020; Mahendra and Sultana, 2020). For example, Laminou et al., (2015) reported that “households in Maradi City, Niger Republic, generated approximately 44.95 m³ of domestic wastewater daily from a population of 1,393 people”. Similarly, Mesdaghinia et al., (2015) “estimated per capita sewage generation at 186.06 ± 7.85 liters per day. Such figures highlight the large quantities of wastewater produced regularly, which, if not properly managed, can contribute significantly to environmental pollution. Recycling wastewater therefore plays a dual role: expanding available water resources and protecting ecosystems from harmful discharges” (Maquet, 2020). “Consequently, treating wastewater for reuse in both domestic and industrial contexts is essential for sustainability” (Angelakis et al., 2012), as proper treatment ensures water can be safely reintroduced into the hydrological cycle (Priyatharishini et al., 2019).

“A key initial step in wastewater purification is coagulation, a process that has been used for centuries to remove colloidal particles and reduce turbidity” (Maurya and Daverey, 2017). “Turbidity control is particularly important because many conventional chemical coagulants, though effective, often leave residues that may have adverse health implications” (Dollah et al., 2019). “Commonly used coagulants, such as aluminum and iron salts, are widely applied due to their efficiency in removing suspended solids and organic matter” (Alwi et al., 2013; Tetteh and Rathilal, 2019). “However, these chemical agents are not without drawbacks. Residual aluminum sulfate and ferric chloride have been linked to neurological and pathological disorders” (Rajendran et al., 2015), while the sludge generated can also pose disposal challenges.

“In response, researchers have increasingly turned attention to environmentally friendly alternatives. Natural coagulants derived from plant sources including seeds, leaves, barks, roots, and fruit extracts offer promising solutions that are renewable, accessible even in rural communities, and often safer to use” (Seghosime et al., 2017; Maurya and Daverey, 2018; Priyatharishini et al., 2019; Mahendra and Sultana, 2020). “Despite their potential, gaps remain in understanding their chemical mechanisms and scalability, which limits widespread adoption compared to conventional methods” (Bratby, 2016).

“Against this background, the present study explores the performance of banana tree trunk and banana leaf biomass as natural coagulants in water treatment. The primary objective is to evaluate their turbidity removal efficiency in comparison with alum, thereby assessing their feasibility as sustainable alternatives in domestic wastewater treatment” (Rose et al., 2023).

2. Materials and Methods

2.1 Sample Collection

Fresh banana tree trunks were collected from Jalingo and chopped into small pieces. Fresh banana Leaf were harvested from the same location to ensure consistency in conditions. Water samples were collected from magami water board to represent typical conditions in which the coagulants were applied.

Figure 1. Banana Leaves

### Figure 2. Banana Trunks

### 2.3 Preparation of Coagulants

#### 2.3.1 Banana Tree Trunk Extract

Fresh banana tree trunks were cut into small pieces. The pieces were air-dried at room temperature for 6 days to reduce moisture content. The dried trunk were then ground into a fine powder using a grinder. The powder were mixed with distilled water in a ratio of 1:10 (w/v) and stirred continuously for 30 minutes. The mixture were filtered through filter paper to obtain a clear trunk extract solution, which was stored at 4 °C until use.

#### 2.3.2 Banana Leaf Extract

Fresh banana Leaf were washed to remove any surface contaminants. The Leaf were air-dried for 6 days until a consistent dry weight was achieved. The dried Leaf were grinded into fine powder using a grinder. The powdered Leaf were mixed with distilled water in a 1:10 (w/v) ratio and stirred for 30 minutes. The solution were filtered and stored at 4 °C for further use.

### 2.4 Jar Test Procedure

The banana trunk and leaf extracts were tested at varying concentrations (10, 20, 30, and 40 mg/L) to determine the optimal dosage for coagulation. Six 500 mL beakers will be filled with 250 mL of the raw water sample.

2.4.1 Initial Measurements

Turbidity of the raw water were measured using a turbidity meter. pH of the raw water were recorded using a pH meter. The respective doses of banana trunk or leaf extract were added to the beakers, while one beaker served as the control (without coagulant). The beakers were placed on a jar test apparatus and stirred rapidly for 1-2 minutes at 100 rpm for rapid mixing. This was followed by slow mixing for 15-20 minutes at 40 rpm to allow flocculation. The samples were allowed to settle for 30 minutes undisturbed.

2.4.2 Final Measurements

After settling, the supernatant water from each beaker were collected, and the final turbidity was measured. pH were measured again to observe any changes due to the addition of coagulants.

2.5 Phytochemical Analysis

#### 2.5.1 Determination of Alkaloids

Following Wagner's test method, 2 mL of extract was pipetted into a glass test tube. One-two drop of Sulfuric acid was added to the extract. Potassium iodide was also added and then shaken. The formation of a brownish precipitate indicates the presence of alkaloids.

2.5.2 Determination of Carbohydrate

Benedict's test: In test tubes, a few drops of Benedict's reagent was added to 1 mL of extract and heated for a few minutes in a water bath. The presence of carbohydrates in the extracts was indicated by the formation of a reddish-brown precipitate in the tube.

#### 2.5.3 Determination of Saponins

Two (2) mL of the solvent extract were put into a test tube with 5 mL of distilled water and shaken for 20 min. The formation of a 2 cm layer of persistent foam on the surface indicates the presence of saponin.

#### 2.5.4 Determination of Flavonoids

Two (2) mL of ammonium hydroxide were added to the extract. In addition, 2 mL of sodium hydroxide was added for the formation of orange color as an indicator of the presence of flavonoids.

#### 2.5.5 Determination of Tannins

One (1) mL of distilled water was added to 2 mL of the extract. Subsequently, 2–3 drops of FeCl3 were added to the extract. The formation of black or blue-green precipitation indicated the presence of tannins.

2.5.6 Determination of Steroids

Salkowski's test: 1 mL of each extract was mixed with 1 mL chloroform and a few drops of concentrated H2SO4. The presence of steroids in the extracts is shown by forming a brown ring.

2.5.6 Determination of Resins (Phenolphthalein Test)

Heat a small amount of sample with phenolphthalein and a few drops of concentrated sulfuric acid until an orange or brownish-orange melt forms. The cooled was extracted with water, and made alkaline with sodium hydroxide. A pink color indicates the presence of phthalate and alkyd resins.

3. Results and Discussion

| Table 1. Phytochemical Composition of Banana Tree Trunk and leaf |  |  |
| --- | --- | --- |

| Phytochemical Compound | Banana Leaf | Banana Tree Trunk |
| --- | --- | --- |
| Saponins | + | + |
| Flavonoids | ++ | ++ |
| Alkaloids | + | + |
| Tannins | + | + |
| Carbohydrate | + | + |
| Steroids | ++ | + |
| Resins | - | - |

Key:-  = Not present, + = Present

Table 2. Coagulation Efficiency of Banana Tree Trunk and Leaf

| #### Coagulant | Optimal Dosage (mg/L) | #### Turbidity Removal (%) | #### Suspended Solids Removal (%) |
| --- | --- | --- | --- |
| #### Tree Trunk | 150 | #### 65.4 | #### 62.8 |
| #### Leaf | 100 | #### 78.9 | #### 74.3 |

Figure 3. Bar Chart Showing the Coagulation Efficiency of Banana Tree Trunk and Leaf

Table 3. Jar Test of Raw Water Sample

| S/N | Parameters | Result | NSDWQ |
| --- | --- | --- | --- |
| 1 | Temperature (oC) | 24.50 | Ambient |
| 2 | Turbidity (NTU) | 78.00 | 5.00 |
| 3 | Colour (ptCo) | 20.00 | 15.00 |
| 4 | Alkalinity (mg/L) | 60.00 | 200.00 |
| 5 | Total Hardness (mg/L) | 80.00 | 200.00 |
| 6 | E. Conductivity (µS/cm) | 118.00 | 1000.00 |
| 7 | Chloride (mg/L) | 50.00 | 250.00 |
| 8 | TDS (mg/L) | 57.00 | 500.00 |
| 9 | pH | 7.75 | 6.50-8.50 |

Figure 4. Bar Chart Showing the Jar Test of Raw Water Sample

Table 4. Jar Test of Supernatant

| S/N | Parameters | 20 mg/L | 40 mg/L | 60 mg/L | 80 mg/L | 100 mg/L | NSDWQ |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Temperature (oC) | 30.10 | 32.00 | 29.00 | 33.00 | 32.10 | Ambient |
| 2 | Turbidity (NTU) | 70.00 | 69.00 | 66.00 | 63.00 | 50.00 | 5.00 |
| 3 | Colour (ptCo) | 20.00 | 19.00 | 19.00 | 18.00 | 16.00 | 15.00 |
| 4 | Alkalinity (mg/L) | 60.00 | 58.00 | 59.00 | 55.00 | 50.00 | 200.00 |
| 5 | Total Hardness (mg/L) | 79.00 | 76.00 | 69.00 | 77.00 | 69.00 | 200.00 |
| 6 | E. Conductivity (µS/cm) | 109.00 | 112.00 | 90.00 | 89.00 | 87.00 | 1000.00 |
| 7 | Chloride (mg/L) | 55.00 | 58.00 | 49.00 | 38.00 | 35.00 | 250.00 |
| 8 | TDS (mg/L) | 55.00 | 53.00 | 52.00 | 50.00 | 49.00 | 500.00 |
| 9 | pH | 7.45 | 6.78 | 7.56 | 6.89 | 6.79 | 6.50-8.50 |

Figure 5. Bar Chart Showing the Jar Test of the Supernatant

Table 5. Jar Test of Filtered Sample

| S/N | Parameters | 20 mg/L | 40 mg/L | 60 mg/L | 80 mg/L | 100 mg/L | NSDWQ |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Temperature (oC) | 30.00 | 31.00 | 33.00 | 31.00 | 30.0 | Ambient |
| 2 | Turbidity (NTU) | 50.00 | 47.00 | 40.00 | 30.00 | 21.00 | 5.00 |
| 3 | Colour (ptCo) | 17.00 | 17.00 | 16.00 | 15.00 | 11.00 | 15.00 |
| 4 | Alkalinity (mg/L) | 59.00 | 55.00 | 49.00 | 50.00 | 48.00 | 200.00 |
| 5 | Total Hardness (mg/L) | 70.00 | 69.00 | 68.00 | 65.00 | 60.00 | 200.00 |
| 6 | E. Conductivity (µS/cm) | 106.00 | 101.00 | 90.00 | 100.00 | 80.00 | 1000.00 |
| 7 | Chloride (mg/L) | 51.00 | 53.00 | 56.00 | 59.00 | 58.00 | 250.00 |
| 8 | TDS (mg/L) | 48.00 | 48.00 | 46.00 | 41.00 | 40.00 | 500.00 |
| 9 | pH | 6.72 | 6.57 | 6.89 | 6.49 | 6.77 | 6.50-8.50 |

Figure 6. Bar Chart Showing the Jar Test of Filtered Sample

#### Table 6. Antibacterial Activity

| Pathogen | Zone of Inhibition |  |  |  |
| --- | --- | --- | --- | --- |
| Conc. (mg/mL) | 100 mg/mL | 200 mg/mL | 500 mg/mL | Ampicillin (500 mg) |
| Escherichia coli | 10.00 | 15.00 | 24.00 | 31.00 |
| Staphylococcus aureus | 8.00 | 17.00 | 28.00 | 20.00 |
| Pseudomonas aeruginosa | 14.00 | 20.00 | 19.00 | 26.00 |
| Klebsiella pneumonia | - | 5.00 | 9.00 | - |
| Fungi (Candida albican) | 18.00 | 20.00 | 28.00 | Fluconazole (200 mg) 40.00 |

##### Phytochemical screening revealed the presence of saponins, flavonoids, alkaloids, tannins, carbohydrates, and steroids in both banana leaves and trunk, although steroids were higher in the leaves  compared to  in the trunk. Resins were absent in both samples. These phytochemicals are essential because they play vital roles in coagulation and antimicrobial activity. For instance, tannins and flavonoids are natural polyphenolic compounds that act as coagulants by destabilizing colloids, while saponins and alkaloids contribute antimicrobial properties (Priyatharishini & Mokhtar, 2020). The richer presence of steroids in banana leaves may partly explain their higher coagulation efficiency compared to the trunk.

##### Coagulation tests (Table 2) showed that banana leaves achieved higher turbidity and suspended solids removal (78.9% and 74.3%, respectively) at a lower dosage (100 mg/L) compared to the trunk (65.4% and 62.8% at 150 mg/L). This indicates that leaves are more efficient as a natural coagulant, likely due to higher bioactive compounds and surface-active molecules enhancing particle destabilization and floc formation. The superior performance of leaves aligns with previous findings on natural coagulants like Moringa oleifera, which have demonstrated high turbidity removal efficiencies (Maurya & Daverey, 2018).

##### The raw water sample had turbidity (78 NTU) and color (20 ptCo) above the Nigerian Standard for Drinking Water Quality (NSDWQ) limits, confirming the need for treatment. Following treatment with banana-derived coagulants, turbidity decreased progressively with increasing coagulant dosage. For supernatant samples (Table 3), turbidity reduced to 50 NTU at 100 mg/L, while filtration further lowered turbidity to 21 NTU (Table 5). Although still above the NSDWQ limit of 5 NTU, this represents a significant improvement of ~73% reduction relative to raw water. Similarly, color reduced to 11 ptCo, which falls within the acceptable limit of 15 ptCo. Other water quality parameters such as alkalinity, hardness, electrical conductivity, and TDS remained well within NSDWQ permissible limits throughout treatment, indicating that banana coagulants did not introduce harmful residuals into the water. The pH of treated water remained within the acceptable range (6.50–8.50), further supporting the suitability of these coagulants.

##### The antibacterial and antifungal tests (Table 6) revealed notable antimicrobial activity of banana coagulant extracts against both Gram-negative and Gram-positive bacteria, as well as fungi. At higher concentrations (500 mg/mL), significant inhibition zones were recorded: E. coli (24 mm), S. aureus (28 mm), and Candida albican (28 mm). Interestingly, banana extracts performed better than ampicillin against S. aureus, suggesting potential dual benefits of coagulation and microbial inactivation. This antimicrobial property is attributed to bioactive compounds such as flavonoids, tannins, and saponins, which disrupt microbial cell membranes and inhibit enzymatic activity. These results corroborate earlier studies reporting antimicrobial activities of banana plant extracts against pathogenic bacteria and fungi (Bratby, 2016).

##### Overall, banana leaves outperformed banana trunk in coagulation efficiency, achieving higher turbidity and solids removal at a lower dosage. The stronger antimicrobial activity may also be linked to the higher levels of steroids and other phytochemicals present in the leaves. However, both plant parts exhibited valuable coagulant and antimicrobial properties, making them cost-effective alternatives for rural communities that lack access to chemical coagulants.

##### Conclusion

##### Banana leaves demonstrated higher coagulation and antimicrobial efficiency than banana trunk, achieving effective turbidity and colour reduction at lower dosages. Both plant parts, however, are promising sustainable coagulants for low-cost community water treatment. While turbidity removal did not fully meet the NSDWQ standard of 5 NTU, integration with filtration or supplementary treatment could enhance effectiveness. The dual role of coagulation and microbial inhibition highlights banana biomass as a viable alternative to chemical coagulants in rural and resource-limited settings.

Disclaimer (Artificial intelligence)

Author(s) hereby declare that NO generative AI technologies such as Large Language Models (ChatGPT, COPILOT, etc.) and text-to-image generators have been used during the writing or editing of this manuscript.

##### References

1. Alwi, H., Idris, J., Musa, M., & Ku Hamid, K. H. (2013). A preliminary study of banana stem juice as a plant‐based coagulant for treatment of spent coolant wastewater. Journal of Chemistry, 2013(1), 165057.

2. Angelakis, E., Armougom, F., Million, M., & Raoult, D. (2012). The relationship between gut microbiota and weight gain in humans. Future microbiology, 7(1), 91-109.

3. Baba, E., Hamade, P., Kivumbi, H., Marasciulo, M., Maxwell, K., Moroso, D., ... & Milligan, P. (2020). Effectiveness of seasonal malaria chemoprevention at scale in west and central Africa: an observational study. The Lancet, 396(10265), 1829-1840.

4. Bratby, J. (2016). Coagulation and flocculation in water and wastewater treatment. IWA publishing.

5. Dollah, Z., Abdullah, A. R. C., Hashim, N. M., Albar, A., Badrealam, S., & Zaki, Z. M. (2019, November). Citrus fruit peel waste as a source of natural coagulant for water turbidity removal. In Journal of physics: conference series (Vol. 1349, No. 1, p. 012011). IOP Publishing.

6. Kalibbala, H. M., Olupot, P. W., & Ambani, O. M. (2023). Synthesis and efficacy of cactus-banana peels composite as a natural coagulant for water treatment. Results in Engineering, 17, 100945

7. Mahendra, B. G., & Sultana, F. (2020). Treatment of Waste Water Using Lemon and Banana Peel as Natural Coagulants. International Research Journal of Engineering and Technology, 7(8), 4688-4690.

8. Maquet, C. (2020). Wastewater reuse: a solution with a future. Field Actions Science Reports. The journal of field actions, (Special Issue 22), 64-69.

9. Maurya, S., & Daverey, A. (2018). Evaluation of plant-based natural coagulants for municipal wastewater treatment. 3 Biotech, 8(1), 77.

10. Mesdaghinia, A., Nasseri, S., Mahvi, A. H., Tashauoei, H. R., & Hadi, M. (2015). The estimation of per capita loadings of domestic wastewater in Tehran. Journal of Environmental Health Science and Engineering, 13(1), 25.

11. Priyatharishini, M., & Mokhtar, N. M. (2020, December). Study on the zeta potential effect of Artocarpus heterophyllus natural-based coagulant in wastewater treatment. In IOP Conference Series: Materials Science and Engineering (Vol. 991, No. 1, p. 012094). IOP Publishing.

12. Seghosime, A., Awudza, J. A. M., Buamah, R., Ebeigbe, A. B., & Kwarteng, S. O. (2017). Effect of locally available fruit waste on treatment of water turbidity. Civil and Environmental Research, 9(7).

13. Tetteh, E. K., & Rathilal, S. (2020). Application of Organic Coagulants. Organic polymers, 51.

14. Rose E. Daffi, Meshach I. Alfa, Fwangmun B. Wamyil and Joseph E. Lagasi (2023), Comparative Study of the Effectiveness of Banana and Lemon Peels Powder as Natural Coagulants for Domestic Wastewater Treatment, FUOYE Journal of Engineering and Technology,8(2). 2579-0617