| Journal Name: | Journal of Advances in Medicine and Medical Research |
| --- | --- |
| Manuscript Number: | Ms_JAMMR_146776 |
| Title of the Manuscript: | ACCURACY OF DYNAMIC AND LOCATOR MODES IN INTEGRADE APEX LOCATOR MOTORS: AN EX VIVO STUDY |
| Type of the Article | Original Research Article |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | This manuscript provides an important contribution to the scientific community by evaluating the accuracy of modern endodontic motors integrated with electronic apex locators. Comparing the clinical precision of these advanced devices with standalone systems offers clinicians a scientific basis for selecting appropriate instruments to enhance safety and efficiency in endodontic procedures. Moreover, the study reveals the effects of dynamic measurement modes and file sizes on accuracy, providing valuable insights for future research and clinical applications. In this regard, the work offers significant information on the integration of technological advancements into clinical practice within the field of digital endodontics. | ## Thank you. |
| Is the title of the article suitable? (If not please suggest an alternative title) | Yes | ## Thank you. |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | The abstract of the manuscript is generally comprehensive and well-structured; the study’s aim, methodology, devices used, statistical outcomes, and clinical relevance are clearly presented. \ However, a few minor revisions could make the abstract stronger: - A brief mention of the statistical methods used (e.g., type of test or significance level) could be added to enhance the scientific credibility of the results. - The clinical significance could be emphasized more clearly by adding one or two sentences explaining what the findings mean for dental practitioners in clinical practice. - A short description of the sample selection (such as root type of the teeth, age range, or sterilization method) would improve the study’s reproducibility. - If deemed appropriate, the final sentence could briefly mention how this study may guide future research in the field. | The abstract has been revised to include a brief description of the sample, the statistical methods and significance level used, and a clearer statement of clinical relevance. A final sentence was also added to indicate the potential direction for future research. Thank you. |
| ## Is the manuscript scientifically, correct? Please write here. | The manuscript appears to be scientifically sound overall. The study’s objective is clearly defined, the methodology is systematically designed, and the devices as well as the comparison criteria are appropriately selected. In addition, the inclusion of statistical analyses supports the scientific validity of the results. However, to fully confirm the scientific accuracy of the work, it is recommended to carefully review the details of the statistical tests used, the adequacy of the sample size, and the sections discussing potential biases. Overall, the methodology and findings are consistent with the existing literature and appear scientifically valid. | ## We have revised the abstract in accordance with the referee’s suggestions and thank you for your feedback. Seria bom rever o teste e o tamanho da amostra e algum vies estatístico. |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | Yes, it is sufficient and up to date | ## Thank you. |
| ## Is the language/English quality of the article suitable for scholarly communications? | Yes | Thank you. |
| ## Optional/General comments | - |  |

| PART 2: |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | No |  |