Original Research Article

Physical properties of expired composite resins after photoactivation and air fryer thermal treatment

.

.

ABSTRACT

Aims: This study aimed to investigate the Physical properties of two expired composite resins after an experimental air fryer thermal treatment. Material and Methods: Three factors were assessed at two levels each: composite resin (Filtek Z350 XT, 3M ESPE, or Opallis, FGM), polymerization protocol (light only or light + heat), and expiration date (expired or non-expired). Resin bars (n = 6) measuring 2 × 2 × 12 mm were fabricated for three-point micro-flexural testing, and cylindrical specimens (n = 4) measuring 2 mm × 5 mm were prepared for Knoop microhardness testing. Additionally, cylindrical specimens (n = 4) measuring 1 mm × 15 mm were used for water sorption and solubility tests. Data were analyzed by three-way ANOVA and Tukey post-hoc test. Results: Knoop microhardness differed significantly among groups (p = 0.024), with highest values for non-expired Z350 XT activated by light, expired Z350 XT activated by light + heat, and non-expired Opallis activated by light. No significant differences were found for flexural strength (p = 0.423), elastic modulus (p = 0.365), or water sorption and solubility (p = 0.893 and p = 0.193, respectively). Conclusion: Except for microhardness, the physical properties analyzed of the expired composite resins were not affected by expiration date, polymerization protocol, or resin type.

Keywords: Composite Resins; Flexural Strength; Hardness Tests; Heat Treatment; Solubility.

1. INTRODUCTION

Composite resin is one of the most widely used materials for direct restorations in operative dentistry. Its popularity has increased due to advances in physical, mechanical and esthetic properties, as well as to the development of adhesive systems [1–3].

In esthetic restorations, clinicians often select composites of multiple shades and saturation levels. Consequently, a broad palette of resin shades is purchased, even when only small volumes of certain shades are dispensed, which often leads to material expiration before complete consumption [4,5]. A similar scenario is observed in dental schools, where large material purchases aimed at cost reduction frequently result in unused, expired resin batches [1,2].

The expiration date of a dental material is the interval during which the manufacturer guarantees optimal performance and assures its safety and non-toxicity. Although expired composite resins are not recommended for permanent restorations, they may be used for indirect provisional restorations [2]. Previous investigations assessing microhardness, water sorption and shear strength of expired composites found no statistically significant differences [1,7].

Although composite resins for indirect applications are commercially available, they share essentially the same chemical composition as direct composites. Their primary distinction is the monomer conversion stage, which occurs under controlled laboratory conditions [8–10].

These conditions include increased irradiance during photoactivation and the application of heat for predetermined periods (post-cure heat treatment) [11–16]. Heat application enhances the mechanical properties of cured composites by increasing monomer conversion and decreasing residual unreacted monomers [9,14,17].

Manufacturers have also developed specialized ovens for thermal polymerization, but these devices are costly [8,14,18,19]. Other technologies commonly available in dental offices, such as autoclaves and microwaves, can likewise raise the temperature of photoactivated direct composites, thereby increasing monomer to polymer conversion [8,10,14,15,18,19].

An alternative device for this procedure is the air fryer, which offers precise temperature and time control at lower cost and with high portability. To date, no studies have evaluated its application in composite post-cure treatment. According to the manufacturer’s manual, the air fryer uses an integrated turbine and resistive heating element system to circulate hot air within the chamber, rapidly cooking and baking foods. This air circulation technology ensures uniform heating from all sides.

Therefore, it is proposed that employing direct composite resins beyond their expiration date through a direct–indirect restoration technique that combines photoactivation with controlled thermal treatment in an air fryer may offer a novel approach for clinical restorative practice while contributing to the reduction of material waste.

The present study evaluated the physical properties (mini flexural strength, elastic modulus, Knoop microhardness, water sorption and solubility) of two expired composite resins after experimental thermal treatment in an air fryer. The null hypothesis was that air fryer thermal treatment following photoactivation would not significantly affect the physical properties of the expired composite resins.

2. material and methods

This study employed a factorial design with three factors assessed at two levels each: resin type (Filtek Z350 XT or Opallis); polymerization protocol (light only or light + heat); and expiration status (expired or non-expired). All expired resins were used within 12 months after their expiration date. The experimental design and material composition are detailed in Table 1

Table I - Material formulation and experimental group design used in this study.

| Material | Composition | Groups |  |
| --- | --- | --- | --- |
| Filtek Z350 XT 3M ESPE, Sumaré, Brasil | TEGDMA, Bis-EMA, UDMA, PEGDMA. Unagglomerated silica and zirconia particles (20 nm and 4 – 11 nm, respectively) Aggregated silica/zirconia (0.6 – 10 μm). 72.5% by weight and 55.5% by volume. Camphorquinone. Shade: A1B | Polymerization protocol | Condition |
|  |  | Light only | Expired |
|  |  |  | Unexpired |
|  |  | Light + Heat | Expired |
|  |  |  | Unexpired |
| Opallis FGM Produtos Odontológicos, Joinville, Brasil | Bis-GMA, Bis-EMA, TEGDMA, UDMA, co-initiator, silane. Silanized barium-aluminum-silicate glass filler (0.5 μm). 78.5 – 79.8% by weight and 57.0 – 58.0% by volume. Shade: DA1 | Light only | Expired |
|  |  |  | Unexpired |
|  |  | Light + Heat | Expired |
|  |  |  | Unexpired |

For light curing, a Valo corded LED curing unit (1000 mW/mm²; Ultradent Products Inc., Salt Lake City, UT, USA) was used. Thermal treatment was performed with an air fryer (Mondial AF-03®, Bahia, Brazil). Specimens cured with light only were polymerized according to each manufacturer’s instructions: Opallis, 40 s; Filtek Z350 XT, 20 s.

Specimens designated for thermal treatment were first photoactivated and, after a 10 min interval, placed in an air fryer preheated to 170 °C for 5 min and subsequently treated at the same temperature for 10 min, following Santana et al. [18].

When more than one composite-resin increment was required during specimen fabrication, each subsequent photoactivation was performed with the light-curing unit’s tip supported on the specimen holder. For the final layer, the resin was covered with a polyester strip and glass slide, then cured with the light tip resting directly on the assembly.

2.1 - Flexural strength and elastic modulus

Forty-eight composite resin bars were fabricated using an addition-silicone mold (Scan Putty; Yller, Pelotas, Brazil) placed inside a polyvinyl-chloride (PVC) cylinder (5 mm diameter × 4 mm height). The bars measured 2.0 mm (±0.1 mm) wide, 2.0 mm (±0.1 mm) thick, and 12.0 mm (±0.1 mm) long [14,15].

After 24 h of storage in distilled water at 37 °C in an incubator, elastic modulus and flexural strength were determined by a three point micro‐flexural test on a universal testing machine (Instron 3345; Instron Inc., Canton, MA, USA) equipped with a 500 N load cell. Tests were performed at a crosshead speed of 0.5 mm/min and a support span of 10 mm.

2.2 - Knoop microhardness (KHN)

Cylindrical specimens were fabricated in a metal mold, resulting in specimens 5.0 mm (±0.1 mm) in diameter and 2.0 mm (±0.1 mm) thick. Each specimen’s base was marked.

After 24 h of storage in distilled water at 37 °C, the specimens were mounted on acrylic plates with their tops facing upward. All specimens were polished in an automatic polishing machine (Buehler®, Lake Bluff, IL, USA) at 180 rpm clockwise under running water, using 400 grit wet silicon carbide paper (3M, St. Paul, MN, USA) for 20 s, followed by 1200-grit wet silicon carbide paper (Worker, São Paulo, Brazil) for 30 s.

The tops of the specimens were subjected to the Knoop microhardness test using a microhardness tester (HMV-2; Shimadzu, Tokyo, Japan). Five indentations were made under a 50 gf load for 15 s on each specimen.

2.3 - Water sorption and solubility

Thirty-two cylindrical specimens were fabricated in a metal mold, yielding specimens 15.0 mm (±0.1 mm) in diameter and 1.0 mm (±0.1 mm) thick. Because the specimen diameter exceeded the curing‐tip diameter (10 mm), light was applied centrally, followed by four additional peripheral exposures, as specified in ISO 4049:2019 [20].

After 24 h of storage in distilled water at 37 °C, all specimens were measured and weighed. A single diameter and thickness measurement were recorded for each specimen using a digital caliper (Stainless Hardened; China) and a precision balance (Shimadzu; Tokyo, Japan). Specimens were then placed in a glass desiccator and oven-dried at 37 °C for 24 h. They were weighed again, and this cycle was repeated until a constant mass (m₁) was obtained.

After this step, specimens were immersed in distilled water and stored at 37 °C in an incubator for 7 days. At the end of the storage period, specimens were removed from the water, blotted with paper towels for 1 min, then placed on fresh paper towels for further drying, and weighed to record m₂ (water saturated mass). Thereafter, specimens were returned to the desiccator and the drying cycle was repeated until a constant final dry mass (m₃) was obtained.

Water sorption values (Wsp) were calculated using the formula [20]:

Wsp = (m2 – m3) / V

Water solubility values (Wsl) were calculated using the formula [20]:

Wsl = (m1 – m3) / V

where:

- Wsl represents water sorption

- Ws represents water solubility

- m₁, m₂, and m₃ are the constant masses obtained during the experiment

- V represents specimen volume (mm³).

2.4 - Statistical Analysis

Statistical analyses were performed using Jamovi software (Jamovi Project; Sydney, Australia). Data normality was assessed by the Shapiro–Wilk test and variance homogeneity by Levene’s test, with parametric assumptions considered met when p > 0.05. A three-way analysis of variance (ANOVA) was conducted to evaluate the effects of resin type, polymerization protocol, and expiration status, followed by Tukey’s post-hoc test for pairwise comparisons. Statistical significance was set at p < 0.05.

3 - RESULTS

3.1 - Flexural Strength and Elastic Modulus

No significant differences were observed among the groups for flexural strength (p = 0.423) or elastic modulus (p = 0.365) when three-way ANOVA evaluated all interactions (Table II).

Table II - Mean (± standard deviation) values for flexural strength and elastic modulus according to experimental groups (MPa).

| Composite Resin |  | Polymerization | Condition | Flexural Strength (Mpa) | Elastic Modulus (Mpa) |
| --- | --- | --- | --- | --- | --- |
| Filtek Z350xt | Light only | Expired | 233 (±50.1) | 11798 (±1013) |
|  |  | Unexpired | 260 (±40.2) | 11337 (±1187) |
|  | Light + Heat | Expired | 240 (±57) | 10181 (±1670) |
|  |  | Unexpired | 291 (±50.1) | 11746 (±1673) |
| Opallis | Light only | Expired | 255 (±26) | 10274 (±1070) |
|  |  | Unexpired | 273 (±55.9) | 10899 (±600) |
|  | Light + Heat | Expired | 270 (±64.3) | 8959 (±1611) |
|  |  | Unexpired | 264 (±51.4) | 10232 (±1193) |

However, three-way ANOVA revealed statistically significant main effects of resin type and polymerization protocol on elastic modulus. Specifically, Z350 XT exhibited a higher elastic modulus than Opallis (p=0.003), and specimens polymerized with light only exhibited a higher elastic modulus than those polymerized with combined light and heat (p=0.04).

3.2 - Knoop microhardness

Regarding microhardness test results, a statistically significant three-way interaction among the factors was detected (p=0.024) (Table III). The non-expired Z350 XT resin activated by light exhibited significantly higher Knoop microhardness values than all other groups, except for the expired Z350 XT resin polymerized with light + heat (p=0.79) and the non-expired Opallis resin polymerized with light (p=0.88). Within the Opallis resin groups, a significant difference was observed only between non-expired and expired specimens when polymerized with light only (p=0.001).

Table III - Mean Knoop microhardness values (± SD) according to experimental groups (gf).

| Composite Resin | Polymerization | Condition | KHN (gf) |
| --- | --- | --- | --- |
| Filtek Z350xt | Light only | Expired | 62.8 ± (7.51) B |
|  |  | Unexpired | 76.5 ± (3.75) A |
|  | Light + heat | Expired | 71.7 ± (6.16) AC |
|  |  | Unexpired | 54.2 ± (2.64) B |
| Opallis | Light only | Expired | 57.2 ± (2.88) B |
|  |  | Unexpired | 72.4 ± (3.54) AC |
|  | Light + heat | Expired | 64.5 ± (3.22) BC |
|  |  | Unexpired | 63.6 ± (3.17) BC |

Different uppercase letters indicate statistically significant differences (p < 0.05).

3.3 - Water Sorption and Solubility

The water sorption and solubility tests (Table IV) showed no statistically significant interaction among the three factors (p=0.893 for sorption and p=0.193 for solubility).

Table IV – Mean values (± standard deviation) obtained for water sorption and solubility tests, according to the evaluated groups, in μg/mm³.

| Composite Resin | Polymerization | Condition | Water Sorption (μg/mm³) | Water Solubility (μg/mm³) |
| --- | --- | --- | --- | --- |
| Filtek Z350xt | Light only | Expired | 18.2 (± 2.49) | 0.201 (± 0.55) |
|  |  | Unexpired | 21.2 (± 0.72) | - 2.96 (± 0.84) |
|  | Light + Heat | Expired | 20.9 (± 1.37) | 2.70 (± 0.37) |
|  |  | Unexpired | 22.5 (± 3.05) | 1.77 (± 1.27) |
| Opallis | Light only | Expired | 8.12 (± 1.25) | -0.87 (± 1.03) |
|  |  | Unexpired | 9.28 (± 1.04) | -1.62 (± 0.84) |
|  | Light + Heat | Expired | 9.77 (± 1.02) | 0.77 (± 0.23) |
|  |  | Unexpired | 9.80 (± 1.23) | 0.60 (± 1.18) |

4 - DISCUSSION

In the present study, no statistically significant differences were found for flexural strength, elastic modulus, or water sorption and solubility among the factors composite resin, polymerization method, and expiration status. Statistically significant differences were observed only in the microhardness test.

The three-point flexural test is designed to simulate in vitro clinical situations, such as how a material behaves under masticatory loads. However, specimen preparation for this test, as specified in ISO 4049:2019 [20], presents limitations regarding the light-curing process. Because the specimens are relatively long (25 mm), irradiance is highest at the central irradiation site and diminishes toward the ends, increasing the likelihood of fracture outside the intended flexural zone [21–23].

The mini-flexural test, widely reported in the literature [21, 24], uses 12 mm bars, providing greater similarity to dental anatomy and allowing single-step light activation to ensure uniform irradiation across each specimen. Results from the three-point flexural and mini-flexural tests are strongly correlated. Thus, the mini-flexural test offers advantages: it is easier to perform and more accurately reflects clinical conditions [24].

Studies using accelerated aging protocols have reported a significant decrease in the flexural strength of Filtek Z350 XT resin when comparing unexpired specimens to aged ones. In contrast, the elastic modulus of the same resin did not differ significantly between unexpired and expired groups, corroborating the findings of the present study [4,6].

A study using a hydrothermal aging protocol evaluated the expiration period of the tested resins and reported that up to three years after the expiration date, no statistically significant differences were observed in flexural strength, elastic modulus, or wear resistance. However, a reduction in microhardness was observed in the expired composites [5], which is consistent with the results of this study.

Another study evaluated the flexural properties of five composite resins that were stored for up to 30 months beyond expiration [4]. The tested materials retained their flexural strength for up to 15 months post-expiration. Since the resins used in the present study were expired for no more than 12 months, these findings are consistent with our results.

Some laboratory studies have investigated the influence of filler particle size and filler weight on the flexural properties of resin composites [25–26]. Tanimoto et al. [25] analyzed the effect of particle size on flexural strength and observed that strength decreased as particle size increased. However, no statistically significant differences were detected in the elastic modulus among the tested materials.

Rodrigues Junior et al. [26] found a low but significant correlation between the mechanical properties and the weight percentage of inorganic filler in composite resins. This percentage was determined by ashing the organic matrix of three resin types (universal nanoparticulate, hybrid, and microparticulate). Subsequently, the influence of the inorganic content on flexural strength and elastic modulus was evaluated by three-point flexural testing. In the present study, although the analyzed composites differ slightly in particle size (nanoparticulate Z350 XT versus microhybrid Opallis), they have an equivalent filler volume percentage, thus providing a meaningful context for comparison.

Previous studies have also reported a reduction in microhardness values when composite resins are past their expiration date [27,28]. In the current investigation, similar behavior was observed: within each composite group (Opallis and Z350 XT activated by light only), expired resins exhibited significantly lower microhardness than non-expired ones (p = 0.004 for Opallis; p = 0.001 for Z350 XT).

Similarly, Tirapelli et al. [28] assessed the radiopacity and microhardness of two composite resins and one compomer by comparing specimens that were non-expired with those beyond their expiration date. A statistically significant difference was observed in one of the composite resins, exhibiting decreased values in the expired group.

In 2009, Roberti Garcia et al. [27] observed that microhardness of composite resins decreases when tested 180 days post-expiration. They evaluated the degree of conversion, microhardness, and surface roughness of expired resins subjected to direct application and light curing only. Nevertheless, when thermal treatment was combined with light activation, expired Z350 XT resin exhibited a statistically significant increase of approximately 14% in surface microhardness compared to light activation alone.

Evidence in the literature suggests that, in general, the application of heat results in increased mechanical properties of cured composites due to improved conversion and reduced unreacted monomers [9,14]. However, in this work, such enhancement was detected in the heat-treated group only during the Knoop microhardness test and was absent in the other mechanical assessments.

In the non-expired Z350 XT group, heat and light curing was associated with an approximately 30% decrease in Knoop microhardness compared with light-only curing. Although heat has been linked to a higher degree of conversion, excessive temperature may promote composite degradation, which can reduce surface hardness [8].

The glass transition temperature (Tg) is a material dependent parameter that can guide the selection of an appropriate thermal treatment protocol [29]. Above Tg, secondary molecular interactions weaken, permitting greater molecular relaxation and enabling trapped free radicals to react, thereby increasing the degree of conversion [8]. Reported Tg values for composite resins range from approximately 157 to 162 °C, and the initial loss of volatile components may begin at temperatures starting from 180 °C [29].

Santana et al. [18] observed that an experimental thermal treatment at 170 °C for 10 min significantly increased the mechanical properties of the tested composites. In the present study, the thermal curing protocol was aligned with literature recommendations (≤170 °C/10 min). Therefore, this condition alone is unlikely to explain the decrease in microhardness observed in the non-expired Z350 XT group subjected to heat and light curing.

In 2019, Eliguzeloglu Dalkilic et al. reported no statistically significant differences in Vickers hardness or water solubility between expired and non-expired composite resins. In that study, four composites were evaluated, and all expired specimens were at most six months past the expiration date [7]. This short post-expiration period, as well as the use of a specific LED curing unit, may have influenced the results [7,1].

With advancements in dental technologies, third generation light curing units (LCUs), often referred to as polywave or multi peak devices, can deliver irradiance from 1,000 to 3,000 mW/cm² [30]. These devices are considered universal because they emit light across multiple spectral peaks that activate camphorquinone and alternative photoinitiators (e.g., TPO, PPD) [30]. The VALO LED curing light (Ultradent Products Inc., South Jordan, UT, USA) is an example of a third generation LCU. In the present study, the device’s high irradiance and broader spectral coverage may have contributed to the observed outcomes, including for expired composites polymerized with light only. This spectral output likely supported a high degree of conversion.

Muniz et al. [31] investigated the influence of thermal treatment on the water sorption and solubility of two direct composite resins by using a dry heat oven (170 °C, 10 min). They found statistically significant differences in water sorption (p = 0.026) and in solubility (p = 0.01) [31]. Fabre et al. [32] also documented negative solubility values, which do not indicate the absence of this property. Rather, water sorption exceeded mass loss, leading to an increase in specimen mass after immersion. This behavior is frequently associated with high material hydrophilicity, which favors the retention of water molecules through interactions with polar sites along the polymer chain [31,33].

No statistically significant changes were detected in water sorption and solubility after the experimental air fryer thermal treatment. One plausible explanation is the comparatively lower hydrophilicity of the formulations evaluated here relative to those in previous studies, including the microhybrid FillMagic and the hybrid Filtek P60 [31] and the universal Filtek Ultimate [3]. Filtek Z350 XT is primarily formulated with Bis-GMA, UDMA and TEGDMA, whereas Opallis contains Bis-GMA and Bis-EMA. Although these monomers contain polar groups, the overall formulations in this study appear to show only moderate water uptake.

To the best of our knowledge, there are no published reports using air fryers to provide heat for postcuring composite resin restorations, which limits direct comparison with previous studies. Based on the results obtained, the air fryer may be a viable heat source for thermal polymerization under the conditions tested. Further studies are necessary, including cytotoxicity assessments of expired composite resins and in situ or clinical investigations, to ensure safety and support clinical applicability of the materials.

5 - CONCLUSION

Within the limitations of this study, the interaction among resin type, polymerization protocol and expiration status did not significantly affect flexural strength, elastic modulus, water sorption or solubility. No main effect of expiration status was detected for these outcomes, supporting the study hypothesis. In contrast, microhardness showed a statistically significant difference, indicating that thermal treatment influenced this property in expired resins.

Ethical approval (where ever applicable)

This study involved only inert materials and did not include human participants or animals; therefore, submission to Plataforma Brasil and review by the Research Ethics Committee (CEP) and the Ethics Committee for Animal Use (CEUA) were not required, in accordance with CNS Resolutions 466/2012 and 510/2016.

References

- Gungor AY, Alkis H, Turkkahraman H. Can brackets be bonded with a composite resin after expiration date? Int J Artif Organs. 2016;39(2):84-86. doi:10.5301/ijao.5000479

- Shashikiran N, Talreja N. Comparative evaluation of bond strength and microleakage of standard and expired composite at resin–dentin interface: an in-vitro study. Int J Clin Pediatr Dent. 2017;10(1):1-4. doi:10.5005/jp-journals-10005-1396

- Dülger K, Koşar T. Microhardness, degree of conversion, and water sorption/solubility of non-expired and expired (two and three years) dental composites. Bezmialem Sci. 2023;11(2):151-157. doi:10.14235/bas.galenos.2022.64935

- Nagaoka H, Bishop S, Roberts H. Flexural performance of direct resin composite restorative materials past expiration date. Eur J Dent. 2020;14(2):217-223. doi:10.1055/s-0040-1709922

- Oja J, Lassila L, Vallittu PK, Garoushi S. Effect of accelerated aging on some mechanical properties and wear of different commercial dental resin composites. Materials (Basel). 2021;14(11):2769. doi:10.3390/ma14112769

- D’Alpino PHP, Vismara MVG, Mello LMDM, Hipólito VD, González AHM, Graeff CFDO. Resin composite characterizations following a simplified protocol of accelerated aging as a function of the expiration date. J Mech Behav Biomed Mater. 2014;35:59-69. doi:10.1016/j.jmbbm.2014.03.015

- Eliguzeloglu Dalkilic E, Donmez N, Kazak M, Duc B, Aslantas A. Microhardness and water solubility of expired and non-expired shelf-life composites. Int J Artif Organs. 2019;42(1):25-30. doi:10.1177/0391398818790626

- Miyazaki CL, Medeiros IS, Santana IL, Matos JDR, Rodrigues Filho LE. Heat treatment of a direct composite resin: influence on flexural strength. Braz Oral Res. 2009;23(3):241-247. doi:10.1590/S1806-83242009000300004

- Sideridou I, Tserki V, Papanastasiou G. Effect of chemical structure on degree of conversion in light-cured dimethacrylate-based dental resins. Biomaterials. 2002;23(8):1819-1829. doi:10.1016/S0142-9612(01)00308-8

- Magne P, Malta DAMP, Enciso R, Monteiro-Junior S. Heat treatment influences monomer conversion and bond strength of indirect composite resin restorations. J Adhes Dent. 2015;17(6):559-566. doi:10.3290/j.jad.a35258

- Ferracane JL, Condon JR. Post-cure heat treatments for composites: properties and fractography. Dent Mater. 1992;8(5):290-295. doi:10.1016/0109-5641(92)90102-I

- Ferracane JL, Mitchem JC, Condon JR, Todd R. Wear and marginal breakdown of composites with various degrees of cure. J Dent Res. 1997;76(8):1508-1516. doi:10.1177/00220345970760081401

- Almeida RM, Silva EJNL, Pereira LC, et al. Effect of post-cure thermal treatment on the degree of conversion and flexural strength of indirect composite resins. Braz Dent Sci. 2017;20(4):150-158. doi:10.14295/bds.2017.v20i4.1523

- Grazioli G, Francia A, Cuevas-Suárez CE, Zanchi CH, Moraes RR. Simple and low-cost thermal treatments on direct resin composites for indirect use. Braz Dent J. 2019;30(3):279-284. doi:10.1590/0103-6440201902473

- Soares CJ, Martins LRM, Fonseca RB, Correr-Sobrinho L. Flexural strength of direct composites submitted to post-polymerization heat. Braz Dent Sci. 2006;9(3):33-38. doi:10.14295/bds.2006.v9i3.202

- Rocha LOP, Farias ACS, Leite AM, et al. Influence of indirect reinforcements on the flexural strength of a thermally activated acrylic resin used for complete dentures. Braz Dent Sci. 2018;21(2):150-157. doi:10.14295/bds.2018.v21i2.1539

- Lovell LG, Lu H, Elliott JE, Stansbury JW, Bowman CN. The effect of cure rate on the mechanical properties of dental resins. Dent Mater. 2001;17(6):504-511. doi:10.1016/S0109-5641(01)00010-0

- Santana IL, Lodovici E, Matos JR, Medeiros IS, Miyazaki CL, Rodrigues-Filho LE. Effect of experimental heat treatment on mechanical properties of resin composites. Braz Dent J. 2009;20(3):205-210. doi:10.1590/S0103-64402009000300006

- Zamalloa-Quintana M, López-Gurreonero C, Santander-Rengifo FM, et al. Effect of additional dry heat curing on microflexural strength in three types of resin composite: an in-vitro study. Crystals. 2022;12(8):1045. doi:10.3390/cryst12081045

- International Organization for Standardization. ISO 4049:2019 Dentistry — Polymer-based restorative materials. Geneva: ISO; 2019.

- Yap A, Eweis A, Yahya N. Dynamic and static flexural appraisal of resin-based composites: comparison of the ISO and mini-flexural tests. Oper Dent. 2018;43(3):E223-E231. doi:10.2341/17-224-L

- Kumar N. Inconsistency in the strength testing of dental resin-based composites among researchers. Pak J Med Sci. 2012;29(1):205-210. doi:10.12669/pjms.291.2922

- Palin W, Fleming G, Marquis P. The reliability of standardized flexure strength testing procedures for a light-activated resin-based composite. Dent Mater. 2005;21(9):911-919. doi:10.1016/j.dental.2005.01.005

- Yap AUJ, Teoh SH. Comparison of flexural properties of composite restoratives using the ISO and mini-flexural tests. J Oral Rehabil. 2003;30(2):171-177. doi:10.1046/j.1365-2842.2003.01004.x

- Tanimoto Y, Kitagawa T, Aida M, Nishiyama N. Experimental and computational approach for evaluating the mechanical characteristics of dental composite resins with various filler sizes. Acta Biomater. 2006;2(6):633-639. doi:10.1016/j.actbio.2006.06.006

- Rodrigues Junior SA, Zanchi CH, Carvalho RVD, Demarco FF. Flexural strength and modulus of elasticity of different types of resin-based composites. Braz Oral Res. 2007;21(1):16-21. doi:10.1590/S1806-83242007000100003

- Garcia LDFR, Roselino LDMR, Pires-de-Souza FCP, Consani S. Evaluation of the conversion degree, microhardness, and surface roughness of composite resins used after their expiration date. Gen Dent. 2009;58(6):e262-e267. PMID: 21062711

- Tirapelli C, Panzeri FDC, Panzeri H, Pardini LC, Zaniquelli O. Radiopacity and microhardness changes and effect of X-ray operating voltage in resin-based materials before and after the expiration date. Mater Res. 2004;7(3):409-412. doi:10.1590/S1516-14392004000300006

- Santana IL, Gonçalves LM, Ribeiro JJS, Mochel Filho JR, Cabral Júnior AA. Thermal behavior of direct resin composites: glass transition temperature and initial degradation analyses. Rev Odonto Cienc. 2011;26(1):50-55. doi:10.1590/S1980-65232011000100012

- Pelissier B, Jacquot B, Palin WM, Shortall AC. Three generations of LED lights and clinical implications for optimizing their use. 1: From past to present. Dent Update. 2011;38(10):660-668. doi:10.12968/denu.2011.38.10.660

- Muniz GR, Souza E, Raposo C, Santana I. Influence of heat treatment on the sorption and solubility of direct composite resins. Indian J Dent Res. 2013;24(6):708-712. doi:10.4103/0970-9290.127617

- Fabre HSC, Fabre S, Cefaly DFG, Carrilho MRDO, Garcia FCP, Wang L. Water sorption and solubility of dentin bonding agents light-cured with different light sources. J Dent. 2007;35(3):253-258. doi:10.1016/j.jdent.2006.09.002

- Malacarne J, Carvalho RM, de Goes MF, Svizero N, Pashley DH, Tay FR, et al. Water sorption/solubility of dental adhesive resins. Dent Mater. 2006;22(10):973-980. doi:10.1016/j.dental.2005.11.020