Responsible AI Agents in U.S. Healthcare: Ethical, Regulatory, and Deployment Challenges

Abstract

AI agents are moving from pilot to routine use in U.S. healthcare, yet evidence, transparency, and governance remain uneven. This review evaluates alignment between lifecycle safeguards, U.S. regulatory expectations, and real-world deployments and specifies auditable governance for practice. A comprehensive search was conducted on PubMed/MEDLINE, Embase, and IEEE Xplore. Duplicate records were screened, and deployment-proximal studies of agentic systems in clinical and operational workflows were extracted, supplemented by hand-searches of policy sources. A thematic synthesis organized findings across principles-to-controls, rules-to-evidence, and practice-to-governance. Eighteen U.S. studies spanning autonomous screening, sepsis early warning, imaging triage, and endoscopy CADe showed benefit when the intended use was explicit, human oversight was defined, calibration and drift were managed, and service-level monitoring, such as alert-to-action latency and report turnaround, was maintained. Mixed or null effects reflected weak workflow fit, limited operator training, or insufficient transparency. External validations revealed miscalibration, supporting local thresholds and recalibration. Impact depended less on accuracy than on adoption, governance artifacts, and continuous surveillance. Future research should prioritize multi-site evaluations, drift registries, and trials of governance interventions linked to patient and economic outcomes.

Keywords: Responsible AI agents; United States healthcare; Sociotechnical lifecycle governance; Human oversight and accountability; Post-deployment monitoring and drift.

Introduction

The utilization of artificial intelligence (AI)-enabled software is undergoing a transition from its initial pilot phase to a more widespread, routine application within the United States healthcare sector. However, concerns regarding evidence, transparency, and governance persist, as these aspects continue to exhibit inconsistencies and variations. A rising number of FDA-cleared AI/ML devices is indicated by public catalogues; however, many products provide limited detail on prospective clinical validation and post-market performance (Benjamens et al., 2020). Preliminary market analyses have delineated recalls and label updates that reveal discrepancies between clearance pathways and real-world evaluation, particularly in instances where effectiveness is contingent on workflow integration and human oversight (Lee et al., 2025). Even among cleared tools, transportability is inconsistent, thereby underscoring the necessity for multi-site evidence and recalibration plans before scale-up (Windecker et al., 2025).

After deployment, populations, coding practices, and sensors undergo modifications; consequently, the identification and rectification of deleterious data shifts become a matter of safety obligation rather than a research aspiration (Subasri et al., 2025). A lifecycle framing clarifies that potential harm may arise from data, objectives, optimization, and interface choices—not merely model accuracy—requiring controls at each stage (Suresh & Guttag, 2021). Operational realities compound these risks, as hospitals struggle to calibrate decision-support alerts to mitigate fatigue while preserving actionability (Van Dort et al., 2021). Even well-established drug–drug interaction alerts have been shown to have uncertain translation into patient-important outcomes, highlighting the distinction between signal and effect (Holbrook et al., 2025). The phenomenon of upstream measurement bias poses a significant threat to the principles of equity. The presence of racial disparities in the accuracy of pulse oximetry measurements underscores the potential for seemingly objective inputs to propagate downstream harm (Sjoding et al., 2020).

To promote safer diffusion, procurement-ready documentation and quality appraisal tools are being developed. Supplier "FactSheets" propose standardized disclosures about data lineage, evaluation settings, and known failure modes that purchasers can operationalize as contractual evidence obligations (Arnold et al., 2019). Study-level instruments, such as APPRAISE-AI, provide structured scoring to distinguish deployable evidence from promising prototypes and to reveal reporting blind spots relevant to clinical use (Kwong et al., 2023). However, post-deployment monitoring remains inconsistent. A scoping review has been conducted that catalogs approaches ranging from threshold surveillance to incident logging and KPI dashboards. The review found limited standardization and role clarity (Andersen et al., 2024). Furthermore, fairness is a dynamic concept; models may deviate from equitable performance as populations or policies undergo evolution, necessitating equity-aware monitoring in conjunction with conventional calibration and discrimination metrics (Davis et al., 2025). Consequently, the present study examines the integration of agentic systems within healthcare delivery, encompassing autonomous screening, triage, decision support, and operational agents. It interrogates the concrete safeguards, evidence obligations, and service-level metrics imperative for translating principles into accountable practice within U.S. healthcare settings. This interrogation draws upon the extant literature, including works by Benjamens et al. (2020), Lee et al. (2025), and Windecker et al. (2025).

1.2 Definitions & scope boundaries

An AI agent is defined as goal-directed software embedded in care delivery, capable of perceiving, reasoning, and acting, or recommending actions, within clinical or operational workflows. This definition distinguishes AI agents from predictive models, which are distinct in their application and functionality (Wiens et al., 2019; Char et al., 2018). Autonomy encompasses a range of decision-making processes, from fully autonomous decisions (e.g., binding refer/no-refer) to assistive alerts, drafting, triage, and navigation. Oversight is defined as meaningful human control calibrated to task risk, user role, and context (Hille et al., 2023). Responsibility domains delineating the parameters of "responsible" use encompass accountability and auditability, transparency and traceability, safety and post-deployment monitoring, equity, privacy/security, and liability allocation (Jobin et al., 2019; Raji et al., 2020; Mello et al., 2024). Privacy boundaries encompass technical safeguards such as federated and privacy-preserving learning to support multi-site development and monitoring without centralizing protected health information (Kaissis et al., 2020). The regulatory scope is U.S.-centric in nature, recognizing device approval pathways and update regimes that differ from those in the EU. This results in the shaping of evidence and change-control obligations for software as a medical device (Muehlematter et al., 2021).

1.3 Scope of review

This review interrogates the concept of "responsible AI agents" in the context of U.S. healthcare, particularly focusing on goal-directed software integrated into clinical or operational workflows. These workflows encompass a wide range of applications, including autonomous screening, triage, decision support, and operational agents. The review examines the evolution of these software systems from their initial stages as pilots to their subsequent adoption on a widespread scale. It also highlights the persistent challenges in generating sufficient evidence, ensuring transparency, and establishing robust governance frameworks for these systems. The study analyzes risks throughout the lifecycle of a system, from its design and validation to its deployment and monitoring. It addresses critical issues such as post-deployment data shift, alert burden, and measurement bias. The study also synthesizes procurement and monitoring practices that are inconsistent. The analysis focuses on concrete safeguards, evidence obligations, and service-level metrics necessary to translate principles into accountable practice within U.S. providers, payers, and public-health agencies.

1.4 Aim and specific objectives

Aim

The study aims to critically evaluate the alignment, or lack thereof, between lifecycle safeguards, U.S. regulatory and standards expectations, and real-world deployments in delivering accountable, transparent, and safe AI agents. Additionally, the text aims to specify operational, auditable governance requirements for practice.

Specific objectives

- Systematically characterize autonomy/oversight, transparency/traceability, safety, and monitoring artifacts, and organizational controls across included deployments, using a sociotechnical lifecycle lens and the study-characteristics synthesis.

- Evaluate how labeling, intended use, change control, and post-market obligations manifest in practice (e.g., alert-to-action timing, prioritization/report TAT) and where enforcement or evidence gaps persist

- Derive a minimal set of governance mechanisms, incident reporting, adoption telemetry, recalibration triggers, throughput dashboards/safety nets, and role-clear retraining, linked to predefined decision gates for safe scale-up.

2.0 Methodology

This review systematically investigated responsible AI agents in U.S. healthcare, goal-directed systems embedded in clinical or operational workflows, focusing on lifecycle safeguards, deployment evidence, and governance duties. A structured, reproducible approach was employed to identify, screen, and synthesize peer-reviewed studies, implementation reports, audits, and evaluations. The primary objective of the present study was to integrate multidisciplinary evidence from clinical informatics, biomedicine, radiology, gastroenterology, emergency and inpatient care, and health policy to understand how AI agents perform in real settings and how accountability, transparency, safety/monitoring, equity, privacy/security, human oversight, liability, and organizational readiness are operationalized. Furthermore, we sought to align empirical findings with U.S. regulatory and standards expectations and to extract governance requirements that would be useful for decision-making in practice.

2.1 Search Strategy

We searched PubMed/MEDLINE, Embase, Web of Science, Scopus, IEEE Xplore, and ACM Digital Library, complemented by targeted searches of FDA (device databases, guidance), HHS/ONC/CMS, and NIST/ISO materials. We combined controlled vocabulary and free-text terms using Boolean operators, for example:
(“AI agent” OR “autonomous” OR “decision support” OR “triage” OR “worklist” OR “care navigation” OR “computer-aided detection” OR “generative”) AND (“healthcare” OR “clinical” OR “hospital” OR “radiology” OR “endoscopy” OR “primary care”) AND (“deployment” OR “implementation” OR “post-market” OR “monitoring” OR “audit” OR “validation”) AND (“accountability” OR “transparency” OR “safety” OR “bias” OR “equity” OR “privacy” OR “oversight” OR “liability”).
Filters: January 2015–October 2025, English, U.S. settings (providers, payers, public-health agencies). Reference lists of included articles and relevant standards/policy documents were hand-searched. Records were de-duplicated; two reviewers screened titles/abstracts and full texts independently, resolving disagreements by consensus. Data were extracted into a piloted template and cross-checked for accuracy.

2.1 Inclusion Criteria

Eligible items:

- Empirical deployments, deployment-proximal evaluations, or prospective audits of AI agents within U.S. healthcare workflows (clinical or operational).

- Addressed ≥1 domain: accountability/traceability, transparency, safety and post-deployment monitoring, equity/fairness, privacy/security, human oversight, liability, or organizational readiness.

- Peer-reviewed studies with clear methods (e.g., prospective/retrospective evaluations, pragmatic RCTs, implementation studies, external validations, prospective audits, or mixed-methods user studies).

- Reported outcomes or process metrics relevant to practice (e.g., patient outcomes, treatment timing, report TAT, alert burden, calibration, adoption/engagement, incident/drift monitoring).

2.2 Exclusion Criteria

We excluded studies that:

- Focused on non-U.S. jurisdictions or purely methodological/modeling work without deployment relevance;

- Reported retrospective analytics not used to inform actions in care pathways;

- Were editorials, opinion pieces, marketing collateral, or non-peer-reviewed reports lacking substantive analytic contribution

- Duplicated the same implementation/dataset without new analysis (the most comprehensive version was retained).

2.3 Case Study Selection and Thematic Categorisation

After applying criteria, included studies were charted with the following fields: domain/task; U.S. setting; design; autonomy & oversight; accountability/traceability artifacts; safety/effectiveness headline; implementation maturity & deployment stage; local validation/generalizability; monitoring & operations; and governance takeaway. This evidence serves as a foundation for the extraction table (Table 1). Subsequently, studies were methodically organized into three distinct analytic domains, aligning with the review's objectives. The first principle is to establish controls to operationalize ethical safeguards across the lifecycle. The second principle is to map U.S. regulatory and standards expectations to practicable evidence and enforcement. The third principle is to synthesize real-world outcomes, failure modes, and a minimal viable governance bundle. This structure facilitates comparative synthesis across various settings, identifies cross-cutting sociotechnical patterns, and situates observed performance within a framework of accountable, auditable governance for scale-up.

3.0 Result

3.1 Summary of study characteristics

Across 18 U.S. deployments (Table 1), the corpus spans primary care, emergency radiology, inpatient wards, and community endoscopy, covering autonomous screening, sepsis early warning, imaging triage, generative report drafting, and population risk stratification. The designs encompass prospective multi-site implementations, pragmatic randomized trials, external validations, diagnostic evaluations, mixed-methods user studies, and a post-hoc algorithm audit. The scope of autonomy encompasses a range of modalities, from fully autonomous refer/no-refer screening to assistive alerts and triage with clinician verification. Oversight mechanisms encompass acknowledgment workflows, role-clear escalation, and referral pathways. The implementation maturity of a system can be categorized into distinct phases, beginning with pre-implementation evaluation and pilot testing and culminating in production deployment and retrospective audit. The accountability and monitoring artifacts encompass performance disclosure, alert logs, provider engagement telemetry, report turnaround metrics, and routine QA. The majority of studies are multi-site, thereby supporting pragmatic generalizability across health-system contexts and settings.

3.2 Thematic Analysis

Theme 1: Lifecycle operational safeguards for healthcare AI agents

Autonomy and safety become concrete when the intended use, fixed thresholds, and clinical off-ramps are specified for autonomous systems (Abràmoff et al., 2018). The accountability of these systems is evidenced by a variety of metrics, including alert logs, acknowledgment flows, and treatment-timing audits embedded in sepsis workflows (Henry et al., 2022). Comparative baselines serve to prevent illusory gains by forcing head-to-head evaluation against incumbent scores (Edelson et al., 2024). Transparency in this context necessitates the disclosure of performance metrics and the implementation of explicable triage routing in safety-critical imaging (Hillis et al., 2022). Human-in-the-loop verification and provenance controls have been demonstrated to mitigate hallucination risks in generative reporting pipelines (Huang et al., 2023). Conversely, negative or null CADe results should prompt a redesign of the process and targeted operator training, rather than automatic scale-up (Ladabaum et al., 2023). Pragmatic randomized controlled trials (RCTs) in community practice have revealed heterogeneous benefits and context-dependent value (Thiruvengadam et al., 2024). Human-factors studies elucidate over- and under-trust patterns that impede safe adoption and must inform UI and training (Watkins et al., 2024).

Theme 2: U.S. regulatory/standards enforcement mapped to deployment evidence

Lifecycle enforcement is evident in real-world deployments that link alerts to timed clinical actions and outcomes (Adams et al., 2022). The FDA's authorization serves as a foundational element for the labelling, thresholding, and intended-use duties for autonomous diagnosis (Abràmoff et al., 2018). External validation of proprietary inpatient models has exposed calibration deficits that necessitate ongoing surveillance and change control (Wong et al., 2021). Prospective operational metrics, including prioritisation and report turnaround time, have been demonstrated to be associated with post-market performance in radiology triage (Rothenberg et al., 2023). As posited by Savage et al. (2024), the establishment of scope clarity and exclusion criteria functions as a form of guardrail against the phenomenon of over-alerting in incidental findings pathways. Community pragmatic randomised controlled trials (RCTs) have been shown to generate decision-grade effectiveness estimates for procurement and coverage (Wei et al., 2023). System-level evaluations demonstrate that the implementation of regulatory frameworks necessitates the integration of organisational readiness and care bundles to ensure the attainment of desired outcomes (Kennedy & Rudd, 2022). Real-world time-motion analyses have been shown to make service-level obligations auditable by quantifying report time savings under production conditions (Thompson et al., 2025).

Theme 3: Real-world deployments synthesised into a minimal viable governance bundle

The study's findings indicated that gains in access to healthcare services are achieved through the integration of autonomous screening procedures with established referral pathways and effective patient communication strategies within healthcare facilities operating in under-resourced settings (Huang et al., 2024). The efficacy of sepsis agents is contingent upon adoption, necessitating governance to oversee engagement and ensure prompt action (Henry et al., 2022). During the process of external validation, the necessity arises for predefined local acceptance thresholds and iterative recalibration plans in the event of miscalibration (Singh et al., 2021). Post-hoc audits have been shown to reveal how label choices, such as cost proxies, can encode inequity and demand outcome-based targets (Obermeyer et al., 2019). According to Wong et al. (2021), ongoing surveillance should track calibration, alert burden, and unintended workflow shifts after deployment. Triage systems must be equipped with throughput dashboards and safety nets to prevent delayed care for de-prioritised studies (Rothenberg et al., 2023). It is imperative that governance formally incorporate incident reporting, change control, and user-centred retraining, which are triggered by predefined signals (Adams et al., 2022). Service-level monitoring must also guard against shifted bottlenecks when triage accelerates reporting at the expense of downstream steps (Thompson et al., 2025).

Table 1: Summary of included studies

| Study (APA in-text) | Domain / Task | U.S. Setting | Design | Autonomy & Oversight | Accountability & Transparency | Safety / Effectiveness (headline) | Implementation maturity & deployment stage | Local validation & generalizability | Monitoring & Ops | Key Governance Takeaway |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Abràmoff et al., 2018 | Autonomous diagnostic (DR) | Primary care clinics | Prospective pivotal trial | Autonomous refer/no-refer; clinician manages follow-up | FDA labelling; fixed thresholds; intended-use clarity | Strong diagnostic performance; improved on-site referral | Pivotal clinical trial embedded in clinic workflow | Multi-site U.S. primary care; prospective generalizability to similar settings | Field QA; referral tracking | First U.S. autonomous clinical AI precedent with clear guardrails |
| Adams et al., 2022 | Sepsis early warning (TREWS) | Multi-hospital inpatient | Prospective multi-site implementation | Assistive alerts; clinician confirms/acts | Alert logs; adoption telemetry | Faster antibiotics; outcome associations | Production deployment across hospitals | Multi-site live deployment; system-level generalizability | Longitudinal adoption/performance tracking | Workflow fit dictates realised benefit |
| Edelson et al., 2024 | Early-warning scores ± AI | Multi-center inpatient | Comparative cohort | Assistive clinician uses within care | Transparent comparators & methods | Incremental benefit context-dependent | Enterprise-scale evaluation of incumbent vs. AI-augmented scores | Multi-centre comparison: insights on transferability | Enterprise-level evaluation | Benchmark AI vs. incumbents before scale-up |
| Henry et al., 2022 | Sepsis early warning (adoption) | Multi-hospital inpatient | Observational (adoption & timing) | Assist with acknowledgement workflow | Adoption/time-to-treatment telemetry | Earlier treatment when alerts are engaged | Production system; focus on adoption behaviour | Multi-hospital operational context | Provider-level engagement tracking | Adoption & trust are pivotal socio-technical levers |
| Hillis et al., 2022 | Imaging detection (pneumothorax) | ED/chest radiography (multi-site) | Multi-site diagnostic evaluation | Assistive CAD/triage; radiologist final | Model & performance disclosure | High accuracy, incl. tension pneumothorax | Pre-implementation diagnostic evaluation | Multi-site U.S. dataset; ED radiographs | Site QA processes | Triage aids require clear fail-safe escalation paths |
| Huang, J. J., et al., 2024 | Autonomous diagnostic (diabetic eye disease) | Underserved clinics | Pragmatic implementation | Autonomous refer/no-refer; clinician referral pathway | Autonomous use spec; patient communication | ↑ Screening completion; access gains | Operational implementation in clinics | Deployed in underserved U.S. clinics; pragmatic generalizability | Implementation monitoring | Autonomy can responsibly expand access |
| Huang, J., et al., 2023 | Generative-AI report drafting (CXR) | ED radiography | Diagnostic utility study | Assistive content generation; radiologist verifies | Methods + oversight documented | Drafting utility; hallucination risks | Pilot evaluation within the reporting pipeline | ED setting; additional validation needed for broad use | Mandatory human verification | Provenance/verification controls needed for GenAI |
| Kennedy & Rudd, 2022 | Sepsis early warning (system outcomes) | Multi-hospital | Real-world implementation evaluation | Assistive within sepsis bundles | Program evaluation transparency | Improved outcomes/process measures | Production implementation | Multi-hospital; system-level learning | Health-system surveillance | Governance + clinical bundles drive effect size |
| Ladabaum et al., 2023 | Endoscopy CADe (polyp detection) | Community & academic | Pragmatic implementation trial | Assistive overlay; endoscopist decides | Trial protocol transparency | No significant improvement vs. baseline | Real-world pragmatic implementation | Community + academic centres; practice-level insights | Routine endoscopy QA | Negative result cautions against overreliance |
| Obermeyer et al., 2019 | Pop-health risk stratification | Payer/provider panels | Retrospective algorithm audit | Assistive panel selection | Post-hoc audit of vendor black box | Allocation skew from biased label (cost) | Post-deployment audit of a widely used tool | Cross-system payer/provider data; transferability concerns | Audit (not proactive monitoring) | Label choice encoded inequity → mandate audits & outcome-based metrics |
| Rothenberg et al., 2023 | CT PE triage (CTPA) | Radiology departments | Prospective evaluation | Assistive worklist triage | Prospective operations metrics | Faster prioritisation/report TAT | Live prospective evaluation in operations | Multi-site CTPA; operational generalizability | Live operations monitoring | Throughput gains; maintain safety nets |
| Savage et al., 2024 | Incidental PE triage (contrast CT) | Multisite CT services | Prospective evaluation | Assistive worklist triage | Prospective metrics | Workflow gains for incidental PE | Live prospective evaluation in routine practice | Multisite; generalizable across CT services | Live monitoring | Scope clarity avoids over-alerting |
| Singh et al., 2021 | Deterioration index (EDI) | Hospitalized COVID-19 | External validation | Assistive awareness | Transparent validation | Limited discrimination/calibration | External validation of the deployed score | Generalizability cautions: calibration issues | Recalibration advocated | Local validation & recalibration are essential |
| Thiruvengadam et al., 2024 | Endoscopy CADe (neoplasia) | Community practice | Pragmatic RCT | Assistive | RCT transparency | Site-variable ADR/process effects | Real-world randomised deployment | Community practice; heterogeneous operators/sites | Routine QA | Operator/context heterogeneity shapes benefit |
| Thompson et al., 2025 | AI triage → report TAT | Multisite radiology | Real-world time/impact | Assistive | Operations telemetry; pre/post | Reduced report TAT | Production deployment impact evaluation | Multisite radiology: operational generalizability | Continuous ops monitoring | Time savings documented; watch for shifted bottlenecks |
| Watkins et al., 2024 | Human–AI interaction (CADe) | Large tertiary centre | Mixed-methods observational | Assistive; think-aloud/interviews | Human-factors instruments | Explains negative trial (trust, UI) | In-practice observational assessment | Single large centre; lessons for broader adoption | Usability feedback loops | Trust calibration & UI/training are safety-critical |
| Wei et al., 2023 | Endoscopy CADe (AI-SEE) | Community endoscopy | Multicenter pragmatic RCT | Assistive | RCT transparency | Community outcomes on ADR/process | Real-world randomised deployment | Multicenter community sites; practice-level generalizability | Routine QA | Real-world heterogeneity informs rollout |
| Wong et al., 2021 | Sepsis prediction (Epic) | Multi-hospital inpatient | External validation | Assistive | Methods disclosure | Poor calibration; alert burden | External validation of proprietary model | Multi-hospital cohorts; emphasizes calibration/transfer | Advocates active performance surveillance | Require transparency + ongoing recalibration for proprietary tools |

List of Abbreviations

| Abbreviation | Full meaning |
| --- | --- |
| ADR | Adenoma Detection Rate |
| AI | Artificial Intelligence |
| CADe | Computer-Aided Detection |
| CAD | Computer-Aided Detection (radiology shorthand; same concept as CADe) |
| COVID-19 | Coronavirus Disease 2019 |
| CT | Computed Tomography |
| CTPA | Computed Tomography Pulmonary Angiography |
| CXR | Chest X-ray (chest radiograph) |
| DR | Diabetic Retinopathy |
| ED | Emergency Department |
| EDI | Epic Deterioration Index |
| GenAI | Generative Artificial Intelligence |
| Ops | Operations |
| PE | Pulmonary Embolism |
| QA | Quality Assurance |
| RCT | Randomized Controlled Trial |
| TAT | Turnaround Time |
| TREWS | Targeted Real-time Early Warning System |
| UI | User Interface |
| U.S. | United States |

4.0 DISCUSSION

4.1 Summary of key findings

The findings indicate that the benefits are concentrated in areas where safeguards, workflow fit, and active monitoring are explicit. Autonomous diabetic-retinopathy screening exhibited high diagnostic accuracy and facilitated improved referral completion, particularly in underserved clinics. The implementation of sepsis early-warning systems has been demonstrated to be associated with expedited initiation of antibiotic treatment and enhanced process outcomes when clinicians acknowledge these alerts and act in accordance with protocolized bundles. The implementation of imaging triage, accelerated prioritisation, and reduced report turnaround times under operational telemetry conditions is contingent upon the maintenance of escalation pathways and safety nets. External validations of proprietary deterioration and sepsis models revealed discrimination and calibration limitations, necessitating predefined local acceptance thresholds and scheduled recalibration. The use of endoscopy CADe yielded a variety of outcomes, ranging from mixed to null effects. The performance of this technology is influenced by several factors, including operator skill, interface design, and the specific context of the site. The delivery of a generative report resulted in efficiency; however, it necessitated human confirmation to avert hallucinations and maintain provenance. Human factors evaluations have been demonstrated to elucidate over- and under-trust patterns that have been shown to compromise safe adoption. Post-hoc audits of population risk tools have demonstrated how cost-based labels can encode inequity, motivating outcome-based targets and bias surveillance. The impact of these models in real-world settings is found to be less dependent on model accuracy and more dependent on factors such as adoption, governance artefacts, and continuous surveillance across the lifecycle.

4.2 Comparison with existing literatures

The findings of this study align with the SPIRIT-AI and CONSORT-AI mandates for protocolized endpoints and human-in-the-loop reporting (Cruz Rivera et al., 2020; Liu et al., 2020). These mandates emphasise the importance of prespecified use, oversight, and outcomes. The emphasis on pilot/shadow stages and staged roll-out aligns with DECIDE-AI guidance for early clinical evaluation (Vasey et al., 2022). The calibration and transportability issues that have been identified in the real world are indicative of the requirements and risk-of-bias/applicability checks of TRIPOD+AI (Collins et al., 2024; Moons et al., 2025). Our position that accuracy alone is inadequate for diagnostic agents aligns with STARD-AI's pathway-aware framing (Sounderajah et al., 2025). The governance artefacts, including change control, audit trails, and adoption telemetry, align with lifecycle regulation arguments (Hwang et al., 2019). The observed miscalibration under distribution shift is consistent with clinical warnings on dataset shift (Finlayson et al., 2021). The human-factors drivers of realised impact (i.e., trust, workload, and UI) align with mapping reviews (Asan & Choudhury, 2021). The present call for role-clear disclosures is analogous to "Model Facts" labels (Sendak et al., 2020). The potential equity risks associated with label choice are consistent with the critiques of fairness (Rajkomar et al., 2018; Parikh et al., 2019). Finally, our inclination toward pragmatic, workflow-proximal endpoints is substantiated by the paucity of randomised AI trials (Plana et al., 2022).

The existing guidelines primarily encompass trial reporting, while the present study incorporates post-deployment service-level obligations, such as reporting TAT and alert-to-action latency, along with continuous ops telemetry. It should be noted that SPIRIT-AI and CONSORT-AI have yet to operationalize these components in production (Cruz Rivera et al., 2020; Liu et al., 2020). TRIPOD+AI/PROBAST+AI are prediction-centric; we extend to agentic workflows (triage, sepsis EWS, autonomous screening) requiring escalation playbooks and fail-safes (Collins et al., 2024; Moons et al., 2025). STARD-AI prioritizes diagnostic accuracy, while our synthesis emphasizes workflow fit and safety nets as equivalent forms of evidence, thereby challenging the conventional accuracy-first evaluation approach (Sounderajah et al., 2025). Explainability critiques posit that post-hoc narratives are deficient; our results operationalize guardrails, provenance, uncertainty display, and recalibration triggers as alternatives (Ghassemi et al., 2021). The integration of ethics, regulation, and operations is a fundamental tenet of governance models. This principle is instantiated as a minimal viable governance bundle with measurable decision gates (Reddy et al., 2022). Fairness commentaries call for mitigation; we specify procurement-time label audits and outcome-based targets beyond principle-level guidance (Rajkomar et al., 2018; Parikh et al., 2019).

5.0 Conclusion and recommendations for future research

5.1 Conclusion

Across heterogeneous U.S. deployment scenarios, responsible AI agents are capable of delivering value when safeguards, workflow fit, and continuous monitoring are explicitly defined and established. Evidence from autonomous screening, sepsis early warning, radiology triage, endoscopy CADe, and generative reporting demonstrates that the realized benefit is less dependent on headline accuracy and more dependent on intended-use clarity, human oversight, calibration, and drift management, and service-level metrics such as alert-to-action latency and report turnaround. A lifecycle, sociotechnical approach, linking design, validation, deployment, and post-market surveillance, clarifies where principles and rules must become auditable controls (e.g., adoption telemetry, incident reporting, change control). Equity necessitates a thorough examination of label selections and upstream measurement bias. Moreover, procurement-ready documentation, encompassing provenance, limits, and failure modes, serves to fortify accountability. The review as a whole supports a minimal viable governance bundle, which includes shadow testing, role-clear escalation, uncertainty and limitation disclosure, bias and drift monitoring, and pre-specified decision gates for scale-up or rollback. The integration of these practices has been demonstrated to translate into reliable, safe, and transparent performance in routine care on a large scale.

5.2 Recommendation for future research

Future research endeavors should prioritize prospective, multi-site evaluations with workflow-proximal endpoints, including but not limited to alert-to-action latency, report turnaround, and referral closure. In order to determine the most efficacious treatment option, a comparative effectiveness trial must be conducted that includes economic, safety, and patient-reported outcomes. Standardized transparency artifacts, including provenance, limits, and update history, should be evaluated as interventions. The establishment of open incident and drift registries is essential for the evaluation of fairness-drift surveillance in routine operations. The governance mechanisms, including shadow mode, escalation playbooks, and change control, should be examined through the lens of stepped-wedge or adaptive designs. Finally, the examination of generalizability across settings and populations is recommended, facilitated by the implementation of planned recalibration protocols.

4.3 Limitations of Review

The evidence synthesised in this study is heterogeneous across a variety of designs, settings, and maturity stages, precluding meta-analysis and limiting causal inference. The current scope, which is limited to the United States, does not include any experiments with international governance. A considerable proportion of the included evaluations are observational, which renders them vulnerable to confounding and adoption bias. Additionally, negative or commercially sensitive implementations may be underreported, a phenomenon known as publication bias. Performance metrics frequently serve as a surrogate for patient outcomes, and the availability of proprietary models can impede independent auditing of algorithms, datasets, and updates. The rapid evolution of rules and vendor releases poses a significant risk of temporal drift between reported evidence and current practice.

COMPETING INTERESTS DISCLAIMER:

Authors have declared that they have no known competing financial interests OR non-financial interests OR personal relationships that could have appeared to influence the work reported in this paper.

References

Abràmoff, M. D., Lavin, P. T., Birch, M., Shah, N., & Folk, J. C. (2018). Pivotal trial of an autonomous AI-based diagnostic system for the detection of diabetic retinopathy in primary care offices. NPJ digital medicine, 1(1), 39.

Adams, R., Henry, K. E., Sridharan, A., Soleimani, H., Zhan, A., Rawat, N., ... & Saria, S. (2022). Prospective, multi-site study of patient outcomes after implementation of the TREWS machine learning-based early warning system for sepsis. Nature medicine, 28(7), 1455-1460.

Andersen, E. S., Birk-Korch, J. B., Hansen, R. S., Fly, L. H., Röttger, R., Arcani, D. M. C., ... & Madsen, J. S. (2024). Monitoring performance of clinical artificial intelligence in health care: a scoping review. JBI evidence synthesis, 22(12), 2423-2446.

Arnold, M., Bellamy, R. K., Hind, M., Houde, S., Mehta, S., Mojsilović, A., ... & Varshney, K. R. (2019). FactSheets: Increasing trust in AI services through supplier's declarations of conformity. IBM Journal of Research and Development, 63(4/5), 6-1.

Asan, O., & Choudhury, A. (2021). Research trends in artificial intelligence applications in human factors health care: mapping review. JMIR human factors, 8(2), e28236.

Benjamens, S., Dhunnoo, P., & Meskó, B. (2020). The state of artificial intelligence-based FDA-approved medical devices and algorithms: an online database. NPJ digital medicine, 3(1), 118.

Char, D. S., Shah, N. H., & Magnus, D. (2018). Implementing machine learning in health care—addressing ethical challenges. The New England journal of medicine, 378(11), 981.

Collins, G. S., Moons, K. G., Dhiman, P., Riley, R. D., Beam, A. L., Van Calster, B., ... & Logullo, P. (2024). TRIPOD+ AI statement: updated guidance for reporting clinical prediction models that use regression or machine learning methods. bmj, 385.

Davis, S. E., Dorn, C., Park, D. J., & Matheny, M. E. (2025). Emerging algorithmic bias: fairness drift as the next dimension of model maintenance and sustainability. Journal of the American Medical Informatics Association, 32(5), 845-854.

Edelson, D. P., Churpek, M. M., Carey, K. A., Lin, Z., Huang, C., Siner, J. M., ... & Rhodes, D. J. (2024). Early warning scores with and without artificial intelligence. JAMA network open, 7(10), e2438986-e2438986.

Finlayson, S. G., Subbaswamy, A., Singh, K., Bowers, J., Kupke, A., Zittrain, J., ... & Saria, S. (2021). The clinician and dataset shift in artificial intelligence. New England Journal of Medicine, 385(3), 283-286.

Ghassemi, M., Oakden-Rayner, L., & Beam, A. L. (2021). The false hope of current approaches to explainable artificial intelligence in health care. The lancet digital health, 3(11), e745-e750.

Henry, K. E., Adams, R., Parent, C., Soleimani, H., Sridharan, A., Johnson, L., ... & Saria, S. (2022). Factors driving provider adoption of the TREWS machine learning-based early warning system and its effects on sepsis treatment timing. Nature medicine, 28(7), 1447-1454.

Hille, E. M., Hummel, P., & Braun, M. (2023). Meaningful human control over AI for health? A review. Journal of Medical Ethics.

Hillis, J. M., Bizzo, B. C., Mercaldo, S., Chin, J. K., Newbury-Chaet, I., Digumarthy, S. R., ... & Dreyer, K. J. (2022). Evaluation of an artificial intelligence model for detection of pneumothorax and tension pneumothorax in chest radiographs. JAMA Network Open, 5(12), e2247172-e2247172.

Holbrook, A. M., Silva, J. M., Faruque, J. A. Y., Deng, J., Schneider, T., & Jaffer, A. (2025). Effect of electronic drug-drug interaction alerts on patient and clinician outcomes: a systematic review. Journal of the American Medical Informatics Association, 32(10), 1617-1628.

Huang, J. J., Channa, R., Wolf, R. M., Dong, Y., Liang, M., Wang, J., ... & Liu, T. A. (2024). Autonomous artificial intelligence for diabetic eye disease increases access and health equity in underserved populations. NPJ digital medicine, 7(1), 196.

Huang, J., Neill, L., Wittbrodt, M., Melnick, D., Klug, M., Thompson, M., ... & Etemadi, M. (2023). Generative artificial intelligence for chest radiograph interpretation in the emergency department. JAMA network open, 6(10), e2336100-e2336100.

Hwang, T. J., Kesselheim, A. S., & Vokinger, K. N. (2019). Lifecycle regulation of artificial intelligence–and machine learning–based software devices in medicine. Jama, 322(23), 2285-2286.

Jobin, A., Ienca, M., & Vayena, E. (2019). The global landscape of AI ethics guidelines. Nature machine intelligence, 1(9), 389-399.

Kaissis, G. A., Makowski, M. R., Rückert, D., & Braren, R. F. (2020). Secure, privacy-preserving and federated machine learning in medical imaging. Nature Machine Intelligence, 2(6), 305-311.

Kennedy, J. N., & Rudd, K. E. (2022). A sepsis early warning system is associated with improved patient outcomes. Cell Reports Medicine, 3(9).

Kwong, J. C., Khondker, A., Lajkosz, K., McDermott, M. B., Frigola, X. B., McCradden, M. D., ... & Johnson, A. E. (2023). APPRAISE-AI tool for quantitative evaluation of AI studies for clinical decision support. JAMA network open, 6(9), e2335377-e2335377.

Ladabaum, U., Shepard, J., Weng, Y., Desai, M., Singer, S. J., & Mannalithara, A. (2023). Computer-aided detection of polyps does not improve colonoscopist performance in a pragmatic implementation trial. Gastroenterology, 164(3), 481-483.

Lee, B., Kramer, P., Sandri, S., Chanda, R., Favorito, C., Nasef, O., ... & Dai, T. (2025, August). Early Recalls and Clinical Validation Gaps in Artificial Intelligence–Enabled Medical Devices. In JAMA Health Forum (Vol. 6, No. 8, pp. e253172-e253172). American Medical Association.

Liu, X., Rivera, S. C., Moher, D., Calvert, M. J., Denniston, A. K., Ashrafian, H., ... & Yau, C. (2020). Reporting guidelines for clinical trial reports for interventions involving artificial intelligence: the CONSORT-AI extension. The Lancet Digital Health, 2(10), e537-e548.

Mello, M. M., & Guha, N. (2024). Understanding liability risk from using health care artificial intelligence tools. New England Journal of Medicine, 390(3), 271-278.

Moons, K. G., Damen, J. A., Kaul, T., Hooft, L., Navarro, C. A., Dhiman, P., ... & van Smeden, M. (2025). PROBAST+ AI: an updated quality, risk of bias, and applicability assessment tool for prediction models using regression or artificial intelligence methods. bmj, 388.

Muehlematter, U. J., Daniore, P., & Vokinger, K. N. (2021). Approval of artificial intelligence and machine learning-based medical devices in the USA and Europe (2015–20): a comparative analysis. The Lancet Digital Health, 3(3), e195-e203.

Obermeyer, Z., Powers, B., Vogeli, C., & Mullainathan, S. (2019). Dissecting racial bias in an algorithm used to manage the health of populations. Science, 366(6464), 447-453.

Parikh, R. B., Teeple, S., & Navathe, A. S. (2019). Addressing bias in artificial intelligence in health care. Jama, 322(24), 2377-2378.

Plana, D., Shung, D. L., Grimshaw, A. A., Saraf, A., Sung, J. J., & Kann, B. H. (2022). Randomized clinical trials of machine learning interventions in health care: a systematic review. JAMA network open, 5(9), e2233946-e2233946.

Rajkomar, A., Hardt, M., Howell, M. D., Corrado, G., & Chin, M. H. (2018). Ensuring fairness in machine learning to advance health equity. Annals of internal medicine, 169(12), 866-872.

Raji, I. D., Smart, A., White, R. N., Mitchell, M., Gebru, T., Hutchinson, B., ... & Barnes, P. (2020, January). Closing the AI accountability gap: Defining an end-to-end framework for internal algorithmic auditing. In Proceedings of the 2020 conference on fairness, accountability, and transparency (pp. 33-44).

Reddy, S. (2022). Explainability and artificial intelligence in medicine. The lancet digital health, 4(4), e214-e215.

Rivera, S. C., Liu, X., Chan, A. W., Denniston, A. K., Calvert, M. J., Ashrafian, H., ... & Yau, C. (2020). Guidelines for clinical trial protocols for interventions involving artificial intelligence: the SPIRIT-AI extension. The Lancet Digital Health, 2(10), e549-e560.

Rothenberg, S. A., Savage, C. H., Abou Elkassem, A., Singh, S., Abozeed, M., Hamki, O., ... & Smith, A. D. (2023). Prospective evaluation of AI triage of pulmonary emboli on CT pulmonary angiograms. Radiology, 309(1), e230702.

Savage, C. H., Elkassem, A. A., Hamki, O., Sturdivant, A., Benson, D., Grumley, S., ... & Rothenberg, S. A. (2024). Prospective evaluation of artificial intelligence triage of incidental pulmonary emboli on contrast-enhanced CT examinations of the chest or abdomen. American Journal of Roentgenology, 223(3), e2431067.

Sendak, M. P., Gao, M., Brajer, N., & Balu, S. (2020). Presenting machine learning model information to clinical end users with model facts labels. NPJ digital medicine, 3(1), 41.

Singh, K., Valley, T. S., Tang, S., Li, B. Y., Kamran, F., Sjoding, M. W., ... & Nallamothu, B. K. (2021). Evaluating a widely implemented proprietary deterioration index model among hospitalized patients with COVID-19. Annals of the American Thoracic Society, 18(7), 1129-1137.

Sjoding, M. W., Dickson, R. P., Iwashyna, T. J., Gay, S. E., & Valley, T. S. (2020). Racial bias in pulse oximetry measurement. New England Journal of Medicine, 383(25), 2477-2478.

Sounderajah, V., Guni, A., Liu, X., Collins, G. S., Karthikesalingam, A., Markar, S. R., ... & Ashrafian, H. (2025). The STARD-AI reporting guideline for diagnostic accuracy studies using artificial intelligence. Nature Medicine, 1-7.

Subasri, V., Krishnan, A., Kore, A., Dhalla, A., Pandya, D., Wang, B., ... & Dolatabadi, E. (2025). Detecting and Remediating Harmful Data Shifts for the Responsible Deployment of Clinical AI Models. JAMA Network Open, 8(6), e2513685-e2513685.

Suresh, H., & Guttag, J. (2021, October). A framework for understanding sources of harm throughout the machine learning life cycle. In Proceedings of the 1st ACM Conference on Equity and Access in Algorithms, Mechanisms, and Optimization (pp. 1-9).

Thiruvengadam, N. R., Solaimani, P., Shrestha, M., Buller, S., Carson, R., Reyes-Garcia, B., ... & Serrao, S. (2024). The efficacy of real-time computer-aided detection of colonic neoplasia in community practice: a pragmatic randomized controlled trial. Clinical Gastroenterology and Hepatology, 22(11), 2221-2230.

Thompson, Y. L. E., Fergus, J., Chung, J., Delfino, J. G., Chen, W., Levine, G. M., & Samuelson, F. W. (2025). Impact of Artificial Intelligence Triage on Radiologist Report Turnaround Time: Real-World Time Savings and Insights From Model Predictions. Journal of the American College of Radiology.

Van Dort, B. A., Zheng, W. Y., Sundar, V., & Baysari, M. T. (2021). Optimizing clinical decision support alerts in electronic medical records: a systematic review of reported strategies adopted by hospitals. Journal of the American Medical Informatics Association, 28(1), 177-183.

Vasey, B., Nagendran, M., Campbell, B., Clifton, D. A., Collins, G. S., Denaxas, S., ... & McCulloch, P. (2022). Reporting guideline for the early stage clinical evaluation of decision support systems driven by artificial intelligence: DECIDE-AI. bmj, 377.

Watkins, K., Ladabaum, U., Olsen, E., Hoogerbrug, J., Mannalithara, A., Weng, Y., ... & Singer, S. (2024). Exploring human–artificial intelligence interactions in a negative pragmatic trial of computer-aided polyp detection. iGIE, 3(2), 274-285.

Wei, M. T., Shankar, U., Parvin, R., Abbas, S. H., Chaudhary, S., Friedlander, Y., & Friedland, S. (2023). Evaluation of computer-aided detection during colonoscopy in the community (AI-SEE): a multicenter randomized clinical trial. Official journal of the American College of Gastroenterology| ACG, 118(10), 1841-1847.

Wiens, J., Saria, S., Sendak, M., Ghassemi, M., Liu, V. X., Doshi-Velez, F., ... & Goldenberg, A. (2019). Do no harm: a roadmap for responsible machine learning for health care. Nature medicine, 25(9), 1337-1340.

Windecker, D., Baj, G., Shiri, I., Kazaj, P. M., Kaesmacher, J., Gräni, C., & Siontis, G. C. (2025). Generalizability of FDA-approved AI-enabled medical devices for clinical use. JAMA Network Open, 8(4), e258052-e258052.

Wong, A., Otles, E., Donnelly, J. P., Krumm, A., McCullough, J., DeTroyer-Cooley, O., ... & Singh, K. (2021). External validation of a widely implemented proprietary sepsis prediction model in hospitalized patients. JAMA internal medicine, 181(8), 1065-1070.