Microbiological Safety Assessment of Reusable Sanitary Pads Manufactured in Senegal: A Public Health Concern

Abstract

1 Background: Reusable sanitary pads represent an affordable alternative to disposable products for addressing menstrual poverty in Senegal. However, their safety profile remains largely unexplored, particularly regarding microbiological contamination risks. Methods: We conducted microbiological analysis of four batches of reusable sanitary pads manufactured by ACDEV using standard pharmacopeial methods. Total aerobic microbial count (TAMC) and total yeast and mold count (TYMC) were determined, alongside specific detection of Staphylococcus aureus, Escherichia coli, Pseudomonas aeruginosa, and Candida albicans. Results: All tested batches exhibited severe microbial contamination with TAMC

7

values of approximately 10	CFU/mL, exceeding acceptable limits (≤100

CFU/mL) by five orders of magnitude. S. aureus was detected in 50% of samples (batches A and D), while other target pathogens remained undetected. Conclusions: These findings reveal critical public health risks and underscore the urgent need for regulatory framework development, quality control implementation, and Good Manufacturing Practices adoption in Senegal's menstrual hygiene product manufacturing sector.

Keywords: reusable sanitary pads; microbiological safety; Staphylococcus aureus; menstrual hygiene; public health; Senegal; pharmaceutical regulation

## Introduction

Menstrual hygiene management represents a fundamental aspect of reproductive health, yet millions of women and girls globally lack access to safe, affordable menstrual products [1,2]. In sub-Saharan Africa, including Senegal, menstrual poverty significantly affects educational attainment, economic participation, and overall quality of life [3,4]. Reusable sanitary pads have emerged as a sustainable solution, offering economic advantages and environmental benefits compared to disposable alternatives [5,6].

Despite their potential benefits, reusable menstrual products present unique microbiological challenges. Their prolonged contact with menstrual blood, combined with suboptimal washing and drying practices, creates favorable conditions for microbial proliferation [7,8]. Furthermore, manufacturing processes that do not adhere to Good Manufacturing Practices (GMP) may introduce additional contamination risks [9,10].

Microbiological contamination of menstrual products poses serious health risks, including vulvovaginal infections, urinary tract infections, and in rare cases, menstrual toxic shock syndrome (TSS) [11,12]. Staphylococcus aureus, a primary concern in TSS cases, can proliferate in menstrual environments and produce toxic shock syndrome toxin-1 (TSST-1) [13,14]. Other pathogenic microorganisms, including Escherichia coli, Pseudomonas aeruginosa, and Candida albicans, have been associated with genitourinary infections in users of contaminated menstrual products [15,16].

Currently, Senegal lacks comprehensive regulatory frameworks for menstrual hygiene products, creating potential safety gaps in locally manufactured items. This study aims to evaluate the microbiological safety of reusable sanitary pads manufactured by the Association for Creation and Development (ACDEV), providing crucial data to inform public health policy and regulatory development.

## Materials and Methods

Figure 1. Methodological flowchart for microbiological assessment of reusable sanitary pads, including sample collection, preparation, culture media selection, incubation conditions, and pathogen identification.

  - Study Design and Setting

7 This cross-sectional study was conducted at the Quality Control Directorate (DICQ) of the Senegalese Agency for Pharmaceutical Regulation (ARP), Dakar, Senegal, between January and March 2024. The facility operates under ISO 17025 accreditation for microbiological testing.

  - Sample Collection

8 Four batches of reusable sanitary pads were collected from ACDEV manufacturing facility using systematic sampling methodology. Sample size was determined using the square root method based on daily production volumes. Eight units per batch were collected aseptically and transported to the laboratory within 4 hours of collection under ambient conditions.

  - Microbiological Analysis

# Sample Preparation

9 Each sanitary pad was aseptically placed in 100 mL sterile purified water and agitated for 15 minutes to extract microorganisms. The resulting suspension served as the test solution for all subsequent analyses.

# Total Aerobic Microbial Count (TAMC) and Total Yeast and Mold Count (TYMC)

10 TAMC determination was performed using Mueller-Hinton agar plates. One milliliter of test solution was inoculated onto each of three plates per sample, spread uniformly, and incubated at 37°C for 48 hours. TYMC was determined using Sabouraud dextrose agar with identical methodology, except incubation was performed at 25°C for 72 hours. Colony counts were performed using a digital colony counter, and results expressed as CFU/mL.

# Specific Pathogen Detection

11 Detection of S. aureus was performed using Chapman mannitol salt agar, with 1 mL test solution inoculated and incubated at 37°C for 24 hours. Suspected colonies were confirmed using coagulase and catalase tests.

12 E. coli detection employed Drigalski agar with incubation at 37°C for 24 hours. P. aeruginosa detection used cetrimide agar incubated at 35°C for 24 hours. C. albicans detection utilized Sabouraud chloramphenicol agar supplemented with actidione, incubated at 30°C for 72 hours.

  - Quality Control and Standards

13 Positive and negative controls were included in all assays. Acceptance criteria were based on European Pharmacopoeia standards for non-sterile products intended for mucosal contact: TAMC ≤100 CFU/mL, TYMC ≤100 CFU/mL, and absence of specified pathogens.

  - Data Analysis

14 Results were analyzed using descriptive statistics. All analyses were performed in triplicate, and mean values reported. Data were processed using Microsoft Excel 2019.

## Results

  - Total Microbial Load Assessment

15 All four tested batches demonstrated severe microbial contamination significantly exceeding acceptable limits. The results are summarized in Table 1 and illustrated

in Figure 2.

16	Figure 2. Total Aerobic Microbial Count (TAMC) in four batches of reusable sanitary pads. All batches exceeded acceptable limits (≤100 CFU/mL) by five orders of magnitude.

Table 1. Total Aerobic Microbial Count (TAMC) and Total Yeast and Mold Count (TYMC) Results

| Batch Code | TAMC (CFU/mL) | TYMC (CFU/mL) | Acceptable Limit | Compliance Status |
| --- | --- | --- | --- | --- |
| A | 7 1.2 × 10 | 4 3.4 × 10 | ≤100 | Non-compliant |
| B | 6 9.8 × 10 | 4 2.1 × 10 | ≤100 | Non-compliant |
| C | 7 1.1 × 10 | 4 4.2 × 10 | ≤100 | Non-compliant |
| D | 7 1.0 × 10 | 4 2.8 × 10 | ≤100 | Non-compliant |

6

7

17 TAMC values ranged from 9.8 × 10	to 1.2 × 10	CFU/mL, representing

contamination levels approximately 100,000 times higher than acceptable limits. TYMC values, while lower than TAMC, still exceeded acceptable thresholds by 200-400 fold.

  - Specific Pathogen Detection

18 Pathogen-specific analysis revealed the presence of S. aureus in two of four tested batches (Table 2 and Figure 3).

19	Figure 3. Pathogen detection matrix showing the presence (red) or absence (green) of target pathogens in four

batches of reusable sanitary pads.

Table 2. Specific Pathogen Detection Results

| Batch Code | S. aureus | E. coli | P. aeruginosa | C. albicans |
| --- | --- | --- | --- | --- |
| A | Detected | Not detected | Not detected | Not detected |
| B | Not detected | Not detected | Not detected | Not detected |
| C | Not detected | Not detected | Not detected | Not detected |
| D | Detected | Not detected | Not detected | Not detected |

20 The detection of S. aureus in 50% of tested samples represents a significant public health concern, given its association with TSS and other serious infections. The absence of other target pathogens, while encouraging, should be interpreted cautiously given the limited sample size.

## Discussion

  - Microbiological Safety Implications

21 The consistently high microbial loads observed across all tested batches indicate systematic failures in manufacturing hygiene and quality control processes. These contamination levels far exceed those reported in similar studies from other African countries, suggesting particularly poor manufacturing conditions [17,18].

22 The presence of S. aureus in half of the tested samples is especially concerning. This pathogen is strongly associated with menstrual TSS, a rare but potentially fatal condition with mortality rates approaching 5-15% [19,20]. Even in the absence of TSS, S. aureus can cause a spectrum of infections ranging from superficial skin lesions to invasive diseases including bacteremia and endocarditis [21].

  - Public Health Impact

23 The widespread adoption of contaminated reusable sanitary pads could significantly impact women's health in Senegal. Potential consequences include increased rates of vulvovaginal infections, urinary tract infections, and reproductive tract complications [22,23]. These health impacts may paradoxically worsen the very problems that reusable pads are intended to solve, potentially increasing healthcare costs and reducing quality of life [24].

  - Regulatory and Manufacturing Considerations

24 The findings highlight critical gaps in Senegal's regulatory framework for menstrual hygiene products. Unlike pharmaceutical products, menstrual hygiene items currently lack specific microbiological standards, pre-market approval requirements, or post-market surveillance systems [25]. The development of comprehensive regulations addressing manufacturing standards, quality control requirements, and safety testing protocols is urgently needed.

25 From a manufacturing perspective, the implementation of GMP principles could significantly reduce contamination risks. Key interventions should include personnel hygiene training, environmental monitoring, equipment sanitization protocols, and raw material quality control [26,27].

  - Socioeconomic Considerations

26 While addressing safety concerns is paramount, it is crucial to balance regulatory requirements with affordability and accessibility. Overly stringent regulations could  price  products  out  of  reach  for  vulnerable  populations,  potentially

exacerbating menstrual poverty [28]. A graduated approach, beginning with basic safety requirements and progressively strengthening standards, may be most appropriate for the local context.

  - Study Limitations

27 This study has several limitations that should be acknowledged. First, the sample size was limited to four batches from a single manufacturer, limiting generalizability to other producers. Second, the pathogen screening was restricted to four common organisms; other potentially harmful microorganisms may have been present but undetected. Third, the study did not assess antimicrobial resistance patterns, which could influence treatment outcomes in case of infections.

## Conclusions

28 This study reveals alarming levels of microbial contamination in locally manufactured reusable sanitary pads in Senegal, with all tested products failing to meet international safety standards. The detection of S. aureus in 50% of samples raises serious public health concerns, particularly regarding TSS risk.

29 These findings underscore the urgent need for comprehensive regulatory action, including the development of specific microbiological standards for menstrual hygiene products, mandatory pre-market safety testing, and enforcement of GMP requirements for manufacturers. Additionally, public health education campaigns should inform users about proper hygiene practices and warning signs of infections.

30 Future research should expand sampling to include multiple manufacturers, assess antimicrobial resistance patterns, and evaluate the effectiveness of different decontamination methods. Long-term epidemiological studies are also needed to quantify the health impact of contaminated menstrual products on Senegalese women and girls.

31 Addressing these safety concerns while maintaining product affordability and accessibility will require coordinated efforts from regulatory authorities, manufacturers, healthcare providers, and civil society organizations. Only through such collaborative approaches can Senegal ensure that the promise of reusable menstrual products is realized without compromising women's health and safety.

## Institutional Review Board Statement

34 Ethical review and approval were waived for this study as it involved only analysis of manufactured products without human or animal subjects.

## Informed Consent Statement

35 Not applicable.

## Data Availability Statement

36 The raw data supporting the conclusions of this article are available from the corresponding author upon reasonable request. Data cannot be shared publicly due to institutional data protection policies.

## Conflicts of Interest

37 The authors declare no conflicts of interest. The Senegalese Agency for Pharmaceutical Regulation had no role in the design of the study; in the collection, analyses, or interpretation of data; in the writing of the manuscript; or in the decision to publish the results.

# COMPETING INTERESTS DISCLAIMER:

Authors have declared that they have no known competing financial interests OR non-financial interests OR personal relationships that could have appeared to influence the work reported in this paper.

## References

- Sommer, M.; Sahin, M. Overcoming the taboo: Advancing the global agenda for menstrual hygiene management for schoolgirls. Am. J. Public Health 2013, 103,

1556–1559.

- Hennegan, J.; Shannon, A.K.; Rubli, J.; Schwab, K.J.; Melendez-Torres, G.J. Women's and girls' experiences of menstruation in low- and middle-income countries: A systematic review and qualitative metasynthesis. PLoS Med. 2019, 16, e1002803.

- Van Eijk, A.M.; Zulaika, G.; Lenchner, M.; Mason, L.; Sivakami, M.; Nyothach, E.; Unger, H.; Laserson, K.; Phillips-Howard, P.A. Menstrual cup use, leakage, acceptability, safety, and availability: A systematic review and meta-analysis. Lancet Public Health 2019, 4, e376–e393.

- Montgomery, P.; Ryus, C.R.; Dolan, C.S.; Dopson, S.; Scott, L.M. Sanitary pad interventions for girls' education in Ghana: A pilot study. PLoS One 2012, 7, e48274.

- Phillips-Howard, P.A.; Caruso, B.; Torondel, B.; Zulaika, G.; Sahin, M.; Sommer,

M. Menstrual hygiene management among adolescent schoolgirls in low- and middle-income countries: Research priorities. Glob. Health Action 2016, 9, 33032.

- UNICEF. Guidance on Menstrual Health and Hygiene; UNICEF: New York, NY, USA, 2019.

- Bassey, I.E.; Nkereuwem, O.O.; Usip, L.P.; Essien, O.E. Microbiological quality of locally produced sanitary pads marketed in Uyo, Nigeria. Afr. J. Microbiol. Res. 2021, 15, 187–193.

- Phillips-Howard, P.A.; Nyothach, E.; Ter Kuile, F.O.; Omoto, J.; Wang, D.; Zeh, C.; Onyango, C.; Mason, L.; Alexander, K.T.; Odhiambo, F.O.; et al. Menstrual cups and sanitary pads to reduce school attrition, and sexually transmitted and reproductive tract infections: A cluster randomized controlled feasibility study in rural Western Kenya. BMJ Open 2016, 6, e013229.

- Todd, J.K. Toxic shock syndrome. Clin. Microbiol. Rev. 1988, 1, 432–446.

- Schmitt, M.L.; Clatworthy, D.; Ratnayake, R.; Klaesener-Metzner, N.; Roesch, E.; Wheeler, E.; Sommer, M. Understanding the menstrual hygiene management challenges facing displaced girls and women: Findings from qualitative assessments in Myanmar and Lebanon. Confl. Health 2017, 11, 19.

- Schlievert, P.M.; Davis, C.C. Device-associated menstrual toxic shock syndrome.

Clin. Microbiol. Rev. 2020, 33, e00032-19.

- Morrison, C.S.; Chen, P.L.; Kwok, C.; Baeten, J.M.; Brown, J.; Crook, A.M.; Van Der Straten, A.; Jacobson, C.; Justman, J.; Kluberg, S.; et al. Risk of infection associated with reusable menstrual products: A systematic review and meta-analysis. Lancet Glob. Health 2021, 9, e1332–e1341.

- Mohammed, A.; Tunkara-Bah, H.; Nyarko, K.; Appiah-Brempong, E. Staphylococcus aureus and menstrual hygiene practices among adolescent school girls in Ghana. J. Infect. Dev. Ctries. 2018, 12, 27–35.

- Parsonnet, J.; Hickman, R.K.; Eardley, D.D.; Pier, G.B. Induction of human interleukin-1 by toxic-shock-syndrome toxin-1. J. Infect. Dis. 1985, 151, 514–522.

- Bassey, E.E.; Akpan, E.J.; Etukudo, M.H. Microbiological quality of reusable sanitary pads sold in Akwa Ibom State, Nigeria. Int. J. Adv. Acad. Res. Sci. Technol. Eng. 2021, 7, 33–45.

- Gultie, T.; Hailu, D.; Workineh, L. Age of menarche and knowledge about menstrual hygiene management among adolescent school girls in Amhara province, Ethiopia: Implication to health care workers & school teachers. PLoS One 2014, 9, e108644.

- Nyothach, E.; Alexander, K.T.; Kinyua, J.; Mathenge, C.; Mason, L.; Oduor, C.; Obor, D.; Kwaro, D.; Wang, D.; Zeh, C.; et al. Handwashing for menstrual hygiene management among primary schoolgirls in rural western Kenya. Waterlines 2015, 34, 279–295.

- Tegegne, T.K.; Sisay, M.M. Menstrual hygiene management and school absenteeism among female adolescent students in Northeast Ethiopia. BMC Public Health 2014, 14, 1118.

- DeVries, A.S.; Lesher, L.; Schlievert, P.M.; Rogers, T.; Villaume, L.G.; Danila, R.; Lynfield, R. Staphylococcal toxic shock syndrome 2000–2006: Epidemiology, clinical features, and molecular characteristics. PLoS One 2011, 6, e22997.

- Hajjeh, R.A.; Reingold, A.; Weil, A.; Shutt, K.; Schuchat, A.; Perkins, B.A. Toxic shock syndrome in the United States: Surveillance update, 1979–1996. Emerg. Infect. Dis. 1999, 5, 807–810.

- Lowy, F.D. Staphylococcus aureus infections. N. Engl. J. Med. 1998, 339, 520–532.

- Cardoso, L.F.; Scolari, S.C.; Hamidaddin, A.; Gupta, J. Period poverty and mental health implications among college-aged women in the United States. BMC Womens Health 2021, 21, 14.

- Sebert Kuhlmann, A.; Henry, K.; Wall, L.L. Menstrual hygiene management in resource-poor countries. Obstet. Gynecol. Surv. 2017, 72, 356–376.

- Chandra-Mouli, V.; Patel, S.V. Mapping the knowledge and understanding of menarche, menstrual hygiene and menstrual health among adolescent girls in low-and middle-income countries. Reprod. Health 2017, 14, 30.

- WHO. Quality Control Methods for Herbal Materials; World Health Organization: Geneva, Switzerland, 2011.

- ICH. Q7 Good Manufacturing Practice Guide for Active Pharmaceutical Ingredients; International Council for Harmonisation: Geneva, Switzerland, 2000.

- FDA. Current Good Manufacturing Practice in Manufacturing, Packing, or Holding of Dietary Supplements; U.S. Food and Drug Administration: Silver Spring, MD, USA, 2007.

- Sumpter, C.; Torondel, B. A systematic review of the health and social effects of menstrual hygiene management. PLoS One 2013, 8, e62004.