Review Form 3

	

	Journal Name:
	Journal of Energy Research and Reviews 

	Manuscript Number:
	Ms_JENRR_146242

	Title of the Manuscript: 
	Impacts of PV Integration on the Network Protection Arrangements: A case of a Cameroonian Southern Interconnected Network

	Type of the Article
	Original Research Article


	PART  1: Comments



	
	Reviewer’s comment

Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review.

	Author’s Feedback (It is mandatory that authors should write his/her feedback here)



	Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part.


	The manuscript is important for the scientific community as it fills a gap in the literature by analyzing the impact of the large-scale photovoltaic (PV) integration on the protection coordination in the emerging power systems.
Although several current studies pay more attention on developed grids, this manuscript presents an insight from the Cameroonian Southern Interconnected Network, offering valuable background for similar systems in sub-Saharan Africa and other developing economies. 

Incorporating PV and battery storage fault analysis with the determination of fuses, relays, and reclosers into the study, the practical protection issues that should be expected in the projects of renewable integration are pointed out. 

The results contribute to the ongoing global discussions on adjusting traditional protection have become part of the discussion of adjusting traditional protection schemes to the distributed generation in the world and have also provided a scientific basis on policy, planning, and further modernization of grids in the nearest future.
	

	Is the title of the article suitable?

(If not please suggest an alternative title)


	The title “Impacts of PV Integration on the Network Protection Arrangements: A Case of a Cameroonian Southern Interconnected Network” is clear and relevant, but it can be slightly refined for conciseness and readability. However, it can be made a bit shorter and easier to read. Suggested alternatives:

1. Photovoltaic Integration and its effects on Protection Schemes in Southern Interconnected Network in Cameroon.

2. Protection Challenges of PV Integration in the Cameroon Southern Interconnected Power Network.

This will render it more direct to indexing and readers.
	

	Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here.


	The abstract should be concise and clear. Pay attention to the summary of numerical information, remembering only important figures. Redesign the flow according to context, aim, method, findings and recommendations. Improve the grammatical structure, remove repetitive figures, emphasize one or two accomplishments. Emphasize on the consequences of the findings to future PV development in Cameroon and add a sentence relating the findings to practical utilities recommendations.
	

	Is the manuscript scientifically, correct? Please write here.
	Yes, the manuscript is scientifically correct and valid. The methodology (fault simulations in OpenDSS, with PV and BESS integration, and evaluation of fuses/relays/reclosers) is sound, the literature review is adequate and cites relevant works. The findings are reliable with the existing PV protection issues and in line with the background scientific principle (reverse power flow, reformed fault current levels, sympathetic tripping, relay miscoordination).
	

	Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form.
	The references in the manuscript are relevant and partly sufficient, but they are not fully up to date. Most of them range between 2010–2018, with only two recent ones (2021). To show the consciousness of recent developments in the active spheres of photovoltaic (PV) integration and protection coordination, it is proposed to add to the list of references publications of recent years, no older than 2020-2024.
	

	Is the language/English quality of the article suitable for scholarly communications?


	The English language of the manuscript is readable and presents the technical information, but the English level is not fully suitable for scholarly communications. It needs polishing in several areas to meet journal publication standards.
	

	Optional/General comments


	 “Impacts of PV Integration on the Network Protection Arrangements: A Case of a Cameroonian Southern Interconnected Network” The study discourses a very serious topic in light of Cameroon’s solar expansion plans, emphasizing its significance and gravity. The approach used is strong but the text needs upgrading of the language to make it more understandable and readable. Also, it would be helpful to explicitly relate the recommendations to the Cameroon 2020 PV Project. Adding a paragraph on limitations and possible future research directions would help to increase the scientific rigor of the manuscript. As an example, it would be worthwhile to look into the further levels of PV penetration or to consider incorporating communication-based protection mechanisms into the area of future research. The manuscript is good for publication after the minor revision.
	


	PART  2: 



	
	Reviewer’s comment
	Author’s Feedback (It is mandatory that authors should write his/her feedback here)



	Are there ethical issues in this manuscript? 


	(If yes, Kindly please write down the ethical issues here in details)


	


Reviewer details:

Augustine Olugbenga Folorunso, Ladoke Akintola University of Technology, Nigeria

Created by: DR
              Checked by: PM                                           Approved by: MBM
   
Version: 3 (07-07-2024)

