| Journal Name: | Journal of Advances in Mathematics and Computer Science |
| --- | --- |
| Manuscript Number: | Ms_JAMCS_147730 |
| Title of the Manuscript: | Comparative Evaluation of Mask R-CNN and YOLOv8 for Automated Malaria Parasite Detection and Life-Stage Classification in Microscopy Images |
| Type of the Article | Original Research Article |

| ## PART 1: Comments |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | This Manuscript covers a critical area in global health by applying two deep learning models – Mask-R CNN and YOLOv8 for Automated Detection and Classification of Malaria Parasite in Microscopy Images. This automation can simply the reduce the workload, reduce human error and increase detection accuracy in low resource settings. There is a growing interest in medical image analysis, and this study would be of interest to researchers in medical imaging, artificial intelligence and diagnostic methodologies for global health initiatives. | ## This manuscript contributes to the ongoing development of automated malaria diagnostic tools through deep learning–based image analysis. By comparing Mask R-CNN and YOLOv8 for parasite detection and life-stage classification, it advances the understanding of how modern instance segmentation models can improve diagnostic precision and speed. The findings demonstrate the feasibility of integrating AI into microscopy workflows for scalable, cost-effective malaria screening, especially in resource-limited settings. The work thus provides both methodological and practical insight for the medical imaging and global-health research communities. |
| Is the title of the article suitable? (If not please suggest an alternative title) | Yes, the article title is suitable. It could be made more concise and academic. Suggestion - “Comparative analysis of Mask-R CNN and YOLOv8 models for Automated Detection and Classification of Malaria Parasite in Microscopy Images” | ## Yes. The title was modified slightly to “Comparative analysis of Mask-R CNN and YOLOv8 models for Automated Detection and Classification of Malaria Parasite in Microscopy Images” accurately reflects the scope, methodology, and objectives of the study. It clearly indicates the comparative nature of the work and the focus on both detection and life-stage classification. The authors deliberated after the thoughtful comment from the reviewer for which we are thankful. |
| ## Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | The Abstract is well structured and concise, but it could be strengthened by including the quantitative results like the accuracy and F1 score to show the performance difference between both the models. | ## The abstract has been revised and condensed into a single, cohesive paragraph to improve readability and ensure it succinctly summarizes the study. It now captures the problem background, methods, main quantitative results, and key conclusions in a logically connected flow. |
| ## Is the manuscript scientifically, correct? Please write here. | The manuscript is scientifically correct, and the models used are appropriate for the stated objective of the study. However, certain areas need clarification: - Elaborating on the composition of the data and augmentation techniques with proper references would be beneficial. Including these will help in reproducibility of the study. - Fig 10-13: It is unclear which figure corresponds to YOLOv8 or which to Mask R CNN model. Please label each figure such as A. Mask R CNN and B. YOLOv8. This will make visual images far clearer and interpretable. - The discussion section could include and elaborate on why one model performed better than the other model and its implications on practical use. | ## Data composition and augmentation: We have added a detailed description of the dataset, including the number of images per class, the training-testing split, and all augmentation techniques applied (rotation, flipping, brightness adjustment, etc.), along with appropriate references to support reproducibility. This information is included in Section 2.1 (Dataset Preparation) and Section 2.2 (Data Augmentation). ## Figure labelling: Figures 10–13 have been updated to clearly indicate which results correspond to Mask R-CNN and which correspond to YOLOv8. Each figure panel is now labelled as A. Mask R-CNN and B. YOLOv8 to improve clarity and interpretability. ## Discussion of model performance: The Discussion section has been revised to analyse and compare the performance of Mask R-CNN and YOLOv8. We now explain the observed differences in accuracy and F1 score, considering factors such as detection sensitivity, model architecture, and computational efficiency, and we discuss the practical implications for real-world deployment in low-resource settings. |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | The references could be expanded to include more recent literature from 2022-2025 on image applications and malaria parasite classification. Suggestions: - Prasaja, B. I., Ramadhani, F., & Abdulhamid, K. A. (2025). Advancements in diagnostic approaches for malaria and dengue fever cases in Indonesia and Nigeria. Environmental and Materials, 3(1), 66-79. - Grignaffini, F., Simeoni, P., Alisi, A., & Frezza, F. (2024). Computer-aided diagnosis systems for automatic malaria parasite detection and classification: a systematic review. Electronics, 13(16), 3174. - Khan, N., Das, A., Verma, K. G., & Verma, P. (2025). Enhancing deep learning for parasite detection: An integrated review of data augmentation methods for fluorescence microscopy images. age, 5, 6. | ## We thank the reviewer for these suggestions. We have updated the References section to include some of the suggested recent literature, incorporating studies from 2022–2025 that focus on malaria parasite detection, deep learning-based diagnostic methods, and image data augmentation strategies. These additions provide a more current context for our work and strengthen the manuscript’s connection to recent advances in the field. |
| ## Is the language/English quality of the article suitable for scholarly communications? | The article is understandable. The transition between methods and results can be made smoother. Few sentences can be restructured for academic tone. | We thank the reviewer for this observation. In the revised manuscript, we have improved the transitions between the Methods and Results sections to enhance the flow and readability. Several sentences have been restructured for clarity and to better align with formal academic style, ensuring that the narrative presents the methodology and findings in a coherent and professional manner. |
| ## Optional/General comments | This manuscript provides a meaningful comparison between both the deep learning models for parasite classification. Suggestions: - Improve the figure clarity and labelling. - Add a table summarize accuracy for both models for visual comparison. - Add a short note on computational resource requirements for use in real-world low-resource settings. | We thank the reviewer for these constructive suggestions. In the revised manuscript: - Figures: All figures have been enhanced for clarity, and each panel is now explicitly labelled to indicate which model is represented (Mask R-CNN or YOLOv8). - Accuracy Metrics: While a separate summary table was not added, all key performance metrics: including accuracy, F1 score, and recall are clearly presented in the figures and discussed in the Results section, allowing readers to compare model performance effectively. - Computational Feasibility: A note has been added in the Discussion section indicating that both models can be deployed on standard GPU-enabled workstations, and that YOLOv8’s fast inference time suggests potential feasibility for implementation in low-resource diagnostic settings. |

| PART 2: |  |  |
| --- | --- | --- |
|  | ## Reviewer’s comment | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in detail) No |  |