| Journal Name: | Journal of Engineering Research and Reports |  |  |
| --- | --- | --- | --- |
| Manuscript Number: | Ms_JERR_147717 |  |  |
| Title of the Manuscript: | Analysis of Reactive Power Compensation by SVC in the Electrical Network of N’Djamena |  |  |
| Type of the Article | Review Article |  |  |
| PART 1: Comments |  |  |  |  |
|  |  | Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |  |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. |  | This manuscript provides valuable empirical evidence on the effectiveness of Static Var Compensators (SVC) in enhancing voltage stability and reducing power losses within weak and heavily stressed distribution networks, a challenge common across developing regions. By presenting a real-world case study from the N’Djamena grid, the work bridges the gap between theoretical reactive power compensation strategies and their practical implementation in resource-constrained environments. The study contributes reproducible modeling details and performance metrics that can guide engineers, planners, and researchers in evaluating and deploying FACTS- based solutions. | We thank the reviewer for this accurate and encouraging summary, which perfectly captures the core contributions of our work. We fully agree with this assessment. Our study provides a crucial, data-driven validation of SVC technology for a typical African urban network, offering a pragmatic and immediately applicable solution for grid modernisation. The reproducible methodology and the significant results demonstrating voltage profile improvements of up to +20 percentage points and substantial loss reductions serve as a valuable benchmark and a decision-support tool for utility engineers and policymakers facing similar challenges. Furthermore, by rigorously quantifying these benefits in a real-world context, this work enriches the scientific community's understanding of how mature FACTS devices can effectively address the pressing issues of voltage instability and energy efficiency in developing power systems. |  |
| Is the title of the article suitable? (If not please suggest an alternative title) |  | The title is too general; it does not highlight what specific optimization was achieved. The phrase "Electric Power Grid Optimization" is broad and commonly used. Alternative Title - "Voltage Stability Improvement and Loss Reduction Using SVC: A Case Study of the N’Djamena Distribution Network" | We thank the reviewer for this helpful suggestion. We have adopted this title as it accurately reflects the core focus of our study. The revised title is now: "Impact of Static Var Compensator (SVC) on Voltage Stability and Losses in the N'Djamena Power Network" |  |
| Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. |  | Abstract clearly states the context. It identifies the solution. It reports on performance improvements. The abstract reads more like a summary than a research contribution statement. Abstract does not mention modeling environment, control scheme, or evaluation conditions. | We appreciate the reviewer's feedback on the abstract. We have revised it to better highlight our research contribution and to include the missing key elements. The revised abstract now explicitly mentions the use of NEPLAN software for modeling and simulation, the application of a PI control scheme for the SVC, and the evaluation under both nominal (100%) and maximum (120%) load conditions. |  |
| Is the manuscript scientifically, correct? Please write here. |  | Yes, the manuscript is scientifically sound and technically correct in its core methodology and findings. The modeling approach, the use of SVC for reactive power compensation, and the load-flow analysis under different loading conditions are well-aligned with standard practices in power system studies. The reported results—such as voltage profile improvement and reduction in active and reactive power losses—are consistent with theoretical expectations and previously published research on FACTS devices in weak grids. | We thank the reviewer for confirming the scientific and technical soundness of our work. |  |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. |  | Evidently cite a number of earlier works relevant to reactive-power compensation, grid voltage support, FACTS devices (like the Static Var Compensator / SVC), and weak grids in developing contexts. Having a mixture of methodologies and case studies is helpful for grounding the contribution. Some of the references appear somewhat older. | We acknowledge the reviewer's valuable point regarding the references. We have thoroughly updated the bibliography to include several key and highly recent (2025) publications that directly support and contextualize our work. Specifically, we have cited: - Diab et al. (2025), which provides a direct performance comparison between PI and Fuzzy Logic Control for a STATCOM, reinforcing our methodological approach [20]. - Omboua Eyandzi et al. (2025), a seminal study that demonstrates the successful implementation of a fuzzy-controlled SVC in a neighboring African power network (Congo-Brazzaville), sharing similar operational constraints with the N'Djamena grid [19]. These additions not only update the references but also firmly position our study within the current research landscape focused on the application and validation of FACTS devices for grid stability in developing countries. The new citations have been integrated into the literature review (Sections 3.3 and 3.5) to strengthen the background and better position our contribution. |  |
| Is the language/English quality of the article suitable for scholarly communications? |  | Yes, the language and English quality of the article are generally suitable for scholarly communication, and the manuscript is understandable in its current form. The technical ideas are conveyed clearly, and the flow between sections is logical. However, the text would benefit from minor language polishing to improve readability, consistency of terminology, and grammatical accuracy. | We thank the reviewer for the positive assessment. We have undertaken a thorough proofreading of the entire manuscript to polish the language, improve consistency in terminology, and correct minor grammatical inaccuracies to enhance overall readability. |  |
| Optional/General comments |  | Scientifically sound approach. Clear improvement in voltage profile and loss reduction. Practical relevance for weak grids and developing regions. Results are logically consistent and well-presented. | We sincerely thank the reviewer for their overall positive and encouraging comments on the practical relevance and logical consistency of our work. |  |

PART 2:

|  | Reviewer’s comment | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| --- | --- | --- |
| Are there ethical issues in this manuscript? | There is no ethical issues in the manuscript. | We confirm and agree with the reviewer's assessment. This manuscript raises no ethical issues. The study is based on a simulation model of the electrical network and does not involve human participants, animal subjects, or collection of sensitive personal data. All data and methodologies used are for technical analysis and are presented transparently. |