Original Research Article

Degradation dynamics of flonicamid insecticide residues in rice crop and soil in Southern Kerala and its dietary risk assessment

Abstract: Flonicamid is extensively used to manage rice crop from sucking insect pests owing to its high efficacy and relatively non-hazardous nature. Frequent sprayings over the course of the crop season elevate concerns regarding the possibility of residues on crops and soils. The study aimed to investigate the dissipation of foliar-applied flonicamid in rice ecosystem after single, double and triple application frequencies using a modified QuEChERS method combined with UHPLC-MS/MS. Recoveries of 74.34-116.36% were obtained for flonicamid in rice and soil matrices with relative standard deviation less than 7 and Horwitz ratio within 0.3. In the field experiment, flonicamid had half-lives of 2.75 to 3.15 days in leaves and 9.01 days in grains. No significant differences in residues were found after each application frequency owing to the similar environmental conditions prevailed during the growing season. A waiting period of 25 days is recommended for flonicamid when considering crop use for fodder purposes. In soil, no residues were detected regardless of the frequency of application. Upon harvest, residues were detected only in grains treated three times with flonicamid. Dietary risk assessment indicated that risk quotient values were below 1, suggesting no associated risks.

Keywords: flonicamid; rice; soil; application frequencies; risk assessment

1. Introduction

Rice (Oryza sativa L.), a foremost cereal grass crop of the Gramineae family domesticated thousands of years back continues to serve as a dominant nutritious food for the global population providing a major proportion of dietary energy as well as vitamins, minerals and phytochemicals [1]. India remains the largest producer and consumer of rice after China with Indian rice holding the highest export value among the world’s countries [2]. The versatility of rice crop as a part of people’s diet, livestock feed and numerous industrial products contribute significantly to the food, nutrition and income security of the Indian sub-continent [3]. However, population growth and consumer preference for rice are increasing while production and productivity are being threatened by a variety of factors of which pest damage is a major concern [4,5]. Brown plant hopper (BPH), white-backed plant hopper (WBPH) and green leaf hopper (GLH) are major sucking insect pests of rice challenging agriculturists over decades [6]. Insecticide spray is quite popular in rice crop for managing the sucking insects, owing to their quick action, efficiency, economy and accessibility, although there is a growing emphasis on sustainable methods [7]. This necessitates the development and use of chemicals with novel chemistries to overcome pest resistance, secondary pest outbreak problems and the complications they pose to the environment.

Flonicamid is one of the comparatively non-hazardous chemicals aligning with the principles of integrated pest management, registered in India for controlling BPH, WBPH and GLH in rice [8,9]. It is highly selective against sucking insect pests of Hemiptera and Thysanoptera with outstanding translaminar and systemic activity through the vascular system [10]. Flonicamid is a pyridine carboxamide insecticide of the trifluoromethyl nicotinamide class discovered by Japan-based Ishihara Sangyo Kaisha Limited and commercialized by FMC Corporation. It targets the A-type potassium channels and chordotonal organs of nerve cells of insects, leading to the cessation of feeding and death [11,12]. It has a high water solubility (SW) of 5.2 g l-1, low vapour pressure, Henry’s law constant and octanol water-partition coefficient (log Kow) of 9.43 x 10-4 mPa, 4.20 x 10-8 Pa m3 mol-1 and -0.24, respectively, with moderate mobility and faster degradation in soil [13]. It is relatively innocuous to beneficial insects, honey bees and other non-target organisms [10,14]. Repeated sprayings of this compound depending on the pest severity are adopted by farmers at all growth stages of rice which raises concerns about residual deposition in the environment [15]. Analysing the residual behaviour of the insecticide become crucial to ensure the safety of human and animal health as well as the well-being of the environment. However, the dissipation kinetics of flonicamid in rice crop remains unclear as very few studies are reported in India [16,17]. Therefore, a study was proposed to address the persistence and dissipation behaviour of flonicamid insecticidal residues after repeated applications in open-field rice crop utilising a simple, rapid and effective method employing UHPLC-MS/MS. The insights gained from this study aim to facilitate the judicious use of these chemicals in agricultural practices, balancing effective pest management with environmental and health considerations.

2. Materials and methods

2.1 Analytical standards, chemicals and solutions

Certified reference material of flonicamid (C9H6F3N3O, 99.5% purity) was supplied by United Phosphorous Limited, Mumbai. HPLC grade acetonitrile (CH3CN), methanol (CH3OH) and sodium chloride (NaCl), GR grade sodium sulfate (Na2SO4) as well as AR grade magnesium sulfate heptahydrate (MgSO4.7H2O) were bought from Merck Specialities Pvt. Ltd, Mumbai. The salts were activated through a 4-hour heating process in a muffle furnace at 400°C and were subsequently used after cooling to room temperature. Primary Secondary Amine (PSA) was provided by Agilent Technologies, USA. An Elga water purification system was used to obtain Type I water. Commercial formulations of flonicamid marketed as Ulala 50% Water dispersible granules (WG) was purchased from a nearby local market.

Individual standard stock solutions (400 µg ml-1) of flonicamid was prepared in methanol. Intermediate standard (100 µg ml-1) and working standard mix solutions 10, 1, 0.50, 0.25, 0.10, 0.05, 0.025 and 0.1 µg g-1 were prepared by serial dilution of stock standard and intermediate standard respectively. Similarly, matrix-matched standard solutions were obtained by addition of untreated matrix (rice leaf, straw, grain and soil) extracts to each serially diluted standard solution. The prepared extracts were stored at -20°C in freezer till analysis.

2.2 Field study

The supervised field investigation aiming to evaluate the residue dynamics of insecticide formulation viz., flonicamid 50% WG was conducted during Kharif-2022 at the Integrated Farming Systems Research Station (IFSRS) in Karamana, Kerala, India. The experiment was laid out in randomized block design with treatments structured in accordance with the recommendations on the pesticide labels. In specific, flonicamid was applied to a medium duration rice variety Uma as foliar treatments at the recommended dosages of 75 g a.i. ha-1 at three application frequencies (single @ 25, double @ 25 and 50 and triple @ 25, 50 and 75 days after transplanting (DAT)). The experiment utilised an area of approximately 15 cents with each treatment covering 20 m2 space (5 m x 5 m) in four replications along with absolute control with no insecticide application. A 1-meter buffer zone was upheld between each plot to prevent cross-contamination. All other crop management practices beginning from nursery to harvest followed the Kerala package of practices recommendations. Representative plant and soil samples were randomly collected from each plot at intervals of 0 (2 hour after spray), 1, 3, 5, 7, 10, 15, 20 and 25 days after each sprays and at the time of harvest for studying the dissipation pattern. The physico-chemical properties of the experimental field are given in Table 1.

Table 1 Physico-chemical attributes of field soil

| Soil type | Riverine alluvium soil |
| --- | --- |
| Texture | Sandy clay loam |
| Sand (%) | 56.28 |
| Silt (%) | 14.30 |
| Clay (%) | 29.42 |
| Bulk density (Mg m-3) | 1.42 |
| Particle density (Mg m-3) | 2.50 |
| Porosity (%) | 43.20 |
| Field moisture (%) | 18.20 |
| pH | 5.05 |
| Electrical conductivity (EC) dS m-1 | 0.20 |
| Organic matter (%) | 1.59 |
| Available N (kg ha-1) | 273.42 |
| Available P (kg ha-1) | 28.97 |
| Available K (kg ha-1) | 153.00 |

2.3 Pesticide extraction and clean-up methodology

QuEChERS (Quick, Easy, Cheap, Effective, Rugged and Safe) methodology was adopted for extracting residues from plant and soil samples with some modifications [18] which are detailed under:

2.3.1 Soil

Soil samples (1 kg) were collected from the top 0-15 cm furrow slice layer from more than 5 random sites per plot and mixed well. About 10 g was taken in a 50 ml polypropylene centrifuge tube, 20 ml of CH3CN was added and shaken well for better interaction of solvent and soil matrices to improve extraction efficiency of insecticides. To this, 4 g of anhydrous MgSO4 and 1 g of NaCl were added, vortexed for 30 sec to facilitate mixing and centrifuged at 3300 rpm for 4 min at 8°C. About 10 ml of the upper organic liquid layer was carefully withdrawn without disturbing the precipitated samples into a 15 ml centrifuge tube prefilled with 0.25 g PSA, 1.5 g anhydrous MgSO4, vortexed for 30 sec and centrifuged at 4400 rpm for 10 min at 8°C. Then, 4 ml of the aliquot was taken in a turbo tube and evaporated to dryness under a gentle stream of nitrogen in turbovap at 40 °C. The dry residues were reconstituted in CH3OH to about 1 ml, filtered through 0.22 µm microporous filter membrane and stored in vials.

2.3.2 Rice

Healthy leaf, grain and straw samples (500 g) were randomly collected from more than five sites from each treated plot for residue analysis. The samples were crushed in a blender from which 15 g of leaf and 25 g of grain were taken for analysis in a 250 ml centrifuge bottle. The leaf was extracted with 30 ml CH3CN to which 6 g NaCl was added, shaken for 5 mins in a mechanical shaker and centrifuged at 4500 rpm for 5 min at 8°C. The supernatant solution was transferred to 50 ml centrifuge tubes containing 6 g Na2SO4, shaken and vortexed for a min. The contents were poured into a 15 ml centrifuge tube already filled with 0.2 g PSA and 1.2 g MgSO4 and centrifuged at 8000 rpm for 8 min at 8°C. The grain samples were mixed with 25 ml of distilled water, 50 ml of CH3CN plus 12 g NaCl, shaken for 30 min in a mechanical shaker and centrifuged at 8000 rpm for 8 min at 8°C. About 16 ml of supernatant was drawn in to a 50 ml polypropylene centrifuge tube containing 2 g MgSO4 and 2 g Na2SO4, vortexed for 30 sec and centrifuged at 8000 rpm for 8 min at 8°C. The supernatant liquid was introduced into a 15 ml tube containing 0.1 g PSA and 0.75 g MgSO4 and centrifuged at 8000 rpm for 8 min at 8°C. For straw, 5 g of samples were taken in 250 ml centrifuge bottle to which 40 ml of distilled water, 50 ml of CH3CN and 10 g of NaCl were added, shaken for 5 min and centrifuged at 8000 rpm for 8 min at 8°C. Supernatant (25 ml) was drawn in to a 50 ml polypropylene centrifuge tube prefilled with 5 g of Na2SO4, vortexed for 30 sec and centrifuged at 8000 rpm for 8 min at 8°C. Supernatant (10 ml) was drawn in to a 15 ml centrifuge tube having 2 g MgSO4 and 0.125 g PSA, followed by vortexing for 30 sec and centrifugation at 4500 rpm for 5 min at 8°C. About 3 ml of the centrifuged cleaned extracts of leaf, grain and straw matrices were evaporated to dryness under a gentle stream of nitrogen in turbovap at 40°C and reconstituted to 1 ml with CH3OH for analysis.

2.4 Instrumental analysis

Chromatographic analytical method for identification and quantification of flonicamid was achieved by Dionex Ultimate 3000 UHPLC system (Thermo Scientific, Germany) equipped with a TSQ Quantiva mass spectrometer (Thermo Scientific, US). The binary mobile phase consisted of 5 mM ammonium formate and 0.1% formic acid (v/v) in aqueous solution (A) and 5mM ammonium formate and 0.1% formic acid (v/v) in methanol (B). The chromatographic separation was carried out using Thermo Scientific, Accucore aQ (100 mm x 2.1 mm, 2.6 µ particle size) column. The elution was carried out in gradient mode 0-0.5 min: 2% elute B, 0.5-2 min: elute B increase to 60%, 2-8 min: elute B further increase to 95%, 8-9.0 min: hold 95% elute B, 9-9.1 min: elute B decrease to 2%, 9.1-10 min: held at 2% elute B. The column and sample temperature were set at 30 °C and 10 °C, respectively, with a flow rate of 0.3 ml min-1.

The residues of flonicamid was qualified and quantified by positive ionization mode using heated electrospray ionisation (H-ESI) mass spectrometry. The analysis employed multiple reaction monitoring mode with mass spectrometric conditions including an ion transfer tube temperature of 350°C and vapourizer temperature of 450°C. Sheath gas, auxiliary gas and sweep gas were maintained at 60, 5 and 1 respectively, in arbitrary units with a dwell time of 158.06 milli seconds. Under the specified conditions, retention time for flonicamid was 3.27 min. Table 2 lists the MS parameters of flonicamid. The chromatogram and mass spectrum of the compound is depicted in Fig. 1.

Table 2 Multiple reaction monitoring (MRM) parameters for LC-MS/MS determination of target insecticides

| Target compound | Polarity | Precursor ion (m/z) | Daughter ion (m/z) | Collision energy (V) | Retention time (min) |
| --- | --- | --- | --- | --- | --- |
| Flonicamid | Positive | 230.038 | 203.000 (Q) | 26.91 | 3.27 |
|  |  |  | 174.042 (C) | 20.69 |  |
|  |  |  | 148.042 (C) | 18.00 |  |

Q: Quantitative ion; C: Confirmatory ion.

B

A

Fig. 1 A) LC-MS/MS chromatogram and B) Mass spectrum of flonicamid

2.5 Method optimisation

To assess the practicality of the suggested extraction method in the accurate identification of flonicamid residues in rice and soil matrices, the method’s performance, encompassing aspects such as linearity, sensitivity, accuracy and precision were scrutinised based on SANTE criteria [19].

The linearity of the method was verified by constructing a matrix-matched calibration curve ranging from 0.01 to 1.00 μg ml-1 using mixed standards of flonicamid in soil and rice matrices. The limit of detection (LOD) and limit of quantification (LOQ) were determined with the signal-to-noise ratio of three and ten, respectively, with reference to the noise achieved from blank matrices. The accuracy/trueness and precision of the method were assessed through a recovery experiment, in five replicates, wherein the control matrices of soil, rice leaf, grain and straw were spiked at concentrations of LOQ, 5xLOQ and 10xLOQ and then processed using the method mentioned in Section 2.3. Precision was determined by calculating the relative standard deviation (RSD) through intra-day repeatability checks. The horwitz ratio (HorRat), as proposed by AOAC guidelines, is an index to assess intra-laboratory precision was computed as per the method given by Horwitz et al [20] to determine the reproducibility of the method.

2.6 Statistical analysis

2.6.1 Dissipation kinetic study

The dissipation kinetics of flonicamid in fresh rice leaves and grains were studied by plotting graphs in first-order linear kinetics model between log of concentrations and time [21]. Dissipation rate constants (k), dissipation half-lives (DT50) and safe waiting period (SWP) were calculated using the equations of ln [Ct] = -kt + ln [C0], DT50 = log (2)/k and SWP = [log (C0) - log (MRL)]/k, where C0 represents the initial residue deposition (µg g-1), Ct stands for the residual level (µg g-1) at various days (t) post-application and MRL is the maximum residue limit of flonicamid in rice crop.

2.6.2 Dietary intake risk assessment

The dietary risk quotient (RQd) was utilized to assess the potential danger posed by flonicamid residues present in rice grains. RQd was determined by dividing the estimated daily intake (EDI, mg kg-1 bw) by the acceptable daily intake (ADI, mg kg-1 bw) levels. ADI values of flonicamid is 0.07 mg kg-1 bw day-1 [22]. EDI was calculated by dividing the maximum residues occurred in grains on respective days and rice intake rate by average body weight of adult male. In India, per capita consumption of rice by the general population weighing 60 kg is 300 g per day [23,24,25].  RQd values below 1 indicate acceptable risk levels, while those above 1 suggest unacceptable levels of risk [26].

3. Results and discussion

3.1. Method performance validation

The parameters evaluated for method validation of flonicamid viz., accuracy, precision, linearity and sensitivity are presented in Table 3. The average recovery rates for flonicamid were within the allowable range of about 75.11-94.51, 93.42-101.33, 105.39-116.36, and 74.34-88.34% with corresponding RSDs ranging from 2.65-3.75, 1.51-2.51, 1.06-6.04 and 1.61-3.34% respectively in rice leaf, straw, grain and soil matrices. Besides this, the HorRat values were below 0.3 for flonicamid in all matrices at all spiking levels. As repeatability was carried out in a shorter time period, not all variability parameters were considered, possibly resulting in significantly low HorRat values. A valid and satisfactory linearity calibration curve with correlation coefficient (R2) greater than 0.99 was obtained in rice and soil matrices when average peak areas of flonicamid were plotted across corresponding concentration ranges (0.01, 0.025, 0.05, 0.10, 0.25, 0.5 and 1 µg g-1). The LOD and LOQ of the proposed method were 0.003 and 0.01 µg g-1, respectively. The LOQ attained by the developed method was found to be 5-100 fold lower than the maximum residue limit (flonicamid: 0.05 µg g-1; dinotefuran: 8 µg g-1) established by the Food Safety and Standards Authority of India (FSSAI) in rice [27]. The validated method was used for the routine analysis of residual flonicamid in rice and soil samples.

Table 3. Method validation parameters of flonicamid in rice and soil matrices

| Matrix | Accuracy and Precision (n = 5) |  |  |  | Linearity |  | Sensitivity |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Spiked level (µg g-1) | Recovery (%) ± SD | RSD (%) | Horwitz ratio | Equation | R2 | LOQ (µg g-1) |
| Grain | 0.01 | 116.36 ± 7.03 | 6.04 | 0.19 | Y = 1.795x – 8.951 | 0.9997 | 0.01 |
|  | 0.05 | 105.39 ± 1.12 | 1.06 | 0.04 |  |  |  |
|  | 0.10 | 110.10 ± 4.91 | 4.46 | 0.20 |  |  |  |
| Leaf | 0.01 | 101.33 ± 1.53 | 1.51 | 0.05 | Y = 2.172x + 9.542 | 0.9995 | 0.01 |
|  | 0.05 | 93.42 ± 2.34 | 2.51 | 0.10 |  |  |  |
|  | 0.10 | 98.16 ± 1.90 | 1.93 | 0.09 |  |  |  |
| Straw | 0.01 | 75.11 ± 2.82 | 3.75 | 0.23 | Y = 5.195x – 1.987 | 0.9968 | 0.01 |
|  | 0.05 | 93.00 ± 3.46 | 3.72 | 0.15 |  |  |  |
|  | 0.10 | 94.51 ± 2.50 | 2.65 | 0.11 |  |  |  |
| Soil | 0.01 | 78.79 ± 2.64 | 3.34 | 0.10 | Y = 2.202x + 2.655 | 0.9954 | 0.01 |
|  | 0.05 | 74.34 ± 1.94 | 2.61 | 0.10 |  |  |  |
|  | 0.10 | 88.34 ± 1.42 | 1.61 | 0.07 |  |  |  |

SD: Standard deviation; RSD: Relative standard deviation; R2: Correlation coefficient; LOQ: Limit of quantification.

3.2. Field dissipation study

3.2.1. Rice leaf

The mean residues, DT50 and SWP in leaves after each application frequency for flonicamid is given in Table 4. Dissipation curves of flonicamid in rice leaf at different application frequencies are shown in Fig. 2A. The initial concentrations of flonicamid in leaves after 2 h of spraying were 15.84, 14.80 and 17.38 µg g-1 at single, double and triple applications, respectively. Residues declined gradually with time to about 95% on the 10th day. Residues reached below limit of quantification (BLQ) on the 25th day. The dissipation kinetics fitted with first-order equation showed a DT50 of around 3 days after each spray (Table 4 and Fig. 2A). Several literatures reported nearest DT50 values for flonicamid in various crops of about 2.5 days in cucumber [28], 3 days in okra [29], 2.8 days in strawberry [30] and 2.5 days in rice leaves [17]. The estimated SWP of flonicamid in leaves were 22.88, 25.21 and 25.11 days at single, double and triple sprays, respectively. Hence, the harvested straw following 25 days after 3rd application of flonicamid is considered safe for utilisation as livestock fodder. A SWP of 16 days in okra [29] and 33 days in cotton seed and oil [31] were reported for flonicamid.

Chawla et al. [31] observed higher initial deposit of flonicamid up to 23.80 µg g-1 in cotton leaves attributed to the lightweight nature and larger surface area of the leaves, offering greater pesticide retention areas. This suggests that various aspects of plants such as the size and shape of leaf, type of cuticle, kind of fruit and their physiological traits can significantly impact the deposition and degradation of pesticides [32]. Environmental parameters like temperature, rainfall, relative humidity and sunlight can produce significant differences on the dissipation of flonicamid [33,34,35]. However, the consistent environmental conditions that prevailed throughout the crop season had resulted in similar dissipation behaviour after each application frequencies.

3.2.2 Rice field soil

Flonicamid was undetected in soils at each application frequency (Table 4). Volatilisation loss is negligible owing to low vapour pressure and henry’s law constant of both chemicals [36]. Insecticide was sprayed towards the closely spaced rice plants, so much of the residues were found concentrated in the plant system. This can be ascribed to the conditions created by highly soluble and systemic nature of the chemical. The mobility of a substance in soil is assessed using Kow which indicates the partitioning of chemical between soil matrix and solution. Chemicals with lower Kow like flonicamid have poor sorption onto soil matrices with higher mobility. This would have caused faster movement and degradation of these chemicals in lowland rice field soil. Ayare and Gogate [37] disclosed that flonicamid undergoes rapid degradation when the solution’s hydroxyl radical increases ie., decrease in pH. Thus, strongly acidic pH of the studied soil facilitated a more rapid dissipation of chemicals. This depicts that in addition to pesticide properties, the physicochemical characteristics of soil notably soil type, moisture content, pH, soil organic matter (SOM) and humus play a significant role in determining the longevity of flonicamid in soils [38,39].

Table 4 Residue dissipation and reaction rate parameters of flonicamid in rice leaf and soil at different frequencies of application

| DAS | Residues (µg g-1) ± SD in leaf (n = 4) |  |  | Residues (µg g-1) ± SD in soil (n = 4) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Single spray | Double spray | Triple spray | Single spray | Double spray | Triple spray |
| 0 | 15.84 ± 0.06 | 14.80 ± 0.31 | 17.38 ± 1.37 | BLQ | BLQ | BLQ |
| 1 | 10.60 ± 0.19 | 13.08 ± 0.13 | 9.83 ± 1.02 | BLQ | BLQ | BLQ |
| 3 | 6.93 ± 0.14 | 6.20 ± 0.14 | 3.80 ± 0.49 | BLQ | BLQ | BLQ |
| 5 | 2.73 ± 0.10 | 3.68 ± 0.29 | 1.77 ± 0.24 | BLQ | BLQ | BLQ |
| 7 | 1.24 ± 0.12 | 2.09 ± 0.25 | 1.46 ± 0.18 | BLQ | BLQ | BLQ |
| 10 | 0.55 ± 0.22 | 1.55 ± 0.18 | 0.76 ± 0.04 | BLQ | BLQ | BLQ |
| 15 | 0.28 ± 0.09 | 0.69 ± 0.09 | 0.32 ± 0.06 | BLQ | BLQ | BLQ |
| 20 | 0.11 ± 0.06 | 0.14 ± 0.02 | 0.12 ± 0.01 | BLQ | BLQ | BLQ |
| 25 | BLQ | BLQ | BLQ | BLQ | BLQ | BLQ |
| Harvest | BLQ | BLQ | BLQ | BLQ | BLQ | BLQ |
| DT50 | 2.75 | 3.14 | 2.97 | - | - | - |
| SWP | 22.88 | 25.21 | 25.11 | - | - | - |

DAS: Days after spray; SD: Standard deviation; BLQ: Below limit of quantification (0.01 µg g-1); DT50: Half-life; SWP: Safe waiting period.

3.2.3 Rice grain

Table 5 represents the residues and DT50 of flonicamid in rice grain. The matured rice grains obtained after the third spray were processed and analysed for residues to understand the dissipation pattern. Mean residues after the third application of flonicamid were 3.02 µg g-1 on the 0th sampling day. The residue dissipation explained using a first-order kinetics reaction showed DT50 of 9.01 days with R2 of ≥0.93 (Fig. 2B). The residue levels detected in rice grains were notably lower compared to those found in leaves, indicating a limited translocation of chemicals into rice grains. By harvest time, flonicamid residues persisted at about 0.12 µg g-1.

Table 5 Residue degradation and half-life of flonicamid in rice grain after triple application.

| DAS | Residues (µg g-1) ± SD (n = 4) | Dissipation (%) |
| --- | --- | --- |
| 0 | 3.02 ± 0.55 | - |
| 1 | 2.05 ± 0.27 | 32.12 |
| 3 | 1.71 ± 0.29 | 43.38 |
| 5 | 1.83 ± 0.11 | 39.40 |
| 7 | 1.64 ± 0.29 | 45.70 |
| 10 | 1.38 ± 0.18 | 54.30 |
| 15 | 1.06 ± 0.11 | 64.90 |
| 20 | 0.79 ± 0.12 | 73.84 |
| 25 | 0.54 ± 0.05 | 82.12 |
| Harvest | 0.12 ± 0.02 | 96.03 |
| DT50 | 9.01 |  |

DAS: Days after spraying; SD: Standard deviation; BLQ: Below limit of quantification (0.01 µg g-1); DT50: Half-life.

Fig. 2 Residue dissipation curves of flonicamid in A) Leaf and B) Grain

3.3 Risk assessment

The results obtained from the dissipation study were used for dietary risk assessment of rice crop. The maximum residue values observed from the field study on the respective days were taken for computing RQd values. The computed RQd values remained consistently below 1, even on the initial day of application. By the time of harvest, the RQd values for flonicamid were notably low, approximately at 0.0009 (Table 6). This indicates that the application of flonicamid to rice crops at three different frequencies is deemed safe for consumption. Similar findings were observed for flonicamid in cotton (Chawla et al. 2018).

Table 6 Dietary risk assessment of flonicamid residues in grain

| DAS | Maximum residues in grain (µg g-1) | EDI | RQ |
| --- | --- | --- | --- |
| 0 | 3.93 | 0.021 | 0.30 |
| 1 | 2.49 | 0.013 | 0.19 |
| 3 | 2.17 | 0.012 | 0.17 |
| 5 | 1.93 | 0.010 | 0.14 |
| 7 | 1.80 | 0.010 | 0.14 |
| 10 | 1.47 | 0.008 | 0.11 |
| 15 | 1.19 | 0.006 | 0.09 |
| 20 | 0.83 | 0.004 | 0.06 |
| 25 | 0.65 | 0.004 | 0.06 |
| Harvest | 0.18 | 0.0009 | 0.01 |

DAS: Days after spraying; EDI: Estimated daily intake; RQ: Risk quotient

4. Conclusion

A precise method for detecting residues of flonicamid in rice crop and soil using LC-MS/MS was validated ensuring linearity, sensitivity, recovery and precision. The validation process yielded satisfactory results, with recovery rates falling within the range of 70-120% and RSD below 20%. Field observations revealed that flonicamid degraded rapidly within the rice field ecosystem. Human dietary risk assessment based on the consumption of rice grains with residues of flonicamid indicated no associated risks. In summary, the study confirms that applying flonicamid to rice crops at recommended dosages at three different frequencies is safe. This conclusion is supported by the rigorous validation of the detection method and the favourable outcomes of the dietary risk assessments.

References

1. Ravichanthiran K, Ma ZF, Zhang H, Cao Y, Wang CW, Muhammad S, et al. Phytochemical Profile of Brown Rice and Its Nutrigenomic Implications. Antioxidants. 2018;7(6):71. https://doi.org/10.3390/antiox7060071

2. Madhu S, Kamani D, Mesara H. A study on production and export of rice from India. Int Res J Mod Eng Technol Sci. 2023;5(3):346-65.

3. Ahmad N, Singh KM, Sinha D, Mishra R. Food security and sustainability of agricultural production: An economic appraisal in Indian context. Int J Chem. 2019;7(4):3229-32. https://dx.doi.org/10.2139/ssrn.3474955

4. Dhaliwal GS, Jindal V, Dhawan AK. Insect pest problems and crop losses: changing trends. Indian J Ecol. 2010;37(1): 1-7.

5. Babendreier D, Hou M, Tang R, Zhang F, Vongsabouth T, Win KK, et al. Biological control of lepidopteran pests in rice: a multi-nation case study from Asia. J Integr Pest Manag. 2020;11(1):1-11. 10.1093/jipm/pmaa002

6. Ali MP, Nessa B, Khatun MT, Salam MU, Kabir MS. A way forward to combat insect pest in rice. Bangladesh Rice J. 2021;25(1):1-22. doi.org/10.3329/brj.v25i1.55176

7. Lim GS, Heong KL. The role of insecticides in rice integrated pest management. IRRI: Los Banos, Laguna, Philippines; 1983.

8. Bhuvaneswari K, Mani M, Suganthi A, Manivannan A. Novel insecticides and their application in the management of horticultural crop pests. In: Mani M, editor. Trends in Horticultural Entomology. Singapore: Springer; 2022, pp 419-54. https://doi.org/10.1007/978-981-19-0343-4_13

9. CIBRC. Major uses of pesticides – Insecticides. 2023. Accessed 15 March 2024. Available: https://ppqs.gov.in/divisions/central-insecticides-board-registration-committee.

10. Morita M, Yoneda T, Akiyoshi N. Research and development of a novel insecticide, flonicamid. J Pestic Sci. 2014;39(3):127-33. https://doi.org/10.1584/jpestics.W14-06

11. Prasanthi S, Chalam M, Devaki K, Naidu MG. Evaluation of efficacies of newer insecticides against mango leafhoppers. Pharm Innov J. 2021;10:385-91.

12. Spalthoff C, Salgado VL, Theis M, Geurten BR, Göpfert MC. Flonicamid metabolite 4‐trifluoromethylnicotinamide is a chordotonal organ modulator insecticide. Pest Mang Sci. 2022;78(11):4802-8. https://doi.org/10.1002/ps.7101

13. Maienfisch P. Selective feeding blockers: pymetrozine, flonicamid, and pyrifluquinazon. In: Peter J, Matthias W, Wolfgang K, Ulrich S, editors. Modern Crop Protection Compounds. 3rd edn. Weinheim, Germany: Wiley; 2019, pp 1501-26. https://doi.org/10.1002/9783527699261.ch34

14. Barbosa PR, Michaud JP, Bain CL, Torres JB. Toxicity of three aphicides to the generalist predators Chrysoperla carnea (Neuroptera: Chrysopidae) and Orius insidiosus (Hemiptera: Anthocoridae). Ecotoxicol. 2017;26:589-99. https://doi.org/10.1007/s10646-017-1792-5

15. Yu Z, Li XF, Wang S, Liu LY, Zeng EY. The human and ecological risks of neonicotinoid insecticides in soils of an agricultural zone within the Pearl River Delta, South China. Environ Pollut. 2021;284:117358. https://doi.org/10.1016/j.envpol.2021.117358

16. Chauhan NR, Joshi MN, Litoriya NS, Parmar KD. Persistence of Flonicamid 50 WG in/on Paddy Pestic Res J. 2019;31(1):114-8. 10.5958/2249-524X.2019.00015.3

17. Karedla AK, Raj RS, Krishnamoorthy SV, Suganthi A, Bhuvaneswari K, Karthikeyan S, et al. Validation, dissipation kinetics and monitoring of flonicamid and dinotefuran residues in paddy grain, straw, its processed produces and bran oil using LC-MS/MS. Food Chem. 2024;435:137589. https://doi.org/10.1016/j.foodchem.2023.137589

18. Anastassiades M, Lehotay SJ, Štajnbaher D, Schenck FJ. Fast and easy multiresidue method employing acetonitrile extraction/partitioning and “dispersive solid-phase extraction” for the determination of pesticide residues in produce. J AOAC Int. 2003;86(2):412-31. https://doi.org/10.1093/jaoac/86.2.412

19. SANTE (11312/2021). Guidance document on analytical quality control and method validation procedures for pesticide residue analysis in food and feed. Eur Commission Direct General Health Food Saf. 2021;2:1.

20. Horwitz W, Kamps LVR, Boyer KW. Quality assurance in the analysis of foods for trace constituents. J AOAC Int. 1980;63(6):1344-54. https://doi.org/10.1093/jaoac/63.6.1344

21. Hoskins WM. Mathematical treatment of the rate of loss of pesticide residues. FAO Plant Prot Bull. 1961;9:163-8. 10.5555/19630300156

22. FAO/WHO. JMPR no. (282) (T,R) Evaluation. 2015. Accessed 07 February 2024. Available: https://www.fao.org/fileadmin/templates/agphome/documents/Pests_Pesticides/JMPR/Evaluation2017/FLONICAMID__282_.pdf.

23. Muthayya S, Hall J, Bagriansky J, Sugimoto J, Gundry D, Matthias D, et al. Rice fortification: an emerging opportunity to contribute to the elimination of vitamin and mineral deficiency worldwide. Food Nutr Bull. 2012;33(4):296-307. https://doi.org/10.1177/156482651203300410

24. Shome S, Roy P, Pal M, Bharati P. Variation of Adult Heights and Weights in India: State & Zonewise analysis. Human Biol Rev. 2014;3(3):242-57.

25. Alae-Carew C, Bird FA, Choudhury S, Harris F, Aleksandrowicz L, Milner J, et al. Future diets in India: A systematic review of food consumption projection studies. Glob Food Secur. 2019;23:182-90. https://doi.org/10.1016/j.gfs.2019.05.006

# 26. Sakthiselvi T, Paramasivam M, Vasanthi D, Bhuvaneswari K. Persistence, dietary and ecological risk assessment of indoxacarb residue in/on tomato and soil using GC–MS. Food Chem. 2020;328:127134. https://doi.org/10.1016/j.foodchem.2020.127134

27. FSSAI. Food Safety and Standards (Contaminants, toxins and residues) regulations. 2020. Accessed 07 February 2024. Available:  https://www.fssai.gov.in/upload/uploadfiles/files/Compendium_Contaminants_Regulations_20_08_2020.pdf.

28. Abdel-Ghany MF, Hussein LA, El Azab NF. Multiresidue analysis of five neonicotinoid insecticides and their primary metabolite in cucumbers and soil using high-performance liquid chromatography with diode-array detection. J AOAC Int. 2017;100(1): 176-88. https://doi.org/10.5740/jaoacint.16-0162

29. Kodandaram MH, Kumar YB, Banerjee K, Hingmire S, Rai AB, Singh B. Field bioefficacy, phytotoxicity and residue dynamics of the insecticide flonicamid (50 WG) in okra [Abelmoschus esculenta (L) Moench]. Crop prot. 2017;94: 13-9. https://doi.org/10.1016/j.cropro.2016.12.003

30. Malhat F, Bakery M, Anagnostopoulos C, Youssef M, Abd El-Ghany W, Abdallah A, et al. Investigation of the dissipation behaviour and exposure of spitotetramat, flonicamid, imidacloprid and pymetrozine in open field strawberries in Egypt. Food Addit Contam Part A. 2021;38(12):2128-36. https://doi.org/10.1080/19440049.2021.1973113

31. Chawla S, Gor HN, Patel HK, Parmar KD, Patel AR, Shukla V, et al. Validation, residue analysis, and risk assessment of fipronil and flonicamid in cotton (Gossypium sp.) samples and soil. Environ Sci Pollut Res. 2018;25: 19167-78. https://doi.org/10.1007/s11356-018-2126-8

32. Jung DI, Farha W, Abd El-Aty AM, Kim SW, Rahman MM, Choi JH, et al. Effects of light shading and climatic conditions on the metabolic behavior of flonicamid in red bell pepper. Environ Monit Assess. 2016;188:1-9. https://doi.org/10.1007/s10661-016-5142-5

33. Li H, Zhong Q, Wang X, Luo F, Zhou L, Sun H, et al. The degradation and metabolism of chlorfluazuron and flonicamid in tea: a risk assessment from tea garden to cup. Sci Total Environ. 2021;754:142070. https://doi.org/10.1016/j.scitotenv.2020.142070

34. Wang YJ, Xue J, Jin HY, Ma SC. Dissipation of flonicamid in honeysuckle and its transfer during brewing process. Chem Pharm Bull. 2017;65(5):492–7. https://doi.org/10.1248/cpb.c16-01015

35. Zhang T, Xu Y, Zhou X, Liang X, Bai Y, Sun F, et al. Dissipation kinetics and safety evaluation of flonicamid in four various types of crops. Molecules. 2022;27(23): 8615. https://doi.org/10.3390/molecules2723

36. Environmental Food Safety Authority. Conclusion on the peer review of the pesticide risk assessment of the active substance flonicamid. EFSA J. 2010;8(5):1445. https://doi.org/10.2903/j.efsa.2010.1445

37. Ayare SD, Gogate PR. Sonochemical, photocatalytic and sonophotocatalytic oxidation of flonicamid pesticide solution using different catalysts. Chem Eng Process. 2020;154:108040. https://doi.org/10.1016/j.cep.2020.108040

38. Liu X, Zhu Y, Dong F, Xu J, Zheng Y. Dissipation and residue of flonicamid in cucumber, apple and soil under field conditions. Int J Environ Anal Chem. 2014;94(7):652-60. https://doi.org/10.1080/03067319.2013.871714

39. Wang S, Jin F, Cao X, Shao Y, Wang J, She Y, et al. Residue behaviors and risk assessment of flonicamid and its metabolites in the cabbage field ecosystem. Ecotoxicol Environ Saf. 2018;161:420-9. https://doi.org/10.1016/j.ecoenv.2018.05.074