A COMPHREHENSIVE REVIEW OF IMPACT ON MRI ON PHYSICAL HEALTH

ABSTRACT:

Magnetic Resonance Imaging (MRI) is a critical diagnostic tool offering detailed visualization of soft tissues without ionizing radiation. Despite its widespread use in high-income countries, access remains limited in low- and middle-income countries (LMICs) due to high costs, infrastructure deficits, and a shortage of trained personnel. This article explores the utility, safety, and accessibility of MRI, emphasizing conditions requiring repeated imaging such as gliomas, metastases, and spinal disorders and patient populations for whom MRI is contraindicated, including those with certain implants or severe renal impairment. While MRI is generally safe and repeatable, caution is warranted with gadolinium-based contrast agents due to potential tissue retention and nephrogenic systemic fibrosis. Safety concerns also extend to device-related risks and acoustic noise exposure. Technological advancements including ultra-high-field scanners (3T and 7T), silent MRI, helium-free systems, and AI-driven enhancements are improving scan precision, patient comfort, and system sustainability. India’s growing role in MRI research and manufacturing is accelerating global access to cost-effective imaging solutions. This review underscores the importance of safe, equitable, and innovative MRI deployment to meet rising diagnostic demands across diverse healthcare settings.

Key-words: Magnetic Resonance Imaging, Cardiology, Diagnostic tool and Nephrology

INTRODUCTION:

Low- and middle-income countries (LMICs) are defined by a per-capita gross national income (GNI) ranging between $1,036 and $4,045, while upper-middle-income economies fall between $4,046 and $12,535. Together, these countries are considered developing nations, home to nearly 75% of the global population 1. Despite the invention of Magnetic Resonance Imaging (MRI) in 1974 and its clinical significance, access to this advanced imaging modality remains limited in LMICs due to numerous systemic challenges. The limited availability of MRI in developing nations stems primarily from high installation and operational costs, lack of reliable infrastructure, inconsistent electricity supply, and a shortage of trained personnel capable of managing and interpreting MRI data 2-4. In addition, limited awareness of MRI’s diagnostic value and the absence of national imaging strategies further hinder its widespread use. While some LMICs are experiencing socioeconomic growth, including improvements in healthcare awareness and demographic shifts such as population aging, these advancements are often not matched by equivalent investments in diagnostic imaging capacity 5-7. MRI plays a crucial role in diagnosing and monitoring a wide spectrum of diseases. In neurology, it is used to detect brain tumors, stroke, epilepsy, multiple sclerosis, and spinal cord disorders. In cardiology, it aids in evaluating congenital heart defects, cardiomyopathies, and vascular abnormalities. Musculoskeletal applications include assessing ligament injuries, arthritis, and bone tumors. Abdominal and pelvic imaging helps identify conditions affecting the liver, kidneys, pancreas, uterus, and prostate. MRI is also vital in oncology for tumor staging and follow-up, and in pediatrics for diagnosing congenital anomalies and developmental disorders 8-9. Additionally, it assists in identifying infectious diseases such as tuberculosis and brain abscesses 10. As early diagnosis and disease monitoring are essential to improving patient outcomes, equitable access to imaging services is becoming an urgent public health priority 11. Beyond its diagnostic value, the impact of MRI on physical health has gained attention in recent years. Although MRI is regarded as a safe, non-invasive imaging technique, certain physical effects especially with high-field scanners warrant consideration. Temporary symptoms such as dizziness, vertigo, peripheral nerve stimulation, and mild thermal sensations have been reported 12. Additionally, gadolinium-based contrast agents (GBCAs), although widely used, may pose risks in patients with impaired renal function, including nephrogenic systemic fibrosis (NSF) 13. There is also growing concern about gadolinium retention in the brain and other tissues after repeated exposures 14. Moreover, the powerful magnetic field can pose safety risks for patients with pacemakers, cochlear implants, and other ferromagnetic devices, highlighting the importance of stringent safety screening 15.

HOW MANY TIMES CAN A PERSON UNDERGO AN MRI?

There is no specific cap on the number of MRI scans a person can undergo. Because MRIs use magnetic fields and radio waves which is not ionizing radiation like CT or X‑rays. MRI scan is generally considered safe for follow-up and monitoring purposes 16.

MRI Without Contrast: No Defined Limit MRI scans without contrast agents use non-ionizing radiofrequency waves and strong magnetic fields. This means they do not expose the patient to radiation, unlike CT scans or X-rays. As such, from a biological safety standpoint, there is no established upper limit to how frequently these MRIs can be performed 17.

MRI With Gadolinium Contrast: Use with Caution Gadolinium-based contrast agents enhance MRI images but carry some risks when used frequently: In people with normal kidney function, the body typically clears gadolinium effectively. In patients with impaired kidney function, especially those with glomerular filtration rate (GFR) <30 mL/min, gadolinium use can trigger Nephrogenic Systemic Fibrosis is a rare but serious condition 18. Studies show gadolinium retention in brain and other tissues after repeated scans, but the long-term effects are unclear 19.

WHICH DISEASES CAN MRI CAN BE DONE REPEATEDLY?

Glioma (all grades): NICE recommends arranging clinical review and appropriate imaging whenever a patient with glioma develops new or changing neurological symptoms or signs, even if prior MRI was reassuring test. Surveillance imaging schedules vary by glioma grade and treatment history (e.g., MRI at 3 months post‑treatment, then every 3–6 or 6–12 months). Symptom changes outside those regular intervals should trigger off‑schedule MRI 20.

Low‑grade gliomas (WHO grade 2 & 3): Longitudinal data support imaging intervals optimized by molecular subgroup. New or worsening symptoms such as seizures, neurological deficits, or corticosteroid requirement should trigger repeat MRI outside routine schedule, even if prior imaging seemed stable test 21.

Metastases and Surveillance Brain metastases: NICE recommends MRI for surveillance rather than CT in patients with known or resected brain metastases, particularly when planning follow‑up imaging. While repeat scans follow a schedule (e.g. annually or tailored), new neurological symptoms would prompt repeat MRI irrespective of previous imaging 20

Meningioma: NICE also states that for people with meningioma (including incidental findings), new or changing neurological signs at any time should prompt clinical review with appropriate imaging, irrespective of prior scan results20

Lumbar disc disease (low back pain, sciatica): A retrospective UK study found that patients with initial reassuring MRI who returned within 12 months with worsening or new symptoms were sometimes found to have clinically significant progression and surgical indications. However, guidelines currently remain equivocal on when to repeat imaging; decisions often rely on clinical judgment 22.

Cervical degenerative disease: In a cohort of 153 patients undergoing repeat cervical MRI for new neck, radiculopathy, or upper motor neuron signs, 35% showed radiographic progression. Worsening radiculopathy was strongly predictive of progression (83% of cases), and upper motor neuron signs even more so (90%). By contrast, isolated axial neck pain without neurological features had no significant association with MRI progression 23.

WHEN SHOULD AN MRI BE DONE 24-25?

MRI is often recommended when initial diagnostic tests are inconclusive, or when more detailed visualization is needed to guide clinical decision-making. Brain and spinal cord MRIs are essential for evaluating aneurysms, tumors, traumatic injuries, multiple sclerosis, spinal cord compression, and stroke, especially when symptoms such as persistent headaches, seizures, or neurological deficits are present. Cardiac MRIs are typically done when echocardiography is insufficient or when a detailed evaluation of chamber size, myocardial function, congenital heart defects, or vascular malformations is necessary. They are especially valuable for assessing myocardial scarring after infarction and inflammatory conditions such as myocarditis. Abdominal and pelvic MRIs are preferred when evaluating complex liver diseases (e.g., cirrhosis), pancreatic abnormalities, tumors, and inflammatory bowel diseases, especially in cases where contrast sensitivity or radiation exposure must be minimized. MRIs are also indicated in pregnancy (post-first trimester) when fetal or maternal anomalies are suspected and ultrasound is inconclusive. Orthopedic MRIs are done when soft tissue injuries (ligaments, tendons), spinal disc pathology, or bone tumors are suspected, particularly if persistent joint pain or mechanical symptoms remain unresolved after conservative treatment. Breast MRIs are indicated for high-risk individuals, often as a supplement to mammography, especially in those with dense breast tissue or a family history of breast cancer.

WHO SHOULD NOT UNDERGO AN MRI 25-32?

Magnetic Resonance Imaging is a crucial diagnostic tool but presents specific risks in patients with implanted or retained metallic devices. Cardiac Implantable Electronic Devices (CIEDs) including pacemakers, implantable cardioverter-defibrillators (ICDs), and cardiac resynchronization therapy (CRT) devices require strict adherence to MRI safety protocols. Potential hazards such as unintended device activation, heating, dislodgement, or arrhythmia induction necessitate scanning only under controlled conditions. These include designated MRI slots, support from electrophysiology-trained staff, and both pre- and post-scan device interrogation. Fortunately, the development of MRI-conditional CIEDs has enabled safe scanning when manufacturer guidelines are followed. However, legacy devices and abandoned leads demand cautious evaluation at experienced centers. Patients with a history of facial trauma or metalwork exposure (e.g., welders) are at risk for retained intraocular metal fragments. In such cases, orbital imaging (X-ray or CT) must be performed before MRI to prevent ocular injury. Absolute contraindications include some neurostimulators, cochlear implants, and active drug infusion pumps (e.g., insulin, chemotherapy). Even minor metal implants such as Swan–Ganz catheters, aneurysm clips, shrapnel, prostheses, dental implants, and piercings must be reviewed against MRI safety databases. Device safety may vary by field strength; while some are acceptable at 1.5 Tesla, they may pose dangers at 3 Tesla. Programmable shunts require post-MRI reprogramming. Plastic tracheostomy tubes are typically MRI-safe, but any metallic or unidentified versions should be replaced beforehand. Intrauterine devices (IUDs) must be verified by make and model; if unknown, scanning is restricted to 1.5 Tesla systems.

Other devices requiring caution include ocular and stapes prostheses, surgical clips, penile implants, joint replacements, and IVC filters. IVC filters of unknown type can generally be scanned at 1.5 Tesla if six weeks have elapsed since placement. Harrington rods are considered MRI-compatible at this field strength. Medication patches should be removed prior to scanning to avoid burns. For patients with tattoos, imaging should be delayed if the tattoo is under six weeks old. Older tattoos may necessitate ice or padding to avoid thermal reactions. Patients must report any heat sensations during the scan using the provided emergency communication device. Following recent colonoscopy (within 8 weeks), retained instruments such as clips or capsule endoscopes must be ruled out before imaging. Uncertain cases require consultation with a radiologist. Patients with claustrophobia, high BMI, pain, or anxiety may benefit from open MRI systems, sedation, or pre-scan education to improve image quality and reduce movement. Cooperation is essential during sequences requiring breath-holding or stillness. MRI is also considered safe during pregnancy, provided gadolinium contrast is avoided unless absolutely necessary. Non-contrast MRI poses no documented fetal risk, but scans should ideally be performed using a 1.5-Tesla scanner and only when clinically indicated. Pregnant individuals must notify healthcare staff before the procedure.

WHAT HAPPENS IF MRI IS DONE TOO MANY TIMES?

A longitudinal study assessed the potential genotoxic effects of repeated exposure to 3-Tesla brain MRI scans in human volunteers. A single 90-minute MRI session did not demonstrate any measurable effect on chromosomal stability. However, participants who underwent multiple MRI scans up to 20 sessions over a span of two years showed a slight increase in chromosomal breaks. This increase appeared to stabilize after a certain number of exposures. Importantly, the observed genetic changes were limited to terminal chromosome deletions, without the appearance of dicentric chromosomes, which are typically associated with ionizing radiation exposure, such as that from computed tomography. The findings suggest that while repetitive MRI may lead to minimal chromosomal alterations, the nature of these changes differs from those caused by radiation 33. MRI machines generate substantial acoustic noise, which can pose risks to both patients and healthcare providers. These noise levels may lead to a range of adverse effects, including discomfort, heightened anxiety, impaired verbal communication, fluctuations in blood pressure and heart rate, and, in some cases, temporary or permanent hearing loss 34.

FOR WHICH DISEASE SHOULD IT NOT BE DONE 35-39?

Individuals with severe claustrophobia may experience significant anxiety or panic during MRI due to the confined nature of traditional MRI scanners. While open MRI systems offer a partial solution, they may not always provide the same image resolution. Another key limitation arises in patients with metallic implants, such as older pacemakers, cochlear implants, or intracranial aneurysm clips, which may pose a serious risk due to the powerful magnetic fields used in MRI, potentially leading to device malfunction or tissue damage. According to the U.S. Food and Drug Administration (FDA), only MRI-compatible implants should be present in such patients to avoid these risks. Additionally, the use of gadolinium-based contrast agents, often administered to enhance vascular or tumor imaging, may result in adverse effects in patients with severe renal dysfunction, including the risk of nephrogenic systemic fibrosis is a rare but potentially life-threatening condition. In such cases, alternative imaging modalities like ultrasound or non-contrast CT may be preferred. Moreover, MRI is typically not the first-line investigation for acute trauma or suspected internal bleeding, where CT scans offer faster and more precise evaluation. Similarly, for pulmonary pathologies, MRI has limited utility due to poor imaging of air-filled structures, making chest CT or X-rays more effective. MRI should also be avoided in the first trimester of pregnancy, especially with contrast use, unless absolutely necessary, due to theoretical risks to fetal development.

ADVANCEMENTS IN MRI 40-42:

The next phase of MRI innovation is being driven by rapid advancements in both hardware and software, along with India’s increasing prominence in global research and development. Next-generation MRI hardware is revolutionizing diagnostic imaging in cardiology, neurology, and oncology. These advanced scanners offer higher spatial and temporal resolution, faster acquisition times, and superior image quality, which enables the early detection of diseases like tumors, neurodegenerative disorders, and cardiovascular anomalies. One major innovation is the emergence of 3T and 7T MRI systems that provide ultra-high-field imaging, allowing for enhanced contrast and detailed visualization of anatomical structures and functional Processes particularly beneficial in brain mapping, epilepsy localization, and microvascular imaging. Additionally, the integration of Artificial Intelligence and machine learning algorithms is enabling automatic image reconstruction, motion correction, and lesion detection, reducing operator dependency and improving diagnostic accuracy. From a sustainability perspective, helium-free MRI technology is gaining traction. These systems eliminate the need for scarce and expensive liquid helium, reducing both operational risks and environmental impact. This innovation not only ensures sustainability but also extends the lifespan of MRI systems and lowers overall maintenance costs. India is playing a crucial role in this transformation. The country is now recognized as a global hub for MRI R&D, with contributions ranging from software algorithm development to hardware engineering and manufacturing. Collaborative partnerships between Indian institutions and multinational corporations are accelerating the pace of innovation, making cost-effective and scalable MRI solutions accessible across emerging markets. Another hallmark of modern MRI systems is whole-body diffusion-weighted imaging (WB-DWI) and functional MRI (fMRI), which allow clinicians to track cancer metastasis or assess brain activity in real time. Moreover, silent MRI technology which significantly reduces acoustic noise during scans has improved patient comfort, especially in pediatric and geriatric populations. Customer-centric innovation remains central to MRI advancement. Collaborations with hospitals and diagnostic centers ensure that real-world clinical challenges such as imaging obese patients or reducing scan times for critically ill individuals are addressed through tailored design and workflow optimization.

CONCLUSIONS:

MRI is a powerful, non-invasive diagnostic tool with wide clinical applications, offering excellent soft tissue contrast without radiation exposure. While generally safe, careful evaluation of implants, patient conditions, and scan frequency is essential. Advancements such as silent MRI, AI integration, and low-cost technologies are expanding accessibility. Ensuring safety protocols and equitable access, especially in resource-limited settings, is key to maximizing MRI’s global impact in modern healthcare.

COMPETING INTERESTS DISCLAIMER:

Authors have declared that they have no known competing financial interests OR non-financial interests OR personal relationships that could have appeared to influence the work reported in this paper.

REFERENCES:

1. Hayashi N, Watanabe Y, Masumoto T, et al. Utilization of low-field MR scanners. Magn Reson Med Sci. 2004;3:27–38. doi:10.2463/mrms.3.27.

2. Atalabi OM, Lagunju IA, Tongo OO, Akinyinka OO. Cranial magnetic resonance imaging findings in kwashiorkor. Int J Neurosci. 2010;120:23–27. doi:10.3109/00207450903315727.

3. Ogbole GI, Adeyinka OA, Okolo CA, Ogun AO, Atalabi OM. Low field MR imaging of sellar and parasellar lesions: experience in a developing country hospital. Eur J Radiol. 2012;81:e46–e50. doi:10.1016/j.ejrad.2011.01.056.

4. Chabanova E, Larsen L, Løgager VB, Møller JM, Thomsen HS. [Use of magnetic resonance imaging]. Ugeskr Laeger. 2014;176(11):50–54. Available from: https://pubmed.ncbi.nlm.nih.gov/24629608/

5. Henriquez-Camacho C, Losa J, Miranda JJ, Cheyne NE. Addressing healthy aging populations in developing countries: unlocking the opportunity of eHealth and mHealth. Emerg Themes Epidemiol. 2014;11:136. doi:10.1186/s12982-014-0021-4.

6. Palafox B, McKee M, Balabanova D, et al. Wealth and cardiovascular health: a cross-sectional study of wealth-related inequalities in the awareness, treatment and control of hypertension. Int J Equity Health. 2016;15:199. doi:10.1186/s12939-016-0478-6.

7. World Health Organization. Rapid communication on systematic screening for tuberculosis. Geneva: WHO; 2020.

8. Kanal E, Barkovich AJ, Bell C, et al. ACR guidance document on MR safe practices: 2013. J Magn Reson Imaging. 2013;37(3):501–530.

9. Runge VM. Safety of magnetic resonance contrast media. Top Magn Reson Imaging. 2001;12(4):309–314.

10. World Health Organization. Tuberculosis diagnostics and imaging guidelines. Geneva: WHO; 2020.

11. Atun R, Silva S, Ncube BM. Strengthening imaging and diagnostic capacity in LMICs: imperative for universal health coverage. Lancet Glob Health. 2020;8(5):e638–e639.

12. Shellock FG, Crues JV. MR procedures: biologic effects, safety, and patient care. Radiology. 2004;232(3):635–652.

13. Grobner T. Gadolinium a specific trigger for the development of nephrogenic fibrosing dermopathy and nephrogenic systemic fibrosis? Nephrol Dial Transplant. 2006;21(4):1104–1108.

14. Kanda T, Ishii K, Kawaguchi H, et al. High signal intensity in the dentate nucleus and globus pallidus on unenhanced T1-weighted MR images: relationship with cumulative dose of a gadolinium-based contrast material. Radiology. 2014;270(3):834–841.

15. Nazarian S, Hansford R, Rahsepar AA, et al. Safety of magnetic resonance imaging in patients with cardiac devices. N Engl J Med. 2017;377(26):2555–2564.

16. MRI Chandigarh. How many times can MRI be done? [Internet]. Available from: https://mrichandigarh.com/how-many-times-can-mri-be-done/

17. Kanal E, Barkovich AJ, Bell C, et al. ACR guidance document on MR safe practices: 2013. J Magn Reson Imaging. 2013;37(3):501–530.

18. Grobner T. Gadolinium a specific trigger for the development of nephrogenic systemic fibrosis? Nephrol Dial Transplant. 2006;21(4):1104–1108.

19. Kanda T, Fukusato T, Matsuda M, et al. Gadolinium-based contrast agent accumulates in the brain even in subjects without severe renal dysfunction. Radiology. 2015;276(1):228–232.

20. National Institute for Health and Care Excellence (NICE). Recommendations for MRI use. 2021. Available from: https://www.nice.org.uk/guidance/ng99/chapter/recommendations

21. Jo J, van den Bent MJ, Nabors B, Wen PY, Schiff D. Surveillance imaging frequency in adult patients with lower-grade gliomas. Neuro Oncol. 2022;24(7):1035–1047. doi:10.1093/neuonc/noac031.

22. Noor MA, Al-Ashqar M, Abul A, et al. The Clinical Utility of Repeating Magnetic Resonance Imaging (MRI) Scans Within 12 Months in the Management of Lumbosacral Degenerative Disc Disease. Cureus. 2024;16(1):e53100. doi:10.7759/cureus.53100.

23. McChesney GR, Poliner MC, Heymann JC, Lindsey RW. Utility of Repeat MRI in Patients With Degenerative Cervical Disease. Orthopedics. 2023;46(2):98–102. doi:10.3928/01477447-20221031-04.

24. Cleveland Clinic. Magnetic Resonance Imaging (MRI). [Internet]. Available from: https://my.clevelandclinic.org/health/diagnostics/4876-magnetic-resonance-imaging-mri

25. Darge K, Anupindi SA, Jaramillo D. MR Imaging of the Abdomen and Pelvis in Infants, Children, and Adolescents. Radiology. 2011;261(1):12–29.

26. Shellock FG, Spinazzi A. MRI safety update 2008: Part 2, screening patients for MRI. AJR Am J Roentgenol. 2008;191(4):1140–1149. doi:10.2214/AJR.07.4036

27. US FDA. Gadolinium-based contrast agents (GBCAs). Updated 2022. Available from: https://www.fda.gov

28. Stanford Health Care. MRI Risk Factors. Available from: https://stanfordhealthcare.org/medical-tests/m/mri/risk-factors.html

29. Korutz AW, Obajuluwa A, Lester MS, et al. Pacemakers in MRI for the Neuroradiologist. AJNR Am J Neuroradiol. 2017;38(12):2222–2230.

30. Murphy KJ, Brunberg JA. Adult claustrophobia, anxiety and sedation in MRI. Magn Reson Imaging. 1997;15(1):51–54.

31. Thorpe S, Salkovskis PM, Dittner A. Claustrophobia in MRI: the role of cognitions. Magn Reson Imaging. 2008;26(8):1081–1088.

32. Mervak BM, Altun E, McGinty KA, et al. MRI in pregnancy: Indications and practical considerations. J Magn Reson Imaging. 2019;49(3):621–636.

33. Herate C, Brochard P, De Vathaire F, et al. The effects of repeated brain MRI on chromosomal damage. Eur Radiol Exp. 2022;6(1):12. doi:10.1186/s41747-022-00264-2

34. Mollasadeghi A, Mehrparvar AH, Atighechi S, et al. Sensorineural hearing loss after magnetic resonance imaging. Case Rep Radiol. 2013;2013:510258. doi:10.1155/2013/510258

35. Dewey M, Schink T, Dewey CF. Claustrophobia During Magnetic Resonance Imaging: Cohort Study in Over 55,000 Patients. J Magn Reson Imaging. 2007;26:1322–1327. doi:10.1002/jmri.21147

36. WebMD. Who Should Not Get an MRI. Available from: https://www.webmd.com/a-to-z-guides/who-should-not-get-an-mri

37. Perazella MA. Gadolinium and nephrogenic systemic fibrosis. Kidney Int. 2008;73(1):11–13.

38. US FDA. MRI Safety Guidelines for Patients with Implants. 2018.

39. Ray JG, et al. Association between MRI exposure during pregnancy and fetal outcomes. JAMA. 2016;316(9):952–961.

40. Express Healthcare. Future directions in MRI research and development. Available from: https://www.expresshealthcare.in/news/future-directions-in-mri-research-and-development-advancing-healthcare-innovation/448935/

41. Kabasawa H. MR Imaging in the 21st Century: Technical Innovation over the First Two Decades. Magn Reson Med Sci. 2022;21(1):71–82. doi:10.2463/mrms.rev.2021-0011

42. Springer E, Dymerska B, Cardoso PL, et al. Comparison of Routine Brain Imaging at 3 T and 7 T. Invest Radiol. 2016;51(8):469–482. doi:10.1097/RLI.0000000000000256