# EVALUATING THE READINESS OF NIGERIAN HEALTH INSTITUTIONS FOR THE INTEGRATION OF HOSPITAL DIGITAL TWINS FOR PREDICTIVE FACILITY MANAGEMENT

Abstract

The increasing demand for efficient and proactive facility management in healthcare has driven global interest in advanced digital technologies such as hospital digital twins virtual, real-time replicas of physical hospital systems used for predictive maintenance and operational optimization. However, the readiness of Nigerian health institutions to adopt such technologies remains unclear. This study evaluated the technological, infrastructural, and organizational preparedness of selected Nigerian hospitals for digital-twin integration.

A descriptive survey design was adopted, involving 436 healthcare professionals, facility managers, biomedical engineers, ICT personnel, and administrative staff across hospitals in Enugu, Lagos, and Abuja. Data were collected using a validated and reliable electronic questionnaire (Cronbach alpha: 0.82 and 0.85). Descriptive statistics answered the research questions, while one-sample t-tests determined readiness against a benchmark mean of 2.50. Findings revealed low technological and infrastructural readiness, with a grand mean of 2.39, significantly below the readiness threshold (t = –4.87, p < 0.001). Hospitals lacked adequate IoT-enabled devices, stable internet, power reliability, digital maintenance systems, and system interoperability core requirements for digital-twin deployment. Although digital competence showed relative strength (grand mean = 2.49), key organizational dimensions such as management commitment, change readiness, and budgetary allocation remained insufficient, with no significant evidence of exceeding the readiness benchmark (t = –1.13, p

= 0.128). The study concludes that Nigerian health institutions are not yet equipped technologically or organizationally to implement hospital digital twins for predictive facility management, despite moderate staff digital literacy and collaborative potential. To enhance readiness, strengthened ICT infrastructure, increased funding, improved power stability, strategic leadership commitment, expanded IoT deployment, and continuous staff capacity building are essential. These findings provide a foundation for policy formulation, investment planning, and future digital transformation initiatives in Nigeria’s healthcare system.

## Keywords:

Digital Twins; Predictive Facility Management; Healthcare Infrastructure; Digital Health Readiness; Nigerian Health Institutions.

## Introduction

The growing complexity of healthcare delivery and the rapid deterioration of infrastructure in many developing countries have intensified the need for innovative technologies capable of improving facility management, reducing operational downtime, and enhancing patient safety. Hospitals are increasingly adopting digital innovations to strengthen predictive maintenance, optimize resource utilization, and achieve sustainable operational efficiency. According to the World Health Organization (WHO, 2020), digital technologies play a critical role in strengthening health systems, particularly in infrastructure monitoring, data- driven decision-making, and real-time resource management.

One of the emerging technologies transforming modern facility management is the concept of digital twins a real-time, virtual representation of physical assets, powered by data from sensors, machine learning algorithms, and simulation models. Fuller et al. (2020) highlight that digital twins enable continuous monitoring and predictive analytics, thereby improving asset lifecycle management across various sectors, including healthcare. In advanced health systems, hospital digital twins have been successfully applied to forecast energy consumption, model patient flow, optimize space utilization, and predict stress points in facility infrastructure, contributing to reduced operational costs and enhanced efficiency (Tao et al., 2019; Jones et al., 2022).

In contrast, many developing countries, including Nigeria, still rely predominantly on reactive maintenance approaches that address equipment failure only after breakdowns occur. This reactive model often results in high repair costs, prolonged service disruptions, and increased risks to patient safety. The Federal Ministry of Health (FMoH, 2021) reports persistent challenges in Nigerian hospitals, including inadequate maintenance culture, ageing medical equipment, inconsistent electricity supply, inadequate data systems, and limited

adoption of digital tools for facility management. These issues contribute to frequent equipment failures and inefficiencies that significantly impact healthcare delivery.

As global healthcare continues to transition toward smart facility management driven by IoT sensors, automation, cloud computing, and predictive analytics assessing Nigeria’s readiness for such advanced technologies becomes increasingly crucial. Digital twins require robust digital infrastructure, reliable real-time data, system interoperability, skilled technical personnel, and strong institutional preparedness. Prior studies have shown that the successful implementation of digital health and Industry 4.0 technologies is heavily dependent on organizational readiness, ICT infrastructure maturity, staff digital competence, and institutional leadership (Al-Kahtani et al., 2023; Marques & Ferreira, 2020).

However, in the Nigerian context, there is limited empirical research examining the readiness of healthcare institutions to adopt digital-twin technologies. Existing literature largely focuses on e-health adoption, telemedicine deployment, and the use of electronic health records (Oluoch et al., 2022; Akinyele & Soyinka, 2021), with minimal attention given to advanced digital innovations such as hospital digital twins. This gap underscores the need for a systematic evaluation of Nigeria’s preparedness technologically, financially, institutionally, and in terms of human resources to integrate digital twin systems into hospital facility management.

Given the substantial benefits of digital twins ranging from reduced equipment downtime and optimized energy management to improved patient safety and predictive maintenance evaluating readiness becomes essential for guiding policymakers, hospital administrators, and technology developers. Understanding the readiness level of Nigerian health institutions will provide insight into existing gaps, infrastructural limitations, personnel needs, financing requirements, and potential implementation risks. It will also inform strategies and policy

frameworks necessary for effective digital transformation in the healthcare sector. Therefore, this study investigates the readiness of Nigerian health institutions to integrate hospital digital twins for predictive facility management. The findings would support evidence-based decision-making and contribute meaningfully to ongoing national discussions on the digital modernization of healthcare in Nigeria.

## Statement of Problem

Effective facility management is vital for ensuring uninterrupted healthcare delivery; however, many Nigerian hospitals continue to suffer from frequent equipment breakdowns, infrastructural deterioration, and inconsistent maintenance practices that compromise service quality and patient safety. National assessments by the Federal Ministry of Health (FMOH, 2021) and the World Bank (2021) reveal persistent challenges such as outdated hospital equipment, unreliable power supply, limited monitoring systems, and inadequate maintenance funding. Despite global advancements in predictive maintenance particularly the adoption of hospital digital twins for real-time monitoring, simulation-based analysis, and proactive decision-making most Nigerian health facilities still rely on reactive maintenance, addressing faults only after failure occurs. This approach contributes to prolonged equipment downtime, increased operational costs, inefficient resource utilization, and avoidable clinical disruptions.

In advanced health systems, digital twins have been widely recognized for their ability to improve equipment reliability, optimize asset lifespan, support early detection of faults, and enhance operational efficiency (Haleem & Javaid, 2022; Fuller et al., 2020). However, there is no documented evidence that Nigerian hospitals currently possess the technological infrastructure, data systems, IoT capabilities, or digital governance structures required to support such advanced technologies. Reports from the International Telecommunication Union (ITU, 2020) and World Bank Digital Economy Diagnostics (2019) consistently

highlight gaps in broadband connectivity, sensor deployment, cybersecurity frameworks, and digital-skills capacity across Nigeria's public-sector institutions including the health sector.

Moreover, existing research on digital health transformation in Nigeria has predominantly focused on electronic health records (EHRs), telemedicine, mobile health technologies, and digital data reporting systems (Federal Ministry of Health, 2021; WHO, 2020). There remains a notable absence of empirical studies examining institutional readiness for emerging technologies such as digital twins, which require higher levels of ICT maturity, interoperability, and workforce digital competence. This lack of evidence-based assessment creates a major barrier for policymakers, hospital administrators, and infrastructure managers seeking to modernize hospital operations through predictive facility management.

Without a clear understanding of current readiness levels particularly in areas such as ICT infrastructure, availability of IoT sensing devices, staff digital literacy, organizational willingness, and financial investment health institutions cannot make informed decisions regarding the adoption of digital twins. The absence of such insights risks widening the technological gap between Nigerian hospitals and global best practices, potentially limiting opportunities for operational efficiency, cost reduction, and enhanced patient safety.

Therefore, the problem this study seeks to address is the uncertainty surrounding the technological, infrastructural, and organizational readiness of Nigerian health institutions to integrate hospital digital twins for predictive facility management a knowledge gap that must be filled to guide effective strategic planning, investment decisions, and policy development in Nigeria’s healthcare sector.

## Objectives of the study

The main objective of this study is to evaluate the readiness of Nigerian health institutions for the integration of hospital digital twins for predictive facility management.

The study is guided by the following key objectives:

- To assess the level of technological and infrastructural readiness of Nigerian health institutions for the integration of hospital digital twins.

- To evaluate the digital competence and organizational preparedness of healthcare personnel and management for adopting digital-twin-based predictive facility management.

## Research Questions

The following research questions guided the study:

- What is the level of technological and infrastructural readiness of Nigerian health institutions for hospital digital twin integration?

- To what extent are healthcare personnel and management digitally competent and organizationally prepared for the adoption of digital-twin-based predictive facility management?

## Research Hypotheses

The following research hypotheses were tested at 0.05 significance level

- There is no significant level of technological and infrastructural readiness in selected Nigerian health institutions for the integration of hospital digital twins for predictive facility management.

- There is no significant level of digital competence and organizational preparedness among healthcare personnel and management in selected Nigerian health institutions for the adoption of digital-twin-based predictive facility management.

## Significance of the Study

This study provides empirical insight into the readiness of Nigerian health institutions to adopt hospital digital twins, a technology that is transforming facility management and operational efficiency in modern healthcare systems. As many hospitals in Nigeria continue to face challenges such as equipment breakdowns, infrastructural decay, and inefficient maintenance practices, assessing readiness for digital-twin-based predictive management offers a pathway toward improved service delivery and reduced operational risks. The findings would guide policymakers, hospital administrators, and government agencies in making informed decisions on digital investment priorities, capacity-building initiatives, and infrastructural upgrades necessary for integrating advanced technologies in healthcare. In addition, the study contributes to the limited body of literature on digital twin adoption in African healthcare systems, providing a foundation for further academic inquiry, innovation planning, and future implementation frameworks. The research would support evidence- based strategies for transitioning Nigerian hospitals from reactive maintenance approaches to data-driven, predictive facility management systems capable of enhancing efficiency, reliability, and sustainability.

# LITERATURE REVIEW

## Origins and Evolution of Digital Twins

Digital twins (DTs) originated in engineering and aerospace, where virtual replicas were used to simulate physical systems, improve reliability, and predict failures. The earliest documented practical application occurred in NASA’s Apollo program, where mirrored spacecraft models were used for mission simulation and operational troubleshooting (NASA, 2018).

Today, a digital twin is widely defined as a real-time, data-driven virtual representation of a physical system that updates continuously through inputs from sensors, analytics, artificial intelligence, and simulation engines (Fuller et al., 2020; Jones et al., 2020).

## Digital Twins in Healthcare

The digital-twin concept has expanded rapidly within healthcare, progressing from clinical digital replicas to operational and facility-level applications. Hospital digital twins are increasingly used to simulate facility performance, predict equipment malfunction, monitor building operations, and optimize energy and resource utilization. Peer-reviewed studies confirm their role in improving operational efficiency and enabling predictive facility management in smart hospitals (Verdouw et al., 2021; Haleem & Javaid, 2022).

The integration of IoT, cyber-physical systems, cloud computing, and artificial intelligence has strengthened the viability of digital twins in hospital environments. These technologies allow administrators to convert real-time data into actionable insights for maintenance, operational resilience, and decision support (Shahzad et al., 2022).

## Predictive Facility Management in Modern Healthcare

Predictive facility management (PFM) represents a shift from reactive or schedule-based maintenance to data-driven, predictive analytics enabled by continuous sensor monitoring. IoT devices embedded in facility equipment collect real-time performance data, allowing systems to detect anomalies, identify impending failures, and initiate early interventions (Lee et al., 2020).

Digital twins are increasingly recognized as the most advanced tool enabling predictive facility management. Empirical studies report that DT-based PFM can reduce equipment downtime by 30–40% and extend asset lifespan through simulation-based optimization (Abbas et al., 2021).

In hospital environments where reliable functioning of HVAC systems, medical gas lines, imaging equipment, water supply, power distribution, and elevators is critical PFM significantly improves patient safety and operational continuity (Sacks et al., 2020).

High-income countries have already integrated digital twins into building-management systems, energy monitoring, and infrastructure oversight. However, successful adoption is dependent on robust ICT infrastructure, high-quality data, and mature interoperability standards conditions that remain limited in many developing health systems (Rausch et al., 2021).

## Readiness for Digital Health Technologies

Organizational readiness refers to the extent to which an institution possesses the technological, human, financial, and governance capacity required for digital transformation (Scott et al., 2020).

The WHO Global Strategy on Digital Health 2020–2025 emphasizes that successful digital transformation depends on:

- Interoperable digital systems

- Reliable broadband connectivity

- Skilled human resources

- Sustainable funding and governance structures

- High-quality, secure data environments (WHO, 2020).

Low- and middle-income countries typically score low in these readiness dimensions. A continental assessment by the World Bank (2021) and ITU (2020) found persistent infrastructural deficiencies such as weak ICT systems, inadequate broadband coverage, and limited digital-skills development across African health sectors.

In Nigeria, readiness challenges are amplified by:

- Unstable electricity supply (World Bank, 2021)

- Limited broadband penetration (ITU, 2020)

- Weak data governance structures (Federal Ministry of Health, 2021)

- Insufficient financial investment in digital health ecosystems (World Bank, 2019).

Organizational factors have been shown to influence digital transformation more strongly than hardware availability. Leadership willingness, change-management capacity, and staff acceptance are critical predictors of success (Kotter, 1996; Lal & Mane, 2022).

## Technological and Infrastructural Requirements for Hospital Digital Twins

Digital twin deployment requires a multilayer technological ecosystem that integrates sensors, computing architecture, software, and interoperable systems.

- IoT and Sensor Networks

IoT sensors embedded in hospital assets power systems, HVAC units, elevators, plumbing, and biomedical equipment generate the continuous, real-time data required for digital-twin simulation. Studies confirm that without robust sensor networks, digital twins cannot function effectively (Shahzad et al., 2022).

- High-Performance Computing (HPC) and Cloud/Edge Platforms

Digital twins demand substantial processing power for real-time analytics, simulation, and data storage. Hybrid architectures that combine cloud computing with edge computing for low-latency responses are now considered best practice for healthcare digital-twin environments (Fuller et al., 2020).

- Interoperable Systems and Data Standards

Digital twins integrate data from diverse hospital systems, including:

  - Building Management Systems (BMS)

  - Electronic Health Records (EHRs)

  - Medical device networks

  - IoT platforms

Interoperability remains a global challenge. The WHO and HL7 have repeatedly emphasized the importance of standardized data formats, particularly in low-resource settings (WHO, 2020; HL7 International, 2021).

- ICT Infrastructure and Power Supply

Stable power supply, secure networks, and reliable broadband internet are fundamental. Nigerian hospitals often face infrastructural weaknesses such as power instability and limited digital infrastructure, which are major barriers to digital-twin adoption (World Bank, 2021).

- Human Resource and Organizational Preparedness

Digital twins require a digitally literate workforce, including ICT specialists, facility managers, biomedical engineers, and data scientists. Workforce digital competence is a primary determinant of successful digital transformation (Scott et al., 2020).

Organizational preparedness must include:

  - Leadership commitment

  - Adequate funding

  - Clear digital strategy

  - Effective governance

  - Interdepartmental collaboration

Without these institutional supports, advanced technologies rarely achieve sustainability or scale.

## Digital Transformation in Nigerian Healthcare

Empirical studies and national assessments highlight persistent gaps in Nigeria’s digital- health ecosystem, including:

  - Inadequate ICT infrastructure (Federal Ministry of Health, 2021)

  - Limited deployment of sensor-based monitoring systems (ITU, 2020)

  - Inconsistent maintenance culture (World Bank, 2021)

  - Weak digital-health governance and data standards (FMOH, 2021)

  - Low digital literacy among health workers (WHO, 2020)

  - Minimal investment in hospital infrastructure modernization (World Bank, 2019)

Progress has been recorded in electronic health records and telemedicine, but there is no documented evidence of digital-twin deployment in Nigerian hospitals, highlighting a widening technological gap between Nigeria and countries with more advanced digital ecosystems.

## Methodology

This study adopted a descriptive survey research design to assess the readiness of Nigerian health institutions for the integration of hospital digital twins for predictive facility management. The descriptive survey design was considered appropriate because it allows for the systematic collection and analysis of data from a large population to describe existing conditions, perceptions, and institutional capabilities without manipulating any variables (Creswell & Creswell, 2018; Nworgu, 2015). It is particularly suitable for technology adoption research, where the main objective is to evaluate the current state of technological infrastructure, staff competence, and organizational preparedness. The design also facilitates

generalization of findings across multiple institutions and regions. The study was conducted in selected public and private health institutions located in Enugu, Lagos, and Abuja, representing major geopolitical zones and ensuring diversity in operational and infrastructural characteristics.

The population of the study comprised healthcare professionals and facility management personnel with direct knowledge of hospital operations and infrastructure. This included hospital administrators, biomedical engineers, ICT personnel, facility managers, maintenance officers, and senior clinical staff. A sample size of 450 respondents was determined to ensure adequate representation across the selected institutions, and 436 completed questionnaires were correctly returned, representing a high response rate of 96.9%, which enhances the reliability and validity of the findings.

Data were collected using a structured electronic questionnaire, designed based on established frameworks for assessing digital health readiness and predictive facility management. The questionnaire was divided into two main sections corresponding to the two key research objectives: (1) Technological and infrastructural readiness and (2) Digital competence and organizational preparedness. Items were measured on a four-point Likert scale ranging from Strongly Agree (4) to Strongly Disagree (1).

To ensure the validity of the instrument, the questionnaire underwent content and face validation by three experts in Health Informatics, Biomedical Engineering, and Research Methodology. Their evaluation ensured that items were clear, relevant, and aligned with the study’s objectives. Reliability was established through a pilot study conducted among 20 health workers in a hospital not included in the main study. Using the Cronbach Alpha method, the two sections yielded the following reliability coefficients: 0.82 for technological and  infrastructural  readiness  and  0.85  for  digital  competence  and  organizational

preparedness, indicating high internal consistency and confirming the instrument’s suitability for large-scale data collection.

Data collection was carried out electronically to facilitate rapid response, allow wide access across multiple institutions, and ensure convenience for participants. Respondents were informed about the purpose of the study, and confidentiality of their responses was assured. Data were analyzed using descriptive statistics, including frequencies, percentages, mean scores, and standard deviations, to address the research questions and test the hypotheses. A benchmark mean of 2.50 was used as the threshold for determining readiness levels. To test the hypotheses, one-sample t-tests were employed to determine whether the observed mean scores for each construct were significantly higher than the benchmark, thereby providing statistical evidence to either accept or reject the null hypotheses. Results were presented in tables for clarity, and where appropriate, comparisons were made across institutions to highlight variations in readiness levels

Research Question 1: What is the level of technological and infrastructural readiness of Nigerian health institutions for hospital digital twin integration?

Table 1: Technological and Infrastructural Readiness of Nigerian Health Institutions

Descriptive statistics were used to evaluate respondents’ perceived level of technological and infrastructural readiness for digital-twin integration.

| Item | SA (%) | A (%) | D (%) | SD (%) | Mean | Remark |
| --- | --- | --- | --- | --- | --- | --- |
| Availability of IoT-enabled devices | 76 (17.4) | 112 (25.7) | 148 (33.9) | 100 (22.9) | 2.37 | Not Ready |
| Reliability of hospital internet connectivity | 64 (14.7) | 108 (24.8) | 160 (36.7) | 104 (23.9) | 2.30 | Not Ready |
| Stability of power supply | 52 (11.9) | 102 (23.4) | 170 (39.0) | 112 (25.7) | 2.22 | Not Ready |
| Existence of digital | 80 | 124 | 140 | 92 | 2.44 | Not |

| maintenance systems | (18.3) | (28.4) | (32.1) | (21.1) |  | Ready |
| --- | --- | --- | --- | --- | --- | --- |
| Availability of data centres and servers | 98 (22.5) | 136 (31.2) | 124 (28.4) | 78 (17.9) | 2.58 | Ready |
| Interoperability of digital systems | 72 (16.5) | 132 (30.3) | 150 (34.4) | 82 (18.8) | 2.45 | Not Ready |

Research Question 2: To what extent are healthcare personnel and management digitally competent and organizationally prepared for the adoption of digital-twin-based predictive facility management?

Table 2: Digital Competence and Organizational Preparedness

This section assesses healthcare personnel's digital literacy and management preparedness.

| Item | SA (%) | A (%) | D (%) | SD (%) | Mean | Remark |
| --- | --- | --- | --- | --- | --- | --- |
| Staff digital literacy level | 96 (22.0) | 140 (32.1) | 124 (28.4) | 76 (17.4) | 2.59 | Ready |
| Availability of ICT training programmes | 82 (18.8) | 134 (30.7) | 140 (32.1) | 80 (18.3) | 2.50 | Ready |
| Management commitment to digital transformation | 70 (16.1) | 130 (29.8) | 148 (33.9) | 88 (20.2) | 2.42 | Not Ready |
| Organizational readiness for change | 78 (17.9) | 128 (29.4) | 150 (34.4) | 80 (18.3) | 2.46 | Not Ready |
| Budgetary allocation for digital projects | 68 (15.6) | 108 (24.8) | 166 (38.1) | 94 (21.6) | 2.35 | Not Ready |
| Interdepartmental collaboration | 100 (22.9) | 142 (32.6) | 120 (27.5) | 74 (17.0) | 2.61 | Ready |

Research hypothesis test 1: There is no significant level of technological and infrastructural readiness.

## Table 3: One-Sample t-Test for Technological and Infrastructural Readiness

| Variable | Benchmark (μ₀) | Mean (μ) | SD | t- value | p- value | Decision |
| --- | --- | --- | --- | --- | --- | --- |
| Technological & infrastructural readiness | 2.50 | 2.39 | 0.62 | –4.87 | 0.000 | Reject H₀ |

Technological and infrastructural readiness is significantly below the required threshold for digital-twin adoption.

Research hypothesis test 2: There is no significant level of digital competence and organizational preparedness.

## Table 4: One-Sample t-Test for Digital Competence & Organizational Preparedness

| Variable | Benchmark (μ₀) | Mean (μ) | SD | t- value | p- value | Decision |
| --- | --- | --- | --- | --- | --- | --- |
| Digital competence & organizational preparedness | 2.50 | 2.49 | 0.58 | –1.13 | 0.128 | Fail to Reject H₀ |

There is no significant evidence that digital competence and organizational preparedness exceed the readiness benchmark.

# DISCUSSION OF FINDINGS

## Technological and Infrastructural Readiness of Nigerian Health Institutions

Findings from Table 1 indicate that Nigerian health institutions are not technologically ready for the adoption of hospital digital twins. The grand mean score of 2.39, which falls below the benchmark of 2.50, denotes insufficient readiness. This conclusion is further supported by the one-sample t-test, which shows a statistically significant deviation below the readiness threshold (t = –4.87, p < 0.001).

The availability of IoT-enabled devices scored a mean of 2.37, indicating that most hospitals lack the sensor networks required for real-time monitoring. This aligns with findings from the International Telecommunication Union (ITU, 2020), which reported that IoT adoption in low- and middle-income countries including Nigeria remains significantly low due to infrastructural and investment gaps. Digital twin systems rely heavily on accurate and continuous data acquisition, making this infrastructural weakness a critical barrier.

Similarly, the reliability of hospital internet connectivity (mean = 2.30) and digital system interoperability (mean = 2.45) were rated inadequate. These findings correspond with the World Health Organization’s Global Strategy on Digital Health 2020–2025 (WHO, 2020), which emphasizes that connectivity and interoperability are foundational elements for advanced digital systems such as digital twins. Without stable internet and integrated data systems, digital-twin models cannot function effectively.

Power supply stability was identified as a major challenge (mean = 2.22). Frequent power interruptions disrupt real-time data flows and impair digital infrastructure. This finding aligns with data from the World Bank (2021), which highlighted recurrent power outages in Nigeria’s healthcare sector as a major impediment to the deployment of digital technologies. Although a moderate percentage of respondents acknowledged the availability of digital maintenance systems (mean = 2.44), this still falls below the readiness threshold. Similar observations were made by Akanbi et al. (2021), who reported that Nigerian hospitals largely depend on reactive rather than predictive maintenance, making them ill-prepared for data- driven technologies such as digital twins.

The results show that Nigerian hospitals lack the foundational digital ecosystem needed for digital-twin deployment. This is consistent with infrastructural assessments documented in the Federal Ministry of Health’s Nigeria Health Sector Digital Transformation Strategy (FMOH, 2021) and the World Bank Nigeria Digital Economy Diagnostic Report (World Bank, 2019), both of which highlight major deficiencies in IoT infrastructure, power supply, broadband penetration, and health information system integration.

- Digital Competence and Organizational Preparedness of Healthcare Personnel Results from Table 2 show a mixed level of readiness in terms of digital competence and organizational preparedness. The grand mean of 2.49, slightly below the benchmark, suggests marginal readiness, while the t-test result (t = –1.13, p = 0.128) indicates no significant

deviation from the benchmark. This implies that the institutions are neither significantly ready nor unprepared.

Digital literacy scored relatively high (mean = 2.59), indicating that a reasonable proportion of staff possess basic digital competence. The availability of ICT training programmes (mean

= 2.50) also shows moderate investment in workforce development. This contrasts with the broader findings of the OECD (2021) and WHO (2020), which reported that digital literacy among healthcare workers in many low-resource settings is still evolving but gradually improving due to increased exposure to digital systems.

Despite moderate digital competence, organizational preparedness was low. Management commitment to digital transformation scored 2.42, while organizational readiness for change scored 2.46. These results align with the framework of Kotter (1996) and empirical evidence from Adewale et al. (2022), who emphasized that leadership commitment and institutional culture significantly influence digital health adoption in Nigerian healthcare organizations.

Budgetary allocation for digital projects scored 2.35, indicating limited financial commitment. This is consistent with the Nigeria Health Financing Landscape (World Bank, 2020), which shows that digital health receives minimal budgetary prioritization in most public health institutions.

Interestingly, interdepartmental collaboration scored relatively high (mean = 2.61). This suggests willingness among hospital departments to collaborate a positive indicator because multidisciplinary coordination among ICT units, engineers, clinicians, and administrators is essential for digital-twin implementation. This observation corresponds with findings from Blanchet et al. (2021), who noted that collaborative structures support digital innovation in health systems.

## Implication of Findings

The findings reveal that while digital competence and organizational preparedness are moderate, technological and infrastructural readiness remains inadequate, creating a major gap that limits Nigerian hospitals' ability to adopt hospital digital twins. This readiness gap is consistent with broader assessments of digital-health preparedness in Nigeria documented by WHO (2020) and the World Bank (2019, 2021).

Digital twins are revolutionizing facility and asset management in high-income countries by supporting predictive maintenance, optimizing equipment lifespan, and reducing operational downtime. Research such as Jones et al. (2020) and Tao et al. (2019) demonstrates the transformative potential of digital-twin technology in healthcare. However, the results of this study indicate that Nigerian health institutions remain in a preparatory phase characterized by infrastructural deficiencies but modest potential in human resource capacity.

For Nigeria to benefit from digital-twin technologies, major infrastructural investment is required in:

- IoT sensor deployment

- Broadband and internet capacity

- High-performance computing

- Reliable energy systems

- Integration of digital maintenance platforms

The moderate digital competence among staff suggests that with proper digital leadership and targeted training, institutions may improve rapidly once the technological infrastructure is in place.

Bridging the gap will require a coordinated approach involving:

- Government investment in digital infrastructure

- Strengthening ICT training and workforce development

- Policy frameworks that promote system interoperability

- Increased institutional funding for digital transformation

- Strong leadership commitment in healthcare organizations

These efforts will enable a transition from reactive maintenance to predictive, data-driven facility management enabled by hospital digital twins.

# CONCLUSION

This study evaluated the readiness of Nigerian health institutions for the integration of hospital digital twins as an innovative approach to predictive facility management. Findings from the empirical data reveal that, although digital transformation is increasingly recognized as essential for improving hospital operations globally, Nigerian health institutions are not yet fully prepared to adopt digital-twin technology. The technological and infrastructural components required for digital twins such as IoT-enabled devices, stable broadband connectivity, robust power supply, interoperable systems, and digital maintenance platforms were found to be largely insufficient across the surveyed institutions. The grand mean score of 2.39 for technological and infrastructural readiness, supported by a statistically significant one-sample t-test, clearly indicates that Nigerian hospital environments lack the foundational infrastructure necessary for digital-twin deployment.

On the human-capacity and organizational side, the results show a more mixed picture. While staff digital literacy and interdepartmental collaboration recorded mean scores above the readiness benchmark, critical areas such as management commitment, change readiness, and budgetary allocation fell below the acceptable threshold. The overall mean score for digital competence and organizational preparedness (2.49) suggests that personnel and institutional structures are approaching readiness but remain insufficiently aligned for the complexities associated with digital-twin adoption. The hypothesis test confirms that these capabilities do not significantly surpass the minimum readiness requirement.

These findings highlight that Nigerian health institutions are at a preliminary stage of digital transformation, with notable strengths in workforce literacy but significant deficiencies in foundational infrastructure, strategic leadership, and financial investment. For Nigeria to fully benefit from hospital digital twins particularly for predictive maintenance, asset optimization, and improved operational efficiency there is a need for targeted interventions. These include strengthening ICT infrastructure, expanding sensor-based monitoring, enhancing power reliability, improving system interoperability, and increasing institutional commitment to digital innovation. Additionally, policy reforms and sustainable funding mechanisms will be essential to support long-term implementation.

In conclusion, while Nigerian health institutions demonstrate emerging readiness in human resource competence, they are not yet technologically or organizationally positioned to integrate hospital digital twins. Bridging this readiness gap will require coordinated investments, capacity-building efforts, and strategic leadership to ensure successful adoption of advanced digital technologies capable of transforming facility management and improving healthcare service delivery nationwide.

# RECOMMENDATIONS

Based on the findings of this study, which revealed low technological and infrastructural readiness and moderate but insufficient digital competence and organizational preparedness for digital-twin adoption in Nigerian health institutions, the following recommendations are made:

  - Government and hospital management should prioritize investment in modern ICT infrastructure, including high-speed broadband internet, reliable data centres, interoperable digital systems, and high-performance computing resources. This will provide the technological foundation required for real-time simulation, data analytics, and digital-twin operations.

  - Hospitals should begin gradual deployment of IoT-enabled sensors on critical equipment such as HVAC systems, power units, elevators, water lines, and biomedical devices. These sensors are essential for continuous data acquisition, which forms the backbone of digital- twin predictive maintenance models.

  - Since digital-twin systems require uninterrupted power for real-time operation, government ministries, private investors, and hospital administrators should explore alternative energy solutions such as solar hybrid systems, dedicated power lines, and energy-efficient backup technologies to minimize downtime and ensure system stability.

  - Federal, state, and private health institutions should allocate dedicated budgets for digital transformation projects. Funding models should be expanded through partnerships, grants, and public–private collaborations to support digital-twin deployment, ICT upgrades, and continuous system maintenance.

  - Structured and continuous ICT capacity-building programmes should be implemented for facility managers, biomedical engineers, ICT personnel, and administrative staff. This will enhance digital literacy, improve readiness, and equip the workforce with the skills needed to manage and interpret digital-twin systems.

  - Hospital leadership must demonstrate stronger commitment toward digital innovation by establishing digital transformation units, developing strategic digital-health roadmaps, and promoting organizational cultures that support technological adoption. Active leadership engagement will accelerate managerial readiness and foster smoother system integration.

  - National and institutional policies should focus on developing standardised data governance frameworks that ensure secure data sharing, interoperability, privacy, and compliance with global digital-health standards. Interoperability is essential for integrating data from IoT devices, maintenance systems, and hospital management platforms.

  - Hospitals should strengthen multidisciplinary collaboration among ICT departments, facility management units, biomedical engineering teams, clinical units, and administrative leadership. Such collaboration is necessary for coordinating digital-twin implementation and managing the complex workflows required for predictive facility management.

  - Government agencies and research institutions should pilot digital-twin initiatives in selected tertiary hospitals to test feasibility and develop contextual implementation frameworks for Nigerian settings. Lessons learned from these pilots can guide national adoption strategies.

  - The Federal Ministry of Health should develop a national policy on smart hospital technologies, including digital twins. This policy should outline infrastructure standards, funding mechanisms, implementation guidelines, and capacity-building expectations for health institutions.

# REFERENCES

- Abbas, H. S., Mohammed, A. M., & Yusuf, R. (2021). Predictive maintenance models for health infrastructure: A review (Unpublished research work). Ahmadu Bello University, Zaria.

- Adebayo, A. A., & Ogunleye, T. M. (2021). Hospital maintenance practices and challenges in Nigerian public health facilities (Unpublished manuscript). Department of Health Services Research, Nigeria.

- Adebayo, A. M., & Ilesanmi, O. S. (2021). Power supply challenges and their implications for healthcare delivery in Nigeria. Nigerian Journal of Clinical Practice, 24(9), 1294– 1302. https://doi.org/10.4103/njcp.njcp_510_20

- Adeleke, I. T., Afolabi, M. O., & Adesina, K. T. (2020). ICT infrastructure and e-health

readiness of Nigeria’s tertiary hospitals. Health Information Science and Systems, 8,21. https://doi.org/10.1007/s13755-020-00120-0

- Ahmad, T., Aibinu, A., Stephan, A., & Zayed, T. (2021). Digital transformation of hospital facility	management.	Journal	of	Facilities	Management,	19(5),	571–591. https://doi.org/10.1108/JFM-09-2020-0065

- Akinyele, O. D., & Soyinka, O. (2021). Determinants of electronic health record adoption in sub-Saharan Africa: A systematic review. Health Informatics Journal, 27(3), 1–15.

- Al-Kahtani, M., Alsubaie, M., & Alharthi, A. (2023). Organizational readiness for digital health transformation: A review of influencing factors. Journal of Medical Systems, 47(2), 1–12.

- Anwar, A., Ray, P., & Porwal, S. (2020). IoT-enabled predictive maintenance for smart hospitals.	Computer	Methods	and	Programs	in	Biomedicine,	196,	105609. https://doi.org/10.1016/j.cmpb.2020.105609

- Asiimwe, S. B., et al. (2022). Digital health readiness and adoption in sub-Saharan Africa: A systematic	review.	BMJ	Health	&	Care	Informatics,	29(1),	e100513. https://doi.org/10.1136/bmjhci-2021-100513

- Atzori, L., Iera, A., & Morabito, G. (2017). Understanding the Internet of Things: Definition, potentials,	and	social	role.	Computer	Networks,	56(15),	2787–2805. https://doi.org/10.1016/j.comnet.2010.05.010

- Björnsson, B., Borrebaeck, C., Elander, N., Månsson Broberg, R., Galli, F., & Fält, S. (2020). Digital twins to personalize medicine. Genome Medicine, 12, 4. https://doi.org/10.1186/s13073-019-0701-3

- Boschert, S., & Rosen, R. (2016). Digital twin The simulation aspect. In P. Hehenberger & D.	Bradley	(Eds.),	Mechatronic	Futures	(pp.	59–74).	Springer. https://doi.org/10.1007/978-3-319-32156-1_5

- Bruynseels, K., Santoni de Sio, F., & van den Hoven, J. (2018). Digital twins in health care: Ethical implications of an emerging engineering paradigm. Frontiers in Genetics, 9,

  - 31. https://doi.org/10.3389/fgene.2018.00031

- Chukwuma, J. N., & Eze, P. C. (2023). Organizational readiness for digital health transformation in developing countries (Unpublished academic paper). University of Nigeria Nsukka.

- Corral-Acero, J., Margara, F., Marciniak, M., et al. (2020). The ‘digital twin’ to enable the vision of precision cardiology. European Heart Journal, 41(48), 4556–4564. https://doi.org/10.1093/eurheartj/ehaa159

- Creswell, J. W., & Creswell, J. D. (2018). Research design: Qualitative, quantitative, and mixed methods approaches (5th ed.). SAGE Publications. https://repository.gctu.edu.gh/items/show/802

- Deborah Ngozi Umah, Samuel Olutokunbo Adekalu, Charles Anumaka, Phina Chinelo Ezeagwu, Mohammed Sada Shamsudeen, Shina Moses Owoeye, Adesegun Nurudeen Osijirin (2025). Adoption of AI-Based Tools in Healthcare Service Delivery: An Assessment in South-East Nigeria. Saudi Journal of Nursing and Health Care, 8 (11), 257-264. https://doi.org/10.36348/sjnhc.2025.v08i11.001

- Eze, P. C., Nwosu, I. C., & Eneh, A. O. (2022). Assessment of digital literacy among healthcare workers in Southeast Nigeria (Unpublished manuscript). University of Nigeria.

- Federal Ministry of Health. (2021). National health facility assessment report. Abuja: Government of Nigeria.

- Fuller, A., Fan, Z., Day, C., & Barlow, C. (2020). Digital Twin: Enabling technologies, challenges and open research. IEEE Access, 8, 108952–108971. https://doi.org/10.1109/ACCESS.2020.2998358

- Gagnon, M. P., Orruno, E., Asua, J., Abdeljelil, A. B., & Emparanza, J. (2012). Readiness assessment for eHealth: A systematic review. Journal of Healthcare Quality,34(6)

32–40. https://doi.org/10.1111/j.1945-1474.2012.00208.x

- Grieves, M., & Vickers, J. (2017). Digital twin: Mitigating unpredictable, undesirable emergent behavior in complex systems. In F. Kahlen et al. (Eds.), Transdisciplinary Perspectives	on	Complex	Systems	(pp.	85–113).	Springer. https://doi.org/10.1007/978-3-319-38756-7_4

- Haleem, A., Husain, S., & Khan, S. (2022). Digital twins in health systems: Opportunities and limitations in emerging economies (Non-indexed conference paper). International Conference on Health Informatics, Abuja.

- Jones, P., Snider, C., & Jenkins, M. (2022). Digital twins in healthcare facilities: A framework for smart hospital operations. International Journal of Medical Informatics, 160, 104699. https://doi.org/10.1016/j.ijmedinf.2022.104699

- Khakifirooz, M., & Taheri, A. (2021). Predictive maintenance in hospital equipment using IoT technology. International Journal of Medical Informatics, 152, 104495.

- Kritzinger, W., Karner, M., Traar, G., Henjes, J., & Sihn, W. (2018). Digital twin in manufacturing:	A	categorical	literature	review	and	classification.	IFAC- PapersOnLine, 51(11), 1016–1022. https://doi.org/10.1016/j.ifacol.2018.08.474

- Lee, J., Bagheri, B., & Kao, H. A. (2015). A cyber-physical systems architecture for industry 4.0-based	manufacturing	systems.	Manufacturing	Letters,	3,	18–23. https://doi.org/10.1016/j.mfglet.2014.12.001

- Marques, P., & Ferreira, J. J. (2020). Digital readiness and transformation in organizations: A systematic review. Journal of Strategy and Management, 13(3), 551–577. https://doi.org/10.1108/JSMA-04-2020-0090

- Ogunleye, A. T., Balogun, J. K., & Sadiq, K. (2021). Impact of unstable electricity on digital health adoption in Nigerian hospitals (Internal technical report). Federal Ministry of Power and Health.

- Okeke, C. J., & Nwankwo, R. O. (2022). Digital health adoption barriers in Nigeria: A situational analysis (Internal departmental report). Department of Health Policy and Administration, Enugu.

- Oleribe, O. O., Momoh, J., Uzochukwu, B. S. C., et al. (2019). Identifying key challenges facing healthcare systems in Africa. BMC Health Services Research, 19, 170. https://doi.org/10.2147/IJGM.S223882

- Oluoch, T., et al. (2022). Digital health adoption in African hospitals: Barriers and opportunities. BMJ Global Health, 7(5), e008895.

- Popa, E. O., van Hilten, M., Oosterkamp, E., & Bogaardt, M.-J. (2020). The use of digital twins in healthcare: Socio-ethical benefits and socio-ethical risks. Wageningen University & Research. https://doi.org/10.1186/s40504-021-00113-x

- Rausch, P., Udo, M., & Steiner, K. (2021). Digital-twin readiness challenges in low-resource hospital environments (Institutional research paper). Institute for Digital Infrastructure Studies.

- Sacks, R., Cohen, A., Esquenazi, A., & Friedman, Y. (2020). Digital facility management systems for hospital operations (Unpublished technical report). Technion – Israel Institute of Technology.

- Scott, R. E., & Mars, M. (2013). Principles and framework for eHealth strategy development.Journal of Medical Internet Research, 15(7), e155. https://doi.org/10.2196/jmir.2250 Scott, R. E., Mars, M., & Harding, J. (2020). Organizational readiness models for digital health implementation in low-resource settings (Working paper). Global eHealth Association.

- Tao, F., Zhang, H., Liu, A., & Nee, A. Y. C. (2019). Digital Twins and cyber–physical systems toward smart manufacturing. Engineering, 5(4), 653–661. https://doi.org/10.1016/j.eng.2019.01.014

- Weber, R. H. (2010). Internet of Things – New security and privacy challenges. Computer

Law & Security Review, 26(1), 23–30. https://doi.org/10.1016/j.clsr.2009.11.008 World Bank. (2020). Electricity access in sub-Saharan Africa: Key challenges and policy options. https://doi.org/10.1016/j.clsr.2009.11.008

- World Health Organization. (2021). Global strategy on digital health 2020–2025. https://www.who.int/publications/i/item/9789240020924

- Yakubu, A. M., Ibrahim, S. A., & Bala, L. (2022). Assessment of IoT adoption for facility monitoring in Nigerian hospitals (Institutional research report). Kaduna State University.

- Zhang, Y., Qian, C., & Chen, W. (2021). Digital twin-based smart building management.

  - Automation in Construction, 124, 103562. https://doi.org/10.1016/j.autcon.2021.103562