# Original Research Article

The impact of post-tensioning design with Particle Swarm Optimization algorithm on material consumption in reinforced concrete beams

.

ABSTRACT

The objective of this work is to evaluate the reduction in concrete and rebar weight in continuous beams of reinforced concrete frame buildings with spans greater than 9 meters, through the use of the Particle Swarm Optimization (PSO) algorithm with the addition of post-tensioned strands. The study design is based on numerical modeling and was carried out at the Faculty of Engineering of the Autonomous University of Querétaro, in Querétaro, Mexico, during the period between September 2024 and November 2025. Two case studies were taken into account, consisting of a three-story hospital building with four bays in each direction and spans of 9 and 13 meters in each case. The conventional structural design of the continuous beam of a specific axis, without prestressing, was carried out, and subsequently the design was carried out using PSO and including prestressing strands in the same beam to evaluate the reduction in the weight of concrete and reinforcing steel. It was observed that for smaller spans, the optimized design had a greater influence than for greater ones, resulting in savings of up to 46% in concrete and at least 17% in steel, unlike the other case where concrete was reduced by 33% and steel remained the same for both cases.

Keywords: Structural optimization; Particle Swarm Algorithm; Post-tensioned concrete; Material consumption; Python.

1. INTRODUCTION

Structural engineering optimization is the process of finding the most efficient and economical design for a structure. This involves finding a balance between using as less material as possible and guaranteeing that the structure is safe enough to support all the forces it will be exposed to during its lifetime (Asghshahr, 2021). The aim is to find a solution that not only complies with safety standards, but also saves time, money, and materials, ensuring that each structural component is calculated to maximize its performance.

Optimization and the use of construction techniques such as post-tensioned concrete are closely related, as the aim is to maximize the performance of a structure while minimizing the resources used. By combining these elements, it is possible to design lighter structures with greater load- resisting capacity and crack control (Lee et al., 2020).

In current professional practice, traditional design methods often require numerous manual iterations, which depend on the engineer's experience to propose the amount of reinforcing steel, the distribution of post-tensioning, or the cross-sections of the elements. This can result in conservative designs that increase material demands, as well as long working hours for the design stage.

Instead of performing current practices, it should be possible to use procedures that, in addition to considering structural integrity, do not ignore important factors such as the use of resources and the impact this has on the environment or the cost of the work. The implementation of optimization algorithms in addition to post-tensioning is an efficient way to combat these problems in order to obtain a better proposal from the conception of a building's structural design to its construction.

Currently, after water, concrete is the most widely used construction material in the world due to its strength, durability, and affordability. On the other hand, according to the (IEA, 2022), the concrete sector is responsible for 7% of global CO2 emissions, so any reduction in the use of large volumes of concrete can have a positive impact on the environment.

In this context, it is essential to conduct studies focused on optimizing post-tensioned concrete beams, integrating modern optimization methodologies such as metaheuristic algorithms, as these help maximize the benefits of post-tensioning, helping to optimize both the amount of steel and concrete used and the structural behavior compared to conventional reinforced concrete design techniques.

Therefore, the objective of this work is to perform the analysis and structural design of post-tensioned concrete beams in buildings with spans greater than 9 meters based on the particle swarm optimization (PSO) algorithm, minimizing material consumption and ensuring that the strength and service limit states are met in accordance with current regulations.

2. THEORICAL BACKGROUND

The two pillars that support this research work will be optimization and prestressing, both applied to reinforced concrete beams. Therefore, this section will introduce the theoretical background related to this subject.

2.1 Prestress

Prestressed concrete, both pre-tensioned and post-tensioned, consists of creating permanent stresses in a structural element in order to increase its strength and response to service loads. To do this, high-strength steel cables are strategically placed and tensioned with a certain force before or after the concrete hardens. The cables are then released, thereby releasing the tension and causing both tension and compression stresses in different fibers of the concrete element (Asociación Nacional de Industriales del Presfuerzo y la Prefabricación [ANNIPAC], 2018).

This technique is greatly influenced by the eccentricity with which the prestressing cables are placed with respect to the neutral axis. Fig. 1 shows how the moment diagrams vary for three different situations. All beams are subject to a distributed load w. The load P is the load due to prestressing, which is located at a distance e from the neutral axis, known as eccentricity. In beam A, the steel is placed on the neutral axis; in beam B, it is placed below the neutral axis; and in beam C, it follows a curved or catenary path, which is the case that will be studied in this work.

Fig 1. Bending moment according to prestress eccentricity

2.1.1 Post tensioning

The post-tensioning technique consists of tensioning the steel strands and anchoring them at the ends of the element once the concrete has hardened and reached the strength required to resist the loads induced by the prestressing. The concrete used is high-strength, with a compression strength (f'c) between 350-500 kg/cm², and the prestressing steel, such as strands and cables, in this case, is in the form of a twisted spiral or helix, reaching a rupture strength (fsr) of 19,000 kg/cm² for grade 270K or 270,000 lb/in², in addition to an elastic modulus ranging between 1,900,000 and 1,960,000 kg/cm². The strands will be tensioned to 80% of their rupture strength. The characteristics described above are essential for achieving the adhesion and strength required in structures of great importance. This section, as well as the following section on the theory of prestressed element design, is based on (ANIPPAC, 2018), which provides a detailed explanation of everything related to this field of study.

2.1.2 Losses

Something to take into account is the loss of force that will occur during this process. These losses can be immediate or differed, and are named according to the moment in which they occur.  Some examples of immediate losses are anchor slippage due to friction, strand deviation, elastic shortening, and instant relaxation, while differed losses include concrete drying shrinkage, plastic flow, and differed relaxation. All of these will cause a reduction in effective force, which can be up to 30% when designing conservatively (ANIPPAC, 2018).

2.1.3 Stages

In order to review the stress state of prestressed elements, different stages of their service life will be taken into account as follows:

- Transfer stage: This occurs when the wires are cut into prestressed or post-tensioned elements when the pressure from the jacks is released. This must be done once the concrete has reached 80% of its final strength.

- Intermediate Stage: This occurs during the transport and assembly of the element. For this stage, it is important to have temporary supports and assembly devices in place, anticipating the static condition in the design.

- Final stage: In this stage, all applied load combinations are evaluated, service conditions are reviewed to ensure that stresses, deformations, and cracks are within permissible limits, and the ultimate strength of the element is also considered.

It is necessary to check the forces acting on the element for each of the stages described above. To do this, Fig. 2 and Equation (1) and Equation (2) show the stresses, that must be calculated considering the different actions to which the structural element will be subjected, as well as its geometric properties.

| f=-fP±fPe±fpp±ff±fcm±fcv | (1) |
| --- | --- |

| f=PAss±PeIssy±MppIssy±MfIssy±McmIscy±McvIscy | (2) |
| --- | --- |

Fig. 2. Bending forces in a beam with a simple and composite cross-section

| P = Effective prestressing force E = prestressing eccentricity Mpp = moment due to self-weight Mf = moment due to subgrade Mcm = moment due to dead overload Mcv = moment due to live load A = cross-sectional area I = moment of inertia of the section y = distance to the fiber where the stresses are calculated ss = subscript referring to the simple section sc = subscript referring to the composite section | fp = Stress due to effective prestressing force fPe = Stress due to prestressing with eccentricity fPp = Stress due to self-weight ff = Stress due to the road surface fcm = Stress due to dead overload fcv = Stress due to live load hss = Simple section height hsc = Composite section height nbe = Skid width in composite section E.N. = Neutral axis |
| --- | --- |

2.1.4 Allowable stresses

For concrete, care must be taken not to exceed the tension and compression stresses specified in Table 1, where f’ci is the compression strength of the concrete at the transfer of prestress.

Table 1.	Limit tension and compression stresses in concrete

| Immediately after transfer |  | Under service loads |  |
| --- | --- | --- | --- |
| Extreme compression fiber | 0.60 f'ci | Extreme compression fiber due to: prestressing plus sustained loads prestressing plus total load | 0.45 f'ci 0.60 f'ci |
| Extreme tension fiber | 0.80 f'ci(1/2) | Extreme tension fiber | 1.60 f'ci(1/2) |

2.1.5 Limit states

2.1.5.1 Service limit state

In the case of prestressed elements, the effect of prestressing will cause a counter-deflection, which will occur to a greater magnitude during the transfer stage. This deformation will be known as initial deformation. On the other hand, once the loads are applied in the service condition, the element will tend to deform downward, at which point we will have the final deformation. To calculate the deflections, the methods of elastic theory will continue to be used. In this case, the deformation caused by the prestressing must be considered.

In addition, the limits established in (NTC, 2023b) will continue to be applied, such as the span divided by 240 plus five millimeters, or the span divided by 480 plus three millimeters for elements whose deformation affects non-structural elements.

2.1.5.2 Ultimate limit state

The ultimate limit states for bending and shear forces will be taken into account for the design of post-tensioned concrete beams. The same elastic theory used for the design of reinforced concrete beams will be followed, except that this time the contribution of the prestressing steel will be considered.

For bending, the resistant moment will be calculated as shown in Equation (3) and the height of the compression block a, according to Equation (4), all in accordance with elastic theory where the unit deformation of concrete is equal to 0.003 and of steel 0.0021.

| MR=FRApsfpsdp-a/2+Asfyds-a/2 | (3) |
| --- | --- |

| a=Apsfps+Asfy0.85 fc'bw | (4) |
| --- | --- |

MR is the resistant moment, FR the flexion reduction factor, Aps the prestress reinforcement area, fps the effective prestress, dp the effective depth to the center of prestress reinforcement, a, the height of the compression block, As the reinforcement area of steel, fy the fluence limit of steel, f’c the compression strength of concrete and bw the width of the beam.

The minimum and maximum steel bending limits for low ductility structures established in (NTC, 2023a) are respected, as are the minimum and maximum separations between bars.

For shear resistance, as shown in Equation (5), the contribution of the concrete section and transverse steel reinforcement shall be considered, in addition to the contribution of the prestressing.

| VR=FRVC+FRVS | (5) |
| --- | --- |

Where FR is the shear reduction factor, VC the shear resistance of concrete and VS the shear resistance of the steel reinforcement. When we talk about prestressed elements, the shear resistance of concrete has to be calculated according to the shear-flexure resistance or the shear web resistance, where the vertical component of the prestress is taken in account.

2.2 Optimization

Optimization is a mathematical discipline focused on finding the best possible solution to a specific problem in which certain restrictions or conditions must be respected (Fajardo Calderin & Rosete Suárez, 2010). It consists of determining the set of values that minimize or maximize an objective function, which is represented by certain decision variables.

2.2.1 Metaheuristic methods

Among the most widely used optimization methods are metaheuristic algorithms, which are based on the simulation of natural or social processes and are used to solve optimization and search problems. They do not guarantee finding the globally optimal solution, but they are capable of providing acceptable solutions to highly complex problems (Vega et al., 2003). Bio-inspired algorithms are a classification of metaheuristic algorithms, which include the PSO algorithm.

2.2.1.1 Particle Swarm Optimization Algorithm

The PSO algorithm was developed by James Kennedy and Russell Eberhart in 1995. This method is inspired by collective behaviors observed in nature, such as the coordinated movement of flocks of birds or schools of fish. It focuses on collaboration and communication between particles within a search space to find optimal solutions (Freitas et al., 2020).

Essentially, PSO consists of particles that represent solutions. Each particle is guided by its best-known position (Pbest) and the best global position (Gbest), which represent a balance between exploration and exploitation of the search space. All this is done by combining two components:

- Cognitive factor: Represents a particle's tendency to return to its Pbest

- Social factor: Represents the influence of the Gbest on the particle.

PSO is based on equations that determine the updating of particle velocity and position. These equations include random terms to encourage exploration of the search space and avoid premature convergence to local optima. The Equation (6) is used to update velocity.

| vik+1=wvik+c1r1pbesti-xi+c2r2gbesti-xi | (6) |
| --- | --- |

Where w is the inertia factor that controls the balance between exploration and exploitation, which varies from 0.9 to 0.4 as iterations pass, c1 and c2 are cognitive and social coefficients, respectively, in this case, considered equal to 1.5 according to the good convergence behavior shown by (Wang & Qiu, 2013), r1 and r2 are random values between 0 and 1 that promote diversity in the search. On the other hand, the position is updated according to Equation (7).

| xik+1=xik+vik+1 | (7) |
| --- | --- |

Where xi is the position, vi is the velocity, and k is the iteration number.

As PSO is a metaheuristic method, it allows multiple constraints and objectives to be considered, such as minimizing concrete and steel volumes and maximizing strength, adapting to the complexities of the problem.

3. methodology

3.1 Previous works

Previously, optimization problems in reinforced concrete structures have been studied by different authors, such as (Dong et al., 2024), who formulate the objective function depending on the structural seismic response, using the interstory displacement ratio (IDR) variable.

Another approach was taken by (Hajirasouliha et al., 2012), where performance-based seismic design of concrete structures was implemented. In this approach, longitudinal reinforcement was distributed using nonlinear dynamic analysis and finite element models of the strongest to weakest elements, in order to uniformize deformations and reduce overall damage to the structure under seismic effects.

In other hand, a study conducted by (Mergos, 2018) attempted to develop optimal seismic designs for reinforced concrete frames to minimize the CO2 emissions embedded in their manufacture and compare them with optimized designs based on construction cost, using genetic algorithms for the design of reinforced concrete frames.

When analyzing studies such as the previous ones, it can be seen that none of them approach the subject of post-tensioning in concrete beams for structural optimization purposes. In this paper, I take the liberty of dealing with it.

3.2 Study cases

For this study, two case studies were analyzed, as shown in Table 2, using regular reinforced concrete frame buildings with different spans. The aim was to analyze and compare the results obtained for relatively short spans, as in case 1, with long spans, as in case 2.

Table 2.	Study cases usage and geometry.

| Case | Building use | Frames | Levels | Spans |
| --- | --- | --- | --- | --- |
| 1 | Hospital | 4 | 3 | 9 meters |
| 2 | Hospital | 4 | 3 | 13 meters |

3.3 Materials and predimensioning

Once the geometry of the design buildings had been defined, the structural analysis of the buildings was programmed parametrically in Python using the SAP 2000 design software API, in which the concrete material was specified with a f'c of 400 kg/cm², conventional reinforcing steel with a fy of 4200 kg/cm², and post-tensioned strands with an fsr of 19000 kg/cm². The geometric sections of the concrete beams are based on a preliminary dimensioning suggested by (NTC, 2023a) shown in Table 3 where L is the maximum span considered, for the reticular slab the span divided by 24 was the minimum camber criteria. Separations between ribs in both directions were taken of 70 cm and with a width of 20 cm.

Table 3.	Non-prestressed beams minimum camber load condition

| Support condition | Minimum height |
| --- | --- |
| Simply supported | L/16 |
| One continuous extreme | L/18.5 |
| Two continuous extremes | L/21 |
| Cantilever | L/8 |

In this case, as it involves the structural design of a beam that is continuous at both ends, the third case shown in Table 3 was taken. A width-to-height ratio of 2 was used for beams without prestressing, and all measurements were rounded up to the nearest multiples of 2 or 5 cm in an effort to adhere to practical construction measurements.

For columns, a rapid load drop was carried out to determine the width. Ultimately, the most important element for this work would be the beams.

3.4 Load conditions

Dead, live, and accidental loads were considered for this analysis. The load increase factors were 1.5 for dead load, 1.7 for maximum live load for gravitational design combinations, for accidental combinations the corresponding actions were multiplied by 1.1, and for service a unit load increase factor was applied, based on the requirements of (NTC, 2023b).

3.4.1 Dead and live loads

The dead load condition considered is shown in Table 4 for mid-floor slabs and in Table 5 for roof slabs.

Table 4.	Dead load condition for mid-floor slabs.

| Material | Thickness (m) | Volumetric weight (kg/m³) | Weight (kg/m²) |
| --- | --- | --- | --- |
| Ceramic tile | 0.01 | 1840 | 18.4 |
| Tile adhesive | 0.015 | 1500 | 22.5 |
| Ceiling | - | - | 20 |
| Installations | - | - | 20 |
| Additional concrete load |  |  | 20 |
| Additional mortar load |  |  | 20 |
| Dead load without slab system |  |  | 120.9 |

Table 5.	Dead load condition for roof-floor slabs.

| Material | Thickness (m) | Volumetric weight (kg/m³) | Weight (kg/m²) |
| --- | --- | --- | --- |
| Waterproofing | 0.002 | 2500 | 5 |
| Fine Grout | 0.005 | 2100 | 10.5 |
| Mortar | 0.01 | 1900 | 19 |
| Filling | 0.1 | 1300 | 130 |
| Ceiling | - | - | 0 |
| Installations | - | - | 20 |
| Additional concrete load |  |  | 20 |
| Additional mortar load |  |  | 20 |
| Dead load without slab system |  |  | 224.5 |

On the other hand, the live loads considered were obtained from (NTC, 2023b), where for hospitals there is an average live load of 80 kg/m², instantaneous live load of 100 kg/m², and maximum live load of 190 kg/m².

3.4.2 Accidental loads

In addition to the gravitational analysis, a dynamic modal analysis with a design seismic spectrum for the city of Querétaro, Querétaro, Mexico, shown in Fig. 3, was considered in the design envelope.

Fig. 3. Elastic Response Spectrum considered

Acceleration (Sa) is expressed in gravity fractions

3.5 Analysis and Structural Design

The continuous beam of the central axis of the ground floor was taken, as shown in Fig. 4, considering that it is one of the most structurally demanding beams, and the structural design for this beam was programmed.

Two different codes were used, one for conventional analysis, which do not include the effect of prestressing, and another where prestressing influences the displacements of the continuous beam under study. For both cases, the conventional design and the PSO-optimized prestressed design, this same beam was designed to provide a common point of comparison.

Fig. 4. Selected beam for structural design.

3.5.1 Conventional design

For the conventional design, moment and shear revisions were made using Load and Resistance Factor Design (LRFD). The maximum negative and positive moments of the model were obtained, and the longitudinal steel for the upper and lower flanges of the beam was designed. Similarly, the maximum shear was used to determine the diameter and spacing of the stirrups, all in accordance with the requirements specified by (NTC, 2023a).

Finally, for each study case, the weight of concrete and steel obtained was quantified, which are our output variables that we will be comparing in both study cases.

3.5.2 Prestressed optimized with PSO design

3.5.2.1 Solutions space

For the prestressed design, the width, beam height, and number of strands proposed were taken as input variables. A catalog of solutions was generated in Excel with combinations of beam widths ranging from 20 to 35 cm, height from 30 to 70 cm, trying to maintain width-to-height ratios of 3/2 to 5/2 and rounded measurements to multiples of 2 and 5 cm, also, from 1 to 5 strands considering that these are placed in a single row, 2 to 3 cm above the longitudinal steel and respecting the minimum separations between strands, to finally obtain 506 combinations.

3.5.2.2 Objective function

For the objective function, an aggregate function was generated in which a weight or importance was assigned to steel and concrete savings. In other words, a pseudo multi-objective function was developed using pondered weights to obtain a single return value in the main fitness function, as Equation (8) shows.

| F=αPc+1-αPa | (8) |
| --- | --- |

where F will be the return value of the pondered fitness function that will help us decide the PBest and GBest in each iteration for the particles, Pc and Pa are the weight of concrete and steel, respectively, and α the weight factor assigned for the concrete weight, it must be a value from zero to one.

3.5.2.3 Restrictions

The main restrictions for this work were the allowable stress designs (ASD) and the review of displacements. The stresses were checked both during the transfer stage and in service for the upper and lower fibers, when the maximum and minimum moments occur in the beam. If all stresses are within the acceptable range, the LRFD designs for the geometric section and strands considered in that solution were continued. Otherwise, the weight of concrete and steel is penalized depending on how much the permissible stress of the beam is exceeded. The same applies to the review of displacements.

3.5.2.4 Algorithm parameters

To perform the PSO design, 10 iterations and 25 particles were considered. The alpha value considered to add the weight factor to concrete was 0.6, thus giving slight priority to the search for greater savings in concrete than in steel. The values of C1 and C2 were set at 1.5 according to the good convergence behavior shown in (Wang & Qiu, 2013). Finally, the inertia parameter W varied from 0.9 to 0.4 according to Equation (9).

| W=Wmax-Wmax-WmintIterations-1 | (9) |
| --- | --- |

Where Wmax and Wmin are 0.9 and 0.4 respectively, t the current number of iteration and Iterations the total amount of iterations that will be done

3.6 Quantification, analysis, and comparison of results

After performing both analyses and quantifying the concrete and steel weights for the results obtained in each study case, they were compared and analyzed in order to identify any significant trends and reach conclusions regarding the effectiveness and applicability of the methodology implemented in larger-scale projects.

4. results and discussion

This section will show the results obtained for both types of analysis for the two study cases, from results oriented towards structural design to the behavior of the algorithm and its convergence to its optimal solution, finally concluding with the ultimate data that shows us whether or not there was actually a saving in material, and if so, how much it was.

4.1 PSO Algorithm

The following shows the path of the particles through some representative iterations until reaching the last one to obtain a final optimized solution for cases 1 and 2, in Fig. 5 and Fig. 6, respectively.

Fig. 5. Particles trajectory through representative iterations until reaching the optimal solution for study case 1

In case 1, in the initial iteration, the particles are distributed over a wide range of solutions, ranging from 20 to 35 cm in width and height of up to 70 cm. However, it can be observed that as the iterations progress, the particles concentrate in the area near the GBest, showing how they quickly move from exploration to exploitation in very early iterations. It can be seen how an initial particle fell very close to the optimal section in terms of both geometry and strands in the solution space, making it impossible for the other particles to find a better one, which in this case is the beam 20 cm wide (b) by 30 cm high (h), with 1 strand, with a concrete weight (Pc) of 5.18 tons, a steel weight (Ps) of 0.34 tons, and a pondered function value (F) of 3.24 tons.

Fig. 6. Particles trajectory through representative iterations until reaching the optimal solution for study case 2

This may be because, in this case, there may be too many penalized solutions due to ASD revisions, which prevent a specific search area from being found. However, it can be observed that the F function is always decreasing, which shows us that the algorithm worked well, always searching for a better solution than the previous one. Probably, if a larger number of iterations, or particles, had been considered, another solution could have been obtained.

4.2 Structural design comparison

The following tables provide more technical and digestible data for a structural engineer, showing the ultimate moments and shear forces, Mu and Vu respectively, for both positive and negative layers, with the proposed number of rebars or stirrups and their diameter and spacing, as well as showing whether they pass the check for displacement Uz, and ASD. Table 6 correspond to the conventional analysis made and Table 7 for the prestressed PSO analysis.

Table 6.	Conventional analysis results

| Case | Width (cm) | Depth (cm) | Mu (-) (tm) | Bars | Φ | Mu (+) (tm) | Bars | Φ | Vu (t) | Stirrup Φ | Spacing (cm) | Uz max (cm) | Uz OK? |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 25 | 45 | -7.74 | 2 | 6 | 3.29 | 3 | 4 | 7.91 | 3 | 20 | 0.34 | TRUE |
| 2 | 35 | 65 | -33.91 | 2 | 10 | 12.75 | 4 | 5 | 22.94 | 3 | 16 | 0.6 | TRUE |

Table 7.	Optimized with PSO prestressed analysis results

| Case | Width (cm) | Depth (cm) | Mu (-) (tm) | Bars | Φ | Mu (+) (tm) | Bars | Φ | Strands | Vu (t) | Stirrup Φ | Spacing (cm) | Uz max (cm) | Uz OK? | ASD bottom | ASD top |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 20 | 30 | -2.85 | 2 | 4 | 1.04 | 2 | 4 | 1 | 3.56 | 3 | 12 | 0.4 | TRUE | TRUE | TRUE |
| 2 | 26 | 56 | -23.2 | 4 | 4 | 7.79 | 4 | 4 | 3 | 17.44 | 3 | 20 | 0.68 | TRUE | TRUE | TRUE |

The previous results show how slenderer sections are obtained in the PSO analyses, which leads to lower values of moment and ultimate shear due to the large difference in the self-weight of the beams. Subsequently, it can be seen that the amount of longitudinal steel is also lower, although the steel quantity could be higher for the prestressed sections as they are slenderer. For shear force, there are more stirrups in case 1 with PSO, as there is much less camber than in the conventional analysis. On the other hand, in case 2, there are fewer stirrups in PSO than in the conventional analysis, despite having less camber. This is because it has three prestressing strands, which greatly contribute to the resistance of this mechanical element. Finally, it can be seen that all sections comply with the displacements, which are very similar for each case in both analysis thanks to the counter-camber effect generated by the prestressing. In addition, both study cases comply with the ASD reviews.

4.3 Material savings

The final results aimed at in this study are summarized in Fig. 7 and Fig. 8, which show a comparison of the tonnage of concrete and steel for each study case. Finally, Table 8 summarizes the percentage savings in concrete and steel for each study case.

Fig. 7. Comparison of concrete’s quantity between conventional and prestressed PSO optimized method

Fig. 8. Comparison of steel’s quantity between conventional and prestressed PSO optimized method

Table 8.	Material savings in each study case

| Study case | Concrete savings | Steel savings |
| --- | --- | --- |
| 1 | 46.67% | 17.60% |
| 2 | 33.91% | 0.00% |

In case 1, there was a significant improvement in the amount of both concrete and steel used, which tells us that for regular-sized spans, the methodology applied worked better, reducing the weight of concrete by up to 46% and steel by 17%. On the other hand, in case 2, although the reduction in cross-section was also good, maintaining a similar amount of steel as in the conventional analysis tells us that the quantity of steel increased. This confirms that the proposed algorithm was performed correctly, where the pondered function F was intended to give greater importance to the reduction of the concrete section than to the amount of steel.

5. Conclusion

It has been demonstrated that combining the post-tensioning design methodology with the PSO algorithm has been successful, resulting in a considerable reduction in the amounts of concrete and steel used for beams in reinforced concrete frame buildings with regular to large spans. This has been achieved while complying with the applicable restrictions and regulatory revisions.

The results obtained suggest that metaheuristic algorithms, and specifically PSO, are suitable and highly applicable to structural engineering problems where we have a very large set of solutions and we seek to obtain a quality solution in an automatized manner without having to rely on manual design methodologies where trial and error and long hours of work predominate.

It is of interest to expand the scope of this methodology not only to a beam but to the entire building, where the structural requirements are adapted to the use of post-tensioned concrete beams, as well as the evaluation of more study cases where more factors than just the length of the spans come into play.

# COMPETING INTERESTS DISCLAIMER:

Authors have declared that they have no known competing financial interests OR non-financial interests OR personal relationships that could have appeared to influence the work reported in this paper.

References

ANIPPAC. (2018). Design manual for prefabricated and prestressed structures. https://anippac.org/manuales/

Asghshahr, M. S. (2021). Reliability based design optimization of reinforced concrete frames using genetic algorithm. Periodica Polytechnica Civil Engineering, 65, 566–576. https://doi.org/10.3311/PPci.17150

Dong, G., Garcia, R., Pilakoutas, K., & Hajirasouliha, I. (2024). A review of optimal seismic design of RC frames: State-of-the-art, challenges and future directions. In Engineering Structures (Vol. 315). Elsevier Ltd. https://doi.org/10.1016/j.engstruct.2024.118455

Fajardo Calderín, J., & Rosete Suárez, A. (2010). Multigenerator Algorithm of Solutions for the competition and collaboration of metaheuristic generators. International Journal of Operations Research, 57–62.

Freitas, D., Lopes, L. G., & Morgado-Dias, F. (2020). Particle Swarm Optimization: A historical review up to the current developments. In Entropy (Vol. 22, Issue 3). MDPI AG. https://doi.org/10.3390/e22030362

Hajirasouliha, I., Asadi, P., & Pilakoutas, K. (2012). An efficient performance-based seismic design method for reinforced concrete frames. Earthquake Engineering and Structural Dynamics, 41(4). https://doi.org/10.1002/eqe.1150

IEA. (2022, September 22). Global cement demand for building construction in the Net Zero Scenario, 2000-2030. License: CC BY 4.0. https://www.iea.org/data-and-statistics/charts/global-cement-demand-for-building-construction-in-the-net-zero-scenario-2000-2030

Lee, S. H., Abolmaali, A., Shin, K. J., & Lee, H. Du. (2020). ABAQUS modeling for post-tensioned reinforced concrete beams. Journal of Building Engineering, 30. https://doi.org/10.1016/j.jobe.2020.101273

Mergos, P. E. (2018). Seismic design of reinforced concrete frames for minimum embodied CO2 emissions. Energy and Buildings, 162, 177–186. https://doi.org/10.1016/j.enbuild.2017.12.039

NTC. (2023a). Complementary Technical Standards for the design and construction of concrete structures. Secretariat of Public Works and Services. https://data.consejeria.cdmx.gob.mx/portal_old/uploads/gacetas/b3c4f4ff37241d0a93cc6742a8b0bf2f.pdf

NTC. (2023b). Complementary Technical Standards on criteria and actions for the structural design of buildings. Secretariat of Public Works and Services. https://data.consejeria.cdmx.gob.mx/portal_old/uploads/gacetas/b3c4f4ff37241d0a93cc6742a8b0bf2f.pdf

Vega, J. M. M., Batista, M. B. M., & Pérez, J. A. M. (2003). Metaheuristics: a global vision. Ibero-American Journal of Artificial Intelligence, 7. https://dialnet.unirioja.es/servlet/articulo?codigo=789000

Wang, X., & Qiu, X. (2013). Application of Particle Swarm Optimization for Enhanced Cyclic Steam Stimulation in an Offshore Heavy Oil Reservoir. International Journal of Information Technology, Modeling and Computing, 1(2), 37–47. https://doi.org/10.5121/ijitmc.2013.1204