Review Article

Critical review on Reasons for Routine utilization of Emerging Automated Rapid Diagnostic test strips and Point-of-Care Testing Devices for the  Detection of   Alcohol Use History Among Potential  Blood Donors.

================================================================================

ABSTRACT:

The detection of alcohol use history amongst potential blood donors is crucial to ensure the safety of the blood supply. Traditional laboratory-based testing methods have limitations, including lengthy turnaround times and high costs. Emerging alcohol automated rapid diagnostic (ARPD) test strips and point-of-care testing (POCT) devices offer a promising solution routinely for rapid and accurate detection of substance and alcohol use. This review critically evaluates the current state of automated rapid diagnostic and POCT devices for routine detecting alcohol use history amongst potential blood donors. The review also  discusses the advantages and limitations of these devices, including their sensitivity, specificity, and potential for false positives and false negatives .In addition, it also examines the potential  routine utilization and applications of these devices in blood donation settings, including their potential to improve blood safety and reduce costs. Finally, the review highlights the need for further research and evaluation of these devices to ensure their accuracy and reliability in routine  detecting  alcohol use history amongst potential blood donors.

Keywords: emerging automated rapid diagnostic testing strip , point-of-care testing  devices , alcohol use, blood donors, blood safety ,routine utilization .

- INTRODUCTION

Automatic Rapid Diagnostic test strips (ARDs) are medical devices, kits, or reagents, or instruments that automatically perform diagnostic tests on professionally prescribed and collected samples, such as blood, urine, or saliva, and provide rapid results (Khan et al., 2024). Point-of-Care Testing (POCT) refers to diagnostic testing performed at or near the site of patient care, outside the main laboratory, providing rapid results  (Faisal,2020).Types of ARDs and POCT devices that can be used for detecting alcohol use history in potential blood donors include: Breathalyzers, which measure breath alcohol concentration (BrAC), Saliva-based tests, which measure alcohol concentration in saliva,Urine-based tests, which measure alcohol metabolites (e.g., ethyl glucuronide (EtG), and ethyl sulfate (EtS) in urine and  blood-based tests, which measure alcohol phosphatidyl ethanol (Peth) or other biomarkers in blood  (Arishi et al., 2025  Clark, 2025 , Harris ,2021 and Perilli et al., 2023).

The safety and quality of the blood supply or donated blood products are critical concerns for healthcare systems worldwide. One of the key factors that can compromise blood safety is the transmission of infectious diseases or the adverse effects of substances and alcohol on donated blood (Peliganga et al., 2021  and Kanyike et al., 2022). Substance and alcohol use among potential blood donors can pose significant risks to recipients, including the transmission of infectious diseases, adverse reactions, and compromised immune function ( Kim & Ko, 2024 and Dodd et al., 2019). Therefore, it is essential to detect substance or alcohol use history among potential blood donors to ensure the safety of the blood supply.

Traditional laboratory-based testing methods for detecting substance and alcohol use have limitations, including lengthy turnaround times, high costs, and the need for specialized equipment and trained personnel (Dasgupta, 2022). These limitations can lead to delays in the release of blood products, which can compromise patient care and outcomes. Emerging automated rapid diagnostic devices (ARPDDs) and point-of-care testing devices (POCTDs) offer a promising solution for rapid and accurate detection of substance and alcohol use among potential blood donors. This review highlights the importance of rapid diagnostic devices and POCT devices in detecting substance and alcohol use in blood donors, which can compromise blood safety and quality. The benefits, technologies, challenges, and future directions of these devices are discussed, providing a comprehensive overview of their potential role in transfusion medicine (Schilling  et al., 2022). By addressing the challenges and limitations of rapid diagnostic and POCT devices, we can ensure their effective integration into blood donation services, ultimately enhancing the safety and quality of donated blood (Maiman et al., 2025).

a)Prevalence of Alcohol Use Among Blood Donors

Studies have shown that alcohol use is a significant concern among blood donors. A study published in 2024 found that approximately 15% of blood donors reported consuming alcohol within 24 hours prior to blood donation (Thorpe et al., 2023). Another study published in 2024 found that alcohol use was associated with an increased risk of adverse reactions in blood donors (WHO, 2024). Prevalence studies show varying rates of alcohol consumption in blood donors, with up to 88.9% of donors being current alcohol consumers or drinkers (Ugwu et al., 2020). Alcohol consumption is a common reason for deferral, contributing to blood shortages (Okoroiwu et al.,2019 ,Bede ,2025)

Risk Factors and Prevalence in Specific Populations

Risk factors for alcohol use include age, smoking, and rural residence (Ugwu et al., 2019; Aniemena  et al., 2021). Some specific prevalence rates of alcohol use among blood donors across Nigerian states and institutions are: Alcohol intake was a cause for deferral in a tertiary hospital in Anambra  State, Nigeria (Okoroiwu et al., 2019) and south-western Nigeria (Temitope et al.,2022)  respectively . About 12.01% of blood donors had alcoholic fatty liver disease, and 12.01% had combined liver damage from alcohol and other causes (Ajayi, 2019).

- Blood donors’ test-seeking behavior may be common among undergraduate students ( Zucoloto & Martinez , 2020 ,Ugwu et al., 2019) in university campuses across Nigerian universities and higher institutions.

b)The Risks Posed by Potential Blood Donors with Alcohol Use History

The safety and quality of donated blood are critical components of transfusion medicine, with significant implications for patient outcomes (WHO, 2025). Ensuring the safety of blood donations involves screening donors for various health indicators, including infectious diseases and substance and alcohol use history (American Red Cross, 2022). One such health indicator is substance and alcohol use, which can compromise blood safety and quality by affecting donor health and potentially introducing alcohol-related contaminants into the blood supply (Thorpe et al., 2023).

Emerging Automatic Rapid Diagnostic Devices (ARDs) and Point-of-Care Testing Devices (POCTDs)

Emerging ARDs and POCTDs have emerged as a promising solution for detecting substance and alcohol use in blood donors, offering a quick and accurate means of screening donors at the point of care (Coulibaly  et al., 2021). These devices have the potential to revolutionize blood donor screening by providing a quick and accurate means of detecting substance abuse and alcohol use, thereby ensuring the safety and quality of donated blood (Arishi et al., 2025  and Metcalf et al.,2022).

c)Characteristics of Emerging ARDs and POCTDs

1. High sensitivity and specificity: Emerging biomarkers and testing devices should have high sensitivity and specificity for detecting alcohol consumption ( Harris, 2022).

2. Rapid, accurate, precise, and reproducible results: POCTDs should provide rapid results, ideally within minutes ( Ghosh ,2019  and  Maiman et al., 2025).

3. Non-invasive: Testing devices should be non-invasive, using samples such as saliva, urine, or breath (Clark, 2025).

4. Easy to use: Testing devices should be easy to use, requiring minimal training and technical expertise (Liji ,2021 , Arishi et al., 2025  Clark, 2025 and  Ghosh ,2019).

5. Portable: POCTDs should be portable, allowing for use in various settings (Patel et al., 2022).

6. Cost-effective: Testing devices should be cost-effective, reducing healthcare costs and improving resource allocation ( Liji ,2021 ).

7. Regulatory compliance: Testing devices should comply with regulatory requirements, such as FDA approval and CE marking (Food and Drug Administration, 2021).

8. Aim to improve patient outcomes, streamline care, and enhance healthcare efficiency(Maiman et al., 2025)

9. Connectivity: Assured guidelines, integrated features, and direct minimal sample analysis (Ogungyemi ,2020)

d)Types  of Emerging ARDs and POCTD

types and examples of emerging testing devices include Breathalyzer which are portable devices that measure breath alcohol concentration (BrAC) (Finnell, 2023, O’Connor ,2024), Saliva-based tests  which are devices that measure alcohol concentration in saliva (Wargh, 2023, Prathima ,2023), the urine-based tests which also types of devices that measure alcohol metabolites, such as EtG and EtS, in urine (Ferguson , 2022) and Blood-based tests which are alcohol biomarkers or  devices that measure Peth, FAEEs, and other biomarkers in blood (Law M. 2025).

- METHODOLOGY

THE METHOLOGY ADOPTED FOR THE CURRENT REVIEW

A comprehensive review of the literature reveals that ARDDs and POCT devices have been widely adopted in various healthcare settings, including hospitals, clinics, and community health centers (Khan et al., 2024). The use of ARDDs and POCT devices has been shown to improve patient outcomes, reduce healthcare costs, and enhance patient satisfaction (Shouran and Elhedmi , 2020).

Studies have also demonstrated the accuracy and reliability of ARDDs and POCT devices for detecting various biomarkers, including alcohol, infectious diseases, and cancer (Abdul  et al., 2022).

- RESULTS

Here results of Some searched key reasons why Emerging Automated Rapid Diagnostic test strips and  Point-of-Care Testing Devices  should be used for Routinely utilized for the  Detection of   Alcohol Use History Among Potential  Blood Donors include the following :-

- SOME SEACHED REASONS BASED ON SLIGHT DIFFERENCES BETWEEN ARDDS AND POCT DEVICES

Though  ARDDs and POCT Devices look very similar there are some slight differences between them as regards characteristics and key technological principle as shown  below in Table 1.

| Table 1. Some slight Differences between ARDDs and POCT Devices |  |  |
| --- | --- | --- |
| Characteristics | ARDD | POCT |
| Definition | Automatic diagnostic device | Diagnostic testing at or near patient care |
| Sample Type | Blood, urine, saliva, etc. | Blood, urine, saliva, etc. |
| Test Method | ¦Automated | Manual or automated |
| Turnaround Time | Rapid (minutes) | Rapid (minutes) |
| Sensitivity | High | High |
| Specificity | High | High |
| Connectivity | Data transfer and integration with laboratory information systems sy | Data transfer and integration with laboratory information |

2) SOME SEARCH REASONS BASED ON KEY TECHNOLOGICAL PRINCIPLE  USED IN EMERGING AUTOMATIC  RAPID DIAGNOSTIC DEVICE INCLUDE THE FOLLOWING

- Lateral Flow Immunoassay:

A popular technology used in rapid diagnostic tests, which relies on the interaction between antigens and antibodies to detect specific pathogens. A type of immunochromatography that uses a membrane to separate and detect analytes

- Electrochemical Sensors

These sensors detect changes in electrical current or voltage resulting from chemical reactions, providing quick and accurate measurements.

- Optical Detection: This technology uses light absorption or emission to detect analytes in a sample, enabling highly sensitive detection of pathogens.

- Molecular Testing: Techniques like polymerase chain reaction (PCR) and isothermal amplification enable the detection of specific genetic material, providing high sensitivity and specificity

- Biosensors: Biosensors have shown promise in detecting specific analytes, including alcohol and substances use  in biological samples.

- Immunochromatography: A technique that uses antibodies to detect specific antigens in a sample

- Polymerase Chain Reaction (PCR): A molecular diagnostic technique that amplifies DNA sequences

- Electrochemical Detection: A technique that measures changes in electrical signals caused by chemical reactions

- Further research is needed to adapt this technology for blood donor screen

- SOME SEARCHED REASONS BASED  ON EMERGING TECHNOLOGIES  USE IN POINT-OF-CARE TESTING (POCT) INCLUDE THE FOLLOWING:-

The convergence of emerging technologies has transformed the field of point-of-care testing (POCT), enabling the development of rapid, accurate, and cost-effective diagnostic devices. This review focuses on three key technologies that are revolutionizing POCT: Microfluidics, Nanotechnology, and Artificial Intelligence (AI):It is very important to explore  how these technologies are being merged to create innovative POCT devices, and possible  discussion on  their applications, advantages, and future directions and improvement.

- Microfluidics: Miniaturized Devices for Analyzing Small Sample Volumes

Microfluidics involves the manipulation of small volumes of fluids (typically in the range of nanoliters to microliters) within miniaturized devices. This technology has enabled the development of compact, portable, and cost-effective POCT devices (Khan et al., 2024). The Advantages include reduced sample volume, faster analysis time, and improved sensitivity Applications include blood glucose monitoring, infectious disease diagnosis, and cancer biomarker detection  some of challenges encountered include device fabrication, sample handling, and integration with other technologies.

- Nanotechnology: Enhanced Sensitivity and Specificity using Nanomaterials

Nanotechnology involves the use of materials with dimensions in the range of 1-100 nanometers. Nanomaterials have unique optical, electrical, and chemical properties that make them ideal for POCT applications (Shouran and Elhedmi, 2020). Some of Advantages comprises of enhanced sensitivity, specificity, and multiplexing capabilities. While Applications are  alcohol Biomarker detection, DNA sequencing, and cell analysis. Its challenges include nanomaterial synthesis, surface functionalization, and toxicity concerns

- Artificial Intelligence (AI): Improved Data Analysis and Interpretation .

AI  which involves the use of algorithms and machine learning techniques to analyze and interpret large datasets. In POCT, AI can be used to improve data analysis, reduce noise, and enhance diagnostic accuracy (Abdul et al., 2024). Its  advantages include improved accuracy, reduced false positives, and personalized medicine.  Modern applications include Image analysis, signal processing, and predictive analytics. Some of  challenges encountered includes data quality, algorithm development, and regulatory approval.

- SOME SEARCHED REASONS BASED  ON CLASSIFICATION OF  EMERGING AUTOMATIC  RAPID DIAGNOSTIC AND  POINT OF CARE TESTING DEVICES

Emerging automatic  rapid diagnostic and  point of care testing device have been  classified   based  on the following categories:-invasiveness  and non-invasiveness  method of sample collection  and types and nature  of samples

i)Category A:  Invasive Devices

These devices require a biological sample that involves some level of invasion, such as:

1).Blood-based  sample devices:

These devices use a blood sample to detect various health indicators, including alcohol use.

Examples are : Fingerstick blood tests and Venipuncture blood tests

2. Other bodily fluid-based  sample devices These devices use other bodily fluids, such as: Urine tests   and  Saliva tests (although some saliva tests can be non-invasive)

ii) Category B: Non-invasive devices

These devices do not require a biological sample or involve minimal invasion, such as:

1.Breath-based  sample devices which measure analytes in breath, such as: Breathalyzers for detecting alcohol use

2. Transdermal  sample devices: These devices measure analytes through the skin, such as: Transdermal alcohol sensors

3. Sweat-based sample  devices: These devices measure analytes in sweat, such as: Sweat patches for detecting substance use

- SOME SEARCHED REASONS  BASED ON MANY ADVANTAGES  BUT FEW  LIMITATIONS OF  EMERGING AUTOMATIC  RAPID DIAGNOSTIC AND  POINT OF CARE TESTING DEVICE

Invasive devices can provide more accurate and reliable results, but they may be more invasive and uncomfortable for users. Good  examples of  invasive devices include test like blood glucose meter , Rapid diagnostic tests for infectious diseases (e.g., HIV, Hepatitis, Syphilis  and Malaria tests ) while  non-invasive devices, on the other hand, are often more convenient and user-friendly, but may be less accurate or reliable. Good examples of non -invasive  Rapid Diagnostic and POCT Devices that are urine and saliva-based alcohol tests). (Ferguson , 2022, Wargh, 2023, Prathima ,2023), and breathanalyzers alcohol tests (Finnell, 2023, and O’Connor ,2024),

However, there are also challenges and limitations associated with ARDDs and POCT devices, including regulatory hurdles, cost and accessibility, and training and education (Poston et al., 2024). Addressing these challenges will be critical to ensuring the widespread adoption of ARDDs and POCT devices in healthcare settings.

- CONSIDERABLE LOW ECONOMIC IMPACT OF EMERGING ARD/POCT DEVICES AND ANALYSIS ON PATIENT CARE

Several factors influence the economic impact of emerging ARD/POCT devices and analysis. These factors are divided into direct and indirect costs of laboratory analysis and the economic impact of the quality and timeliness of care. The cost per ARD/POCT analysis can be compared directly to the costs of core laboratory analysis, depending on the local setting and national regulations. The costs of laboratory analysis are usually calculated based on staffing, costs for chemical reagents/kits, and costs for machine maintenance (Chew et al., 2025). If the laboratory is outsourced or centralized in another hospital, there are additional transportation costs.Usually, these differences in costs are easy to calculate and tend to vary between larger and smaller hospitals due to the need for 24/7 core laboratory staffing. Smaller units benefit from ARD/POCT devices and analysis through savings in direct costs, whereas larger hospitals tend to find equal or slightly higher costs per analysis compared to ARD/POCT devices and core laboratory costs (Yanbing et al., 2025).The indirect costs of laboratory analyses are related to delays in time to result, diagnosis, and therapy, contributing to patient outcomes with resulting costs, need for transport between hospitals, unnecessary admissions, overcrowding, and the potential need for multiple analyses if different systems are used in the same hospital. These costs are higher than direct costs of analysis, with staffing being the highest cost in modern healthcare. The overall economic impact of ARD/POCT on indirect costs has been noticed in various institutions worldwide (McCoy et al., 2019).

- SHORT TURNAROUND TIME (TAT)  FOR ARD/POCT

Short TAT and no requirement for dedicated laboratory staff for routine analyses are major advantages of ARD/POCT. The TAT for POCT is, on average, 46 minutes faster than central laboratory analysis, minimizing transport times and maintaining reasonable accuracy (Lopez et al., 2021). Any delay translates into economic impact, as each minute of waiting time increases staffing needs.

- SIMPLE SPECIMEN REQUIREMENTS, PREPARATION, AND PROCEDURE FOR ARD/POCT DEVICES AND ANALYSIS

Emerging Automatic Rapid Diagnostic (ARD) and Point-of-Care Testing (POCT) devices involve three primary processes: pre-analytical, analytical, and post-analytical phases.

The pre-analytical phase involves collection, transport, preparation, and loading of the specimen (Chew et al., 2025).The analytical phase is the actual testing sequence of POCT (Yanbing et al., 2025) and finally, the post-analytical phase which also involves communicating results, interpreting them, and identifying critical values (Lopez et al., 2021; Dugad et al., 2022). Specimen collection and handling are usually very  critical. Adhering to regulations, preparing patient and specimen collection containers, and ensuring compliance with identification requirements are also very essential and necessary here  (Lingervelder et al., 2021; Gunawardana et al., 2025).

.

4)DISCUSSION

THE IMPORTANCE ROLE PLAY BY RAPID DIAGNOSTIC AND POINT-OF-CARE TESTING DEVICES IN THE ELIGIBILITY ASSESSMENT AND SCREENING FOR INFECTIOUS DISEASES , SUBSTANCE  ABUSE AND  ALCOHOL USE HISTORY IN POTENTIAL BLOOD DONORS

Blood donor eligibility assessment is a critical component of the blood donation process. The assessment involves evaluating the donor’s medical history, lifestyle, and other factors to determine their eligibility to donate blood (American Red Cross ,2022 and World Health Organization, 2025). Donors who are deemed ineligible may be at risk of transmitting diseases or may have underlying health conditions that could be exacerbated by donation. Screening for infectious diseases is a key component of blood donor screening. Donors are typically screened for diseases  caused by viruses such as HIV, HBV, and HCV using serological tests or nucleic acid testing (NAT) (Conti et al., 2024).These tests help to detect the presence of infectious agents caused by bacteria such as Syphilis ,Malaria and Typhoid Fever  in the donor’s blood, and donors who test positive are deferred from donation (WHO,2022  and WHO,2024).

Importance of screening for substance abuse and  alcohol use history in potential blood donors. Substances abuse, including alcohol consumption, can affect donor health and potentially compromise blood safety (Thorpe et al., 2023).Alcohol use can also affect  the quality of donated blood, and donors who have consumed excessive amounts of alcohol may be at risk of adverse reactions during or after donation. A study published in 2023 explored the use of biosensors for detecting alcohol levels in biological samples. Although specific to a different context, the technology has been  applied  to blood donor screening .Using point-of-care testing devices research in 2024 and 2025  has focused on developing portable, point-of-care diagnostic devices for various health indicators. In recent times these advancements have been applied in blood donors centers for  detecting  substances abuse and  alcohol use history in prospective blood donors .

FINAL KEY CONSIDERATIONS FOR SPECIMEN COLLECTION AND HANDLING

The of use correct collection containers and fixatives (Chew et al., 2025) is needed and ensure of labelling of collected  specimens accurately (Yanbing et al., 2025).Handling collected  specimens should be done with care and safely (Lopez et al., 2021; Dugad et al., 2022). Storing of  specimens should be time and prepared properly (Lingervelder et al., 2021; Gunawardana et al., 2025) and lastly documenting collected specimen shold be well crosschecked to ensure  accuracy and (Chokkalla, 2023).By following these guidelines, healthcare professionals can ensure accurate and reliability of  ARD/POCT results and timely patient treatment

FUTURE DIRECTIONS

This include  manufacturing  and the  Integration with Smart devices that can connect ARD and  POCT devices to smartphones and wearables. Improvement and expansion of non-invasive testing by developing non-invasive testing methods and finally  personalized medicine with quest directed toward tailoring ARD/POCT devices to individual patient needs. Future research should focus on addressing the challenges and limitations of rapid diagnostic and  POCT devices, including ensuring their accuracy and reliability, standardization, and integration with existing systems. Additionally, studies should investigate the cost-effectiveness and feasibility of implementing these devices in routine blood donation services (Arishi et al., 2025  and Metcalf et al.,2022).

5)CONCLUSION

In conclusion, rapid diagnostic POCT devices have the potential to revolutionize blood donor screening by providing a quick and accurate means of detecting alcohol use and other abuse substances . The evaluation of emerging  automatic rapid diagnostic devices (ARDDs) and point-of-care testing (POCT) devices for detecting substance or alcohol use history amongst potential blood donors is a critical aspect of ensuring blood safety. However, the sensitivity and specificity of these devices vary, and more research is needed to standardize and validate their use.The implementation of ARDDs and POCT devices can enhance the accuracy and efficiency of blood donor screening, reducing the risk of transfusion-transmitted infections and improving the overall safety of the blood supply. Nevertheless, challenges such as regulatory approval, cost-effectiveness, and accessibility need to be addressed to ensure widespread adoption. Ultimately, a comprehensive approach that combines other testing devices with ARDDs and POCT devices, along with thorough medical history screening and physical examination, can help identify potential blood donors who are at risk of substance and alcohol use, ensuring the safety of the blood supply and protecting the health of recipients.

- RECOMMENDATION

Further research and development are necessary to improve the sensitivity and specificity of ARDDs/POCT devices, and to evaluate their cost-effectiveness and feasibility in different settings. Regulatory agencies and healthcare organizations should work together to establish standardized guidelines and protocols for the use of these devices in blood donor screening.

## 7)AVAILABILITY OF DATA AND MATERIALS

Datasets generated and analyzed in this study are available from the corresponding author on request.

8)CONSENT

It is not applicable.

9)ETHICAL APPROVAL

It is not applicable.

## 10)DISCLAIMER (ARTIFICIAL INTELLIGENCE)

Author(s) hereby declare that NO generative AI technologies such as Large Language Models (ChatGPT, COPILOT, etc) and text-to-image generators have been used during writing or editing of this manuscript.

# COMPETING INTERESTS DISCLAIMER:

Authors have declared that they have no known competing financial interests OR non-financial interests OR personal relationships that could have appeared to influence the work reported in this paper.

REFERENCES

Khan, A. R., Hussain, W. L., Shum, H. C., & Hassan, S. U. (2024). Point-of-care testing: a critical analysis of the market and future trends. Frontiers in Lab Chip Technology, 3, 1394752. https://doi.org/10.3389/frlct.2024.1394752

Ajayi, A. I., Owolabi, E. O., & Olajire, O. O. (2019). Alcohol use among Nigerian university students: prevalence, correlates and frequency of use. BMC public health https://doi.org/10.1186/s12889-019-7104-7

American Red Cross. (2022). Blood donation eligibility criteria. https://www.redcrossblood.org/donate-blood/how-to-donate/eligibility-requirements/eligibility-criteria-alphabetical-listing.html

Aniemena, C. R., Ilika, F. N., Nwosu, P. O., Adogu, P. O., Azuike, E. C., & Ohamaeme, M. C. (2021). The Prevalence of Substance use among in-School and out-of-School Adolescents: A Comparative Analysis in Anambra State, Nigeria. Journal of Advances in Medicine and Medical Research, 33(17), 131–143. https://doi.org/10.9734/jammr/2021/v33i1731037

Arishi, W. A., Yaqinuddin, A., & Sajid, M. R. (2025). Molecular advances in transfusion medicine: a narrative review. Frontiers in medicine, 12, 1607340. https://doi.org/10.3389/fmed.2025.1607340

Akpunne, B. C., Onyesom, B., David, A., & Ayoade, O. O. (2025). Prevalence and Predicting Alcohol and Drug Use from Family Functioning of University Undergraduates: A Case for Decriminalization Advocacy. Asian Research Journal of Arts & Social Sciences, 23(5), 194–204. https://doi.org/10.9734/arjass/2025/v23i5694

Chew, D. S., Mark, D. B., Li, Y., Nanna, M. G., Kelsey, M. D., Daniels, M. R., Davidson-Ray, L., Baloch, K. N., Rogers, C., Patel, M. R., Anstrom, K. J., Curzen, N., Vemulapalli, S., Douglas, P. S., & PRECISE Investigators. (2025). Economic Outcomes With Precision Diagnostic Testing Versus Usual Testing in Stable Chest Pain: Results From the PRECISE Randomized Trial. Circulation. Cardiovascular Quality and Outcomes, 18(2), e011008. https://doi.org/10.1161/CIRCOUTCOMES.123.011008

Chokkalla, A. K., Recio, B. D., & Devaraj, S. (2023). Best Practices for Effective Management of Point of Care Testing. EJIFCC, 34(3), 245–249. https://pmc.ncbi.nlm.nih.gov/articles/PMC10588082/

Clark, S. L., Hartwell, E. E., Choi, D.-S., Krystal, J. H., Messing, R. O., & Ferguson, L. B. (2025). Next-generation biomarkers for alcohol consumption and alcohol use disorder diagnosis, prognosis, and treatment: A critical review. Alcohol: Clinical and Experimental Research, 49, 5–24. https://doi.org/10.1111/acer.15476

Coulibaly, M., Maiga, B., Samaké, D., Diawara, M., Traoré, M., Sagara, V., Traoré, B., Guindo, O., & Dolo, A. (2021). Assessment of rapid diagnostic tests algorithms in transfusion medicine setting. Advances in Biological Chemistry, 11, 52-63. https://doi.org/10.4236/abc.2021.111005

Dasgupta, A. (Ed.). (2019). Critical issues in alcohol and drugs of abuse testing (2nd ed.). Academic Press. https://www.sciencedirect.com/book/edited-volume/9780128156070/critical-issues-in-alcohol-and-drugs-of-abuse-testing

Dodd, R. Y., & Stramer, S. L. (2019). Technical solutions to social issues?. Transfusion, 59(1), 9-11. https://doi.org/10.1111/trf.15118

Dugad, V., Deshmukh, S., Bhosale, A., Chaudhari, P. S., Bhanap, P., Sawant, R., Bindu, R., & Awake, P. (2022). Pre-Analytical And Post-Analytical Errors In The Clinical Laboratory: A Systematic Review. Journal of Pharmaceutical Negative Results. https://doi.org/10.47750/pnr.2022.13.S09.1004

U.S. Food and Drug Administration. (2021). Policy for Testing of Alcohol (Ethanol) and Isopropyl Alcohol for Methanol, Including During the Public Health Emergency (COVID-19). U.S. Food and Drug Administration. https://www.fda.gov/regulatory-information/search-fda-guidance-documents/policy-testing-alcohol-ethanol-and-isopropyl-alcohol-methanol-including-during-public-health-emergency-covid-19

Ferguson, S. (2023). How is alcohol detected in a urine test? Healthline. https://www.healthline.com/health/urine-test-alcohol

Finnell, J. T. (2023). Alcohol-related disease. In R. M. Walls (Ed.), Rosen's Emergency Medicine: Concepts and Clinical Practice (10th ed., chap. 137). Elsevier. https://www.elsevier.com/books/rosens-emergency-medicine-concepts-and-clinical-practice/walls/978-0-323-75789-8

Gunawardana, K., Rajapaksha, S., Warnakulasooriya, A., Athulgama, P., Dius, S., Rainwala, R., Bandara, S., Godage, S., Rodrigo, P., Vidanagama, U., Ekanayake, U., Hapuarachchi, T., Gunasena, P., Aluthge, P., Perera, N., Gunathilake, S., & Abeyak, M. (2025). The Economic Impact of Point -of-Care Testing (POCT) Cost vs. Clinical Value. ResearchGate. https://doi.org/10.13140/RG.2.2.34743.64168

Ghosh, S., Jain, R., Jhanjee, S., Rao, R., & Mishra, A. K. (2019). Alcohol Biomarkers and their Relevance in Detection of Alcohol Consumption in Clinical Settings. International Archives of Substance Abuse and Rehabilitation, 1(002). https://doi.org/10.23937/iasar-2017/1710002

Harris, J. C., Leggio, L., & Farokhnia, M. (2021). Blood Biomarkers of Alcohol Use: A Scoping Review. Current Addiction Reports, 8(4), 500–508. https://doi.org/10.1007/s40429-021-00402-7

Kanyike, A. M., Kakuba, F., Mayambala, P., Nalunkuma, R., Nakandi, R. M., Mulumba, Y., Namulema, E., Nsingo, S. P., & Ssebuufu, R. (2025). Prevalence trends of transfusion-transmitted infections at a tertiary private hospital blood bank in Uganda: a retrospective 6-year review (2017–2022). BMC Infectious Diseases, 25(1), 672. https://doi.org/10.1186/s12879-025-10882-x

Irshad, M., Khan, I., Lnu, A., Shah, G., Sadiq, R., & Khan, F. R. (2024). Evaluating the diagnostic accuracy of rapid malaria tests in pediatric patients: A retrospective cohort study. Cureus, 16(10), e70817. https://doi.org/10.7759/cureus.70817

Kim, H., & Ko, D. (2024). Transfusion-transmitted infections. Blood Research, 59, 14. https://doi.org/10.1007/s44313-024-00014-w

Larkins, M. C., & Thombare, A. (2025). Point-of-Care Testing. In StatPearls. StatPearls Publishing. https://www.ncbi.nlm.nih.gov/books/NBK592387/

Law, M. (2025). Blood alcohol testing methods. AlphaBiolabs https://www.alphabiolabs.co.uk/alcohol-testing/blood-alcohol-test/

Liji, J. M., Varghese, P. R., Jacobinnah, S., & Kuttichira, P. (2021). Biomarker signatures to monitor alcohol consumption and induced organ damage. Journal of Clinical and Diagnostic Research, 15(2), LE01-LE05. https://doi.org/10.18203/2306012.ijrms20213941

Lingervelder, D., Koffijberg, H., Kusters, R., & IJzerman, M. J. (2021). Health Economic Evidence of Point-of-Care Testing: A Systematic Review. PharmacoEconomics - Open, 5(2), 157–173. https://doi.org/10.1007/s41669-020-00248-1

López Yeste, M. L., Pons Mas, A. R., Guiñón Muñoz, L., Izquierdo Álvarez, S., García, F. M., Blanco Font, A., Pascual Gómez, N. F., Sánchez Gancedo, L., García Álvarez, A., Bernabeu Andreu, F. A., Chueca Rodríguez, M. P., & Álvarez Domínguez, L. (2021). Management of post-analytical processes in the clinical laboratory according to ISO 15189:2012. Considerations about the management of clinical samples, ensuring quality of post-analytical processes, and laboratory information management. Advances in laboratory medicine, 2(3), 373–389. https://doi.org/10.1515/almed-2021-0044

Bayuomi, M. M., Siraj, M. M., AlHassani, A. T., Abunar, A. A. H., Alahmadi, R. F., Alakhan, Y. M., Saleh, A. R. I., Kalantan, A. L., Motwalli, O. T., Aljuhani, S. H., Aljabri, F. S., Alharbi, R. M., Altayeb, W. A., Samadani, H. A., & Allkhme, O. A. S. (2025). Point-of-Care Testing (POCT) and Its Impact on Turnaround Time and Patient Care: A Comprehensive Literature Review. Biomedical Journal of Scientific & Technical Research, 61(5). https://doi.org/10.26717/BJSTR.2025.61.009665

McCoy, J., Eisenstein, R., Hui, C., Corcoran, G., Kilker, C., Ohman-Strickland, P., Merlin, M., & Lacy, C. (2019). Point-of-Care Testing vs. Laboratory Testing during High Patient Volume Situations. Open Journal of Emergency Medicine, 7, 49-56. https://doi.org/10.4236/ojem.2019.74006

Metcalf, R. A., Cohn, C. S., Allen, E. S., Bakhtary, S., Gniadek, T., Gupta, G., Harm, S., Haspel, R., Hess, A., Jacobson, J., Lokhandwala, P. M., Murphy, C., Poston, J., Prochaska, M. T., Raval, J. S., Saifee, N. H., Salazar, E., Shan, H., Zantek, N., & Pagano, M. B. (2022). Current advances in transfusion medicine 2021: A critical review of selected topics by the AABB Clinical Transfusion Medicine Committee. Transfusion, 62(7), 1435–1445. https://doi.org/10.1111/trf.16944

O'Connor, P. G. (2024). Alcohol use disorders. In L. Goldman & K. A. Cooney (Eds.), Goldman-Cecil Medicine (27th ed., chap. 364). Elsevier. https://www.elsevier.com/books/goldman-cecil-medicine/goldman/978-0-323-93038-3

Ogunyemi, O. (2020, September 4). POCT for blood donation: What are the risks and benefits? Clinical Lab. https://www.clinicallab.com/poct-for-blood-donation-what-are-the-risks-and-benefits-23711

Okoroiwu, H. U., & Asemota, E. A. (2019). Blood donors deferral prevalence and causes in a tertiary health care hospital, southern Nigeria. BMC health services research, 19(1), 510. https://doi.org/10.1186/s12913-019-4352-2

Peliganga, L. B., Mello, V. M., de Sousa, P. S. F., Horta, M. A. P., Soares, Á. D., Nunes, J. P. d S., Nobrega, M., & Lewis-Ximenez, L. L. (2021). Transfusion transmissible infections in blood donors in the province of Bié, Angola, during a 15-year follow-up, imply the need for pathogen reduction technologies. Pathogens, 10(12), 1633. https://doi.org/10.3390/pathogens10121633

Perilli, M., Toselli, F., Franceschetto, L., Cinquetti, A., Ceretta, A., Cecchetto, G., & Viel, G. (2023). Phosphatidylethanol (PEth) in Blood as a Marker of Unhealthy Alcohol Use: A Systematic Review with Novel Molecular Insights. International journal of molecular sciences, 24(15), 12175. https://doi.org/10.3390/ijms241512175

Poston, J. N., Andrews, J., Arya, S., Chou, S. T., Cohn, C., Covington, M., Crowe, E. P., Goel, R., Gupta, G. K., Haspel, R. L., Hess, A., Ipe, T. S., Jacobson, J., Khan, J., Murphy, M., O'Brien, K., Pagano, M. B., Panigrahi, A. K., Salazar, E., Saifee, N. H., Stolla, M., Zantek, N. D., Ziman, A., & Metcalf, R. A. (2024). Current advances in 2024: A critical review of selected topics by the Association for the Advancement of Blood and Biotherapies (AABB) Clinical Transfusion Medicine Committee. Transfusion, 64(10), 2019–2028. https://doi.org/10.1111/trf.17975

Soman, A., Sreenivasan, P., & Silvester, V. (2022). Efficiency of alcohol salivary strip test in 'comparison to breath alcohol analyser as forensic screening tools for blood alcohol analysis - A comparative study. Indian Journal of Forensic Medicine & Toxicology. https://doi.org/10.37506/ijfmt.v16i4.18507

Schilling, U. M. (2022). The economic benefits of point-of-care testing. Hospital Healthcare Europe, special supplement. https://www.globalpointofcare.abbott/ca/en/knowledge-insights/viewpoints/the-economic-benefits-of-point-of-care-testing.html

Shouran, M., & Elhedmi, I. (2020). Handheld Evidential Breath Analyser Design. International Journal of Advanced Research in Electrical, Electronics and Instrumentation Engineering, 9(8), 2247-2257. https://www.ijareeie.com/

Olusanya, T. O., Ogunlowo, A., Boyede, O. T., Okafor, U. S., Onifade, A. A., Fayiga, A., Adaramola-Adepegba, M. F., Adeniyi, O. J., Kemiki, O. A., & Abiodun, I. S. (2022). Analysis of Donor Deferral in a Tertiary Health Institution in South-Western Nigeria. International Blood Research & Reviews, 13(4), 99–105. https://doi.org/10.9734/ibrr/2022/v13i430191

Thorpe, R., Masser, B., Coundouris, S. P., Hyde, M. K., Kruse, S. P., & Davison, T. E. (2024). The health impacts of blood donation: a systematic review of donor and non-donor perceptions. Blood transfusion = Trasfusione del sangue, 22(1), 7–19. https://doi.org/10.2450/BloodTransfus.494

Ugwu, N. I., Uneke, C. J., Ugwu, C. N., Oti, W. J. O., Agbo, U. N., & Akamike, I. C. (2020). Effect of blood donor educational intervention on the knowledge and attitude towards voluntary blood donation among medical Students at a Nigerian University. Nigerian Medical Journal, 61(3), 163-168. https://doi.org/10.4103/nmj.NMJ_177_19

Wargh, N., Piltti, J., & Hedberg, P. (2023). The performance of saliva test strips for determining ethanol levels, as compared to gas chromatography and breathalyser methods. Scandinavian Journal of Clinical and Laboratory Investigation, 83(6), 432–438. https://doi.org/10.1080/00365513.2023.2255970

World Health Organization. (2025). Blood safety and availability. https://www.who.int/news-room/fact-sheets/details/blood-safety

Zu, Y., Chang, H., & Cui, Z. (2025). Molecular point-of-care testing technologies: Current status and challenges. *Nexus*, *2*(2), 100059. https://doi.org/10.1016/j.ynexs.2025.100059

Zucoloto, M. L., & Martinez, E. Z. (2020). High prevalence of blood donor test-seeking behavior among health sciences undergraduate students. Revista da Sociedade Brasileira de Medicina Tropical, 53, e20190476. https://doi.org/10.1590/0037-8682-0476-2019

Figure 1 displaced of modern emerging automatic rapid diagnosis and point of care testing devices

Source : adopted from bio  Spectrum  diagnosis Asian Edition