Environmental Air Quality and Cognitive Health in South Asia: Analyzing Hazardous Particulate

Matter Levels in Bengaluru’s Highly Urbanized Educational Settings

Abstract

Air pollution, both indoors and outdoors, constitutes a significant public health risk that leads to cardiovascular disease, metabolic disorders, and impaired cognitive abilities.   Rapid urbanization and thermal intensification in Indian megacities like Bengaluru exacerbate these concerns; yet, research on Indoor Environmental Quality (IEQ) in educational institutions is still limited.   The current study investigated indoor and outdoor air quality at seven urban educational institutions and one control location for the duration of one year (November 2022–October 2023).   The primary pollutants studied comprised particulate matter (PM1, PM2.5, PM10), carbon monoxide (CO), nitrogen dioxide (NO2), sulfur dioxide (SO2), and volatile organic compounds (VOC).   The data revealed that institutions such as Al-Ameen (PM2.5: 76.7 µg/m³; PM10: 179.5 µg/m³), Hobegowda (75.9 µg/m³; 182.5 µg/m³), and MES (79.3 µg/m³; 183.0 µg/m³) demonstrated elevated concentrations of PM2.5 and PM10 in comparison to Santhosh School, Bishop Cotton College, Little Angels School, BET College, and the control site (63.5 µg/m³; 123.7 µg/m³).   These findings underscore the compelling need for substantial IEQ research in Indian classrooms and indicate the potential health concerns encountered by students in heavily urbanized areas.

Keywords: classroom, ventilation, indoor air pollution, indoor air quality, particulate matter

Introduction

Air pollution, both indoor and outdoor, constitutes a significant and emerging public health threat. Numerous worldwide studies have indicated that environmental air pollution significantly contributes to illnesses and mortality, primarily due to cardiopulmonary diseases. Recent data from the Western world indicate a causal relationship between air pollution and obesity, metabolic syndrome, and diabetes, which are escalating to epidemic levels in India. Another concerning aspect is that individuals, both children and adults, residing near high-traffic vehicle zones are linked to diminished cognitive function, indicating that exposure to air pollution may adversely affect cognitive abilities. Air pollution levels in major Indian cities are 2 to 3 times greater than those in the Western world. The Indian economy is anticipated to achieve a 10% growth over the next decade, leading to a significant escalation in air pollution levels due to heightened urbanization and industry. Despite these concerns, a substantial percentage of the Indian populace remains unaware to the detrimental health impacts of air pollution (Sunil et al., 2020; Kapoor et al., 2021).

Indoor Environmental Quality (IEQ) is characterized by the performance of the indoor environment and is influenced by external elements, including outside air quality, ambient temperature, wind velocity, humidity, noise levels, and external illumination levels. “In 2020, nine of the ten most polluted cities globally were located in India, and thirty-five of the fifty most populated cities in the world were also situated in India. Among one hundred and six countries, India holds the third position for the poorest air quality, following Bangladesh and Pakistan in first and second place, respectively” (IQAir, 2021). Children represent the most vulnerable demographic significantly impacted by illnesses due to their comparatively lower immune systems than adults. They breathe a greater volume of air relative to their body weight compared to adults, as their organs are still developing (Shree et al., 2019; Kapoor et al., 2021). The metabolic rate of children differs from that of adults. The United Nations Educational, Scientific, and Cultural Organization’s Institute for Statistics (UNESCO, 2020) reports that “the total enrollment in the Indian education system is 320,713,810, representing approximately 25% of the Indian population. This includes 10,004,418 learners at the pre-primary level, 143,227,427 at the primary level, and 133,144,371 at the secondary level”. Consequently, it is imperative to investigate Indoor Environmental Quality (IEQ) in school classrooms, as around one-quarter of the nation's population is associated with this research. The CPCB Authority's study on Indoor Air Quality in Indian schools indicates that classroom air quality is typically inferior to that of the outdoors, with PM10 and PM2.5 levels exceeding WHO guidelines (IAQ study, 2018). This is of considerable significance due to the substantial time children spend in classrooms, where particulate matter (PM) concentrations may fluctuate significantly due to building insulation, indoor sources, and resuspension (Amato et al., 2014), as well as infiltration from outdoor sources (Che et al., 2021; Sarif et al., 2022). The primary objective of our study is to assess the current status of indoor and outdoor air pollutants (PM10, PM2.5, PM1, CO, VOCs, SO2, and NO2)  in selected schools and colleges within  Bengaluru city and  assess classrooms air quality status.

Materials and methods

Study Area: Bengaluru, located on the Mysore Plateau in southern India (12°09′N-13°09′N; 80°12′E-80°19′E), is a fast growing megacity. Its population grew from 3.90 million in 1989 to 11.88 million in 2019, with an estimated 18.06 million by 2035 (UN, 2018). The city is located at an average elevation of 873.97 meters, with undulating terrain ranging from 696 to 1,031 meters and various lakes and water bodies that impact its alternating wet-dry climate (Sunil et al., 2020; Matloob et al., 2021). The average annual temperature ranges from 19.2 °C (lowest) to 29.6 °C. Bengaluru receives 986.9 mm of rainfall per year, spread throughout 58.1 wet days, with January and February having the least precipitation (IMD, 2010).

Data Collection

Electrochemical sensor monitors are placed in the hallways of each college's classrooms to continuously assess indoor air quality for 24 hours. Data was gathered within a 15-kilometer radius of urban Bangalore, encompassing seven college wards. A survey was executed across seven educational establishments adjacent to Lalbagh Botanical Garden, the center of urban schools and colleges in Bangalore City: Al Ameen Educational Society, Bishop Cotton Women's Christian College, Bismillah Education Trust (BET) Institutions, Little Angel's Public School, Mavalli Educational Society (MES), Hombegowda First Grade College, and Santhosh English School.

Wi-Fi enabled electrochemical sensor devices (Atmos) for monitoring PM1, PM2.5, PM10, NO2, SO2, and VOC were placed in the selected study site, and pollutant levels were recorded over a 24-hour period. Real-time data was obtained using the company's cloud storage interface (Sunil et al., 2020; Sarif et al., 2022). Class room characteristics such as dimensions, proximity to roads, occupancy, classroom type, ventilation systems, cleaning practices, and furniture specifications—were documented through structured questionnaires to identify potential contributors. Baseline PM and VOC levels were measured over four consecutive days. Data are presented as hourly mean values across 24-hour cycles, covering 60 outdoor and 81 indoor classroom environments.  Field data logs were completed by recording the date and time of visit, site identification, sampler identification, site name, sensor ID number, start and stop times, and operator initials.

Data analysis: The data was analyzed using statistical package for social science (SPSS) version 18.0. Kolmogorov-Smirnov statistic was used to test the normality of the data variables. The analysis done at different level which p<0.05 is set as significant in this study. The Mann-Whitney U was performed to compare the level of IAQ and IAP concentration level in selected seven schools and colleges, since the data was not normally distributed.

Calculation of AQI :  The AQI for each location was derived from physical measurements of key pollutants, including particulate matter (PM), sulfur oxides (SOx), and nitrogen oxides (NOx). Several established methods and equations exist for AQI determination; in this study, AQI values for all sampling sites were estimated using a standardized mathematical equation, as detailed below.

AQI=1/3[{SO2/SSO2}+{NOX/SNOX}+{SPM/SSPM}}] × 100

Where,

SO2=Individual Values of sulphur dioxide NOX=Individual values of oxides of nitrogen

SPM=Individual values of suspended particulate matter and SSO2, SNO2 and SSPM=Standards of ambient air quality of sulphur dioxide, oxides of nitrogen, suspended particulate matter (Kamath and Lokeshappa, 2014).

Results and Discussion

Table 1, 3, and 7 indicate that at Al Ameen College, Bishop Cotton College, and BET College, the AQI was approximately 110 in November 2022, which subsequently rose until March 2023. Following this period, the AQI declined, with a resurgence in September and October 2023 attributed to Diwali and the commencement of metro construction in the vicinity, resulting in elevated particulate matter due to construction activities at the site. The indoor air quality at Hombegowda School and College has shown a consistent decline in the AQI throughout the years. This is mostly attributable to modifications in ventilation, spatial arrangements, crowd management, structural integrity, parking facilities, and landscaping implemented by the institutions. At MES School, a moderate AQI is evident despite the presence of small companies, as there are little combustion activities occurring in the vicinity (Table 5).

In residential zones surrounding Little Angles School, indoor air quality exhibited a constant rise until May 2023, followed by a gradual decline until September 2023. A similar tendency is observed at Santhosh School (Table 6), although MES College exhibits no discernible improvement, instead demonstrating annual fluctuations. In sensitive regions, such as hospitals, the trend appears to vary, however there is an improvement in air quality.

In moderate areas such as Al Ameen College, the trend has been inconsistent, showing little improvement due to the influx of passengers, traffic, and the volume of vehicles arriving at the railway station. Many opt for alternative modes of transportation (e.g., cabs, auto rickshaws), which exacerbates combustion in this vicinity. The sources of NO2 and SO2 in Bangalore primarily stem from fossil fuel combustion and diesel emissions, with notable health impacts including respiratory tract inflammation, lung dysfunction, and ocular irritation. Nitrogen dioxide (NO2) induces health issues including coughing, exacerbation of asthma, chronic bronchitis, and respiratory tract infections (WHO, 2008). The allowable concentration of SO2 in industrial, residential, and moderate zones is 50 µg/m3, however in sensitive areas it is 20 µg/m3.

According to Tables 3 and 7, in residential areas, the levels at Bishop Cotton College and BET decreased by 22.6% in 2022, followed by a 69% decline in 2023. Although there was a 44% increase at Santosh School indoor in November and December 2022, this was succeeded by a 43% reduction from March to June 2023. Meanwhile, Hombegowda College experienced a 10% decrease in 2022, followed by a significant drop of 66% in 2023.There has been a general decrease in SO2 levels in outdoor environments compared to indoor settings.

According to Tables 2 and 4, in residential areas and the indoor environment of schools, the NO2 levels at Little Angels School decreased by 8.3% in November and December 2022, increased by 11.6% in September and October 2023, and subsequently experienced a decline of 27%. surprisingly, this trend has been documented at Al Ameen School and Bishop Cotton College outside environments. These locations saw a decline from January to July 2023, followed by an increase in September and October 2023, which followed by a decrease in 2022. Such oscillations have transpired at all collegiate indoor environmental locations.

Karnataka has had a significant change in indoor air quality between 2022 and 2023. PM10 levels have markedly risen in specific areas over the years due to the utilization of old vehicles, possible fuel contamination, re-suspension of dust from heightened traffic, lack of water spraying, emissions from traffic congestion, impediments to pollutant dispersion, operation of diesel generator sets during power outages, low wind speeds, and atmospheric inversions during winter and nighttime. The increasing number of high-rise structures is impeding wind flow, resulting in the near stagnation of pollutants within the city (Gopinath and Balasubramanya, 2017; Sarif et al., 2022). “PM 10 is believed to contribute to cardiovascular and cerebrovascular diseases by mechanisms of systemic inflammation, direct and indirect coagulation activation, and direct translocation into systemic circulation. Respiratory disorders are further aggravated by exposure to particulate matter (PM). Particulate matter induces respiratory morbidity and mortality by generating oxidative stress and inflammation, resulting in lung anatomical and physiological remodelling” (Anderson et al., 2012). The standard allowable limit for all regions is 60µg/m3.

According to Table 9, in residential areas, BET exhibits no discernible trend, with particulate matter levels fluctuating consistently. On average, the SPM levels are approximately 1.8 times above the permissible limits. Similarly, Little Angels School also demonstrates a fluctuating trend throughout the analysis, with average SPM levels approximately 2 times higher than the permissible limits. Fortunately, the SPM levels at Hombegowda School appear to be well-regulated throughout the analysis. In sensitive areas, Al Ameen College saw a detrimental impact in 2023 due to an unexpected increase in SPM levels of 15% in 2022 and 17% in 2023; however, these levels have since declined significantly and are now within standard control limits.

Recent studies clearly indicate that present PM standards may not be adequately protecting the general public and children; therefore, the criteria should be updated. The health impacts of PM are well documented, but there is no evidence of a safe amount of exposure that does not cause harmful health effects. Many cities require enhanced air pollution monitoring, and local governments should create dose response models for public health that can be used to predict public health. Particulate air pollution can be decreased through sophisticated technologies, tougher air quality standards, restrictions on emissions from various sources, reduced energy consumption, altering modes of transportation, land use planning, and the adoption of cleaner modes of transportation (Hosamane, 2014; Sarif et al., 2022).

Analysis of SO2 vs. NO2 vs. PM10

Using the data in Tables 1, 3, and 6, we can conclude with evidence that particulate matter (PM10) in Bangalore has been exceeding the standard limits at an alarming rate. SO2 and NO2 levels are within acceptable limits, inflicting less harm to the outdoor environment than indoors. The gaseous component NO2 has been practically constant since 2023, but it is under control. Furthermore, the gaseous component SO2 in outdoor air has been progressively dropping since 2022, which is a very positive indicator for Bangalore's ecology. Throughout, we can see that the levels of SPM are proven to be harmful to the environment. According to WHO, the major contributors to this component include dust, garbage burning, transportation, diesel generator sets, industries, residential cooking, and heating. Sunil et al. (2020) found that SPM levels in most recorded sites above the recommended limit of 60µg/m3. As a result, we may conclude from this article that enough information should be communicated among contributors to make them aware of the hazards posed by this component.

Air Quality (AQ) in selected schools and colleges of Bangalore urban area

A survey was conducted in seven educational institutions surrounding Lalbagh Botanical Garden, the epicenter of Bangalore City. The institutions include Al Ameen Educational Society, Bishop Cotton Women's Christian College, BET Institutions, Little Angel's Public School, Mavalli Educational Society, Hombegowda First Grade College, and Santhosh English School. Over a duration of six months, the indoor and outdoor air pollutants were documented in each school and college, with the data shown in Tables 1 to 7. AQ has been the most extensively studied characteristic in Indian school classrooms for the past fifteen years. Research on air quality in India indicates that elements such as CO2, particulate matter, volatile organic compounds (VOCs), and other gases (Anderson et al., 2012; Shree et al., 2019; Bhalekar et al., 2018) are considered significant in school classrooms by researchers. Significant focus was initially directed into the research of particulate matter in classrooms. Nonetheless, the ventilation rates within the classrooms require more careful monitoring. Ventilation is the primary consideration for mitigating airborne illness transmission within the classroom. Class- rooms have a generally high density and low ventilation rate due to space restrictions, human capabilities, closed windows and doors, as well as the negative effect of other IEQ parameters on students and teachers when balancing IAQ (such as noise from open windows, particulate coming from open windows, fan noise, etc.).

Gadkari et al. (2008) investigated “the source contribution of human respiratory particulate matter in educational classes. Fifteen subjects (originally sixteen) from three naturally ventilated higher secondary schools in Chhattisgarh were selected for this investigation”. Goyal et al. (2009) assessed indoor air quality using objective methods in a Delhi school classroom. A year-long objective assessment was conducted in the naturally ventilated junior school part (Classes 1–8). The concentration of Respirable Suspended Particulate Matter (RSPM) exceeded the established limits, indicating potential health risks. The building envelope inadequately shields pupils from external pollution due to the increased permeability of classrooms caused by open doors and windows. The rates of ventilation and student activity within the classroom affect the concentration of PM10 particles in the air through the re-suspension mechanism (Kapoor et al., 2021). The authors noted that weather factors substantially influence indoor air quality in classrooms.

Gadkari et al. (2008) investigated “the indoor ambient particulate matter (PM) in three naturally ventilated higher secondary schools located in Bhilai and Durg. In the summer of 2003, a total of fifty-two participants, comprising twenty-seven teachers, twenty-two students, and three office staff, engaged in the study by filling out time/activity diaries”. A regression analysis revealed a substantial correlation between interior and outdoor ambient particulate matter levels. The particulate matter concentration in all schools surpasses the threshold of 60 µg.m−3 established by the Indian National Ambient Air Quality Standards (NAAQS). Two schools located adjacent to the industrial zone have PM levels five to six times above the established limits, posing health risks within these classrooms. A comparable finding was noted about the indoor air quality at Al Ameen Educational Society and Hombegowda College during September and October 2023.

Habil et al. (2011) assessed indoor air quality and ventilation rates in naturally ventilated schools in Agra during the winter and summer seasons. Three hundred participants engaged in a questionnaire survey to assess health effects (such as dry, peeling skin and dizziness) resulting from CO2 concentration and exposure to particulate matter in the classroom. The current investigation in Bangalore revealed that indoor and outdoor PM levels in classrooms were elevated during summer compared to winter. In most instances, indoor–outdoor (I/O) ratios were elevated, with the exception of one school located in a residential zone. A high I/O ratio signifies deteriorating indoor air quality conditions in classrooms located near busy roadways. The I/O ratio diminishes as particle size increases. Damaged walls, dirty floors, old furniture, dirty dusting objects, shoe dirt and chalk dust, and the resuspension of previously settled particulates due to student activities are the primary contributors to elevated indoor particulate matter levels. Deepanjan Majumdar et al. (2011) examined settled chalk dust to evaluate fine particulate matter in indoor air and analyzed particle size distribution in the classroom during dusting and writing activities. Three varieties of chalk were evaluated for particles of sizes PM1, PM2.5, PM5, and PM10. The activities of students significantly influenced the resuspension of tiny particles in the classroom. Prolonged low-level exposure to particulate matter is detrimental to occupant health. Middle-aged teachers and primary students are susceptible to respiratory disorders from regular exposure to fine particulate matter.

Chithra et al. (2012) examined “a naturally ventilated primary classroom in a school located adjacent to an urban roadway. Forty-three individuals from one classroom underwent IAQ testing during both summer and winter”. The examination of the gathered data from selected schools and colleges in Bangalore indicates that PM10 and PM2.5 exceeded the NAAQS limits 30% and 17% of the time, respectively. The particulate matter concentration in occupied classrooms is seen to be greater than that in unoccupied classrooms due to the resuspension mechanism. The elevated I/O ratio of PM10 particles indicates significant indoor activity among kids in the classroom. A low I/O ratio indicates the infiltration of traffic pollutants from the adjacent road into the classroom. The correlations between particulate matter, climatic factors, and student comfort within the classroom are substantial (Tables 8 and 9). Significant seasonal variability is evidenced by the finding that indoor air quality during the summer is inferior than that in the winter. The authors recommend developing a management strategy to address inadequate indoor air quality in school classrooms.

Goel et al. (2015) examined “two types of chalk to investigate dust generation scenarios while writing and dusting activities on wooden and ceramic boards in the classroom. Extruded calcium carbonate and molded gypsum-based chalks were evaluated for particulate matter generation and particle size distribution analysis. Calcium carbonate chalk produces lower PM than gypsum chalk”. The authors investigated that dustless chalks composed of gypsum generate more PM and are comparably detrimental to other chalks. Children aged 6 to 11 years are identified as the most vulnerable demographic for developing health issues resulting from the adverse impacts of low-quality chalk in the classroom.

Habil et al. (2015) examined “particle and ionic contamination impacting children in classrooms. Three hundred participants engaged in a questionnaire survey encompassing kids from third to ninth grade. Both internal and external factors contribute equally to inadequate indoor air quality (IAQ). Chalk dust, wall paint, furniture paint, road dust, automotive and industrial emissions, and soil dust are the primary sources of particulate matter (PM). Subjects reported asthma, coughing, dizziness, dry skin, eye irritation, shortness of breath, and frequent headaches as prevalent symptoms in classrooms”. Poor health is the primary cause of school absence. Research indicates simple measures might diminish particulate matter levels in classrooms. These include maintaining cleanliness, reducing class sizes, utilizing paved surfaces, enhancing greenery, and selecting low-pollution locations for school construction, all of which may enhance indoor air quality.

Jan et al. (2017) conducted an assessment of particulate matter and gaseous exposure in four classes with two hundred thirty students at an elementary school in Pune. PM concentrations were five times the levels recommended by the NAAQS. All gases (O3, SO2, NO2) tested in the classroom were in compliance with NAAQS requirements, except for carbon dioxide, attributable to inadequate ventilation and an increased student population. The subjective evaluation indicated that coughing, rhinorrhea, cold, ocular discomfort, and fever are the predominant symptoms observed among individuals in classrooms. Likewise, a cold, fever, and cough were identified as the primary causes of sickness-related absence.

Bhalekar et al. (2018) examined outdoor and indoor air quality throughout the winter season in two schools located in Manipal, Karnataka. The authors examined PM10, NO2, SO2, and CO2 levels. This study incorporates temperature, relative humidity, and physical factors of the classroom. The study indicates elevated levels of VOC and NO2 within the classroom, which complies with ASHRAE 2021 guidelines. While sealing doors and windows can mitigate the entry of PM particles, it adversely impacts ventilation. The authors proposed the integration of mechanical ventilation and air-purifying plants in classrooms to improve indoor air quality.

In conclusions, there exists significant scope for study on indoor air quality and its determinants, necessitating long-term research initiatives in Indian school classrooms. Nearly all studies identified that the acoustic conditions in Indian school classrooms are inadequate, with numerous acoustic characteristics exceeding the comfort limitations established by the NBC, 2016, and other rules. Nevertheless, the majority of students fail to report the issue, having acclimated to the circumstances and adjusted their conduct accordingly. Despite the remarkable adaptability of Indian kids and teachers, it is essential to furnish them with an improved acoustic environment during their schooling. The majority of pupils as well as teachers are unaware of the detrimental effects on their learning and teaching behaviors, having acclimated to these circumstances without ever comparing their performance under comfortable conditions. This gap must be addressed promptly, since it undermines educational quality; all teachers and students should be adequately informed on indoor acoustic quality, comfort, and their impacts.

Existing Gaps and Deficiencies

“The current status of IEQ in Indian school classrooms was determined by carefully analyzing existing studies for India-specific settings; nevertheless, fewer real-time research studies were reported across India. More than 90% (92.5%) of the available IEQ parameter studies in India were conducted in naturally ventilated school classrooms” (Kapoor et al., 2021). To present, only two real-time studies (Jayakumar et al., 2019 and Singh et al., 2020) “(7.5% of total) have used air-conditioned classrooms for their research, revealing a significant difference between different classroom operational modes”. Furthermore, only one study, Vervoort et al. (2021), “looks at the association between IEQ and energy use in Indian school buildings”. Only one study, Singh et al. (2014), investigated “IEQ indicators in Green School (GS) classrooms. The GS study does not, however, take into account the energy component. Despite having the most extreme circumstances in cold and hot-dry climates, Indian school classrooms in these climatic zones are underrepresented in IEQ parameter studies”.

Furthermore, there is little data available to standardize the testing technique, hence no specific public IEQ code or standard has existed in this country until now. IEQ is not included in the National Education Policy (NEP) 2020, even though it should be. The Indian public's (students, teachers, staff, parents, and other stakeholders) lack of awareness about IEQ in school classrooms and other facilities is a massive gap that can be bridged with good training and information. In the past, no multi-factor IEQ studies have been conducted in Indian schools. As a result, it is difficult to investigate the combined influence of IEQ characteristics on students during an ongoing session. Performance tests were used in a few studies (Singh et al., 2014 and 2020), however the majority of the studies did not measure students' performance while measuring IEQ parameters in class. As a result, there is a critical need for additional study on the effect of all IEQ parameters on students' and teacher comfort and health in Indian classrooms, as well as student and teacher performance or efficiency tests. Second, an open-access, centralized database for the country is required, and finally, more study on issues that may influence IEQ in Indian schools should be conducted.

Studies on IEQ parameters in Bangalore school classrooms are insufficient, disorganized, and geographically unevenly distributed. As a result, more real-time subjective and objective studies are required in India, coupled with effective regulations and well-drafted strategies to implement and improve IEQ in school classrooms. There are several variations in the methodology utilized by Indian scholars. As a result, it is necessary to standardize testing procedures. This would eventually help in the development of India-specific public IEQ standards for school buildings, as there are now no public norms for IEQ in school classrooms. Occupants' social, economic, and cultural characteristics should be carefully evaluated for more accurate results and future forecasts, as all of these factors vary greatly among the student population in any class.

“Increasing air pollution and other factors that are more likely to affect IEQ in buildings should be investigated further, and it is critical to conduct research on these factors and their impact on IEQ conditions so that existing and future codes and standards deviate less from real-time indoor comfort conditions” (Kapoor et al., 2021). Similarly, air-conditioned school classrooms and other air-conditioned areas in schools require additional investigation into their indoor environment. In addition, the AQI should be modified to incorporate biological, chemical, and particle pollution.

Conclusions

Rigorous research on planning, data collection, analysis, and reporting are required to understand the impacts of behavior change on schoolchildren's exposure to indoor and outdoor air pollution. Renovation and improvement of school infrastructure are important factors influencing air quality in educational facilities. The majority of research agree that school buildings often have inadequate ventilation in classrooms, implying that there is a lack of comprehensive attention to energy efficiency and air quality issues in these facilities. The majority of monitoring stations have seen particulate matter PM2.5 and PM10 concentrations exceed air quality permissible limits, both indoors and outdoors. Vehicle emissions, construction activities, and industrial operations are the main sources of particulate matter in urban schools. Meteorology has a considerable impact on the transit and spread of air pollutants inside metropolitan areas, ultimately resulting in their deposition in adjacent regions. Exponential growth, land use planning, indoor air pollution, meteorology, and transportation planning are all essential aspects that must be carefully considered in urban planning.

Disclaimer (Artificial intelligence)

Author(s) hereby declare that NO generative AI technologies such as Large Language Models (ChatGPT, COPILOT, etc.) and text-to-image generators have been used during the writing or editing of this manuscript.

References

.

Amato, F., Rivas, I., Viana, M., Moreno, T., Bouso, L., Reche, C., ... & Querol, X. (2014). Sources of indoor and outdoor PM2. 5 concentrations in primary schools. Science of the Total Environment, 490, 757-765.

American Society of Heating, Refrigerating and Air-Conditioning Engineers (ASHRAE). Ventilation for Acceptable Indoor Air Quality (ASHRAE 62.1); ASHRAE: Atlanta, GA, USA, 2013; Available online: http://www.myiaire.com/product-docs/ultraDRY/ ASHRAE62.1.pdf (accessed on 18 April 2021).

Anderson JO, Thundiyil JG, Stolbach A (2012) Clearing the air: a review of the effects of particulate matter air pollution on human health. J Med Toxicol, 8(2):166-75.

Bhalekar, A.A.; Sneha, R. Assessment of Indoor & Outdoor Air Quality of School Buildings Located Close to Urban Roadway in Manipal (Karnataka). Int. J. Civ. Eng. Technol. 2018, 9, 61–73.

Bureau of Indian Standards, Government of India. National Building Code of India; Bureau of Indian Standards: New Delhi, India,2016; Volume 2. Available online: https://bis.gov.in/index.php/standards/technical-department/national-building-code/

Central Pollution Control Board, Ministry of Environment; Forest & Climate Change (MoEFCC), Government of India. National Ambient Air Quality Standards (NAAQS); ENVIS Centre CPCB: New Delhi, India, 2009. Available online: https://scclmines.com/ env/DOCS/NAAQS-2009.pdf (accessed on 18 April 2021).

Che, W., Li, A. T., Frey, H. C., Tang, K. T. J., Sun, L., Wei, P., ... & Lau, A. K. (2021). Factors affecting variability in gaseous and particle microenvironmental air pollutant concentrations in Hong Kong primary and secondary schools. Indoor air, 31(1), 170-187.

Chithra, V.S.; Shiva Nagendra, S.M. Indoor air quality investigations in a naturally ventilated school building located close to an urban roadway in Chennai, India. Build. Environ. 2012, 54, 159–167.

EPA History, 2022. Transportation, Air Pollution, and Climate Change. https://www.epa. gov/transportation-air-pollution-and-climate-change. .

Gadkari, N.; Pervez, S. Source apportionment of personal exposure of fine particulates among school communities in India.Environ. Monit. Assess. 2008, 142, 227–241.

Gadkari, N.M. Study of personal–indoor–ambient fine particulate matters among school communities in mixed urban–industrial environment in India. Environ. Monit. Assess. 2010, 165, 365–375.

Goel, S.; Patidar, R.; Baxi, K.; Thakur, R.S. Investigation of particulate matter performances in relation to chalk selection in classroom environment. Indoor Built Environ. 2015, 26, 119–131.

Gopinath, R. and Balasubramanya, N. (2017) Historical trend of ambient air quality indices at key observatories for major cities in Karnataka, India. Vestnik VolGMU,49(68):189-195.

Goyal, R.; Khare, M. Indoor–outdoor concentrations of RSPM in classroom of a naturally ventilated school building near an urban traffic roadway. Atmos. Environ. 2009, 43, 6026–6038.

Habil, M.; Massey, D.D.; Taneja, A. Exposure from particle and ionic contamination to children in schools of India. Atmos. Pollut. Res. 2015, 6, 719–725.

Habil, M.; Taneja, A. Children’s Exposure to Indoor Particulate Matter in Naturally Ventilated Schools in India. Indoor Built Environ. 2011, 20, 430–448.

Hosamane SN, Desai GP (2014) Assessment of Air Quality In Major Cities Of Karnataka   State And Effects On Public Health. Int J Adv Res Sci Eng. 3(1):306-315.

IMD (2010). Bengaluru Climatological Table (Period: 1981–2010). Indian Meteorological Department, Government of India. Climatol. Table, Period 1981– 2010. Available online at: https://imdpune.gov.in/library/public/EXTREMES % (accessed January 11, 2018)

IQair—Air Quality Status of Indian Cities and US AQI of India. Available online: https://www.iqair.com/us/india (accessed on 26 March 2021).

Jan, R.; Roy, R.; Yadav, S.; Satsangi, P.G. Exposure assessment of children to particulate matter and gaseous species in school environments of Pune, India. Build. Environ. 2017, 111, 207–217.

Jayakumar, S.; Apte, M.G. Estimation and analysis of ventilation rates in schools in Indian context: IAQ and Indoor Environmental Quality. IOP Conf. Ser. Mater. Sci. Eng. 2019, 609, 032046.

Kamath, Lokeshappa (2014) Air Quality Indexing For Selected Areas in Bangalore City, Karnataka State. Int J Innov Res Sci Eng Technol, 3(8): 15625-15630.

Kapoor, N.R.; Kumar, A.; Alam, T.; Kumar, A.; Kulkarni, K.S.; Blecich, P. A Review on Indoor Environment Quality of Indian School Classrooms. Sustainability 2021, 13, 11855. https://doi.org/ 10.3390/su132111855.

Majumdar, D.; Gajghate, D.G.; Pipalatkar, P.; Chalapati Rao, C.V. Assessment of Airborne Fine Particulate Matter and Particle Size Distribution in Settled Chalk Dust during Writing and Dusting Exercises in a Classroom. Indoor Built Environ. 2011, 21, 541–551.

Matloob, A., Sarif, M. O., and Um, J. S. (2021). Evaluating the inter-relationship between OCO-2 XCO2 and MODIS-LST in an Industrial Belt located at Western Bengaluru City of India. Spat. Inf. Res. 29, 257–265. doi: 10.1007/ s41324-021-00396-4

Ministry of Human Resource Development, Government of India. National Education Policy 2020; Ministry of Human Resource Development: New Delhi, India, 2020. Available online:https://www.education.gov.in

Sarif MO, Ranagalage M, Gupta RD and Murayama Y (2022) Monitoring Urbanization Induced Surface Urban Cool Island Formation in a South Asian Megacity: A Case Study of Bengaluru, India (1989–2019).Front. Ecol. Evol. 10:901156. doi: 10.3389/fevo.2022.901156.

Shree, V.; Marwaha, B.M.; Awasthi, P. Indoor air quality (IAQ) investigation in primary schools at Hamirpur (India). J. Indian Chem. Soc. 2019, 96, 1455–1460. Available online: https://www.nepjol.info.

Singh, P.; Arora, R. Classroom Illuminance: Its impact on Students’ Health Exposure &   Concentration Performance. In Proceedings of the International Ergonomics Conference HWWE 2014, Guwahati, India, 3–5 December 2014; Available online: https://www.researchgate.net (accessed on 20 April 2021).

Singh, P.; Arora, R.; Goyal, R. Classroom Ventilation and Its Impact on Concentration and Performance of Students: Evidences from Air-Conditioned and Naturally Ventilated Schools of Delhi. In Indoor Environmental Quality; Springer: Berlin/Heidelberg, Germany, 2020; pp. 125–137.

Singh, P.; Arora, R.; Goyal, R. Impact of lighting on performance of students in Delhi schools. In Indoor Environmental Quality; Springer: Berlin/Heidelberg, Germany, 2020; pp. 95–108.

Sunil, Reddy J, Thomas M, Mishra N (2020) Analysis of Air Quality in Bengaluru city, India.   Environ Pollut Climate Change 4: 175.

UN (2018). World Urbanization Prospects: The 2018 Revision. New York, NY: United Nations.

UNEP,2021.Whylegislation is needed to curb air pollution. https://www.unep.org/news-    and-stories/story/why-legislation-needed-curb-air-pollution.

UNESCO. Education: From Disruption to Recovery; UNESCO: Paris, France, 2020; Available online: https://en.unesco.org/covid1 9/educationresponse.

United Nations, Department of Economic and Social Affairs, Policy Division (2016). The World’s Cities in 2016.http://www.un.org/en/development/desa/ population/publications/pdf.

Vervoort, J.; Boestra, A.; Virta, M.; Mishra, A.; Frijns, A.; Loomans, M.; Hensen, J. Healthy low energy redesigns for schools in Delhi. REHVA J. 2018, 42–46. Available online: https://www.rehva.eu/rehva.

WHO (2008) Air quality and health. Geneva, World Health Organization (WHO Fact Sheet No.313).

| Table 1: Analysis of indoor and outdoor air pollutants concentration at Al-Ameen College Bangalore urban area |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Indoor |  |  |  |  |  |  |  |
| Ground Floor |  |  |  |  |  |  |  |
| Co conc | pm1conc | pm2.5 conc | pm10 conc | NO2 conc | SO2 conc | Voc conc | Device id |
| 3.27 | 21.54 | 22.81 | 23.01 | 223.13 | 26.65 | 105.25 | 5CCF7F004F17 |
| 2.55 | 35.48 | 37.29 | 37.31 | 217.34 | 25.74 | 98.95 | 5CCF7F004F17 |
| 3.27 | 9.5 | 13 | 13 | 53.5 | 22 | 99.54 | 5CCF7F004F17 |
| First Floor |  |  |  |  |  |  |  |
| 1.02 | 32.12 | 33.93 | 34.3 | 231.17 | 27.36 | 49.13 | 5CCF7F004F17 |
| 0.78 | 21.57 | 22.85 | 23.1 | 232.25 | 28.3 | 139.77 | 5CCF7F004F17 |
| 1.04 | 63.66 | 67.53 | 68.5 | 223.43 | 23.53 | 111.71 | 5CCF7F004F17 |

| Al-Ameen College |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Outdoor |  |  |  |  |  |  |  |
| Ground Floor |  |  |  |  |  |  |  |
| Co conc | pm1conc | pm2.5 conc | pm10 conc | NO2 conc | SO2conc | Voc conc | Device id |
| 3.27 | 24 | 35.64 | 41.06 | 222.06 | 41.78 |  | ECFABC861DC6 |
| 0.78 | 21.1 | 31.2 | 33.6 | 242.5 | 50.4 |  | ECFABC861DC6 |
| 0.88 | 23.75 | 35.62 | 35.75 | 232.88 | 43.19 |  | ECFABC861DC6 |
| 0.73 | 20.4 | 30.53 | 32.97 | 262.25 | 55.93 |  | ECFABC861DC6 |
| 0.74 | 18.28 | 27.17 | 28.32 | 261.92 | 55.92 |  | ECFABC861DC6 |
| 0.93 | 12.77 | 18.12 | 18.8 | 265.22 | 56.08 |  | ECFABC861DC6 |

The concentration variation of median level PM1,PM2.5 and PM10 (µg/m3), TVOC, NO2,COand SO2  (ppm) was estimated   in the period from  November, 2022 to October, 2023.

| Table 2: Analysis of indoor and outdoor air pollutants concentration at Hombegowda school and college Bangalore urban area |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Indoor |  |  |  |  |  |  |  |
| Ground Floor |  |  |  |  |  |  |  |
| Co conc | pm1conc | pm2.5 conc | pm10conc | NO2 conc | SO2 conc | Voc conc | Device id |
| 0.64 | 43.26 | 45.49 | 45.57 | 235.08 | 31.85 | 129.50 | 5CCF7F004F17 |
| 0.59 | 19.67 | 29.08 | 30.67 | 240.35 | 49.2 | 148.54 | 5CCF7F004F17 |
| 0.59 | 14.03 | 20.27 | 21.02 | 236.98 | 47.38 | 123.56 | 5CCF7F004F17 |
| 0.73 | 19.62 | 28.85 | 30.45 | 261.73 | 56.2 | 126.57 | 5CCF7F004F17 |
| 0.72 | 16.35 | 23.7 | 24.17 | 262.05 | 56.07 | 159.58 | 5CCF7F004F17 |
| 0.95 | 21.23 | 31.25 | 33.44 | 263.37 | 56.46 | 140.47 | 5CCF7F004F17 |

| Hombegowda |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Outdoor |  |  |  |  |  |  |  |
| Co conc | pm1conc | pm2.5 conc | pm10 conc | NO2 conc | SO2 conc | Voc conc | Device id |
| 0.95 | 9.53 | 13.68 | 14.33 | 246.88 | 51.72 |  | ECFABC861DC6 |
| 0.48 | 5 | 6.78 | 7.15 | 237.19 | 48.36 |  | ECFABC861DC6 |
| 0.52 | 11.78 | 16.95 | 17.4 | 234.43 | 47.25 |  | ECFABC861DC6 |
| 0.9 | 33.08 | 50.57 | 61.92 | 220.25 | 39.83 |  | ECFABC861DC6 |
| 0.68 | 21.67 | 33.2 | 37 | 251.28 | 53.58 |  | ECFABC861DC6 |
| 0.86 | 24.33 | 36.92 | 43.05 | 260.72 | 55.35 |  | ECFABC861DC6 |

The concentration variation of median level PM1,PM2.5 and PM10 (µg/m3), TVOC, NO2,COand SO2  (ppm)                                         was estimated  in the period from  November, 2022 to October, 2023.

| Table 3: Analysis of indoor and outdoor air pollutants concentration at Bishop Cottons college Bangalore urban area |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Indoor |  |  |  |  |  |  |  |
| Ground Floor |  |  |  |  |  |  |  |
| Co conc | Pm1conc | pm2.5 conc | pm10 conc | NO2 conc | SO2 conc | Voc conc | Device id |
| 0.95 | 15.72 | 22.33 | 23.07 | 263.26 | 56.47 | 89.13 | 5CCF7F004F17 |
| 0.73 | 12.87 | 18.3 | 18.88 | 263.65 | 56.4 | 56.17 | 5CCF7F004F17 |
| 0.59 | 7.98 | 10.68 | 11.15 | 237.92 | 49.28 | 49.33 | 5CCF7F004F17 |
| First Floor |  |  |  |  |  |  |  |
| 0.62 | 23.02 | 34.5 | 38.95 | 237.27 | 47.42 | 69.17 | 5CCF7F004F17 |
| 0.93 | 14.6 | 20.67 | 21.21 | 238.52 | 45.4 | 87.13 | 5CCF7F004F17 |
| 1.02 | 32.12 | 33.93 | 34.3 | 231.17 | 27.36 | 77.19 | 5CCF7F004F17 |

| Bishop Cottons |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Outdoor |  |  |  |  |  |  |  |
| Co conc | pm1 conc | pm2.5 conc | pm10 conc | NO2 conc | SO2 conc | Voc conc | Device id |
| 0.73 | 26.17 | 39.73 | 46.73 | 237.13 | 47.5 |  | ECFABC861DC6 |
| 0.92 | 32.87 | 50.68 | 62.17 | 221.78 | 40 |  | ECFABC861DC6 |
| 0.68 | 21.03 | 31.98 | 34.93 | 249.92 | 53.17 |  | ECFABC861DC6 |
| 0.88 | 23.82 | 35.65 | 41.13 | 260.38 | 55.72 |  | ECFABC861DC6 |
| 0.95 | 25.03 | 37.62 | 43.75 | 263.63 | 55.83 |  | ECFABC861DC6 |
| 0.73 | 21.22 | 32.03 | 35.57 | 261.62 | 56.32 |  | ECFABC861DC6 |

The concentration variation of median level PM1,PM2.5 and PM10 (µg/m3), TVOC, NO2,COand SO2  (ppm)                                         was estimated   in the period from  November, 2022 to October, 2023.

| Table 4: Analysis of indoor and outdoor air pollutants concentration at Little Angles school Bangalore urban area |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Indoor |  |  |  |  |  |  |  |
| Ground Floor |  |  |  |  |  |  |  |
| Co conc | pm1conc | pm2.5 conc | pm10 conc | NO2 conc | SO2 conc | Voc conc | Device id |
| 0.77 | 60.96 | 64.23 | 64.55 | 233.34 | 29.3 | 72.27 | 5CCF7F004F17 |
| 0.88 | 72.11 | 75.99 | 76.42 | 233.25 | 29.58 | 67.46 | 5CCF7F004F17 |
| 0.94 | 23.67 | 36.28 | 41.87 | 221.98 | 40.37 | 82.27 | 5CCF7F004F17 |
| First Floor |  |  |  |  |  |  |  |
| 0.73 | 17.87 | 26.53 | 27.65 | 261.98 | 55.78 | 69.28 | 5CCF7F004F17 |
| 0.73 | 17.87 | 26.53 | 27.65 | 261.98 | 55.78 | 72.27 | 5CCF7F004F17 |
| 0.73 | 17.87 | 26.53 | 27.65 | 261.98 | 55.78 | 79.24 | 5CCF7F004F17 |

| Little Angles |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Outdoor |  |  |  |  |  |  |  |
| Co conc | pm1conc | pm2.5 conc | pm10conc | NO2 conc | SO2 conc | Voc conc | Device id |
| 0.75 | 17.9 | 26.61 | 28.19 | 253.14 | 53.05 |  | ECFABC861DC6 |
| 0.94 | 25.16 | 37.57 | 43.83 | 261.19 | 55.69 |  | ECFABC861DC6 |
| 0.93 | 23.07 | 34.33 | 38.93 | 263.53 | 56.32 |  | ECFABC861DC6 |
| 0.59 | 18.67 | 28.12 | 29.58 | 261.23 | 56.43 |  | ECFABC861DC6 |
| 0.58 | 4.65 | 6.2 | 6.37 | 240.13 | 47.95 |  | ECFABC861DC6 |
| 0.45 | 3.82 | 4.92 | 5.18 | 237.07 | 47.57 |  | ECFABC861DC6 |

The concentration variation of median level PM1,PM2.5 and PM10 (µg/m3), TVOC, NO2,COand SO2  (ppm)                                         was estimated  in the period from  November, 2022 to October, 2023.

| Table 5 : Analysis of indoor and outdoor air pollutants concentration at MES college Bangalore urban area |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Indoor |  |  |  |  |  |  |  |
| Co conc | pm1 conc | pm2.5 conc | pm10 conc | NO2 conc | SO2 conc | Voc conc | Device id |
| 0.79 | 49.31 | 52.29 | 52.99 | 233.18 | 28.61 | 93.54 | 5CCF7F004F17 |
| 0.77 | 60.96 | 64.23 | 64.55 | 233.34 | 29.3 | 62.27 | 5CCF7F004F17 |
| 0.88 | 72.11 | 75.99 | 76.42 | 233.25 | 29.58 | 67.46 | 5CCF7F004F17 |
| First Floor |  |  |  |  |  |  |  |
| 0.92 | 31.55 | 48.62 | 59.21 | 223.93 | 40.22 | 43.72 | 5CCF7F004F17 |
| 0.94 | 23.63 | 35.42 | 40.38 | 222.1 | 40.08 | 53.82 | 5CCF7F004F17 |
| 0.79 | 41.64 | 43.9 | 44.13 | 233.14 | 29.18 | 33.82 | 5CCF7F004F17 |

| Malavalli Education Ssociety (MES) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Outdoor |  |  |  |  |  |  |  |
| Co conc | pm1conc | pm2.5 conc | pm10 conc | NO2conc | SO2 conc | Voc conc | Device id |
| 0.61 | 8.98 | 12.19 | 12.55 | 252.3 | 52.28 |  | ECFABC861DC6 |
| 0.59 | 10.69 | 15.05 | 15.5 | 239.8 | 48.6 |  | ECFABC861DC6 |
| 0.59 | 13.03 | 18.81 | 19.59 | 237.92 | 47.33 |  | ECFABC861DC6 |
| 0.6 | 15.82 | 23.86 | 25.41 | 236.96 | 47.18 |  | ECFABC861DC6 |
| 0.55 | 5.22 | 7.36 | 7.73 | 238.93 | 48.95 |  | ECFABC861DC6 |
| 0.58 | 11.7 | 17.05 | 17.6 | 235.82 | 47.37 |  | ECFABC861DC6 |

The concentration variation of median level PM1,PM2.5 and PM10 (µg/m3), TVOC, NO2,COand SO2  (ppm)                                         was estimated   in the period from  November, 2022 to October, 2023.

| Table 6: Analysis of indoor and outdoor air pollutants concentration at Santosh School college Bangalore urban area |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Indoor |  |  |  |  |  |  |  |
| Ground Floor |  |  |  |  |  |  |  |
| Co conc | pm1conc | pm2.5conc | pm10 conc | NO2 conc | SO2 conc | Voc conc | Device id |
| 1.05 | 19.43 | 29.54 | 31.44 | 228.48 | 44.5 | 109.57 | 5CCF7F004F17 |
| 0.64 | 43.26 | 45.49 | 45.57 | 235.08 | 31.85 | 129.57 | 5CCF7F004F17 |
| 0.73 | 16.7 | 24.58 | 25.37 | 261.3 | 55.82 | 139.75 | 5CCF7F004F17 |
| First Floor |  |  |  |  |  |  |  |
| 0.95 | 22.55 | 33.9 | 38.12 | 261.18 | 55.92 | 120.77 | 5CCF7F004F17 |
| 0.79 | 49.31 | 52.29 | 52.99 | 233.18 | 28.61 | 93.54 | 5CCF7F004F17 |
| 0.95 | 22.55 | 33.9 | 38.12 | 261.18 | 55.92 | 120.57 | 5CCF7F004F17 |

| Santosh School |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Outdoor |  |  |  |  |  |  |  |
| Co conc | pm1conc | pm2.5 conc | pm10 onc | NO2 conc | SO2 conc | Voc conc | Device id |
| 0.59 | 7.98 | 10.68 | 11.15 | 237.92 | 49.28 |  | ECFABC861DC6 |
| 0.58 | 13.47 | 19.73 | 20.42 | 236.61 | 48.32 |  | ECFABC861DC6 |
| 0.62 | 23.02 | 34.5 | 38.95 | 237.27 | 47.42 |  | ECFABC861DC6 |
| 0.92 | 32.2 | 49.75 | 61.15 | 223.08 | 40.07 |  | ECFABC861DC6 |
| 0.73 | 20.55 | 31.18 | 33.78 | 243.9 | 50.78 |  | ECFABC861DC6 |
| 0.92 | 32.2 | 49.75 | 61.15 | 223.08 | 40.07 |  | ECFABC861DC6 |

The concentration variation of median level PM1,PM2.5 and PM10 (µg/m3), TVOC, NO2,COand SO2  (ppm)                                         was estimated  in the period from  November, 2022 to October, 2023.

| Table 7 : Analysis of indoor and outdoor air pollutants concentration at BET college Bangalore urban area |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Indoor |  |  |  |  |  |  |  |
| Ground floor |  |  |  |  |  |  |  |
| Co conc | pm1conc | pm2.5 conc | pm10 conc | NO2 | SO2 | Voc conc | Device id |
| 3.27 | 21.54 | 22.81 | 23.01 | 223.13 | 26.65 | 105.25 | 5CCF7F004F17 |
| 2.55 | 35.48 | 37.29 | 37.31 | 217.34 | 25.74 | 98.95 | 5CCF7F004F17 |
| 0.92 | 31.55 | 48.62 | 59.21 | 223.93 | 40.22 | 108.90 | 5CCF7F004F17 |
| First floor |  |  |  |  |  |  |  |
| 0.95 | 22.55 | 33.9 | 38.12 | 261.18 | 55.92 | 98.95 | 5CCF7F004F17 |
| 0.73 | 17.87 | 26.53 | 27.65 | 261.98 | 55.78 | 101.71 | 5CCF7F004F17 |
| 1.04 | 63.66 | 67.53 | 68.5 | 223.43 | 23.53 | 121.72 | 5CCF7F004F17 |

| Bismillah EducationTrust (BET) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Outdoor |  |  |  |  |  |  |  |
| Co conc | pm1 conc | pm2.5 conc | pm10 conc | NO2 | SO2 | Voc conc | Device id |
| 0.94 | 25.5 | 38.62 | 45.32 | 262.65 | 56.1 |  | ECFABC861DC6 |
| 0.59 | 20.23 | 30.63 | 33.65 | 261.57 | 56.37 |  | ECFABC861DC6 |
| 0.58 | 5.4 | 7.53 | 7.81 | 238.67 | 48.21 |  | ECFABC861DC6 |
| 0.45 | 2.85 | 3.67 | 3.8 | 236.92 | 48.08 |  | ECFABC861DC6 |
| 0.5 | 10.15 | 14.4 | 14.8 | 235.72 | 47.1 |  | ECFABC861DC6 |
| 0.89 | 30.55 | 46.82 | 56.75 | 218.93 | 39.65 |  | ECFABC861DC6 |

The concentration variation of median level PM1,PM2.5 and PM10 (µg/m3), TVOC, NO2,COand SO2  (ppm)                                         was estimated  in the period from  November, 2022 to October, 2023.

Table 8: Comparisons of the physical parameters of indoor and outdoor environment in selected                                                                        colleges and school buildings of Bangalore city urban areas

| Variables | Outdoor (n=60) | Indoor (n=81) |  |  |
| --- | --- | --- | --- | --- |
|  |  |  | z | P |
|  | Median | Median |  |  |
| Ventilation (cfm/person) | 22.278 (18.18 – 24.15) | 16.15 (15.69 – 16.87) | -2.733 | 0.005* |
| Temperature ( ºC) | 22.80 (24.25 – 27.70) | 23.40 (23.48 – 26.16) | -2.127 | 0.033* |
| Relative Humidity (RH%) | 59.90 (57.87 – 69.60) | 60.20 (57.26 – 62.60) | -0.838 | 0.387 |
| *Significant at p < 0.05 N141 |  |  |  |  |

Table 9: Comparison of the concentration of indoor and outdoor air pollutants in selected Colleges and   School buildings of Bangalore city urban areas

| Parameter |  | Median Outdoor | indoor |  | z p |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (n=60) | (n=81) |  |  |  |  |  |
| PM1 (µg/m3) |  | 923 | 734 |  | -2.646 |  | 0.006* |  |
|  |  | (1067.50 – `1676.51) | (10422 – 12837) |  |  |  |  |  |
| PM2.5 (µg/m3) |  | 26 (77.23 –169.74) | 14 (68.73 –123.24) |  | -0.581 |  | 0.484 |  |
| PM10 (µg/m3) |  | 176 (126.53 – 187.76) | 124.55 (105.00 – 127.00) |  | -1.702 |  | 0.079 |  |
| TVOC (ppm) |  | 30.50 (212.75 – 487.50) | 334.00 (265.00 –481.75) |  | -1.191 |  | 0.234 |  |
| NO2 (ppm) |  | 566.90 (514.57 – 771.30) | 546.50 (484.00 – 594.75) |  | -1.104 |  | 0.267 |  |
| CO (ppm) |  | 6 (13.50 – 16.60) | 6.5 (4.90 – 5.78) |  | -1.107 |  | 0.119 |  |
| SO2 (ppm) |  | 66.90 (14.57 – 91.30) | 46.50 (24.00 – 94.75) |  | -1.104 |  | 0.267 |  |
| *Significant at p < 0.05,N = 141 |  |  |  |  |  |  |  |  |