Original Research Article

Seasonal Dynamics of Salmonella Contamination and Physicochemical Quality of Borehole Water in Selected Suburban Communities of Rivers State, Nigeria

ABSTRACT

Salmonella-related waterborne infections remain a major global health concern, especially due to wet seasons pollutants runoff, highlighting the need for regular monitoring of borehole water quality and safety. The study aimed at determining the seasonal dynamics of Salmonella contamination and physicochemical quality of borehole water in selected suburban communities of Rivers State, Nigeria. A total of 120 borehole water samples were randomly collected from Elelenwo, Rumuokparali and Eliozu communities in Obio/Akpor Local Government Area in the four quarters of the year and processed following standard microbiological procedures. Analysis of the physicochemical parameters were done on the water samples following “Standard Methods for the Examination of Water. While the study recorded an overall 20.8% prevalence of Salmonella species in all the borehole water samples, the second and third quarter had a prevalence of 60% and 23.3 %, respectively, with no Salmonella contamination recorded in the first and fourth quarter. Result of the physicochemical parameters showed that parameters ranged from 5.9±0.2 to 6.5±0.4 for pH; 136.6±103.3μS/cm to 175.4±110.9μS/cm for electrical conductivity; 3.2±2.5 mg/L to 4.5±1mg/L for nitrate; 0.1±0mg/L to 0.2±0.0mg/L for nitrite; 0.03±0.01mg/L to 0.05±0mg/L for phosphate; 25.2±2.8oC to 30.4±0.1oC for temperature. All the parameters were within the WHO limits, exception for pH. There was a significant difference (p < 0.05) between the mean values of physicochemical parameters studied, except for pH that recorded no difference (p > 0.05). The study demonstrated seasonal variation in Salmonella contamination of borehole water, emphasizing the need for continuous monitoring, improved water treatment, and improved sanitation to reduce the risk of waterborne infections.

Keywords: Borehole, Contamination, Prevalence, physicochemical quality, Salmonella; seasonal dynamics, Sub-Urban, Rivers State, Nigeria

- INTRODUCTION

“Water as we have it today remains an integral part of human nutrition, whether directly as drinking water or indirectly as constituent of food. Water is not only crucial for life, but it also remains the most important vehicle of transmitting disease and mortality in most developing countries and even in technologically more advanced countries. Good quality water is odorless, colorless, tasteless, and free from fecal pollution” [1]. “It is estimated that about 1.2 billion individuals world-wide do not have access to potable water. In many developing countries, availability of water has become a critical and urgent problem and it is a matter of great concern to families and communities that depend on non-public water supply system” [2]. “Increase in human population has exerted an enormous pressure on the provision of drinking water in developing countries. Bottled water was introduced many years ago to curb this issue, however only individuals with good financial status can afford these products. Low-income earners are left with no option but to consume sachet water, borehole water, wells, reservoirs and surface waters that are usually not free of microbial contaminants” [3].

Groundwater sources are getting contaminated due to human interference, such as waste dumping, effluent and sewage discharge without proper treatment. Municipal and industrial wastes, application of fertilizers, herbicides, pesticides, burning of coal, leaching from mining activity further add to contamination of groundwater. These different sources of contamination may influence physical, chemical, and biological variables of groundwater (Olajuba and Ogunika, 2014).

“Pollution of waters both surface and underground with waste effluents arising from various sources like industrial effluents, agricultural effluents, domestic and household wastes has become a serious problem in Nigeria, as population increases have put pressure on land and water, thereby causing environmental pollution [5]. Open dumping of municipal solid wastes is mainly the existing method of waste disposal used even in capital cities such as found in these communities in Rivers State” [6]. “Groundwater contamination by leachates can transmit bacteria and disease. Typhoid fever caused by organism from the genus Salmonella is a common example and is rampant in people living in developing nations, many of them cannot afford to dig wells deep enough to reach fresh aquifers” [7, 8]. “The paucity and unreliable municipal water supply within Obio/Akpor has forced residents to increasingly depend on shallow wells and boreholes as the source of water for drinking and domestic use” [6].” These boreholes are dug shallow and connected to constantly open overhead tank and pumped with sumo machine many of them are located close to household drainage systems and septic tanks and are therefore susceptible to contamination with Salmonella” [6].

“Among microbiological contaminants, Salmonella stands out as one of the most significant pathogens due to its public health and environmental impact” [9, 10]. “This bacterial genus, widespread in terrestrial and aquatic environments, causes salmonellosis and typhoid fever, affecting millions worldwide each year [9]. Salmonella enters water bodies through multiple pathways, including untreated wastewater, agricultural runoff carrying fertilizers and manure, and improper disposal of industrial waste” [11], with risks exacerbated in regions with limited sanitation infrastructure and poor waste management [12].

“Borehole water is a major source of drinking water and other domestic activities worldwide and for people living in these communities in Rivers State. Its availability, quality, and usage to the people of these communities cannot be over emphasized, however borehole water must be of acceptable standards to prevent adverse effects on human health” [2]. Given the potential for contamination by pathogenic organisms such as Salmonella species and the influence of physicochemical factors on water quality, assessing both seasonal dynamics of Salmonella contamination and physicochemical quality of borehole water in these communities is essential for understanding associated public health risks and guiding effective water management strategies.

2. Materials and Methods

2.1. Description of Study Location

The study was carried out in Obio/Akpor Local Government Area. The study locations were Rumuokparali (4.8637° N, 6.9190° E), Eliozu (4.8599° N, 7.0217° E), and Elelenwo (4.8398° N, 7.0727° E) communities in Obio/Akpor Local Government Area, Rivers State, Nigeria. It is one of the 23 Local Government Areas in Rivers State.  The Local Government Area covers 260km2 and at 2006 census held a population of 462,789. It’s postal or zip code is 500102 and it is constituted mainly by the people of the Ikwerre ethnic nationality. Obio Akpor has a tropical rainforest climate with a mean annual rainfall above 2,200 mm, characterized by distinct wet and dry seasons. The wet season runs from April to October, while the dry season is from November to March. Rainfall peaks in July–August before decreasing towards November–February, with the driest period in December and January, often accompanied by a dry Harmattan wind, with the heaviest precipitation occurring during the wet season, leading to a high risk of annual flooding.

2.2. Sample Size Determination

The sample size for the study was determined by the formula [13]:

N = [Z2(pq)]/d2

Where: N= the desired sample size

Z= Normal standard distribution that corresponds to confidence interval as 1.96

p= Prevalence of Salmonella species

q = 1-p d= degree of accuracy / precision expected at 0.05

2.3. Sample Collection

The borehole water samples for the bacteriological quality were randomly collected in the four quarters of the year from 10 boreholes from the locations, Rumuokparali, Eliozu and Elelenwo Communities in Obio/Akpor Local Government Area, Rivers State. Forty (40) samples were collected per community (10 samples per quarter from each community) consecutively, making a total of 120 samples, within January to December 2024. The borehole water samples that were selected were those used for drinking and for other domestic purposes such as cleaning and farming. Samples for the bacteriological analysis were aseptically collected in 20 ml sterile containers. Before then the water was left to rush for 3 minutes (This allows the nozzle of the tap to be flushed and any stagnant water in the service pipe to be discharged).

2.4. Transportation and preservation of samples

“The collected samples were kept within an icebox at 4ºC during transportation and analyzed in the Laboratory on the same day immediately after its delivery within 6 hours of collection” [14].

2.5. Bacteriological examination

“One (1ml) of the sample was pre-enriched into 9 ml selenite broth and incubated at 37oC for 24 hours. After incubation, it was sub-cultured onto prepared Salmonella-Shigella agar plates so as to receive individual colonies and further incubated at 370C for 24hours. Suspected colonies were streaked onto nutrient agar slant for purification” [15, 16].

The isolates were identified based on microscopy, cultural and biochemical characteristics. The typhoidal species were distinguished from the non-typhoidal species with regards to motility (typhoidal, non-motile; non typhoidal species, motile), indole (typhoidal, negative; non typhoidal positive), and citrate utilization test (typhoidal, negative; non typhoidal positive).

2.6 Physicochemical Analysis

Temperature, pH, Electrical Conductivity, Nitrate, Nitrite and phosphate were analyzed to evaluate the Physico-chemical characteristics of the water samples. The Temperature of the borehole water samples was recorded in-situ at the site during sampling period. All other parameters which included pH, conductivity, nitrite, nitrate and phosphate was analyzed in the laboratory.

2.6.1 Temperature

This was carried out in-situ at the site of sample collection using a mobile thermometer. This was done by dipping the thermometer into the sample and recording the stable reading.

3.13.2 pH

This parameter was obtained using a calibrated pH meter.  The electrode was first standardized and calibrated using the three set of buffer solution at pH 4.00,7.0 and 9.0, the electrode was rinsed thoroughly with distilled water and immersed in distilled water. The electrode was then dipped into the sample to determine the pH. This method is adopted by [17]. The pH value was recorded in the notebook. All other samples' pH was tested in the same way. Before each measurement, the glass electrode was cleaned with distilled water and rinsed with sample water.

3.13.3 Electrical Conductivity

A conductivity meter was used to measure electrical conductivity. The electrode was first calibrated and standardized for 15mins. It was then rinsed with distilled water. The electrode was then dipped into the sample and allowed to stabilize then reading was taken. This method is adopted by [17].

3.13.4 Nitrate

Nitrate concentrations in water samples were determined with the use of a HACH spectrophotometer (model 3900 DR, USA). To finish this task, 25 ml of water with analytical test tablets for nitrate were mixed. The final contents were determined using 450 nm and 890 nm spectrophotometers, respectively. The protocols described in the study by [18] were followed: standard sulphate and nitrate solutions were used to create calibration curves, and the acquired data were compared to them. By comparing the chloride concentrations found in the samples with those from blank titrations, the titrimetric methods were used to evaluate the chloride concentrations in the samples. A quantitative analysis of the sample's chloride concentration was performed.

Chloride concentration= (Vs-Vb) x N x 35.5 x 1000

V

Vs = Volume of silver nitrate used for the sample

Vb = Volume of silver nitrate used for the blank,

V=Volume of sample taken,

N= Normality

3.13.5 Nitrite

Analysis of nitrite was done using cadmium reduction method according to [19]. In this case, the sample was filtered using a filter paper, and passed through a column containing granulated copper-cadmium to reduce nitrate to nitrite. The nitrite (that originally present plus reduced nitrate) was determined by diazotizing with sulfanilamide and coupling with N-(1-naphthyl)-ethylenediaminedihydrochloride to form a highly colored   azo   dye   which   is   measured colorimetrically using UV-Visspectrometer.  An absorbance measurement was made at 220 nm and   corrected   by   subtracting   a   second measurement at 275 nm.  This was done to compensate for the presence of organics.

3.13.6 Phosphate

The phosphate content was determined using standard methods described by [19]. Initially, a conical flask was used to weigh 100 ml of the sample, which was then homogenized and filtered. Another conical flask was prepared by weighing the same volume of distilled water (used as a control). To both conical flasks, 1 ml of 18 M H2SO4 and 0.89 g of ammonium persulfate were added. The mixtures were gently boiled for 1 hour and 30 minutes while maintaining the volume at 35 cm3 with distilled water. After cooling, one drop of phenolphthalein indicator was added to each flask. The solutions were then neutralized to a light pink color using 2 M NaOH solution. The pink color was further neutralized by adding 2 M hydrochloric acid dropwise, and the solutions were made up to 100ml using distilled water. Next, 20 ml of the sample was pipetted into test tubes for the colorimetric analysis. Then, 10 ml of the combined reagent was added to each test tube, shaken, and allowed to stand for 10 minutes before measuring the absorbance at 690 nm using a spectrophotometer. As a reference standard, 20ml of distilled water and 1ml of the reagent were used.

- Results

Prevalence, hemolysis and biofilm formation of the isolates from the water samples analyzed

The prevalence of Salmonella species in borehole water during the study period is presented in Figure 1. The study showed that no Salmonella was recorded in the first quarter (Q1) and the fourth quarter (Q4) in all the locations (Rumuokparali, Elelenwo and Eliozu) sampling locations, while a 60% and 23.3% prevalence was recorded in the second and third quarter, respectively.

The prevalence of Salmonella species based on study locations is presented in figure 2. The study showed that 20.8% prevalence of Salmonella species was recorded in the water samples analyzed in four quarters of the year from the three communities. In all the locations, of the samples analyzed from each community, 30% prevalence was recorded in Eliozu community followed by 25% prevalence recorded in Rumuokparali community, while the least prevalence of Salmonella species isolated was from the samples collected from Elelenwo location with 7.5% prevalence.

The prevalence of Salmonella species based on study locations is presented in figure 2. In all the locations, of the samples analyzed from each community, 30% prevalence was recorded in Eliozu community followed by 25% prevalence recorded in Rumuokparali community, while the least prevalence of Salmonella species isolated was from the samples collected from Elelenwo location with 7.5% prevalence.

The overall haemolytic pattern and biofilm formation potential of the isolated Salmonella species is shown in Figure 4. The study indicated that 20% of the isolates showed alpha (α) haemoysis, 36% showed beta- (β) haemolysis and 44% showed gamma- (γ) haemolysis.

The biofilm formation potential of the Salmonella Isolates from the three communities studied is presented in Figure 5. Of the Salmonella species isolated, 24% showed the formation of biofilm while 76% showed no potential for biofilm formation. The highest biofilm formation (33%) was recorded in the isolates from Elelenwo, followed by 30% of isolates from Rumuokparali, with the least recorded from the isolates from Eliozu community.

Figure 1: Prevalence of Salmonella in the borehole water samples during the study period

Figure 2: Prevalence of Salmonella in the borehole water samples based on study locations

Figure 3: Prevalence of Typhoidal and Non Typhoidal species of Salmonella in borehole water

Figure 4: Hemolytic Pattern of Salmonella Isolates

Figure 5: Biofilm formation potentials of the Salmonella isolates

Physicochemical Quality of the Borehole water Samples

The physicochemical Parameters of the water samples during the study period is shown in Table 1 and 2. The temperature of the samples recorded in the sampling period showed varying values. The temperature value of the borehole water collected at Rumuokparali ranged from 22.7 ± 0.0 °C to 30.5±0.1 °C with the least value recorded in Q2 and the highest recorded in Q3. At Elelenwo, the temperature value ranged from 27.7±4.2 °C to 30.4 ± 0.1 °C with the least value recorded in Q4 and the highest values observed in Q3. For the samples collected in Eliozu community during the sampling period, the temperature ranged from 22.9 ± 0.0 °C to 30.4±0.1 °C, with the least value recorded in Q4 and the highest value recorded in Q1.

The pH value of water samples collected from Rumuokparali community ranged from 6.4 ±0.5 to 6.8±0.2 with the least pH value recorded in Q3 and the highest values recorded in Q2. At Elelenwo the pH value of the water samples ranged from 5.9±0.0 to 6.5 ±0.2 with the least value recorded in Q3 and while the highest values were observed in Q2. In Eliozu, the least pH value obtained in the water samples was recorded in Q2 (4.9±0.1) while the highest value was recorded in Q4 (6.60±0.06).

The Electrical Conductivity (EC) of the borehole water samples from the communities over the sampling period gave varied concentrations. At Rumuokparali, the conductivity ranged from 55±39 µs/cm to 123.7±25.5 µs/cm with the least value recorded in Q4 and the highest concentration was obtained in Q3. At Elelenwo community, the EC concentration ranged from 125±88.5 5 µs/cm obtained in Q4 to 229±90.5 5 µs/cm recorded in Q2. Whereas at Eliozu, the concentration of EC ranged from 188±151 5 µs/cm to 231.7±110.9 5 µs/cm with the highest value obtained in Q4 and the least concentration recorded in Q3.

The nitrite concentrations of the samples recorded during the study were generally low, the values ranged from 0.1±0.0 mg/l to 0.2 ±0.0 mg/l with the highest value recorded in the Q4 and the least value obtained in Q1, Q2 and Q3 from both Rumuokparali and Elelenwo communities. Whereas for the samples from Eliozu community, the least concentration of 0.1±0.0 mg/l was recorded at both Q2 and Q3 while the highest concentration of 0.2±0.1 mg/l was obtained in both Q1 and Q4.

The Nitrate concentration of the samples during the sampling period showed varied concentrations. The concentration of nitrate in Rumuokparali ranged from 2.3±2.0 mg/l to 5.9±0.6 mg/l with the least value recorded in Q1 while the highest concentration was obtained in Q3. The nitrate concentration in Elelenwo ranged from 3.1±1.4 mg/l to 3.8±1.7 mg/l with the highest concentration recorded in the Q4 and the least nitrate value was recorded in Q3. For the samples collected from Eliozu community, the nitrate concentration ranged from 1.1±0.6 mg/l to 4.7±0.7 mg/l with the highest value recorded in the Q4 and the least value was obtained at Q3.

The phosphate concentrations which were generally low however showed a varied concentrations across the sampled locations and the period of the year. The phosphate value recorded in Rumuokparali community ranged from 0.03±0.02 mg/l recorded in Q1 to 0.05±0.00 mg/l obtained in Q4. The value recorded in Elelenwo community ranged from 0.03±0.001 mg/l to 0.05±0.00 mg/l with the highest value recorded in Q4 and the least concentration was obtained in Q2 and Q3. The samples collected from Eliozu recorded phosphate values which ranged from 0.02±0.02 mg/l to 0.05±0.00 mg/l with the highest concentration recorded in the fourth quarter while the least concentration recorded in the first quarter.

Table 1:	Temperature, pH and Conductivity of the Water Samples

| Locations | Temperature °C |  |  |  | pH |  |  |  | Conductivity (µs/cm) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 |
| Rumuokparali | 22.8±0.0ab | 22.7±0.0ab | 30.5±0.1ab | 25.2±4.1b | 6.7±0.1a | 6.8±0.2a | 6.4±0.5 | 6.6±0.5 | 70±47.7 | 61.7±47.5 | 123.7±25.5 | 55±39 |
| Elelenwo | 30.3±0.2a | 30.3±0.2a | 30.4±0.1a | 27.7±4.2 | 6.2±0.4a | 6.5±0.2a | 5.9±0.0 | 6.4±0.1 | 226.3±84.8 | 229.7±90.5 | 168±133.4 | 125±88.5 |
| Eliozu | 30.4±0.2ab | 30.3±0.2ab | 30.3±0.1ab | 22.9±0.0b | 5.0±0.0ab | 4.9±0.0ab | 6.1±0.1b | 6.60±0.6b | 230±200.3 | 230±200.3 | 118±151 | 231.7±110.9 |
| Overall (p _ value) | 27.8±0.1 (<0.0001) | 27.8±0.1 (<0.0001) | 30.4±0.1 (0.0114) | 25.2±2.8 (0.292) | 5.9±0.2 (0.01791) | 6.1±0.1 (0.0066) | 6.1±0.2 (0.3393) | 6.5±0.4 (0.44998) | 175.4±110.9 (0.29355) | 173.8±112.8 (0.26382) | 136.6±103.3 (0.85274) | 137.2±79.5 (0.10861) |
| WHO Regulatory Limit | 20-30oC |  |  |  | 6.5-8.5 |  |  |  | 1000 µs/cm |  |  |  |

Source: Authors Laboratory Report, 2025

Table 2:	Nitrite, Nitrate and Phosphate Concentration of the Water Samples during the Quarters

| Locations | Nitrite (mg/l) |  |  |  | Nitrate (mg/l) |  |  |  | Phosphate (mg/l) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 |
| Rumuokparali | 0.1±0a | 0.1±0.1 | 0.1±0.0 | 0.2±0.0 | 2.3±2.0 | 3.8±0.1 | 5.9±2.3a | 5.1±0.6 | 0.03±0.02 | 0.04±0.01 | 0.04±0.01 | 0.05±0 |
| Elelenwo | 0.1±0ab | 0.1±0.0b | 0.1±0.0b | 0.2±0.0b | 3.7±2.3 | 3.6±2.3 | 3.1±1.4a | 3.8±1.7 | 0.04±0.02b | 0.03±0.01b | 0.03±0.01b | 0.05±0 |
| Eliozu | 0.2±0.1ab | 0.1±0.0b | 0.1±0.0b | 0.2±0.1b | 3.6±3.1 | 3.6±3.1 | 1.1±0.6a | 4.7 0.7 | 0.02±0.02b | 0.03±0.01b | 0.03±0.01b | 0.05±0 |
| Overall (p _ value) | 0.13±0.03 (0.046753) | 0.1±0.03 (0.40320) | 0.1±0 (0.069682) | 0.2±0.0 (0.82975) | 3.2±2.5 (0.75627) | 3.7±1.8 (0.84569) | 3.4±1.4 (0.03035) | 4.5±1 (0.72743) | 0.03±0.02 (0.56961) | 0.03±0.01 (0.177979) | 0.03±0.01 (0.31696) | 0.05±0 (NA) |
| WHO Regulatory Limit | 0.2 mg/l |  |  |  | 50 mg/l |  |  |  | 5.0 mg/l |  |  |  |

Source: Authors Laboratory Report, 2025

4. Discussion

The study showed the prevalence of Salmonella in borehole water was high in the second and third quarter. The second and third quarter in Nigeria is characterized as wet season (April-September)  and this can be attributed to the high Salmonella incidence recorded during the period. This is in line with the findings of [20], which reported a high incidence of Salmonella during the rainy season. Other studies have shown that in sub-Saharan African, Salmonella infection is high during the rainy season which can reflect seasonal variation in environmental transmission and perhaps host susceptibility [21], as flooding and water runoff caused by increased rain droppings may lead to the contamination of water sources via human or animal feces [22]. “The presence of Salmonella species in borehole water is uncommon due to the increased depth and decreased contamination from subsurface and surface of the soil; nevertheless, some conditions can lead to the introduction” [23]. The total of 20.8% prevalence of Salmonella species in the borehole water samples analyzed in the four quarters of the year was higher than 1.3% prevalence recorded in the study of Karshima et al. [24] in Jos Nigeria and 5.4 % prevalence reported by Ekelozie et al. [25] in Anambra, Nigeria, that evaluated the prevalence of Salmonella in borehole water. “The presence of Salmonella in borehole has been linked to anthropogenic sources like home sewage, septic tank leaks at close proximity to septic tanks or latrines to borehole water sources [26] and this can lead to poor water quality which can have severe health implications, placing a substantial burden on communities due to waterborne contaminants” [27].

In this study, the non-typhoidal species of Salmonella were more prevalent than the typhoidal species. This is in contrast to the report of Ekelozie et al. [25] and Abdullahi et al [28] where “Salmonella typhi had the highest percentage occurrence in all the water bodies studied.  “Non-typhoidal Salmonella (NTS) occurs worldwide and is associated with mild gastrointestinal illness that is self-limiting. Previous studies in Africa have reiterated the endemic feature of non-typhoidal Salmonella and is one of the major causes of bacteremia, mostly in children with 4100 deaths per year” [29]. The self-limiting feature of non-typhoidal Salmonella attributes to the infection subsiding overtime on its own in healthy individuals [29].

Haemolysin production can be used to determine the pathogenicity of bacterial isolates [30].  Some of the Salmonella bacterial isolates demonstrated clear β-hemolysis in the form of clearance zone along the streak on blood agar plate within 24 h of incubation at room temperature. Obuekwe et al. [30] and Erova et al. [31] reported that hemolytic proteins are commonly isolated from pathogenic bacteria, and β-hemolysin is one of the important bacterial virulence factors. Production of hemolysins by the isolates in this study agrees with the report of Bagyalakshmi et al. [32] where the occurrence of hemolysin, lipase, protease, gelatinase and caseinase was established as virulence factors in isolates from water samples in India. The exhibition of β, γ and α haemolysis observed in this study is similar to the report of Obuekwe et al. [30] in which the different haemolyis patterns were exhibited by different isolates from borehole water samples.

The finding of this study showed that 24 % of the isolates of Salmonella were biofilm producers. This is in contrast to the study of Tula et al. [33] in which majority of the isolates from water samples showed the potential for biofilm formation. Biofilm production by microorganisms explains their persistence in water body and aids in their protection against environmental factors like ultra violet radiation and desiccation which could also attribute to their antibiotic resistance [34]. The study of Ahmed et al. [35] also reported “a proportion of resistant isolates of bacteria from drinking water to the various antibiotic used. Antibiotics resistant bacteria are of public health concern, resulting in health implications. Bacterial biofilms are al so known to exhibit recalcitrance to antimicrobial compounds [36]. Microbes growing within a biofilm have been reported to be up to 1000 times more tolerant to antimicrobials than their planktonic counterparts (Sharma et al., 2019). “Biofilm-producing bacteria have been shown to be associated with numerous human diseases and capable of colonizing a wide range of environments. In aquatic environment, microbial adhesion initiates biofilm formation, exacerbates contamination, reduces the aesthetic quality of the water body, and reduces microbiological safety through augmented survival of pathogens” [37].

The temperature of the water samples is one of the crucial physicochemical factors taken into account when evaluating the quality of water fit for human consumption. The temperature of the water samples ranged from 25.2±2.8oC to 30.4±0.1oC     and was within the WHO regulatory limit of 20-30oC. The temperature of water samples reported in this study is in agreement with a similar study carried out by [38] which recorded temperature within 28.84±0.83oC to 30.03±0.74oC. High water temperature may enhance the growth of mesophilic microorganisms as cool waters are generally more potable for drinking purposes [39]. The depth of an aquifer and the season of the year are factors that influence the temperature of groundwater ‘[40].

pH is a significant factor that impacts many biological and chemical processes. It is a water quality assessment parameter which is very important in evaluating water supply and treatment [41]. The pH of the samples showed varied concentration across the sampling seasons and locations and were generally weakly acidic. Majority of the sample was slightly below the regulatory limit of WHO stipulated limits for water potability. These results were not in agreement with the result obtained by Odu et al. [41] in two communities in Rivers State in which pH range of 9.79 to 11.3 were obtained for borehole water.  Selvam et al. [42] reported that pH of a groundwater could vary from acidic to alkaline medium depending on the characteristics at the point of recharge. “The pH of most natural water bodies ranges from 6.5 to 8.5 while the deviation from neutral pH is as a result of free carbon dioxide or bicarbonate in the water body” [38]. “At pH levels of less than 7, corrosion of water pipes may occur, releasing metals into the drinking water. This is undesirable as it can cause other concerns if concentrations of such metals exceed recommended limits. The low values of pH in this study may be due to the release of carbon dioxide and ammonia due to oil spill, exploration and exploitation and subsequent percolation through the aquifer to the groundwater. This could also be attributed to the geological characteristics of the underlying rocks in the area” [43].

Electrical Conductivity (EC) is an indicator of water quality and soil salinity; hence the relatively high values observed in few borehole samples showed high salinity; thus, the waters might not be very suitable for human consumption [44]. The electrical conductivity for all borehole water samples in all the communities across the quarters of the year were within the WHO regulatory limit of 1000 µs/cm with no significance difference (p<0.05). With the result of EC of the water samples obtained in this study it could be said they are suitable for domestic use, irrigation, and other purposes. The low conductivity result recorded in this study suggests that little quantity of dissolved inorganic substances in ionized form could get to the water source from their surface catchment [45]. The EC of the water samples is in agreement with the findings of Odu et al. [41] from a related study involving water samples from and boreholes in which the range of 96.15 to 155.92 μS/cm. The findings by Ebong et al. [46] reported that the electrical conductivity of borehole water sampled from different points in Mgboushimini community in Rivers State is within the range of 331-533 μS/cm which is higher than the highest EC value recorded in this study.

The nitrite, nitrate and phosphate concentrations of the water samples recorded during the study were generally low. The values for nitrite ranged from 0.1±0.0 mg/l to 0.2 ±0.0 mg/l at both Rumuokparali and Elelenwo communities and 0.1±0.0 mg/l to 0.2±0.1 mg/l at Eliozu community.  They were all within the WHO regulatory limit. The concentration of nitrate ranged from 2.3±2.0 mg/l to 5.9±0.6 mg/l at Rumuokparali, 3.1±1.4 mg/l to 3.8±1.7 mg/l at Elelenwo and 1.1±0.6 mg/l to 4.7±0.7 mg/l at Eliozu community. The value recorded for all the water samples at the three different communities were all within the limit set by WHO for drinking water. The phosphate concentrations were generally low however showed varied concentrations across the sampled locations and the period of the year. The phosphate value recorded in Rumuokparali community ranged from 0.03±0.02 mg/l to 0.05±0.00, ranged from 0.03±0.001 mg/l to 0.05±0.00 mg/l at Elelenwo community and from 0.02±0.02 mg/l to 0.05±0.00 mg/l at Eliozu community. Throughout the sampling period, the highest value of nitrate, nitrite and phosphate were recorded in the fourth quarter in almost all the study areas and their low concentration recorded is in line with the study of Terebo et al. [38] which reported similar findings. The nitrate is not a direct toxicant but could cause health hazard when converted to nitrite (Odu et al., 2020). The result of nitrate in this study was higher than the range of 1.06-1.94 mg/L of borehole water observed in the study of Odu et al. [41] in communities within Port Harcourt. The presence of phosphate in the different borehole water samples is similar to the range of 0.036–0.255 mg/L reported by Adesakin et al. [45] and could be attributed to the geology or topography of the sampling location which influence the amount of phosphate in borehole (underground) water.

5. Conclusion

Although borehole water is often considered a safer alternative to surface water, insufficient data exist on its microbial safety and seasonal quality variations in sub-urban areas of Rivers State. Addressing this gap, the present study assessed the prevalence of Salmonella species and the physicochemical characteristics of borehole water in the study area, demonstrating that Salmonella was detected in some of the water samples, indicating potential public health risks.  With regards to the data generated from the entire course of study, it can be inferred that the presence of Salmonella in borehole water varied significantly across seasons and locations, with the highest contamination occurring in the wet seasons. This suggests a possible seasonal influence on contamination levels. Some of the communities exhibited higher prevalence rates, highlighting a potential public health risk that warrants further investigation and intervention.

The study has revealed that the analyzed physicochemical parameters were within acceptable limits; however, the pH was slightly lower than the regulatory limit. Additionally, the study showed seasonal and locational variations in the physicochemical quality of borehole water.

The impact of these findings underscores the need for stricter sanitary measures around boreholes, periodic water testing, and proper maintenance of water-handling facilities to safeguard community health. Regular monitoring and improved water sanitation practices are recommended to reduce the risk of waterborne infections in the communities. It is also recommended that borehole owners and local governments implement routine microbial and physicochemical analysis of water, improve borehole construction standards, and promote community awareness on safe water handling and storage practices to minimize the risk of Salmonella and other pathogenic contamination.

Disclaimer (Artificial intelligence)

Author(s) hereby declare that NO generative AI technologies such as Large Language Models (ChatGPT, COPILOT, etc.) and text-to-image generators have been used during the writing or editing of this manuscript.

References

[1]      Mugadza, D. T., Nduku, S. I., Gweme, E., Manhokwe, S., Marume, P., Mugari, A., and       Jombo, T. Z., 2021. “Drinking water quality and antibiotic resistance of E. coli and Salmonella spp. from different sources in Gweru urban, Zimbabwe.” Environmental Monitoring and Assessment, 193, 1-12.

[2]      Elenwo, E. I., Elenwo, O. P., and Dollah, O. C., 2019. “Physico-chemical and microbial analysis of selected borehole water in Obio/Akpor local government, Rivers State, Nigeria”. International Journal of Advances in Scientific Research and Reviews, 4(2), 103-111.

[3]     Stella, E. I., Ifeoma, M. E., T. B, O., UF, O., and Ifeanyi, O. E., 2018. “Evaluation of Salmonella Species in water sources in two local government areas of Anambra State”. Cohesive Journal of Microbiology Infection and Dieases, 1(1), 1-9.

[4]   Olajuba, F.A. and Ogunika, F., 2014. “Assessment of the Physicochemical and Microbiological properties of borehole water samples from Akungba–Akoko, Ondo State, Nigeria”. International Journal of Pharmaceutical Science and Research, 5 (7): 367–374.

[5]	Joseph, A., Udofia, U., and Ajang, R., 2021. “Evaluation of the water quality of borehole water from a partially remediated oil spill site in Ikot Ada Udo, Akwa Ibom State, South–South Nigeria”. Environmental Technology & Innovation, 24, 101967.

[6] 	Ibo, E. M., Umeh, O. R., Uba, B. O., and Egwuatu, P. I., 2020. “Bacteriological assessment of some borehole water samples in Mile 50, Abakaliki, Ebonyi State, Nigeria”. Archives of Agriculture and Environmental Science, 5(2), 179-189.

[7]     	Veeraraghavan, B., Pragasam, A. K., Bakthavatchalam, Y. D., and Ralph, R., 2018. “Typhoid fever: issues in laboratory detection, treatment options & concerns in management in developing countries”. Future science OA, 4(6), FSO312.

[8]  	Onwughara, I.N., Nnorom, I. C. and Kanno, O.C., 2010. “Issues of roadside disposal habit   of municipal solid waste, environmental impacts and implementation of sound management practices in developing country: Nigeria”. International Journal of Environmental Science and Development, 1 (5), 409-417.

[9]     Billah, M.M. and Rahman, M.S., 2024. “Salmonella in the Environment: A Review on Ecology, Antimicrobial Resistance, Seafood Contaminations, and Human Health Implications”. Journal of Hazardous Materials Advances, 13:100407.

[10]    Lamichhane, B., Mawad, A.M.M., Saleh, M., Kelley, W.G., Harrington, P.J., Lovestad, C.W., Amezcua, J., Sarhan, M.M., El Zowalaty, M.E. and Ramadan H., 2024. “Salmonellosis: An Overview of Epidemiology, Pathogenesis, and Innovative Approaches to Mitigate the Antimicrobial Resistant Infections”. Antibiotics, 13:76.

[11]      Wang, F., Xiang, L., Sze-Yin Leung, K., Elsner, M., Zhang, Y., Guo, Y., Pan, B., Sun, H., An, T. and Ying G., 2024. “Emerging Contaminants: A One Health Perspective.” Innovation, 5:100612.

[12]   	Reyes, Makarena Sofia Gonzalez, Rayana Santos Araujo Palharini, Felipe Ferreira      Monteiro, Salvador Ayala, and Eduardo A. Undurraga. 2025. "Prevalence and Distribution of Salmonella in Water Bodies in South America: A Systematic Review" Microorganisms, 13, 3- 489.

[13]      Niang, L., Winn, T. and Nordin, R., 2006. “Practical issues in calculating the sample size for prevalence studies”. Archives of Orofacial Sciences, 1.

[14] 	 Cheesbrough, M., 2010. “District Laboratory Practice in Tropical Countries”. Part 2. 2nd          edn. Cambridge University Press. South Africa. pp. 434.

[15] 	Neil, S. Sodha, and l. Lukwago., 2009. “A large outbreak of typhoid fever associated with a high rate of intestinal perforation in Kasese district, Uganda.” Clinical infectious diseases. 54 (8), 1091–1099.

[16] 	Bhatta, K. C. Bhuyan, and Maharjan, 2005. “The study, antibiotic sensitivity pattern of Salmonella species isolated from blood culture.” Journal of Nepal Health Research Council, 3.

[17]     APHA., 1989. “Standard Methods for the Examination of Water and Wastewater, Part 3, Determination of Metals.” 17th, American Public Health Association, Washington DC, 164.

[18]    	Ramkumar, T., Venkatramanan, S., Anithamary, I., and Ibrahim, S. M. S., 2013. “Evaluation of hydrogeochemical parameters and quality assessment of the groundwater in Kottur blocks, Tiruvarur district, Tamilnadu, India.” Arabian Journal of Geosciences, 6, 101-108

[19]     Doane T. A, and Horwath W. R., 2003. “Spectro photometric determination of nitrate     with a single     reagent”.  Analytical;36(12):2713-2722.

[20]         Suleiman, A., Geidam, Y. A., Talba, A. M., Grema, H. A., Lawan, M. K. and Mamman,P. H., 2012. “Prevalence and seasonality of Salmonella isolations from commercial poultry in Zaria Nigeria: a five-year retrospective study.” International Journal of Infectious Diseases, 16, e463.

[21]   Tack, B., Vita, Da., Phoba, M., Mbuyi-kalonji, L., Hardy, L., Barbe, B., Jacobs, J.,   Lunguya, O. and Jacobs, L., 2021. “Direct association between rainfall and non-typhoidal Salmonella bloodstream infections in hospital-admitted children in the Democratic Republic of Congo”. Scientific reports, 11,21617-21632.

[22]	 Hellberg, R. S. and Chu, E., 2015. “Critical Reviews in Microbiology Efects of climate change on the persistence and dispersal of foodborne bacterial pathogens in the outdoor environment: a review”. Science Report. https://doi.org/10.3109/104084

[23]  	Tamba, Z., Wada, A. Y., Ndams, I. S., Oniye, S. J., Kwaga, P. J. K. and Cibin, V., 2021. “Prevalence and Distribution of Salmonella serovars From Water Samples in Cattle Rearing Environment of Jos and Environs, Nigeria”. West African Journal of Microbiology, 1,59-68

[24]  	Karshima, N. S., Pam, V. A., Bata, S. I., Dung, P. A. and Paman, N. D., 2013. “Isolation of Salmonella species from milk and locally processed milk products traded for human consumption and associated risk factors in Kanam, Plateau State, Nigeria”. Journal of Animal Product Advances, 3(3),69-74.

[25]  	Ekelozie, I. F., Ekejindu, I. M., Ochiabuto, O. M. T. B., Obi, M. C., Onwuasonya, U. F. and Obeagu, E. I., 2018. “Evaluation of Salmonella species in water sources in two Local Government Areas in Anambra State”. Cohesive Journal of Microbiology, 1(1), 1-9.

[26]  	Nwaiwu, O., Aduba, C.C. and Oni O. E., 2020. “Bacteriological quality of borehole and sachet water from a community in south-eastern Nigeria”. Available from: http://dx.doi.org/10.5772/intechopen.91812.

[27]  	Nwinyi, O. C., Uyi, O., Awosanya, E. J., Oyeyemi, I. T., Ugbeyen, A. M. and Muhammad, A., 2020. “Review of drinking water quality in Nigeria: towards attaining the sustainable development goal six”. Nigeria Young Academic Journal, 5(2),58-77

[28] 	Abdullahi, B., Abdulfatai, K., Wartu, J. R., Mzungu, I., Muhammad, H. I. D. and Abdulsalam, A. O., 2014. “Antibiotics susceptibility patterns and characterization of clinical Salmonella serotypes in Katsina State, Nigeria”. African Journal of Microbiology Research, 8, 915–921

[29] Smith, S.I., Seriki, A. and Ajayi, A., 2016. “Typhoidal and non-	typhoidal Salmonella infections in Africa.” European Journal of Clinical Microbiology 	Infectious Disease, 35, 1913–1922.

[30]  	Obuekwe, I. S., Oshioma, C. E. and Omorogbe, I. N., 2021. “Evaluation of Physiochemical and Bacteriologyical Properties of Borehole Water in Selected Areas of Benin City, Edo, State”. Nigerian Journal of Life Science, 11(1), 10-17

[31]  	Erova, T. E., Sha, J. and Horneman, A. J., 2007. “Identification of a new hemolysin from diarrheal isolate SSU of Aeromonas hydrophila”. FEMS Microbiology Letters 275(2): 301-311.

[32]  	Bagyalakshmi1, B., Sridhar., D. and Ponmurugan., P., 2009 “Antimicrobial activity of      	important indian medicinal plants against pyogenic infection” Journal of Phytology, 1(6): 	391–396 391-396

[33]    Tula, M. Y., Onyeje, G. A. and John A., 2018. “Prevalence of Antibiotic Resistant and 	Biofilm Producing Escherichia coli and Salmonella spp from Two Sources of Water in 	Mubi, Nigeria.” Frontier in Science, 8(1), 18-25

[34]	Amadi-Ikpa, C. N., Akani, N. P., Wemedo, S. A. and Williams, J. O., 2020. “Biofilm 	formation and virulent properties of bacterial isolates in stored drinking water of some 	home.” International Journal of Research and Innovation in Applied Science, 5(8), 42-48.

[35]  	Ahmed, H. Zolfo, M., Williams, A., Ashubwe-Jalemba, J., Tweya, H., Adeapena, W., Labi, A., Adomako, L. A. B., Addico, G. N. D. Banu, R. A., Akrong, M. O., Quarcoo, G., Borbor, S. and Osei-Atweneboana, M. Y., 2022. “Antibiotic-Resistant Bacteria in Drinking Water from the Greater Accra Region, Ghana: A Cross-Sectional Study, December 2021 - March 2022”. International Journal of Environmental Research and Public Health, 19,12300-12313

[36]  	Babalola, T. F., Olowomofe, T. O., Omodara, T. R. and Ogunyemi, T. Y., 2021. “Antibiotic Resistance Pattern and Plasmid Profile of Bacteria Isolates from Household Water Distriibution Tank in Ado-Ekiti”. Journal of Pure and Applied Microbiology, 15(3), 1697-1704

[37]  	Igbinosa, I. H., Chigor, V. N. Igbinosa, E. O., Obi, L. C. and Okoh, A. I., 2013. “Antibiogram Adherence Characteristics and Incidence of Class I Integeron in Aeromonas species Isolated from Two South African Rivers”. Biomedical Research International, 10,1-8

[38] 	Terebo, O., Olayinka, O. O., Bamgbose, O., Abdul, W. O. and Martins, O., 2019. “Physicochemical Quality of Borehole Water of Selected Settlements in the Coastal Area of Ondo State, Nigeria.” Journal of Chemical Society of Nigeria, 44(5), 846-857

[39]  	Elsayed, M., Andres, Y. and Blel, W., Gad, A and Ahmed, Y., 2016. “Effects of VS organic loads and buckwheat husk on methane production by anaerobic co-digestion of primary sludge and wheat straw”. Energy Conversion and Management, 117,538-547

[40]  Pekarova, P., Tall, A., Pekar, J., Vitkova, J. and Miklanek, P., 2022. “Groundwater Temperature Modelling at the Water Table with a Simple Heat Conduction Model”. Hydrology, 9(10), 185-100

[41]  	Odu, N. N., Omunkwe, A. L. and Makililo, M., 2020. “Comparative Assessment of the Physicochemical Water Quality of Wells and Boreholes in Two Rivers State Communities, Nigeria”. International Journal of Research Studies in Microbiology, 6(3), 5-20.

[42]  	Selvam, S., Manimaran, G., Sivasubramanian, P., Balasubramanian, N. and Seshunarayana, T., 2014. “GIS-based evaluation of water quality index of groundwater resources around Tuticorin coastal city, South India”. Environmental Earth Sciences, 71(6),2847-2867.

[43]  	Dami, A. Ayuba, H.K. and Amukali, O., 2013. “Ground water pollution in Okpai and Beneku, Ndokwaeast local government area, Delta state, Nigeria”. Journal of Environmental Research and Management, 4(1),171-179.

[44]  Onwughara, N.I., Ajiwe, V.I.E. and Nnabuenyi, H.O., 2013. “Physicochemical studies of water from selected boreholes in Umuahia North Local Government Area in Abia State, Nigeria”. International Journal of Pure and Applied Bioscience, 1 (3): 34-44.

[45]    Adesakin, T. A., Oyewale, A. T., Bayero, U., Mohammed, A. N., Aduwo, I. A., Ahmed, P. Z., and Barje, I. B., 2020. “Assessment of bacteriological quality and physico-chemical parameters of domestic water sources in Samaru community, Zaria, Northwest Nigeria”. Heliyon, 6(8).

[46] 	Ebong, S. S., Etim, D. U., Otugo, V. N. and Uko, O. E., 2018. “Evaluation of physicochemical and microbiological characteristics of borehole water in Mgboushimini community of Rivers state, Nigeri”a. Journal of Advances in Medicine and Medical Research, 27(8), 1-9.