Editor’s Comment:

I have addressed the following two points in the revised manuscript:

1. The manuscript states that increasing the cavity depth from 6 cm to 10 cm reduces heat flux; however, the values in Table 4 appear to show higher heat flux for the 10 cm cases. Please verify the calculations/table entries and revise the related discussion and conclusions for consistency

2. Please standardize units and symbols across the manuscript (e.g., report thermal resistance consistently in m2 K/W where appropriate; clearly distinguish

T vs.ΔT). In particular, Table 3 column headings should be clarified, as some labels suggest ΔT while entries are shown as temperatures (°C).

Finally, I encourage the authors to revise and refine the wording in the relevant sections to improve clarity and overall manuscript quality.

Editor’s Details:

Dr. Chien-Jen Wang, National University of Tainan, Taiwan