Review Article

Structural Analysis of Macromolecules: The Evolving Synergy of NMR, X-ray Crystallography, and Cryo-EM

Abstract

Structural biology provides the fundamental blueprint for understanding the function of macromolecules. Historically, this field has been driven by three main techniques: X-ray crystallography, which offers atomic-level snapshots of crystallizable proteins; nuclear magnetic resonance (NMR) spectroscopy, which reveals dynamic ensembles and interactions in solution; and cryo-electron microscopy (cryo-EM), which has experienced a resolution revolution allowing visualization of large, flexible complexes without the need for crystallization. While each method has its own advantages and limitations, this review emphasizes that the modern frontier lies in their strategic integration rather than in their use in isolation. We compare the principles, workflows, and current capabilities of each technique, illustrating how hybrid approaches can complement one another to overcome individual limitations. By combining high-resolution static models, dynamic solution data, and near-native visualizations of molecular structures, integrative structural biology creates comprehensive, mechanistic insights. Additionally, this article discusses the transformative role of computational tools such as AlphaFold, which now enhance and guide the workflows of these techniques. This convergence of methods is crucial for addressing the complex dynamics of biological macromolecules, providing unprecedented understanding of their mechanisms in health and disease.

Keywords: Macromolecules, Nuclear magnetic resonance spectrometry, X-ray crystallography, Cryo-Electron microscopy, integrative approach

- Introduction

Understanding the detailed three-dimensional structures of macromolecules, such as proteins, nucleic acids, and large complexes, is fundamental to understanding their biological roles. These complex structures influence how macromolecules function and interact. To study them, scientists utilize advanced biophysical techniques. Among these, nuclear magnetic resonance spectroscopy, X-ray crystallography, and electron microscopy are fundamental (Jeyaraj et al., 2025).

Driven by the powerful insights they offer, these major approaches have evolved significantly from their origins to their current forms through technical innovations, including advances in instrumentation, analytical software, robotic automation, and molecular engineering strategies (Thompson et al., 2020). Nuclear Magnetic Resonance (NMR) spectroscopy probes the magnetic properties of atomic nuclei to reveal the local environments and dynamic properties of molecules in solution, offering insights into electronic structure and interactions (Ogunbiyi et al., 2024). In comparison, X-ray crystallography analyzes diffraction patterns from crystallized macromolecules to yield high-resolution static models of their three-dimensional arrangements. Electron microscopy, particularly cryo-electron microscopy (cryo-EM), addresses the challenge of visualizing large or complex biological assemblies that resist crystallization, providing detailed structural information without the need for crystals (Schulz, 2023). Each technique employs unique methodologies, strengths, and limitations. However, their combined use has become essential for comprehensive structural elucidation, particularly for dynamic, large, or heterogeneous assemblies that cannot be analyzed by a single method.

This review argues that the frontier of structural biology lies not in the isolated application of single techniques, but in their strategic integration. By synthesizing data from NMR spectroscopy, X-ray crystallography, and cryo-EM, researchers can now overcome the inherent limitations of each method to visualize macromolecular complexity in unprecedented detail. The review will first examine the principles, modern applications, and limitations of each core technique (summarized in Table 1 and Figs. 1-3), then explore how their integration and the rise of computational prediction are defining the future of the field.

2.0 NMR Spectroscopy

NMR spectroscopy, a technique developed shortly after World War II by the 1952 Nobel Prize winners in Physics, Felix Bloch and Edward Mills Purcell, is used to determine the structure of molecules by observing the local magnetic fields around atomic nuclei (Abraham et al, 1988). This technique, particularly suitable for investigating macromolecules in solution, provides a window into their dynamic behavior, conformational changes, and molecular interactions (Jeyaraj et al., 2025). It offers nanometric accuracy and resolution for mapping interactions between different nuclei within a protein, especially when coupled with advanced computational tools for structural determination (Balerdi, 2021). Furthermore, NMR can resolve the structures of flexible or disordered regions of proteins, which, due to their inherent mobility, are often beyond the resolution of X-ray crystallography, which captures static molecules.

  - Principles and Sample Preparation

NMR spectroscopy relies on the magnetic characteristics of certain atomic nuclei-those with non-zero spin, which occurs when they have an odd number of protons, neutrons, or both. These nuclei act like tiny bar magnets with north and south poles and are known as NMR-active. The fundamental concept is that when these nuclei are situated in a magnetic field and exposed to radio waves, they absorb energy at particular frequencies, producing signals that can be detected (Maia et al., 2020).

NMR spectroscopy uses a pulsed magnetic field to measure the magnitude of the nuclear magnetic moments of excited nuclei after they have been aligned in a strong external magnetic field. The interaction produces a spectrum that can be analyzed to determine interatomic distances, chemical environments, and dynamic properties, enabling the reconstruction of the macromolecule's three-dimensional structure in solution (Maia et al., 2020).

In NMR spectrometry, the quality of the sample profoundly affects the resulting spectrum. Therefore, several key steps are required to ensure high-quality, reproducible data. The primary goal is to create a homogeneous solution, free of solid particles, in a high-quality NMR tube using a deuterated solvent (a solvent that replaces some of the hydrogen atoms with deuterium to improve clarity and signal strength). NMR directly investigates protein conformations in solution, producing an ensemble of structures that addresses the limitations of techniques that provide a single static model (Szczepaniak, 2024).

  - Data Acquisition and Processing

The precise frequencies at which atomic nuclei resonate, known as resonant frequencies, are meticulously measured after the application of a radiofrequency pulse that temporarily alters their spin states. These frequencies, or chemical shifts, are highly dependent on the local electronic environment of each nucleus, thereby providing a unique fingerprint for each atom within the macromolecule (Sanchez, 2023). Subsequently, the spins begin to diphase (go out of sync), and the bulk magnetization progressively realigns with the z-axis, exhibiting a characteristic corkscrew motion. This phenomenon, known as free induction decay, is recorded as a decaying oscillatory electric field, which can then be transformed to yield an NMR spectrum (Stollar & Smith, 2020).

  - Structure Determination by NMR

Multi-dimensional NMR (nD-NMR) experiments are employed to analyze complex signals and assign specific resonances to individual nuclei within the macromolecule (Wehlin, 2023). nD-NMR extends 1D NMR by inputting indirect time/frequency dimensions using complex pulse sequences, revealing correlations between nuclei (like H-N, C-C) to overcome signal overlap, assign resonances, and determine 3D structures of biomolecules. These assignments are vital for interpreting spectral data, which yield geometric restraints like inter-nuclear distances, dihedral angles, and residual dipolar couplings (Bala et al., 2019).

From these experimentally derived parameters, computational algorithms are then used to calculate and refine the macromolecule's three-dimensional structure, often yielding an ensemble of conformers consistent with the experimental data (Sanchez, 2023). This approach is potent for characterizing moderately sized dynamic systems and for identifying and validating ligand binding to biomolecular targets. Furthermore, NMR spectroscopy provides quantitative information, at atomic resolution, about the functional dynamics of biomolecules under physiological conditions, extending beyond static structural representations to reveal a more accurate depiction of macromolecules as dynamic ensembles rather than rigid architectures (Ziarek et al., 2017). For example, relaxation dispersion experiments can delineate the kinetic and thermodynamic parameters governing millisecond timescale conformational exchange processes, even revealing structural details of transient, sparsely populated excited states.

  - Advantages and Limitations of NMR

The ability of NMR spectroscopy to characterize the transient states of biomolecules is pivotal for understanding enzyme catalysis, protein folding, and allosteric regulation, offering insights that are unattainable with techniques limited to ground-state structures (Overbeck et al., 2020). This key advantage enables NMR to observe proteins in their natural state in solution, closely resembling physiological conditions. It provides a dynamic view of their behavior, which is often not possible with static techniques like X-ray crystallography (Szczepaniak, 2024). This allows for the characterization of intrinsically disordered proteins and the mapping of atom-specific changes upon ligand binding (Ziarek et al., 2017).

However, the applicability of NMR is constrained by the size of the macromolecule, as larger molecules broaden signals and increase spectral complexity, making data interpretation challenging for proteins exceeding approximately 30-40 kDa. Despite these limitations, advancements in isotopic labeling strategies, cryoprobes, and ultrafast NMR techniques have extended the upper limit of molecular weight, enabling structural elucidation of larger complexes (Ziarek et al., 2017).

The non-invasive nature of NMR enables investigation of protein dynamics across a wide range of timescales, from picoseconds to days, using various experimental protocols and observables. Specifically, NMR experiments can provide atomic-resolution information on these motions without requiring complete structural determination (Ziarek et al., 2017).

Figure 1: Key steps in NMR Spectroscopy

3.0 X-ray Crystallography

X-ray crystallography is a technique used to determine the three-dimensional atomic and molecular structure of a crystal by illuminating it with X-rays and analyzing the resulting diffraction pattern. This technique is a cornerstone of structural biology, providing atomic-level insights into macromolecular architecture through X-ray diffraction of ordered crystalline samples (Eschweiler, 2017). The technique relies on the principle that X-rays, when interacting with the electron clouds of atoms within a crystal lattice, produce a distinct diffraction pattern that can be computationally inverse-transformed to reconstruct the electron density map of the molecule (Eschweiler, 2017). This map then allows for the precise fitting of an atomic model, revealing the intricate three-dimensional arrangement of atoms. X-ray crystallography can generate atomic-level static structures of proteins, regardless of molecular weight, provided high-quality crystals are obtained (Liu et al., 2024). X-ray crystallography is an indispensable tool for determining high-resolution protein structures, including large protein molecules and complexes (up to 150 kDa or even larger) that are challenging for other methods (Zhu et al., 2023).

  - X-ray Crystallography Principles

This critical preliminary step involves inducing an ordered arrangement of macromolecules into a crystal lattice, a process highly dependent on factors such as protein concentration, pH, temperature, and the presence of precipitants and additives. Optimizing these conditions is often an empirical and iterative process, crucial for obtaining crystals suitable for high-resolution diffraction experiments (Narasimhan, 2024).

Despite significant advancements in high-throughput screening and robotic crystallization platforms, obtaining well-ordered crystals of sufficient size and quality remains a primary bottleneck in X-ray crystallography, often requiring extensive trial-and-error experimentation (Narasimhan, 2024). Once suitable crystals are obtained, they are mounted on a goniometer (an instrument used to measure angles or to rotate an object to a precise angular position) and exposed to an intense X-ray beam, which generates a unique diffraction pattern from which a three-dimensional image can be reconstructed (Aggarwal, 2021).

X-ray diffraction relies on Bragg's law, which states that the coherent scattering of X-rays by the regularly spaced atoms in a crystal lattice produces a pattern of diffracted beams, or "spots," on a detector at specific angles (Stollar & Smith, 2020). The intensity and spatial distribution of these diffraction spots are directly correlated with the electron density within the unit cell, providing the fundamental data for structural determination. While the amplitudes of these diffracted waves are directly measurable from the intensities of the diffraction spots, the crucial phase information is not, leading to the well-known crystallographic phase problem. This fundamental limitation necessitates the application of advanced phasing techniques to reconstruct the electron density map and subsequently build an atomic model (Pan et al., 2025).

  - Data Collection and Processing

The X-ray diffraction technique relies on the scattering of X-rays by electrons in the protein crystal, producing a pattern of diffraction spots whose intensities and positions are mathematically related to the macromolecule's three-dimensional structure. This scattering occurs because crystals comprise highly ordered, identical units, which cause photons to scatter in particular directions, producing a diffraction pattern on a detector (Kashinskaya, 2017).

The resulting diffraction pattern, a set of reflections that vary in intensity and phase, encodes information about the electron density within the crystal. Electron density needs both amplitude (measured) and phase (missing). However, the phase information for these diffracted waves is lost during the experiment, creating the "phase problem," which is a major challenge in X-ray crystallography (Graille et al., 2023).

To overcome this, various methods, such as molecular replacement, multiple isomorphous replacement, and multi-wavelength anomalous dispersion, are employed to determine the phases and reconstruct the electron density map. Once the initial electron density map is generated, iterative cycles of model building and refinement are performed to fit the atomic model into the electron density, adjusting atomic positions and conformations to minimize the discrepancy between observed and calculated diffraction data (Stollar & Smith, 2020).

  - Advantages and Limitations of X-ray Crystallography

While X-ray crystallography excels at providing high-resolution structural details, particularly for large complexes, the requirement for highly ordered crystals can introduce artifacts and limit the study of dynamic processes Furthermore, the process of obtaining an interpretable image from the raw diffraction data involves complex computational steps, including the calculation of Fourier transforms of structure factors, which represent the reflection amplitudes and phases, to derive the electron density map (Machat, 2017).

Dependence on crystallization can be a significant limitation, as many proteins, especially those that are exceptionally flexible or membrane-bound, are difficult or impossible to crystallize (Hsu et al., 2020). The static nature of X-ray crystallography also means it provides only a single snapshot of the protein, potentially overlooking dynamic aspects critical for function. Furthermore, the crystal packing itself can introduce artifacts, potentially leading to conformations that do not precisely reflect the protein's native state in solution (Wehlin, 2023).

Figure 2: Key steps in X-ray Crystallography

- Electron Microscopy

Electron microscopy is a technique that uses a beam of electrons rather than light to produce high-resolution, magnified images of specimens. Specifically, cryo-electron microscopy (cryo-EM) has become a valuable and powerful tool for visualizing the ultrastructure of biological macromolecules and their complexes, especially those that may be challenging for X-ray crystallography due to their size, flexibility, or membrane-bound nature (Jeyaraj et al., 2025). Crucially, it bypasses the need for crystallization while retaining phase information, achieving near-atomic resolution. Unlike X-ray diffraction, electron microscopes use electromagnetic lenses to reconstruct images directly, thereby alleviating the phase problem entirely (Jeyaraj et al., 2025). Cryo-EM employs cryogenics, specifically rapid freezing, using either a Transmission Electron Microscope (cryo-TEM) for high-resolution internal structures or a Scanning Electron Microscope (cryo-SEM) for surface topography.

Imaging samples at extremely low temperatures mitigates radiation damage and preserves the native structural integrity of biological specimens (Mejías et al., 2024). Unlike X-ray crystallography, cryo-EM allows for structural analysis of samples in a near-native hydrated state, often directly from solution, which is particularly advantageous for large, flexible, or membrane-bound complexes that resist crystallization. This capability has positioned cryo-EM as a cutting-edge technology for visualizing proteins in their native conformations at near-atomic resolution (Jeyaraj et al., 2025).

4.1 Principles of Electron Microscopy

The overarching principle of cryo-EM is to embed biological samples in a thin layer of vitreous ice, which preserves their native structure without the artifacts associated with chemical fixation or negative staining. This rapid freezing process, typically achieved by plunging grids into liquid ethane, immobilizes macromolecules in a near-physiological state, preventing dehydration and minimizing radiation damage during imaging. Subsequently, a focused stream of electrons penetrates these frozen-hydrated molecules, scattering from them and producing projection images on a detector. These are captured as two-dimensional projections from various orientations, and computationally reconstructed into a three-dimensional model (Alden et al., 2019). This 3D reconstruction is achieved by combining numerous 2D images, each representing a projection of the structure along the electron path, thereby enabling the direct visualization of their macromolecular complexity (Nogales & Scheres, 2015).

The ability to reconstruct 3D structures from 2D projections leverages sophisticated computational algorithms, including maximum-likelihood approaches, which have become standard due to advances in computing power (Shoemaker & Ando, 2017). This approach is particularly beneficial for large biomolecular systems that are challenging to crystallize, such as ribosomes or nuclear pore complexes (Zheng et al., 2015). A significant advantage of cryo-EM is its ability to resolve the entire conformational landscape of complex macromolecular systems directly from raw single-particle images. This single-particle analysis method contrasts with traditional X-ray diffraction by retaining phase information and offers the distinct advantage of resolving multiple conformational states from a heterogeneous sample (Chung & Lin, 2023)

  - Sample Preparation for Electron Microscopy

The critical initial step for cryo-EM involves preparing samples by rapidly freezing them in a thin layer of vitreous ice to maintain their native state and prevent ice crystal formation. This flash-freezing process, often accomplished by plunging grids into liquid ethane, is crucial for preserving macromolecular structures in a near-native, hydrated environment, which is paramount for high-resolution structural determination (Sánchez-García et al., 2023). This process, known as vitrification, rapidly cools a biological sample, causing its water to solidify into a glass-like, non-crystalline (amorphous) state rather than forming damaging ice crystals. This technique circumvents the limitations of traditional EM, which often requires drying or chemical fixation, thereby introducing potential artifacts, especially for delicate biological specimens containing significant water content (Sánchez-García et al., 2023). The rapid vitrification (which traps biomolecules in various configurational states, allowing the study of their conformational ensemble) is a significant advantage over methods that require a single rigid crystalline structure. The process ensures that the sample remains stable under vacuum at cryogenic temperatures, typically below -170°C, during imaging in the cryo-electron microscope (Wang & Zimanyi, 2024).

  - Image Acquisition and Processing

During cryo-EM image acquisition, samples are irradiated with an electron beam at various angles, generating two-dimensional projection images on a detector. These images are inherently noisy and exhibit low contrast because a low electron dose was used to minimize radiation damage to the biological specimen (Baker, 2018). To overcome this, numerous images of individual macromolecules are collected and subsequently computationally processed to enhance the signal-to-noise ratio and produce high-resolution three-dimensional reconstructions (Wang et al., 2013). Sophisticated software then identifies individual particle images from the acquired data, discerning genuine molecular representations from background noise and contaminants (Stollar & Smith, 2020).

Subsequently, these particles are grouped by similarity and averaged to improve the signal-to-noise ratio, enabling clearer structural information to emerge from the noisy raw data. This iterative alignment and classification process refines particle orientations and selectively pools homogeneous subsets, paving the way for the generation of a high-resolution 3D density map. This map, representing the averaged electron density, is then used to build an atomic model, providing insight into the macromolecule's precise structural organization (Jeyaraj et al., 2025). This reconstruction relies on sophisticated computational methods to align and average thousands to millions of individual particle projections, ultimately yielding a high-resolution density map that represents the macromolecule's electrostatic potential (Falk et al., 2023).

  - Advantages and Limitations of Electron Microscopy

While cryo-EM provides significant advantages for the structural determination of large and flexible macromolecules, it still faces challenges, such as the low contrast of biological specimens and the need for extensive computational processing to reconstruct high-resolution 3D structures from noisy 2D projections (Sanchez, 2023). Nevertheless, continuous advancements in detector technology, image processing algorithms, and cryo-EM methodologies have propelled the "resolution revolution," transforming it into a high-resolution tool capable of near-atomic structural determination (Jeyaraj et al., 2025).

Figure 3: Key steps in Cryo-EM

5.0 Comparative Analysis of Techniques

The selection of an appropriate structural biology technique, be it X-ray crystallography, NMR spectroscopy, or cryo-electron microscopy, hinges critically on the specific characteristics of the macromolecule under investigation and the biological question being addressed. For instance, X-ray crystallography generally yields the highest resolution for well-ordered, stable protein crystals. At the same time, NMR is uniquely suited for studying the dynamics and solution structures of smaller proteins. In contrast, cryo-electron microscopy excels in visualizing large, intricate macromolecular complexes, such as ribosomes or viruses, often at near-atomic resolution and in diverse conformational states, without the stringent requirement for crystallization. This adaptability enables cryo-EM to probe structures that are not amenable to other techniques, making it invaluable for systems such as amyloid fibers and large protein complexes (Jeyaraj et al., 2025)

Furthermore, single-particle cryo-electron microscopy allows for the structural characterization of heterogeneous samples, where it can resolve multiple conformations present in a single preparation, a feat not possible with techniques like X-ray crystallography or NMR spectroscopy, which rely on aggregate measurements. The inherent flexibility of many biological macromolecules often poses a significant challenge for X-ray crystallography and NMR, as these methods tend to average out conformational states, making cryo-EM a more suitable alternative for capturing these dynamic processes (Rosa-Trevín et al., 2016). For example, cryo-EM can provide detailed density maps for very large biomolecular systems, offering insights into architectural features of native-state conformations, even in cases where flexibility is inherent. Despite these individual strengths, the future of structural biology increasingly involves the synergistic application of these techniques, often referred to as hybrid methods, to overcome their respective limitations and achieve a more comprehensive understanding of complex biological systems (Shoemaker & Ando, 2017).

- An Integrated Structural Biology Approach to Macromolecular Characterization

X-ray crystallography, nuclear magnetic resonance (NMR) spectroscopy, and cryo-electron microscopy (cryo-EM) constitute the core experimental techniques for determining macromolecular structure, each method offering distinct strengths but also exhibiting inherent limitations related to sample requirements, size range, conformational heterogeneity, and achievable resolution. Consequently, modern structural biology increasingly adopts an integrated or hybrid approach, in which complementary data from multiple techniques are combined to generate more complete and biologically relevant structural models (Ward et al., 2013; Sali et al., 2015).

By integrating data from these techniques, researchers can construct comprehensive structural models that capture both high-resolution atomic details and dynamic conformational changes in macromolecular assemblies. This integrated approach enables a more comprehensive understanding of molecular mechanisms by leveraging the unique strengths of each technique (Fraser et al., 2020).

6.1 Rationale and Implementation of the Integrated Approach

The integrated structural biology strategy is driven by the recognition that no single technique can adequately capture the structural, dynamic, and functional complexity of macromolecules and their assemblies. X-ray crystallography provides atomic-resolution structures but requires well-ordered crystals and often yields static snapshots that may not reflect native conformational ensembles. NMR spectroscopy excels in characterizing dynamics, intrinsically disordered regions, and solution-state conformations, but is constrained by molecular size and spectral complexity. Cryo-EM, particularly in its single-particle form, enables structure determination of large and heterogeneous complexes without crystallization, though flexible regions may remain poorly resolved (Cheng, 2018; Wüthrich, 2001).

In an integrated workflow, high-resolution crystal structures of individual domains or subunits are frequently combined with lower-resolution cryo-EM density maps of intact assemblies. NMR data, such as residual dipolar couplings, chemical shift perturbations, and relaxation parameters, are incorporated to define flexible regions, validate interfaces, and describe conformational dynamics. Additional biophysical restraints from techniques such as small-angle X-ray scattering (SAXS), cross-linking mass spectrometry, and hydrogen–deuterium exchange further refine the resulting models (Sali et al., 2015). Computational integrative modeling platforms then reconcile these heterogeneous data into coherent structural representations that satisfy all experimental constraints.

6.2 Role of Computing Power and Artificial Intelligence

The combination of diverse datasets from the various methods requires extensive conformational sampling, probabilistic scoring, and model validation. Also, molecular dynamics simulations are routinely used to refine hybrid models, explore conformational landscapes, and bridge gaps between experimental resolutions (Dror et al., 2012)—all these benefit from increased computational capacity and advances in high-performance computing.

Artificial intelligence and machine learning have further accelerated this paradigm. Deep learning–based structure prediction methods, exemplified by AlphaFold (a remarkably accurate AI system developed by Google DeepMind that predicts a protein's 3D structure from its amino acid sequence) and related frameworks, now provide highly accurate models of protein domains and complexes, which can be docked into cryo-EM maps or used as starting points for integrative refinement (Jumper et al., 2021). AI-driven tools also enhance cryo-EM image processing, particle picking, and classification, improving map quality for flexible or heterogeneous samples. In NMR, machine learning approaches assist in resonance assignment, peak deconvolution, and the interpretation of sparse datasets (Jumper et al., 2021).

Collectively, advances in computing power and AI have transformed integrative structural biology from a largely manual, expert-driven process into a scalable, systematic framework. This convergence enables the routine characterization of complex, dynamic macromolecular systems that were previously intractable, thereby providing deeper insights into molecular mechanisms and function.

| Feature | NMR Spectroscopy | Cryo-Electron Microscopy | X-ray Crystallography |
| --- | --- | --- | --- |
| Sample State | Proteins/nucleic acids in solution | Biomolecules in frozen-hydrated (near-native) state | Crystalline samples |
| Primary Principle | Measures the magnetic properties of atomic nuclei (e.g., ¹H, ¹³C, ¹⁵N) in a strong magnetic field. Exploits nuclear spin transitions and through-bond/through-space interactions. | Images individual macromolecules frozen in vitreous ice with an electron beam. Computationally combines thousands of 2D particle images to reconstruct a 3D density map. | Measures the diffraction pattern generated when an X-ray beam strikes a crystalline lattice of the macromolecule. |
| Size Range | Best for small to medium proteins | Excellent for large complexes | Works for small to very large molecules, if crystals form |
| Resolution | High resolution for small molecules; decreases with size | Atomic to near-atomic resolution | Very high, often atomic |
| Major benefits | • Studies protein in a solution environment. • Provides unique information on dynamics and motion. • No crystallization needed. • Directly observes chemical states. | • No crystallization needed. • Requires tiny amounts of sample. • Excellent for huge complexes • Can capture structural heterogeneity. | • Provides the highest precision atomic models. • The "gold standard" for resolution and accuracy. • High-throughput for well-behaved proteins. • Can handle tiny proteins. |
| Major Disadvantages | • Size limitation, though advancing. • Requires isotope labeling • Data analysis is complex and time-consuming. • Lower resolution than the best X-ray structures. | • Achieving actual atomic resolution is still challenging. • Expensive instrumentation and computing. • Sample preparation (vitrification) can be tricky. • For small proteins, resolution can be lower. | • Requires high-quality crystals, which can be impossible to obtain for many targets. • Provides a static snapshot; dynamics are inferred. • Crystal packing may distort the native structure. |

Table 1: Comparison of NMR Spectroscopy, Cryo-EM, and X-Ray Crystallography

- Conclusion

An integrative structural biology approach, leveraging the strengths of X-ray crystallography, NMR spectroscopy, and cryo-EM, is the most logical new direction for deciphering macromolecular structures, allowing researchers to achieve a more complete and accurate understanding of structure-function relationships. This combined strategy is particularly valuable for unravelling the intricate mechanisms of large, dynamic biological assemblies that exhibit conformational heterogeneity, which often remain elusive when studied by individual techniques (Spahn & Penczek, 2009). For example, hybrid methods combining solid-state NMR with cryo-EM data have been shown to significantly improve the definition of rigid-body orientations within complex structures, yielding more accurate models than those derived from single techniques. Indeed, integrating data from cryo-EM density maps with NMR chemical shifts, complemented by all-atom molecular dynamics simulations, provides a robust framework for determining structures that are otherwise intractable with any single technique (Arvindekar et al., 2024). This integrative structural biology approach, based on the convergence of methods, is particularly crucial for elucidating the structures of challenging systems, such as large macromolecular assemblies, dynamic proteins, and intrinsically disordered proteins, which may not be fully characterized by a single technique (Arvindekar et al., 2024). With advances in computational biology, AI, and machine learning, there may yet be greater leaps in the near future.

COMPETING INTERESTS DISCLAIMER:

Authors have declared that they have no known competing financial interests OR non-financial interests OR personal relationships that could have appeared to influence the work reported in this paper.

References

Abraham, R. J., Fisher, J., & Loftus, P. (1988). Introduction to NMR Spectroscopy. New York: Wiley. https://www.wiley.com/en-us/Introduction+to+NMR+Spectroscopy-p-9780471918943

Aggarwal, S. (2021). Deuterium labelling of membrane and soluble proteins for neutron crystallography. https://theses.hal.science/tel-03477896

Alden, N. A., Varano, A. C., Dearnaley, W. J., Solares, M. J., Luqiu, W. Y., Liang, Y., Sheng, Z., McDonald, S. M., Damiano, J., McConnell, J. D. C., Dukes, M. J., & Kelly, D. F. (2019). Cryo‐EM‐On‐a‐Chip: Custom‐Designed Substrates for the 3D Analysis of Macromolecules. Small, 15(21) https://doi.org/10.1002/smll.201900918

Arvindekar, S., Majila, K., & Viswanath, S. (2024). Recent methods from statistical inference and machine learning to improve integrative modeling of macromolecular assemblies. arXiv (Cornell University). https://doi.org/10.48550/arxiv.2401.17894

Baker, M. (2018). Cryo-electron microscopy shapes up. Nature, 561(7724), 565-567. https://doi.org/10.1038/d41586-018-06791-6

Bala, S., Shinya, S., Srivastava, A., Ishikawa, M., Shimada, A., Kobayashi, N., Kojima, C., Tama, F., Miyashita, O., & Kohda, D. (2019). Crystal contact-free conformation of an intrinsically flexible loop in protein crystal: Tim21 as the case study. Biochimica et Biophysica Acta (BBA) - General Subjects, 1864(2), 129418. https://doi.org/10.1016/j.bbagen.2019.129418

Balerdi, V. (2021). Blurry Landscapes in Molecular Evolution A high-throughput directed evolution platform. HAL (Le Centre Pour La Communication Scientifique Directe). https://pastel.hal.science/tel-04338583

Cheng, Y. (2018). Single-particle cryo-EM—How did it get here and where will it go. Science https://doi.org/10.1126/science.aat4346

Lin, T.-Y., & Chung, S.-C. (2024). CLEAPA: a framework for exploring the conformational landscape of cryo-EM using energy-aware pathfinding algorithm. Bioinformatics. https://doi.org/10.1093/bioinformatics/btae345

Dror, R. O., Dirks, R. M., Grossman, J. P., Xu, H., & Shaw, D. E. (2012). Biomolecular simulation: A computational microscope for molecular biology. Annual Review of Biophysics, 41, 429–452. https://doi.org/10.1146/annurev-biophys-042910-155245

Eschweiler, J. (2017). Methods and Informatics for Gas-Phase Structural Biology and Drug Discovery. https://hdl.handle.net/2027.42/138785

Falk, M., Tobiasson, V., Böck, A., Hansen, C., & Ynnerman, A. (2024). A Visual Environment for Data Driven Protein Modeling and Validation. IEEE Transactions on Visualization and Computer Graphics, 30(8), 5063-5073. https://doi.org/10.1109/TVCG.2023.3286582

Graille, M., Sacquin-Mora, S., & Taly, A. (2023). Best Practices of Using AI-Based Models in Crystallography and Their Impact in Structural Biology. Journal of Chemical Information and Modeling https://doi.org/10.1021/acs.jcim.3c00381

Hsu, C. C., Buehler, M. J., & Tarakanova, A. (2020). The Order-Disorder Continuum: Linking Predictions of Protein Structure and Disorder through Molecular Simulation. Scientific Reports, 10(1), 2068. https://doi.org/10.1038/s41598-020-58868-w

Jeyaraj, G., Rajendran, A. K., Sathishkumar, K., Almutairi, B. O., Vadivelu, A., Chokkakula, S., Tu, Y., & Xie, W. (2025). High-resolution protein modeling through Cryo-EM and AI: current trends and future perspectives – a review. Frontiers in Molecular Biosciences, 12. https://doi.org/10.3389/fmolb.2025.1688455

Jumper, J., Evans, R., Pritzel, A., Green, T., Figurnov, M., Ronneberger, O., Tunyasuvunakool, K., Bates, R., Žídek, A., Potapenko, A., Bridgland, A., Meyer, C., Kohl, S. A. A., Ballard, A. J., Cowie, A., Romera-Paredes, B., Nikolov, S., Jain, R., Adler, J., Back, T., Petersen, S., Reiman, D., Clancy, E., Zielinski, M., Pacholska, M., Berghammer, T., Bodenstein, S., Silver, D., Vinyals, O., Senior, A. W., Kavukcuoglu, D., Kohli, P., & Hassabis, D. (2021). Highly accurate protein structure prediction with AlphaFold. Nature, 596(7873), 583–589. https://doi.org/10.1038/s41586-021-03819-2

Kashinskaya, D. (2017). Structural analysis and investigation of the Staphylococcus aureus ribosome and potential anticancer drugs. HAL (Le Centre Pour La Communication Scientifique Directe) https://theses.hal.science/tel-01987004

Machat, M. (2017). Computational geometry for the determination of biomolecular structures. https://tel.archives-ouvertes.fr/tel-01738053

Maia, R., Maciel, R., Filho, M., Trindade, R., De, M., Campos, A., Maia, R. T., Bauer, J., Bauerová‐Hlinková, V., Hazarika, Z., Rajkhowa, S., Nath, A. K., Sailapathi, A., Gunalan, S., Somarathinam, K., Kothandan, G., Kumar, D., Vidal-Limón, A., Huerta-Miranda, G. A., … Miranda‐Hernández, M. (2020). Homology Molecular Modeling - Perspectives and Applications. In IntechOpen eBooks. IntechOpen. https://doi.org/10.5772/intechopen.91624

Mejías, S. H., Cortajarena, A. L., Mincigrucci, R., Svetina, C., & Masciovecchio, C. (2024). A New Route for the Determination of Protein Structure and Function. arXiv https://doi.org/10.48550/arXiv.2404.07852

Narasimhan, S. (2024). Determining Protein Structures Using X-Ray Crystallography. Methods in Molecular Biology, 2787 https://doi.org/10.1007/978-1-0716-3778-4_23

Nogales, E., & Scheres, S. H. W. (2015). Cryo-EM: A Unique Tool for the Visualization of Macromolecular Complexity. Molecular Cell, 58(4), 677-689. https://doi.org/10.1016/j.molcel.2015.02.019

Ogunbiyi, E. O., Kupa, E., Adanma, U. M., & Solomon, N. O. (2024). Comprehensive review of metal complexes and nanocomposites: Synthesis, characterization, and multifaceted biological applications. Engineering Science & Technology Journal https://doi.org/10.51594/estj.v5i6.1215

Overbeck, J. H., Kremer, W., & Sprangers, R. (2020). A suite of 19F based relaxation dispersion experiments to assess biomolecular motions. Journal of Biomolecular NMR https://doi.org/10.1007/s10858-020-00348-4

Pan, T., Dramko, E., Miller, M. D., Phillips, G. N., & Kyrillidis, A. (2025). RecCrysFormer: Refined Protein Structural Prediction from 3D Patterson Maps via Recycling Training Runs. arXiv. https://doi.org/10.48550/arxiv.2503.00143

Sali, A., Berman, H. M., Schwede, T., Trewhella, J., Kleywegt, G., Burley, S. K., Markley, J., Nakamura, H., Adams, P., Bonvin, A. M. J. J., Chiu, W., Dal Peraro, M., Di Maio, F., Ferrin, T. E., Grünewald, K., Gutmanas, A., Henderson, R., Hummer, G., Iwasaki, K., ... Westbrook, J. D. (2015). Outcome of the First wwPDB Hybrid/Integrative Methods Task Force Workshop. Structure, 23(7), 1156–1167. https://doi.org/10.1016/j.str.2015.05.013

Sanchez, E. Z. (2023). Direct structural/functional characterization of therapeutically relevant membrane protein complexes and soluble oligomers by NALIM (Native Liquid MALDI) - TOF MS, an original mass spectrometry approach. HAL (Le Centre Pour La Communication Scientifique Directe). https://theses.hal.science/tel-04326450

Sanchez-Garcia, R., Saur, M., Vargas, J., Poelking, C., & Deane, C. M. (2023). CESPED: a new benchmark for supervised particle pose estimation in Cryo-EM https://doi.org/10.48550/arxiv.2311.06194

Schulz, G. E. (2023). The paths to the atomic structures of proteins and nucleic acids. ChemTexts, 9(3). https://doi.org/10.1007/s40828-023-00180-x

Shoemaker, S. C., & Ando, N. (2018). X-rays in the Cryo-Electron Microscopy Era: Structural Biology’s Dynamic Future. Biochemistry, 57(3), 277. https://doi.org/10.1021/acs.biochem.7b01031

Stollar, E. J., & Smith, D. P. (2020). Uncovering protein structure. Essays in Biochemistry, 64(4), 649-680. https://doi.org/10.1042/ebc20190042

Szczepaniak, F. (2024). Efficient sampling of complex biomolecular assemblies using molecular simulations. Knowledge@UChicago (University of Chicago) https://doi.org/10.6082/uchicago.13919

Thompson, M. C., Yeates, T. O., & Rodriguez, J. A. (2020). Advances in methods for atomic resolution macromolecular structure determination. F1000Research. https://doi.org/10.12688/f1000research.25097.1

Tokunaga, Y., Viennet, T., Arthanari, H., & Takeuchi, K. (2020). Spotlight on the Ballet of Proteins: The Structural Dynamic Properties of Proteins Illuminated by Solution NMR. International Journal of Molecular Sciences, 21(5), 1829. https://doi.org/10.3390/ijms21051829

Wang, L., & Zimanyi, C. M. (2024). Cryo-EM sample preparation for high-resolution structure studies. Acta Crystallographica Section F Structural Biology Communications, 80(4), 74-81. https://doi.org/10.1107/S2053230X24002553

Wehlin, A. (2023). Structural and Functional Studies on Evolutionary Repurposing of H-box/NC-proteins: From Host Factor to Virus Protein. Linköping University Electronic Press. https://doi.org/10.3384/9789180752596

Wüthrich, K. (2001). The way to NMR structures of proteins. Nature Structural Biology https://doi.org/10.1038/nsb1101-923

Zheng, H., Handing, K. B., Zimmerman, M., Shabalin, I. G., Almo, S. C., & Minor, W. (2015). X-ray crystallography over the past decade for novel drug discovery – where are we heading next?. Expert Opinion on Drug Discovery, 10(9), 975. https://doi.org/10.1517/17460441.2015.1061991

Zhu, K., Yuan, C., Du, Y., Sun, K., Zhang, X., Vogel, H., Jia, X., Gao, Y., Zhang, Q., Wang, D., & Zhang, H. (2023). Applications and prospects of cryo-EM in drug discovery. Military Medical Research, 10(1), 10. https://doi.org/10.1186/s40779-023-00446-y

Ziarek, J. J., Baptista, D., & Wagner, G. (2017). Recent developments in solution nuclear magnetic resonance (NMR)-based molecular biology. Journal of Molecular Medicine, 96(1), 1-8. https://doi.org/10.1007/s00109-017-1560-2