Review Form 3

	

	Journal Name:
	Journal of Advances in Medical and Pharmaceutical Sciences 

	Manuscript Number:
	Ms_JAMPS_142213

	Title of the Manuscript: 
	DEVELOPMENT AND VALIDATION OF A UV SPECTROSCOPIC METHOD FOR RITONAVIR ANALYSIS IN BULK DOSAGE FORM

	Type of the Article
	


	PART  1: Comments



	
	Reviewer’s comment

Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review.

	Author’s Feedback (It is mandatory that authors should write his/her feedback here)



	Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part.


	In this manuscript, titled “development and validation of a UV spectrophotometric method for Ritonavir analysis in bulk dosage form” , the authors demonstrate that the UV spectrophotometric method is more economical for quantifying ritonavir concentration in laboratories lacking modern instruments. It showed that this method is both sensitive and specific.
	

	Is the title of the article suitable?

(If not please suggest an alternative title)


	NO.

development and validation of a UV spectrophotometric method for Ritonavir analysis in bulk drug substance – Aligning with the description of Ritonavir API in the methodology section 
	

	Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here.


	I suggest correction of “LOD: 0314” to be written as  0.314
	

	Is the manuscript scientifically, correct? Please write here.
	It is scientifically correct. The UV spectrophotometric method following the principle of Beer Lambert has been used for ages and still in use both in research, industry and hospital laboratories. Appropriate validation metrics (LOD, LOQ, ) were also included to prove the accuracy of the paper.
	

	Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form.
	References should be properly cited. They do appear to not follow a particular style or order and more should be added.
	

	Is the language/English quality of the article suitable for scholarly communications?


	Yes
	

	Optional/General comments


	Introduction is not comprehensively written and the rational or relevance of the study is not amplified as it should. Lots of typos spotted which showed it wasn’t thoroughly reviewed before submission.

Table 3  784.7ug/ml should be corrected to 74.8
Instruments under introduction is spelt wrongly 


	


	PART  2: 



	
	Reviewer’s comment
	Author’s Feedback (It is mandatory that authors should write his/her feedback here)



	Are there ethical issues in this manuscript? 


	(If yes, Kindly please write down the ethical issues here in details)


	


Reviewer details:

Olorunfemi Ayeotan, Lewis Katz School of Medicine, Temple University, United States
Created by: DR
              Checked by: PM                                           Approved by: MBM
   
Version: 3 (07-07-2024)

