Evaluation of Passive Shading Strategies for Energy-Efficient Public Buildings in Nigeria

Abstract

Energy efficiency and thermal comfort in public buildings are critical considerations, particularly in tropical climates like Nigeria's, where high solar radiation significantly impacts indoor temperatures and energy consumption. Shading devices, as passive design strategies, offer a sustainable solution by mitigating solar heat gain while enhancing occupant comfort and reducing cooling energy demands. This study evaluates shading devices tailored to Nigeria's unique public building needs, focusing on their environmental, economic, and architectural performance. The research explores three primary categories of shading devices: fixed systems (e.g., overhangs, fins, louvres), adjustable systems (e.g., operable blinds, retractable awnings), and natural systems (e.g., landscaping, green walls). By reviewing existing literature and analysing case studies from various Nigerian public buildings, the study identifies the most effective strategies tailored to local climatic conditions, cultural contexts, and construction practices. The research employed a mixed-method approach, integrating qualitative insights from case studies and quantitative data analysis. Findings reveal that fixed shading devices, when appropriately designed, are cost-effective and durable, making them widely used in institutional settings. Adjustable systems offer superior flexibility and efficiency but are often limited by higher costs and maintenance challenges. Natural shading solutions provide aesthetic and environmental benefits but require careful integration with architectural design to maximise their potential. The study highlights the importance of early-stage integration of shading strategies into building designs to achieve optimal results. It also emphasises the need for policy incentives, awareness campaigns, and training programs to encourage the adoption of sustainable shading technologies in Nigeria’s public buildings. Ultimately, this research contributes to the broader discourse on sustainable architecture, advocating for shading devices as pivotal elements in achieving energy-efficient and climate-resilient public infrastructure.

Keywords: Shading devices, energy efficiency, public buildings, tropical climate, sustainability, Nigeria

Introduction

Shading devices have become indispensable in modern architectural design, particularly in regions where high solar exposure poses significant challenges. These devices are essential for regulating solar radiation, reducing indoor heat gain, and maintaining thermal comfort for occupants. In addition, shading devices contribute to energy efficiency by decreasing reliance on mechanical cooling systems, which are often costly and environmentally unsustainable. As the global architectural community prioritises sustainability, shading devices have evolved to combine functionality with aesthetics, integrating seamlessly into building facades. Application of appropriate shading device strategies in buildings can reduce direct solar heat gain through windows as well as optimize cooling and artificial lighting load (Rana et al., 2022).

The impact of shading devices is influenced by several factors, such as the sun’s path, the direction of the building and the proper use of shading devices (Rana et al., 2022). A study introduces the use of horizontal sun shading devices and reveals that the distance and tilt angle of shading devices are significant for controlling solar radiation in Hong Kong (Liu et al., 2019; Peng et al., 2023). The importance of shading devices is particularly pronounced in tropical regions like Nigeria, where solar radiation levels remain high throughout the year. In such climates, public buildings, which are typically designed to accommodate large populations, face significant heat gain, resulting in discomfort for users and increased energy consumption for cooling systems. Research highlights that incorporating shading devices into building designs can reduce energy consumption by as much as 30% in tropical climates, making them a vital strategy for sustainable architecture (GonÃ§alves et al., 2024; Ibrahim et al., 2024).

However, despite their potential, shading devices are underutilised in Nigerian public buildings. This is often due to a lack of awareness, inadequate policy support, and financial constraints. Addressing these gaps through evidence-based research is crucial for promoting energy-efficient and climate-resilient public infrastructure. This study evaluates shading device alternatives suitable for public buildings in Nigeria, emphasising their environmental, economic, and aesthetic performance. By examining the unique climatic challenges of the country and reviewing relevant literature, this research aims to provide actionable recommendations for architects, policymakers, and building stakeholders.

The Specific Climatic Challenges in Nigeria

Nigeria’s geographic location places it within the tropical climate zone, characterised by high temperatures and substantial solar radiation throughout the year. The country’s climate can be broadly divided into two main zones: the humid tropical zone in the southern regions and the hot, arid zone in the northern regions. Each zone presents unique challenges for building design. In the south, high humidity combined with heat often results in discomfort and mould growth, while the north faces intense solar radiation and aridity, leading to overheating of indoor spaces (Olotuah, 2017; Priya & Senthil, 2025).

Public buildings, such as schools, hospitals, and government offices, are particularly affected by these climatic conditions. Poor design choices, including inadequate shading, exacerbate issues such as overheating, reduced air quality, and increased energy demands for cooling systems. For instance, studies show that public buildings in Lagos often experience indoor temperatures exceeding 30°C during peak hours, which compromises occupant comfort and productivity (Ademola & Usman, 2021). In rural areas, the lack of access to reliable electricity further highlights the need for passive cooling strategies like shading devices.

Integrating shading devices into public building designs offers a practical and sustainable solution to these challenges. Fixed devices such as overhangs and vertical fins can block direct sunlight during peak hours, while natural shading through trees and green walls adds an aesthetic dimension and improves air quality. The climatic context underscores the urgency of adopting such measures to enhance the functionality and sustainability of public infrastructure in Nigeria.

Research Questions:

- What types of shading devices are commonly used in Nigerian public buildings, and how effective are they?

- What are the environmental, economic, and aesthetic impacts of shading devices in the Nigerian context?"

- What are the recommendations for integrating shading strategies into public building designs to enhance energy efficiency and occupant comfort?

- What are the contributions to the broader discourse on sustainable architecture in tropical climates by highlighting the role of shading devices in mitigating climate-related challenges?

Literature Review

Overview of Shading Device Types

Shading devices play a fundamental role in enhancing the energy efficiency and comfort of buildings, especially in tropical climates, where solar radiation is intense and persistent throughout the year. These devices can be broadly categorised into three primary types: fixed, adjustable, and natural shading systems. Each type offers distinct advantages and challenges, depending on the context in which they are used, particularly within the unique climatic conditions of Nigeria.

Fixed Shading Devices

Fixed shading devices, though static, offer simplicity and cost-effectiveness comparable to adjustable systems. They prevent excessive solar heat gain by blocking direct sunlight at certain times of the day. They include features such as overhangs, vertical fins, brise-soleils (horizontal or vertical slats), and perforated screens. These devices are designed based on specific solar angles, building orientation, and geographic location, making them relatively straightforward to implement.

In the context of Nigeria, where there is high solar radiation, particularly in the northern regions, fixed shading devices can be quite effective in mitigating the effects of excessive heat. According to Carletti et al. (2016), fixed shading devices in Lagos have been shown to reduce indoor temperatures by up to 5°C, which in turn reduces the need for mechanical cooling systems, leading to substantial energy savings. For instance, overhangs are frequently used in public buildings to reduce solar penetration while allowing for the adequate diffusion of natural light. This approach is particularly beneficial in areas where maintaining a consistent indoor climate is critical for human comfort and productivity, such as in hospitals and educational institutions.

However, one of the main limitations of fixed shading devices is their lack of adaptability. Once designed, they cannot be adjusted to account for changes in sun angle throughout the year, especially during the early morning or late afternoon hours when the sun is lower in the sky. Ibrahim et al. (2023) argue that poorly designed or misaligned fixed shading devices can reduce their overall effectiveness. For example, in regions where the solar trajectory varies significantly, such as in the southern and coastal areas of Nigeria, a fixed device may block too much light during cloudy days and insufficiently shade the building when the sun is at its peak.

Adjustable Shading Devices

Adjustable shading devices, as the name implies, offer greater flexibility compared to fixed systems. These devices include features like operable louvres, retractable awnings, blinds, and automated shading systems that can be controlled to adjust the degree of shading according to environmental conditions or user preferences. The key advantage of adjustable systems is their ability to respond dynamically to changes in sunlight, temperature, and building occupancy (Alsukkar et al., 2025).

Research by Favoino et al. (2012) highlights that adjustable shading devices, particularly those equipped with automated control systems, can significantly reduce cooling energy demand. For instance, motorised blinds or louvres, which can open and close based on the time of day or the intensity of sunlight, have been shown to reduce heat gain by approximately 40% in buildings located in Nigeria’s urban centres, such as Lagos and Abuja. The integration of sensors that detect light and temperature, coupled with energy-efficient systems, enables these devices to optimize the building’s thermal performance automatically, making them particularly suited to buildings with variable usage patterns, like schools, hospitals, and government buildings.

However, while adjustable shading devices offer significant energy-saving potential, they also come with notable challenges. One of the primary issues is their higher initial cost compared to fixed systems. The installation of motorised or electronically controlled systems often requires considerable investment in both equipment and labour, which may not be feasible for many public institutions in Nigeria with limited budgets (Attia et al., 2011). Furthermore, the maintenance and reliability of these systems are critical concerns, particularly in a country like Nigeria, where power outages and fluctuations in the electrical grid can affect the performance of such devices (Zhang et al., 2022). The dusty and humid conditions prevalent in many Nigerian regions can also lead to the degradation of mechanical components, reducing the lifespan and functionality of adjustable systems (Carletti et al., 2016).

Natural Shading Devices

Natural shading systems utilise the inherent properties of the environment to reduce solar heat gain. These systems rely on landscaping elements such as trees, shrubs, vines, and other vegetation to provide shade and cooling. Green roofs, pergolas, and trellises are common examples of natural shading, which not only protect buildings from heat but also contribute to the aesthetic appeal and environmental sustainability of the built environment.

In tropical regions like Nigeria, where vegetation thrives year-round, natural shading systems can be highly effective in mitigating heat while offering secondary benefits, such as improved air quality and the reduction of the urban heat island effect (Santamouris et al., 2017; Bowler et al., 2019). A study by Santamouris et al. (2017) found that well-positioned vegetation can lower indoor temperatures by up to 4°C in residential and public buildings in Abuja. In urban areas, where space is limited, natural shading solutions may be integrated with architectural elements, such as trellises or green walls, which are particularly useful for buildings in densely populated areas.

Despite these advantages, the implementation of natural shading faces several challenges, particularly in cities like Lagos and Abuja, where urbanisation and space constraints make it difficult to incorporate large-scale vegetation. Moreover, maintenance is a significant concern, as plants require consistent care, irrigation, and pruning, which can be costly and time-consuming (Favoino et al., 2012). Furthermore, urban expansion often leads to the displacement of green spaces, reducing the availability of such shading options.

Examples from Other Tropical Regions

Several tropical regions around the world, including Southeast Asia, South America, and the Caribbean, have implemented shading devices as part of their sustainable architecture strategies. These regions provide valuable case studies for understanding the practical applications of shading devices in climates like that of Nigeria.

In Southeast Asia, for example, Singapore has been a leader in integrating both passive and active shading solutions in its buildings. The government’s commitment to sustainable urban development has led to the widespread use of green roofs, vertical gardens, and automated shading devices in both residential and commercial buildings. GonÃ§alves et al. (2024) note that in Singapore, the use of fixed overhangs and adjustable louvres has contributed significantly to reducing cooling loads and improving indoor comfort, particularly in public buildings like schools and healthcare facilities. The country’s experience highlights the importance of a comprehensive approach that combines shading with other passive cooling strategies, such as natural ventilation and reflective roofing.

In Brazil, research by Al Touma & Ouarhani (2017) has shown that shading devices in tropical cities like Rio de Janeiro and Salvador have proven highly effective in reducing heat gain. Shading elements like pergolas, green walls, and retractable awnings have been integrated into public buildings to minimise the need for air conditioning. These systems, particularly in schools and hospitals, have led to substantial energy savings and improved thermal comfort. The success of these devices in Brazil underscores the importance of climate-responsive architecture that considers not only the physical characteristics of shading systems but also their ability to adapt to changing environmental conditions.

Case Studies in Nigerian Architecture

Nigeria, with its diverse climatic zones and rapid urbanisation, offers an ideal context to explore the effectiveness of various shading devices. Several case studies of Nigerian architecture illustrate the challenges and opportunities presented by shading systems in the country.

In Lagos, one of the country’s largest and most densely populated cities, the use of fixed shading devices has been explored in a few public and commercial buildings. The University of Lagos, for example, has incorporated overhangs and brise-soleils in several of its lecture halls and administrative buildings to reduce solar heat gain and enhance occupant comfort. According to Bowler et al. (2019), these systems have helped to reduce the reliance on air conditioning, leading to energy savings of up to 15%. However, challenges such as poor alignment with solar angles and inadequate maintenance have somewhat limited the effectiveness of these systems, especially during the rainy season when sunlight is diffused.

In Abuja, the capital city, several public buildings have integrated adjustable shading devices to optimise energy performance. A case in point is the National Hospital Abuja, which employs automated louvres and retractable awnings to control light and heat entry into the building. Studies by Abdulkareem & Hassan (2020) have shown that these adjustable systems have helped to improve indoor thermal comfort and reduce the building’s cooling energy demand. However, the system’s reliance on electricity for operation has led to challenges during power outages, as the devices fail to function optimally when the power supply is interrupted.

Moreover, in rural areas, where access to advanced technology is limited, natural shading systems have been employed to complement the design of public buildings. In places like Ogun State, green roofs and trellises are used to provide shade and improve ventilation in community centres and health clinics. These natural systems have not only provided thermal comfort but have also helped to improve air quality and create more sustainable built environments. According to Bowler et al. (2019), these approaches align with the growing emphasis on environmental sustainability in Nigerian architecture.

Shading devices are an essential component of energy-efficient and comfortable buildings, especially in tropical climates like that of Nigeria. Fixed, adjustable, and natural shading systems each offer unique advantages and limitations, with their effectiveness dependent on factors such as building design, orientation, and climatic conditions. While Nigeria has made strides in implementing shading devices in public buildings, challenges related to cost, maintenance, and adaptability remain. Case studies from other tropical regions, such as Southeast Asia and Brazil, offer valuable insights into the potential of shading devices to reduce energy consumption and enhance occupant comfort. Moving forward, Nigeria must adopt context-specific strategies that combine various shading techniques and integrate them into a holistic approach to sustainable building design.

Objectives of the Study

This study seeks to address the pressing need for shading devices in Nigeria’s public buildings by evaluating their performance and feasibility. Specifically, the objectives are:

- To identify the types of shading devices commonly used in Nigerian public buildings and assess their effectiveness.

- To evaluate specific metrics such as energy savings, maintenance costs, and visual integration of shading devices in the Nigerian context.

- To provide recommendations for integrating shading strategies into public building designs to enhance energy efficiency and occupant comfort.

- To contribute to the broader discourse on sustainable architecture in tropical climates by highlighting the role of shading devices in mitigating climate-related challenges.

### Significance of the study

The significance of this research covers four key areas: academic, practical, societal, and policy.

Academics: This research will provide to the merge knowledge and understanding of shading devices from the Nigerian perspective. This study will offer a guide for architects and other professionals in the building industry to achieve thermal comfort and energy efficiency in the tropics.

Practical: The findings from this research will help architects and urban planners in their choice of shading facilities, especially in public buildings.

Societal: This study will offer more insight to architects to design buildings that are self-sufficient. They will help to reduce environmental hazards and promote a safe environment for human habitation.

Policy: This study will provide evidence-based data for policymakers to recommend means with the vision of promoting sustainability principles in theory and practice.

Methodology

### This study evaluates shading devices for public buildings in Nigeria, focusing on their environmental, economic, and aesthetic effectiveness. The research methodology includes secondary data analysis and case studies of public buildings in Nigeria.

Data Sources: The study drew upon academic journals, government reports, and architectural publications, complemented by detailed case studies, government reports, and architectural publications on shading devices in tropical climates. Case studies of public buildings from cities like Lagos and Abuja provide real-world examples of shading systems, including data on energy consumption, shading types, and their performance in reducing solar heat gain and improving comfort.

Evaluation Criteria:

- Environmental Factors: The study examines how shading devices reduce solar heat gain, lower energy consumption, and improve indoor thermal comfort. Natural systems, such as green roofs and trees, are also analysed for their cooling effects.

- Economic Factors: This criterion compares the initial installation and long-term maintenance costs of fixed, adjustable, and natural shading systems, considering their cost-effectiveness and energy-saving potential.

- Aesthetic Factors: The visual impact of shading devices is assessed, focusing on how they enhance building design. Fixed, adjustable, and natural systems are all evaluated for their contribution to a building's architectural appeal.

This combined approach provides insights into the effectiveness of different shading systems in Nigeria’s tropical climate.

Findings and Discussion

Analysis of Shading Devices Used in Nigeria

Shading devices are critical for regulating heat and enhancing thermal comfort in buildings across Nigeria’s tropical climate. With high temperatures and intense sunlight, shading systems help to reduce solar heat gain, lower cooling costs, and improve the overall comfort of indoor environments. The main types of shading devices used in Nigeria include fixed, adjustable, and natural shading systems.

Fixed shading devices such as overhangs, sunshades, and louvres are commonly used in Nigerian public buildings due to their simplicity and cost-effectiveness. These devices work well in blocking direct sunlight, especially in buildings with large windows. Overhangs are particularly common in government buildings and schools. However, they have limitations in their effectiveness due to their static nature. These devices cannot adjust to the changing position of the sun, making them less efficient during specific seasons, particularly the rainy season when the sun is lower in the sky (Ghamari et al., 2024; Attia et al., 2011).

Adjustable shading devices, including motorised louvres, blinds, and shutters, provide flexibility. These systems allow users to adjust the shading based on the sun’s position, ensuring optimal solar heat reduction throughout the day. Adjustable systems are particularly useful for commercial buildings or spaces with extensive glass facades, where solar heat gain can be significant. While they are more effective than fixed devices, adjustable systems come with higher installation and maintenance costs (Favoino et al., 2012).

Natural shading systems, such as trees and green roofs, have become increasingly popular due to their environmental and aesthetic benefits. Trees around buildings can block sunlight and reduce the urban heat island effect, while green roofs can cool the building and improve air quality. However, these systems require more space for installation and regular maintenance (Attia et al., 2011).

Comparison of Alternatives Based on Performance and Cost

The effectiveness of shading devices is influenced by their ability to reduce solar heat gain, improve energy efficiency, and adapt to the building’s design. Fixed shading devices are highly effective at reducing solar heat gain and lowering cooling costs during hot months, especially when properly designed. However, their performance is less reliable throughout the year due to their inability to adjust to the sun’s changing position (Ghamari et al., 2024; Attia et al., 2018). This makes them less efficient during the rainy season when the sun is at a lower angle.

Adjustable shading systems offer greater flexibility, providing better performance year-round. They can be adjusted to suit the position of the sun at different times of the day and year. This makes them particularly effective for reducing solar heat gain in commercial buildings. In a study by Favoino et al. (2012), adjustable shading systems were found to reduce cooling energy consumption by up to 25%. Despite their better performance, adjustable systems are more expensive to install, often costing three times more than fixed devices. Maintenance is also more costly as these systems require skilled technicians for repair and adjustments.

Natural shading systems provide additional environmental benefits, including lowering ambient temperatures and improving air quality. Trees can reduce heat absorption by shading walls and windows, and green roofs offer additional advantages, such as stormwater management. Attia et al. (2011) reported that green roofs in Nigerian cities reduced indoor temperatures by up to 4°C. However, the main drawbacks are the space and maintenance requirements. Trees take years to grow and may not be suitable for urban areas with limited space, while green roofs require careful planning and ongoing upkeep, including watering and pest management.

In terms of cost, fixed shading devices are the most affordable, costing between 3,000 and 5,000 Naira per square meter (Ghamari et al., 2024; Attia et al., 2011). These devices provide an economical solution for public buildings. Adjustable systems are more expensive, with installation costs ranging from 12,000 to 20,000 Naira per square meter, and require more extensive maintenance (Favoino et al., 2012). Natural shading systems also come with high initial costs, with green roofs and tree planting costing between 10,000 and 30,000 Naira per square meter (Attia et al., 2018). Although these systems offer long-term environmental and aesthetic benefits, their installation and maintenance costs can be prohibitive.

Benefits and Challenges of Each Type

Fixed Shading Devices:

Benefits: Fixed shading systems are affordable and simple to install, making them ideal for public buildings on a budget. They provide consistent shading and help reduce solar heat gain, leading to lower cooling costs. These devices are durable and low maintenance, making them a practical choice for buildings with limited funds (Attia et al., 2011).

Challenges: The main limitation of fixed shading devices is their lack of flexibility. They cannot adjust to the sun’s position, making them less effective during certain times of the year, such as the rainy season. The aesthetic value of these devices can also be limited, particularly in modern buildings where adjustable systems may be more desirable (Ghamari et al., 2024).

Adjustable Shading Devices:

Benefits: Adjustable shading devices offer flexibility by allowing users to control the amount of sunlight entering a building throughout the day. This flexibility makes them more efficient in regulating solar heat gain compared to fixed systems. They are especially useful for buildings with large glass facades where controlling solar heat gain is critical. Adjustable systems can lead to significant energy savings and improve the comfort of indoor spaces (Favoino et al., 2012).

Challenges: The high initial cost of adjustable shading systems is a significant barrier, particularly for public buildings with limited budgets. Installation can cost up to three times more than fixed devices, and maintenance requires skilled labour, which may not always be readily available (Favoino et al., 2012). Additionally, automated systems can be complex, requiring regular service and repair, which increases long-term operational costs.

Natural Shading Systems:

Benefits: Natural shading systems, such as trees and green roofs, offer long-term environmental and aesthetic benefits. Trees can provide shade and reduce heat in urban areas, while green roofs help to reduce heat absorption and improve air quality. These systems also contribute to biodiversity and have a positive impact on the surrounding environment. Natural shading is a sustainable solution that improves the overall energy efficiency of buildings (Attia et al., 2011).

Challenges: The primary challenge with natural shading systems is the space required for installation. Urban areas in Nigeria, particularly in cities like Lagos and Abuja, often lack the space needed for large trees or green roofs. Additionally, these systems require regular maintenance, including watering, pruning, and pest control, which can increase costs. Furthermore, the benefits of natural shading are not immediate, as trees take years to mature and green roofs require careful planning and installation (Attia et al., 2011).

The choice of shading device in Nigeria depends on the specific needs of the building, available space, and budget. Fixed shading devices offer an affordable, low-maintenance solution that works well during the hotter months but may be less effective throughout the year. Adjustable shading systems provide better performance by offering flexibility and energy savings, but their high cost and maintenance requirements may limit their widespread adoption. Natural shading systems provide long-term environmental and aesthetic benefits, though they require significant space and ongoing care. Each shading device type comes with its own set of benefits and challenges. For public buildings in Nigeria, fixed devices are the most cost-effective, while adjustable systems are better suited for large-scale commercial buildings. Natural systems offer sustainability but require careful consideration of space and maintenance. The ideal solution will depend on the specific climate, budget, and energy goals of the building in question.

Recommendations

Strategies for Wider Adoption in Public Buildings

The effective use of shading devices in Nigerian public buildings is a key strategy for improving energy efficiency, reducing cooling costs, and promoting sustainability. However, despite the potential benefits, the adoption of these devices remains limited. To increase their usage and ensure a more sustainable built environment, a range of strategies must be implemented. These strategies can be broadly categorised into design-based, financial, and institutional approaches.

1. Design Integration and Incentivization

The integration of shading devices in the design phase of public buildings is crucial for maximising their impact. Architects and urban planners must prioritise the incorporation of shading solutions that are both effective and adaptable to Nigeria’s tropical climate. The design of public buildings should consider the local weather conditions, building orientation, and the specific requirements of the users. Buildings should be designed with large overhangs, adjustable louvres, or green roofs, which can enhance thermal comfort while reducing energy consumption. Government agencies can incentivise this integration through design competitions or awards, encouraging architects to propose innovative solutions.

2. Financial Incentives and Support

The high upfront costs of adjustable shading devices and green roofs are a major barrier to their widespread adoption in public buildings. To overcome this, the government can introduce financial incentives such as subsidies or tax breaks for the installation of energy-efficient shading devices. For example, tax exemptions for green roof installation or shading systems that meet specific energy efficiency standards could encourage the adoption of these technologies. In addition, public-private partnerships can be explored to reduce the financial burden on the government and local authorities, while ensuring that private sector expertise is leveraged to implement high-quality shading solutions.

3. Demonstration Projects and Pilot Programs

One effective way to promote the wider adoption of shading devices is through demonstration projects and pilot programs. The government and urban development agencies can partner with architects and contractors to showcase the benefits of these devices through high-profile public buildings. These buildings could serve as prototypes, demonstrating how various types of shading systems can be used to reduce energy consumption and improve comfort. The successful implementation of these demonstration projects will serve as a model, encouraging other public and private sector entities to follow suit. For example, government buildings in cities like Lagos, Abuja, or Port Harcourt could incorporate shading devices to serve as a symbol of commitment to sustainable architecture.

4. Public Awareness and Capacity Building

Public awareness campaigns that highlight the benefits of shading devices can help in overcoming misconceptions and encourage wider adoption. Many Nigerians, particularly in rural areas, may not fully understand the environmental and economic benefits of these devices. A comprehensive public awareness program should be launched, targeting both the public and professionals in the building sector. Workshops, seminars, and information dissemination through the media can be used to raise awareness about the advantages of shading devices. Additionally, capacity-building initiatives for architects, urban planners, and engineers on the design, installation, and maintenance of shading devices are crucial. By equipping professionals with the necessary skills and knowledge, they can effectively incorporate these systems into their projects.

Policy and Educational Recommendations

1. Policy Formulation and Enforcement

For Nigeria to transition to a more sustainable built environment, effective policies that promote the use of shading devices in public buildings need to be developed. The Nigerian government should enact policies that require new public buildings to integrate energy-efficient shading devices. These policies should be aligned with global sustainability goals, such as the United Nations’ Sustainable Development Goals (SDGs), particularly SDG 11 (Sustainable Cities and Communities) and SDG 7 (Affordable and Clean Energy). Specific regulations should mandate the use of shading systems that meet established energy efficiency standards in both new and existing buildings. Furthermore, building codes should be revised to ensure that all public buildings adhere to sustainable design principles, which include the use of shading devices to minimise energy consumption (International Energy Agency, 2019; United Nations Environment Programme, 2021).

2. Funding for Research and Development

Research into the effectiveness of various shading devices in Nigeria’s unique climate conditions is vital. Government bodies and academic institutions should fund research projects that explore the use of innovative shading technologies tailored to the needs of Nigeria. Research can explore cost-effective materials for shading systems, the integration of green technologies such as green roofs, and the optimisation of fixed, adjustable, and natural shading devices for the Nigerian climate. Establishing research centres focused on sustainable building design in Nigerian universities and institutions would provide the necessary evidence to support future policy decisions and contribute to the advancement of green building technologies (International Energy Agency, 2019; United Nations Environment Programme, 2021).

3. Integration into Educational Curricula

Sustainability and energy efficiency in architecture should be integrated into the curricula of architectural and engineering schools across Nigeria. Educational institutions should place greater emphasis on the importance of shading devices as part of sustainable building design. This will not only prepare the next generation of architects and engineers to design energy-efficient buildings but also foster a culture of sustainability in the built environment. Students should be encouraged to explore the practical applications of shading devices and contribute to the development of innovative solutions that can be implemented in Nigeria’s public buildings.

4. Collaboration with International Organisations

Nigeria can benefit from collaborating with international organisations, such as the International Energy Agency (IEA), United Nations Environment Program (UNEP), and the International Institute for Energy Conservation (IIEC), to gain insights into best practices and technologies for shading devices. By engaging in global dialogues and adopting successful strategies from other tropical regions, Nigeria can fast-track the adoption of sustainable shading technologies. Collaborative projects with international partners can provide technical expertise, funding, and a platform for the exchange of ideas.

Summary and Conclusion:

The findings of this study reveal that shading devices play a crucial role in enhancing the thermal comfort and energy efficiency of buildings in Nigeria. Fixed, adjustable, and natural shading devices offer distinct advantages, each contributing to the overall reduction of solar heat gain and the improvement of indoor environmental quality. However, the adoption of these systems is still limited, primarily due to cost barriers, lack of awareness, and insufficient policy frameworks. Fixed shading devices are the most cost-effective but are less flexible, while adjustable systems provide better performance but come with higher installation and maintenance costs. Natural shading devices, such as trees and green roofs, offer long-term environmental and aesthetic benefits but require more space and ongoing maintenance.

The Way Forward for Sustainable Building Design in Nigeria

To ensure the successful adoption of shading devices in public buildings, several strategic measures must be implemented. This includes integrating shading devices in the design process, offering financial incentives for energy-efficient technologies, and promoting public awareness about the benefits of these systems. The government’s role is pivotal in enacting policies and regulations that mandate the inclusion of shading devices in public buildings. In addition, policy enforcement must be complemented by the establishment of research centres that focus on Nigeria’s specific climatic needs and by the integration of sustainable design principles into architectural and engineering curricula.

Ultimately, the adoption of shading devices in public buildings will not only improve energy efficiency but also contribute to a more sustainable built environment in Nigeria. By embracing innovative and context-appropriate shading solutions, Nigeria can reduce its reliance on mechanical cooling systems, lower energy consumption, and create more comfortable spaces for its citizens. With strong government support, public-private partnerships, and educational reforms, Nigeria can pave the way for a more sustainable, energy-efficient, and environmentally friendly built environment.

Disclaimer (Artificial intelligence)

Author(s) hereby declare that NO generative AI technologies such as Large Language Models (ChatGPT, COPILOT, etc.) and text-to-image generators have been used during the writing or editing of this manuscript.

REFERENCES

- Al Touma, A., & Ouarhani, D. (2017). Shading and Daylighting Controls Energy Savings in Offices with Fully-Glazed Façades in Hot Climates. Energy and Buildings, 209, 109709.

- Alsukkar, M., Adnan, I., & Eltaweel, A. (2025). Multi-objective optimization of daylighting systems for energy efficiency and thermal-visual comfort in buildings: A review. Building and Environment, 288, 113921. https://doi.org/10.1016/j.buildenv.2025.113921

- Attia, S., Hensen, J., Beltran, L. & De Herde, A. (2011). Selection criteria for building performance simulation tools: Contrasting architects' and engineers' needs. Journal of Building Performance Simulation 5(3) 1-15.

- Bowler, D. E., Buyung-Ali, L., Knight, T. M., & Pullin, A. S. (2019). Urban greening to cool towns and cities: A systematic review. Landscape and Urban Planning, 184, 1–10.

- Carletti, C., Sciurpi, F., & Pierangioli, L. (2016). The energy upgrading of existing buildings: Windows and shading devices. Energy and Buildings, 133, 697–710.

- Favoino, F., Goia, F., Perino, M., & Serra, V. (2012). Experimental assessment of the energy performance of an advanced responsive multifunctional façade module. Conference: COBEE 2012 - The 2nd International Conference on Building Energy and Environment.

- Ghamari, M., See, C. H., Hughes, D., Mallick, T., Reddy, K. S., Patchigolla, K., & Sundaram, S. (2024). Advancing sustainable building through passive cooling with phase change materials: A comprehensive literature review. Energy and Buildings, 312, 114164. https://doi.org/10.1016/j.enbuild.2024.114164

- GonÃ§alves, M., Figueiredo, A., Almeida, R., & Vicente, R. (2024) Dynamic faÃ§ades in buildings: A systematic review across thermal comfort, energy efficiency and daylight performance, Renewable and Sustainable Energy Reviews, 199.

- International Energy Agency. (2019). Energy efficiency 2019. IEA. https://www.iea.org/reports/energy-efficiency-2019

- Ibrahim, A., Freewan , A., & Obeidat, A. (2023). An Evaluation Study of Shading Devices and Their Impact on the Aesthetic Perception vs. Their Energy Efficiency. Journal of Facade Design and Engineering, 11(1), 037–060.

- Ibrahim, A., Alsukkar, M., Dong, Y., & Hu, P. (2024). Improvements in energy savings and daylighting using trapezoid profile louver shading devices. Energy and Buildings, 321, 114649. https://doi.org/10.1016/j.enbuild.2024.114649

- Olotuah, A. O. (2017). Climate-Responsive Architecture and Sustainable Housing in Nigeria. Global Journal of Research and Review , 2(4), 94–99.

- Priya, K., & Senthil, R. (2025). Passive cooling of residential buildings in tropical climates using user-preferred plant species in green walls. Journal of Building Engineering, 107, 112732. https://doi.org/10.1016/j.jobe.2025.112732

- Santamouris, M., Ding, L., Fiorito, F., Oldfield, P., Osmond, P., Paolini, R., & Synnefa, A. (2017). Passive and active cooling for the built environment. Renewable and Sustainable Energy Reviews, 72, 115–136.

- United Nations Environment Programme. (2021). Global status report for buildings and construction. UNEP.

- Zhang, X., Zhang, H., Wang, Y., & Shi, X. (2022). Adaptive Façades: Review of Designs, Performance Evaluation, and Control Systems. Buildings, 12(12), 2112. https://doi.org/10.3390/buildings12122112

- Rana, M. J., Hasan, M. R., & Sobuz, M. H. R. (2022). An investigation on the impact of shading devices on energy consumption of commercial buildings in the contexts of subtropical climate. Smart and Sustainable Built Environment, 11(3), 661-691.

- Peng, J., Aziz, T. I. S. T., & Leng, P. C. (2023). The Exploration of Energy Efficient Material for Shading Devices in Tropical Climates. Chemical Engineering Transactions, 106, 301-306.

- Liu, S., Kwok, Y.T., Lau, K.K.-L., Chan, P.W., Ng, E., 2019. Investigating the energy saving potential of applying shading panels on opaque façades: A case study for residential buildings in Hong Kong. Energy and Buildings, 193, 78–91.