| Journal Name: | Journal of Engineering Research and Reports |
| --- | --- |
| Manuscript Number: | Ms_JERR_152076 |
| Title of the Manuscript: | Field-Based Assessment of Passive Cooling Strategies for Photovoltaic Modules in Tropical Climates |
| Type of the Article | Original Research Article |

| PART 1: Comments |  |  |
| --- | --- | --- |
|  | Reviewer’s comment Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | This study presents detailed field-based evidence demonstrating the performance of passive cooling techniques for photovoltaic modules operating in tropical climates, where high ambient temperatures and strong solar irradiance significantly impair electrical output and accelerate material aging. Unlike laboratory-controlled investigations, the work assesses finned heat sinks, phase change materials (PCM), and their combined configuration under real outdoor conditions, thereby capturing realistic thermal responses, temperature mitigation potential, and associated gains in energy production and operational reliability. The results offer practical guidance for improving low-cost, sustainable, and maintenance-free cooling solutions, and they support the dependable deployment and broader adoption of photovoltaic systems in tropical and developing regions exposed to demanding environmental conditions. | Thank you for the thoughtful summary of the manuscript’s contribution. I appreciate the recognition of the field-based approach and its relevance to tropical operating conditions, where thermal management remains a practical challenge. The emphasis on real outdoor evaluation and deployment-oriented performance metrics was intentional, and I am grateful that this aspect is seen as meaningful for engineers and system designers. Thank you for your encouraging assessment of the study’s practical value. |
| Is the title of the article suitable? (If not please suggest an alternative title) | Outdoor Performance Evaluation of Passive Cooling Methods for Photovoltaic Modules under Tropical Climate Conditions | Thank you for the valuable suggestion regarding the title. Based on the reviewer’s comments and to better reflect the comparative and analytical nature of the study, the title has been revised to: “Field-Based Comparative Performance Analysis of Passive Cooling Strategies for Photovoltaic Modules in Tropical Climates.” The revised title more clearly emphasizes the field-oriented methodology and the comparative evaluation framework adopted in this work. |
| Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | I recommend deleting the phrase (Overall, the findings offer field-relevant insights and practical design guidance for selecting passive cooling solutions for photovoltaic systems deployed in warm and humid climates). the abstract be structured in accordance with the SPAM framework, ensuring a coherent progression that highlights the study’s context, objectives, methodology, and key contributions Reduce the quantity of keywords and make them more specific. | Thank you for the constructive suggestions regarding the abstract and keywords. The recommended phrase has been removed to improve conciseness. The abstract has also been restructured to follow a clearer progression aligned with the SPAM framework, emphasizing the study context, objective, methodology, and principal contributions in a coherent sequence. In addition, the keyword list has been revised to reduce redundancy and enhance specificity, ensuring better indexing and search relevance. I appreciate these helpful recommendations, which have strengthened the overall clarity and presentation of the manuscript. |
| Is the manuscript scientifically, correct? Please write here. | The scientific information in the manuscript appears to be correct. | Thank you for your careful evaluation of the scientific content. I appreciate your confirmation that the information and analysis presented in the manuscript are technically sound and consistent with established principles in photovoltaic thermal management. |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | Some of the references is dated, and the overall number of references is limited. It is therefore recommended to incorporate more recent studies and expand the reference list. The following references are suggested for consideration. - https://doi.org/10.1016/j.applthermaleng.2025.128322 - https://doi.org/10.1016/j.rineng.2025.108647 - https://doi.org/10.1007/978-981-96-3949-6_54 - DOI: 10.22587/ajbas.2019.13.7.3. (The performance of water cooled photovoltaic panel, under concentrating system). | Thank you for the valuable suggestions regarding additional references. The recommended studies have been carefully reviewed and incorporated where relevant to strengthen the literature background and contextual comparison of cooling strategies. The reference list has been expanded accordingly to better reflect recent developments in photovoltaic cooling technologies, including active liquid and nanofluid-based systems. I appreciate the guidance in enhancing the currency and completeness of the manuscript. |
| Is the language/English quality of the article suitable for scholarly communications? | The language quality of the article suitable for scholarly communications. | Thank you for your positive assessment of the language quality. I appreciate the recognition of the clarity and technical accuracy of the manuscript. Care has been taken to ensure that the terminology, structure, and overall presentation meet scholarly standards, and I am grateful for your confirmation in this regard. |
| Optional/General comments | The study is generally good, but it needs fundamental revisions. Comments on this manuscript - The manuscript does not specify the type or key properties of the phase change material (PCM) employed, nor does it provide detailed technical specifications of the photovoltaic modules used in the field experiments. This information is essential for clarity and reproducibility. - The figure captions are excessively long and include extensive explanations. It is recommended to shorten the captions and relocate the detailed interpretations to the main text of the manuscript. - Section 3 discusses mechanisms and outcomes that have not yet been experimentally measured or validated. It would be more appropriate to integrate this section into the Introduction, while transferring the relevant explanations to the Results section once they are supported by data. Figure 2 lacks clarity in its current form. Dividing it into subfigures (A, B, and C), accompanied by a clear description of each part, would significantly improve its readability. - The study does not include a clearly defined reference photovoltaic module operating under real outdoor conditions. Although an uncooled unit is mentioned, a properly described reference panel is necessary to enable meaningful performance comparisons. - Table 1 is unclear and is not cited within the text. Its objective should be clarified, specifically whether it summarizes findings from previous studies or presents results from the current work. If it relates to earlier studies, appropriate references should be included. - Sections 2 and 4 address closely related topics and could be merged to improve the logical flow and coherence of the manuscript. - The results presented in Figure 4 require a more detailed explanation. In particular, the manuscript should clarify why the percentage improvement in electrical efficiency does not remain constant for each degree of temperature reduction, regardless of the cooling technique applied. - Sections 6.2 and 6.3 present conclusions that are not sufficiently supported by evidence. Additional figures or analyses are recommended to demonstrate how wind speed and humidity influence system performance. - Section 7 appears incomplete and lacks a clear theoretical or practical foundation. It is recommended to remove this section and instead propose future studies focusing on the performance of photovoltaic systems during different tropical seasons. - Sections 6 and 8 cover overlapping content and could be combined to reduce redundancy and improve structure. - Table 2 is not referenced in the manuscript, and its explanation is insufficient. Further clarification is needed regarding its relevance and how it supports the study’s findings. - The manuscript does not specify the geographical location of the experimental site or the exact period during which the experiments were conducted. This information is important for contextualizing the results. - While the results suggest that the proposed system is economically viable, the manuscript does not include a formal economic analysis or clearly explain how economic feasibility was assessed. The conclusions should be revised to clearly highlight the key experimental findings, preferably presented as bullet points. In addition, the limitations of the case study should be acknowledged and reframed as directions for future research and practical recommendations | Thank you very much for the detailed and constructive feedback. I have carefully revised the manuscript in response to all the comments. Please find my point-by-point responses below. • The type and key properties of the PCM have now been clearly specified in Section 3.1. The material (OM35), its melting temperature range (34–36 °C), latent heat, thermal conductivity, and applied mass are explicitly stated. In addition, the technical specifications of the monocrystalline PV module (50 W, 12 V nominal rating) and mounting details are now clearly described to ensure reproducibility. • All figure captions have been shortened to include only essential descriptive information. Detailed explanations and interpretations have been relocated to the main text to improve clarity and structure. • Section 3 has been revised to focus strictly on configuration descriptions. Mechanistic explanations and performance-related interpretations have been moved to the Results and Discussion sections where they are supported by field data. • Figure 2 has been improved for clarity, with clearer representation of each cooling configuration. The layout has been refined to improve readability. • The uncooled reference PV module is now clearly defined as the baseline configuration operating under identical environmental exposure. This has been explicitly stated in the methodology and performance comparison sections. • Table 1 is now clearly cited in the text, and its purpose has been clarified as a summary of derived performance indicators from the present field dataset. • Sections 2 and 4 have been revised to avoid overlap. Section 2 now strictly describes site conditions and experimental setup, while Section 4 focuses on data sources and performance metrics. • The explanation related to Figure 4 has been strengthened. The manuscript now clearly explains why efficiency improvement does not scale linearly with temperature reduction under fluctuating irradiance and field conditions, supported by the theoretical temperature–efficiency framework. • Sections 6.2 and 6.3 have been revised to clarify that wind speed and humidity were not quantitatively instrumented. Their influence is interpreted qualitatively based on thermodynamic principles and consistent field observations, and this limitation is now explicitly stated. • Section 7 has been revised and reframed as a scenario-based seasonal interpretation. Its analytical boundaries and qualitative nature are now clearly defined. • Overlap between Sections 6 and 8 has been reduced. Section 6 now focuses on environmental influence, while Section 8 addresses practical deployment and feasibility considerations. • Table 2 is now explicitly referenced in the text, and its role in summarizing practical advantages and limitations has been clarified. • The geographical location (Kannur, Kerala, India) and the measurement period (May, high thermal loading season) are now clearly stated in the case study description. • The discussion on economic viability has been reframed. The manuscript now clearly states that no formal techno-economic analysis was conducted and presents only a qualitative feasibility perspective. • The conclusions have been revised to clearly highlight the key experimental findings, acknowledge the study limitations, and outline directions for future research. I sincerely appreciate the reviewer’s detailed comments, which have helped improve the clarity, rigor, and overall quality of the manuscript. |

| PART 2: |  |  |
| --- | --- | --- |
|  | Reviewer’s comment | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | To my knowledge, there is nothing in the manuscript that indicates ethical issues. | Thank you for the careful consideration of the ethical aspects of the manuscript. I confirm that the study involves only field measurements of photovoltaic modules and does not include human subjects, animal testing, or sensitive data. All experimental procedures were conducted in accordance with standard engineering research practices. |