Original Research Article

Validated UV-Visible Spectrophotometric Method for the Estimation of Aloe-emodin in Rhubarb Rhizomes

Abstract

Aim: To develop and validate a simple, cost-effective, accurate, and precise UV-Visible spectrophotometric method for the estimation of Aloe-emodin in rhizomes of Rhubarb

Method: A UV-Visible spectrophotometric method for the estimation of Aloe-emodin was developed using a mixture of Methanol and water. The developed method was validated using ICH Q2 (R1) guidelines. Aloe-emodin solutions were scanned across the entire UV-visible range to identify the wavelength of maximum absorbance. The linearity of the method was established using the seven calibration standards over a concentration range of 0.1 μg/mL to 10 μg/mL. The accuracy in terms of percent difference and the precision in terms of percent relative standard deviation of the developed method was determined using three different quality control standard solutions (0.3, 5 & 9 μg/mL). Robustness of the proposed method was established by making slight changes in the co-solvent composition. The limit of detection (LOD) and the limit of quantification (LOQ) of the proposed method was calculated on the basis of slope and the standard deviation of the y-intercept of calibration curves. The Aloe-emodin content in the rhubarb rhizomes was estimated using the proposed method.

Results: The Aloe-emodin, when dissolved in a mixture of methanol and water (40:60 v/v) and scanned over 200 to 800 nm, showed maximum absorbance at 256 nm. The seven different calibration standards of Aloe-emodin, viz. 0.1 μg/mL, 0.5 μg/mL, 1 μg/mL, 2 μg/mL, 4 μg/mL, 8 μg/mL, and 10 μg/mL when analyzed at 265 nm, showed excellent linearity in the absorbance values with a correlation coefficient (r²) of 0.9999.

The intra-day accuracy of the developed UV-Visible spectrophotometric method in terms of % Difference was found to be in the range of -6.6638 and 0.3083, whereas the inter-day accuracy was in the range of -0.9986 and 1.0768. The intra-day precision of the developed UV-Visible spectrophotometric method in terms of %RSD was found to be between 0.22 to1.85, whereas the inter-day values are in between 0.54 to 1.98. The variation (%RSD) during the robustness studies of the proposed UV-Visible spectrophotometric method was found to be below 2 %. The limit of detection (LOD) and limit of quantitation (LOQ) of the developed UV-Visible spectrophotometric method were found to be 0.037 µg/mL & 0.11 µg/mL, respectively, ensuring adequate sensitivity for routine quality control analysis. The developed method was successfully used for the estimation of Aloe-emodin in rhubarb rhizomes.

Conclusion: A simple, cost-effective, precise, and accurate UV–visible spectrophotometric method was successfully developed and validated for the quantitative estimation of aloe-emodin. The analytical procedure was optimised using a co-solvent system containing a minimal and economical proportion of the organic phase, thereby enhancing method affordability while maintaining analytical reliability. Method validation parameters, including linearity, precision, accuracy, and reproducibility, demonstrated satisfactory performance within the established analytical range, confirming the robustness of the procedure. Owing to its operational simplicity and reduced solvent consumption, the validated UV–visible spectrophotometric method is suitable for routine quantitative estimation of aloe-emodin in rhubarb rhizomes and may serve as a practical tool for quality control in phytopharmaceutical analysis.

Keywords: Cost-Effective Method, UV-Visible Spectrophotometry, Aloe Emodin.

- Introduction:

Aloe-emodin is a naturally occurring anthraquinone derivative which is present in Aloe vera leaves[1], Rhubarb rhizomes[2,3] and Frangula bark[4,5]  Chemically, Aloe-emodin is described as 1,8-dihydroxy-3-(hydroxymethyl)-anthraquinone[6]

Figure 1: Chemical Structure of Aloe-emodin

In the traditional system of medicine, aloe-emodin is considered to be an herbal laxative, skin conditioner, and an anti-sore throat agent [7]. It is evident that aloe-emodin possesses a variety of therapeutic activities, viz. anti-cancer[8], anti-virus[9,10], anti-inflammatory[11,12,13], antibacterial[14,15] antiparasitic[16,17], neuroprotective[18,19,20] and hepato-protective activities[21,22] It has been explored that aloe-emodin interrupts viral replication, hence proving itself to be one of the potential candidates for future integrated medicine[23,24] Recently, aloe-emodin is found to be a high-potential lead compound against type-2 diabetes and related aminoadipates[25]

In spite of diversified and immense therapeutic potential, there are limited analytical methods available for the routine estimation of aloe-emodin. Some of the methods require high-end instrumentation, whereas some methods involve the use of high percentages of organic solvents, which makes it non-feasible for routine use.

Considering the above-mentioned disadvantages of existing analytical methods, it was envisaged that the development of a precise and cost-effective UV-Visible spectrophotometric method involving the lowest possible use of organic solvents for the estimation of aloe-emodin would be worth.

- Materials and Methods:

  - Instrumentation:

The UV-visible spectrophotometer (V-530, Jasco) was used for the analytical method development. A matched pair of quartz cuvettes having a 1 cm path length was used for the spectral measurements. For accurate weighing, an analytical balance (Essae, Vibra HT) with an internal calibration facility was used.

  - Material:

Aloe-emodin was purchased from Yucca Enterprises, Mumbai and Maharashtra, India. Methanol (MeOH) and Dimethyl sulfoxide (DMSO) were purchased from Rankem, India. All the chemicals used were of HPLC grade for the study. Rhubarb rhizomes were purchased from Vedashri Aurved Bhandar, Nasik.

  - Preparation of standard stock solution:

An accurately weighed quantity of 100 mg of aloe-emodin was transferred into a 100 mL volumetric flask. Dimethyl sulphoxide (DMSO) was added to dissolve the compound, and the volume was adjusted to the mark with the same solvent to obtain Stock Solution I. Stock Solution I was subsequently diluted appropriately with a methanol–water mixture (40:60, v/v) to yield a working solution with a concentration of 100 µg/mL (Stock Solution II). Thereafter, Stock Solution II was further diluted with the aforementioned methanol–water mixture to obtain a final concentration of 20 µg/mL (Stock Solution III).

  - Determination of wavelength of maximum absorbance (λmax):

For the determination of the wavelength of maximum absorbance (λmax), Stock Solution III of aloe-emodin was utilised. The UV–visible spectrophotometer was operated in Spectrum Measurement mode, and the solution was scanned across the wavelength range of 200–800 nm under controlled instrumental conditions. The resulting absorption spectra were analysed to identify the λmax using Spectra Manager software. To ensure reproducibility and minimise analytical variability, the scanning procedure and λmax determination were performed in quintuplicate, each time employing a freshly prepared aliquot of Stock Solution III.

  - Preparation of calibration curve:

Stock Solution II was suitably diluted with a methanol–water mixture (40:60, v/v) to prepare seven calibration standards (CAL-STD) at concentrations of 0.1, 0.5, 1, 2, 4, 8, and 10 μg/mL, designated as CAL-STD-1 through CAL-STD-7, respectively. The absorbance of each calibration standard was measured at the predetermined wavelength of maximum absorbance (λmax) of 256 nm using a UV–visible spectrophotometer operated in Fixed Wavelength Measurement mode. To ensure analytical precision and reproducibility, each measurement was performed in triplicate. The results were recorded and expressed as mean ± standard deviation (SD) [33].

  - Method Validation:

The International Conference on Harmonization (ICH) Q2 (R2) guiding principles were used to validate the developed UV-Visible spectrophotometric method of Aloe-emodin[26,27]. The linearity, accuracy, precision, robustness, limit of detection (LOD), and limit of quantitation (LOQ) of the aforementioned method were evaluated.

2.6.1 Linearity and Range:

As mentioned earlier in the section “Preparation of Calibration Curve”, seven calibration standards were used to determine the linearity of the proposed UV-Visible spectrophotometric method. The calibration curves of concentration vs. absorbance were subjected to a linear least-squares regression analysis. The linearity of the proposed method was demonstrated on the basis of the r² value.

2.6.2 Accuracy:

The accuracy of the proposed UV-Visible spectrophotometric method was established using three different quality control standards (QC-STD), viz. QC-STD-1 (0.3 μg/mL), QC-STD-2 (5 μg/mL), and QC-STD-3 (9 μg/mL). All three QC-STDs were analyzed for aloe-emodin content at three different time intervals of the day (intra-day accuracy). The process of analyzing the QC-STDs was repeated on three consecutive days (inter-day accuracy). The intra- and inter-day accuracy was calculated in terms of % Difference using the following formula

%Diffencere=(Mean Measured Concentration - Nominal Concentration)Nominal Concentration×100

2.6.3 Precision:

The intra- and inter-day precision of the proposed UV-Visible spectrophotometer was established using three different QC-STDs. The QC-STDs were analyzed for its aloe-emodin content at three different time intervals of the day. The process of analyzing the QC-STDs was repeated on three consecutive days. The intra- and inter-day precision of the proposed method was expressed in terms of % RSD, which was calculated by using the following formula

% RSD=Standard Deviation(SD)Mean ×100

The % RSD values ≤ 2 were considered to be an indicator of the method’s precision.

2.6.4 Robustness:

The robustness of the proposed UV–visible spectrophotometric method was evaluated by deliberately introducing minor variations in the composition of the solvent system employed for the preparation of standard aloe-emodin solutions. Predefined quality control standards (QC-STDs) were prepared in triplicate using two slightly altered methanol–water solvent mixtures, namely 38:62 v/v and 42:58 v/v, in place of the optimised 40:60 v/v composition. Each set of QC-STDs was analysed for aloe-emodin content under identical instrumental conditions. The results were expressed as mean ± percentage relative standard deviation (% RSD). A % RSD value of ≤ 2% was considered indicative of acceptable robustness, thereby demonstrating that small, deliberate variations in solvent composition did not significantly influence the analytical performance of the method.

2.6.5 Limit of Detection (LOD):

The LOD of the developed UV method was calculated by using the following formula,

LOD=3.3 ×S.DS

2.6.6 Limit of Quantitation (LOQ):

The LOQ of the developed UV method was calculated by using the following formula,

LOQ=10 ×S.DS

Where, SD = Standard deviation of Y-intercepts

S = Slope of the Calibration curve

2.7 Estimation of Aloe-emodin in Rhizomes of Rhubarb:

Rhubarb rhizomes were purchased from the Vedashri Ayurved Bhandar, Nasik and authenticated by the Department of Botany, Dr. Babasaheb Ambedkar Marathwada University, Chhatrapati Sambhajinagar. Rhizomes were crushed using an industrial-grade mixer (Devika Industries, Rajkot, Gujarat), and a fine powder was obtained. The said power was subjected to cold maceration for 24 hours using a solvent mixture of ethanol and water (50:50 v/v). For the cold maceration, solid to solvent ratio of 1:20 v/v was used. After maceration, the obtained extract was centrifuged (PR-24, Remi) and the supernatant was collected. From the supernatant, ethanol was removed using rotary vacuum evaporator (Laborota 4001, Heidolph), and the remaining aqueous portion was collected for further processing. To the aqueous portion, concentrated sulfuric acid was added in the ratio of 1:0.25 v/v, and said mixture was kept at 50 °C using a water bath shaker for the period of one hour. After acid hydrolysis of the aqueous portion, it was neutralized using 18 N sodium hydroxide solution, and the resultant neutral solution was filtered using Whatman filter paper number one. The residue collected was dried at 40oC using a vacuum oven (Meta Lab Scientific Industries, Mumbai). The dried residue was dissolved in chloroform using a 1:100 v/v ratio and filtered through Whatman filter paper number one. The chloroform portion was dried using a rotary vacuum evaporator. The hundred mg dried chloroform portion was accurately weighed and transferred to a hundred mL volumetric flask. The solvent mixture of methanol and water (40:60 v/v) was added to a volumetric flask, and a stock solution of 1 mg/mL was prepared. Said stock solution was suitably diluted and subjected to the estimation of aloe-emodin using a pre-validated UV-Visible spectrophotometric method. The aloe-emodin content of the rhubarb rhizomes was reported in terms of percent yield (mean ± SD).

3. Result and Discussion

3.1 Determination of the wavelength of maximum absorbance

The foremost requirement of quantitative UV analysis is the identification of the wavelength at which the absorbance is maximum. The stock-III (20 μg/mL) of aloe-emodin, when scanned over the entire UV-Visible range of 200 to 800 nm, showed the λmax at 256 nm (Figure 2).

256 nm

Figure 2: UV-Visible Spectra of Aloe-emodin

3.2 Preparation of Calibration Curve

The calibration curve was constructed using seven calibration standards at concentrations of 0.1 μg/mL, 0.5 μg/mL, 1 μg/mL, 2 μg/mL, 4 μg/mL, 8 μg/mL, and 10 μg/mL. The seven calibration standards were analyzed in triplicate for its absorbance at 256 nm in the fixed wavelength mode. The Concentration range and the absorbance in terms of mean ± S.D. are shown in Table 1.

Table 1: Details of Calibration Standards of aloe-emodin

| Concentration (μg/mL) | Absorbance (Mean ± S.D.) |
| --- | --- |
| 0.1 | 0.0141± 0.0029 |
| 0.5 | 0.0472± 0.0018 |
| 1 | 0.1040± 0.0043 |
| 2 | 0.2057± 0.0057 |
| 4 | 0.3983± 0.0046 |
| 8 | 0.7974± 0.0142 |
| 10 | 0.9942± 0.0100 |

3.3 Method validation

After developing any analytical method, it becomes necessary to validate the developed method [28].Validation of analytical method ensures that the developed method would produce the accurate and reliable results [29]. Although, there are various guidelines available for the analytical method validation, ICH Q2 (R1) guidelines are one of the global standards available for the validation of analytical methods that are widely utilized by industry and academia [30]. The validation of the analytical approach has several parameters [31]. The established values and parameter limits, if found within the range during validation, prove that the aforementioned analytical method is reliable and authentic. Considering the necessity, the proposed UV-Visible spectrophotometric method for aloe-emodin was validated and the following parameters were used to demonstrate the proposed method’s reliability and authenticity.

3.3.1 Linearity and Range:

The seven calibration standards, when analysed for aloe-emodin content, exhibited excellent linearity. The concentrations of the standards along with their corresponding mean absorbance values are presented in Table 1. Triplicate calibration curves were constructed, each demonstrating high linearity with correlation coefficients (r²) exceeding 0.999. The slopes and intercepts of the curves were highly consistent, confirming the method’s linearity and the suitability of its analytical range, as illustrated in Figure 3 (A–C). Based on the linear regression analysis and the obtained r² values, the developed UV–visible spectrophotometric method was determined to be linear over the concentration range of 0.1–10 µg/mL, validating its applicability for accurate and precise quantification of aloe-emodin within this range.

Fig 3 (A): Calibration Curve of aloe-emodin (Replicate 1)

Fig 3 (B): Calibration Curve of aloe-emodin (Replicate 2)

Fig 3 (C): Calibration Curve of aloe-emodin (Replicate 3)

3.3.2 Accuracy:

Accuracy is the degree to which the experimental value and the nominal value match with each other [32]. Accuracy must be guaranteed across the whole calibration range of the analytical method in order for the results to be reliable at every step of the determination process. Tables 2 and 3 depict the intra-day and inter-day percentage difference values, respectively. The intra-day accuracy of the proposed method was found to be in the range of -6.6638 and 0.3083, while the inter-day accuracy was found to be in the range of -0.9986 and 1.0768. Based on the narrow range of % Difference values, it was anticipated that the proposed UV-Visible spectrophotometric method for the estimation of aloe-emodin is accurate.

Table 2: Intra-day accuracy data of the UV method for Aloe-emodin

| Concentration Level | Nominal Concentration (μg/mL) | Mean Measured Concentration (μg/mL) | % Difference |
| --- | --- | --- | --- |
| LQC | 0.3 | 0.2978 | -0.7161 |
|  | 0.3 | 0.3081 | -2.7309 |
|  | 0.3 | 0.2988 | 0.3083 |
| MQC | 5 | 4.8619 | -2.7615 |
|  | 5 | 4.8634 | -2.7309 |
|  | 5 | 4.7720 | -4.5597 |
| HQC | 9.5 | 8.9018 | -6.2961 |
|  | 9.5 | 8.8699 | -6.6323 |
|  | 9.5 | 8.8669 | -6.6638 |

Table 3: Inter-day accuracy data of the UV method for Aloe-emodin

| Concentration Level | Nominal Concentration (μg/mL) | Mean Measured Concentration (μg/mL) | % Difference |
| --- | --- | --- | --- |
| LQC | 0.3 | 0.2970 | -0.9986 |
|  | 0.3 | 0.3032 | 1.0768 |
|  | 0.3 | 0.3045 | 1.5284 |
| MQC | 5 | 4.8215 | -3.5683 |
|  | 5 | 4.8279 | -3.4403 |
|  | 5 | 4.8539 | -2.9208 |
| HQC | 9.5 | 8.9014 | -6.3009 |
|  | 9.5 | 8.8178 | -7.1809 |
|  | 9.5 | 8.9195 | -6.1104 |

3.3.3 Precision:

Precision is a fundamental parameter of an analytical method, reflecting its repeatability, intermediate precision, and overall reproducibility. The intra-day and inter-day precision of the developed UV–visible spectrophotometric method for aloe-emodin was evaluated at three representative concentrations: 0.3 μg/mL, 5 μg/mL, and 9.5 μg/mL. The percentage relative standard deviation (% RSD) values obtained for intra-day precision ranged from 0.22 to 1.85, while those for inter-day precision varied between 0.54 and 1.98, as summarised in Tables 4 and 5, respectively. The low % RSD values indicate excellent repeatability and consistency of the method, confirming that the proposed UV–visible spectrophotometric procedure is precise and reliable for the quantification of aloe-emodin across the tested concentration range.

Table 4: Intra-day precision data of the UV method for Aloe-emodin

|  | Morning |  |  | Afternoon |  |  | Evening |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Concentration Range (μg/mL) | Mean | SD | %RSD | Mean | SD | %RSD | Mean | SD | %RSD |
| 0.3 | 0.29 | 0.005 | 1.85 | 0.29 | 0.004 | 1.67 | 0.3009 | 0.004 | 1.50 |
| 5 | 4.86 | 0.035 | 0.73 | 4.86 | 0.034 | 0.70 | 4.77 | 0.05 | 1.09 |
| 9.5 | 8.90 | 0.078 | 0.88 | 8.86 | 0.09 | 1.01 | 8.86 | 0.02 | 0.22 |

Table 5: Inter-day accuracy data of the UV method for Aloe-emodin

|  | Day 1 |  |  | Day 2 |  |  | Day 3 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Concentration Range (μg/mL) | Mean | SD | %RSD | Mean | SD | %RSD | Mean | SD | %RSD |
| 0.3 | 0.30 | 0.005 | 1.76 | 0.29 | 0.004 | 1.49 | 0.30 | 0.005 | 1.98 |
| 5 | 4.82 | 0.069 | 1.44 | 4.82 | 0.062 | 1.30 | 4.85 | 0.048 | 1.009 |
| 9.5 | 8.90 | 0.055 | 0.62 | 8.81 | 0.048 | 0.54 | 8.91 | 0.059 | 0.66 |

3.3.4 Robustness:

Robustness of an analytical method refers to ability of the method to stay unaffected by small, deliberate changes in the internal parameters of the method viz. solvent composition, solvent strength, wavelength of estimation and pH. It is necessary that the analytical method should be enough robust so that minor, unintentional changes to internal method parameters during routine use do not affect the final results. Robustness is the integral part of method validation and it is necessary to establish the same during analytical method validation. The proposed UV-Visible spectrophotometric method was found to be robust as the %RSD values of the results after intentional, minor modification in the solvent composition were found to be within acceptable limit of ≤ 2 (Table 6).

Table 6: Robustness data of the UV method for aloe-emodin

| Concentration (ug/mL) | Methanol: Water (V/V) | Absorbance (Mean ± S.D.) | %RSD |
| --- | --- | --- | --- |
| 0.3 | 38:62 | 0.2275±0.0005 | 0.23 |
| 5 | 38:62 | 5.0272± 0.3087 | 0.61 |
| 9.5 | 38:62 | 9.4280± 0.0409 | 0.43 |
| 0.3 | 42:58 | 0.2840±0.0050 | 1.77 |
| 5 | 42:58 | 4.9095±0.0744 | 1.51 |
| 9.5 | 42:58 | 9.3826±0.0730 | 0.77 |

3.3.5 Limit of Detection (LOD) and Limit of Quantification (LOQ):

The lowest concentration that can be determined with reasonable precision and accuracy is represented by LOQ. Table 7 displays the LOD and LOQ values of the proposed UV method, which were determined to be 0.037µg/mL & 0.11µg/mL respectively.

Table 7: LOD & LOQ of UV method for aloe-emodin

| Parameters | Values |
| --- | --- |
| LOD | 0.037 µg/mL |
| LOQ | 0.11 µg/mL |

3.4 Estimation of aloe-emodin in Rhizomes of Rhubarb

Proposed UV-Visible spectrophotometric method was successfully used for the estimation of aloe-emodin content in the extract of rhizomes of rhubarb. The results are shown in Table No. 8. The obtained results are in good agreement of existing data as the reported aloe-emodin content in the official rhubarb varies from 0.4 to 1%.

Table 8. Aloe-emodin Content in Rhubarb Plant

| Sr. | Dry weight of Rhubarb Rhizomes (gm) | % Aloe-emodin content (Mean ± SD) |
| --- | --- | --- |
| 1. | 100 | 0.7910 ± 0.0171 |

Conclusion:

An accurate, precise, robust yet sensitive UV-Visible spectrophotometric method for the estimation of aloe-emodin was developed and validated. Further it was demonstrated that the proposed UV-Visible spectrophotometric method is capable of being used as routine analytical method for the estimation of aloe-emodin in the rhubarb samples.

Disclaimer (Artificial intelligence)

Author(s) hereby declare that NO generative AI technologies such as Large Language Models (ChatGPT, COPILOT, etc.) and text-to-image generators have been used during the writing or editing of this manuscript.

References:

- Mandrioli, R., Mercolini, L., Ferranti, A., Fanali, S., & Raggi, M. A. (2011). Determination of aloe emodin in Aloe vera extracts and commercial formulations by HPLC with tandem UV absorption and fluorescence detection. Food Chemistry, 126(1), 387–393. https://doi.org/10.1016/j.foodchem.2010.10.112

- Narayanan, S., & Jadhav, A. P. (2015). Simultaneous Estimation of Aloe Emodin and Emodin from Rheum emodi, Cassia alata and Aloes by HPTLC. Indian journal of pharmaceutical sciences, 77(6), 783–787. https://doi.org/10.4103/0250-474x.174994

- Hu, B., Zhang, H., Meng, X., Wang, F., & Wang, P. (2014). Aloe-emodin from rhubarb (Rheum rhabarbarum) inhibits lipopolysaccharide-induced inflammatory responses in RAW264.7 macrophages. Journal of Ethnopharmacology, 153(3), 846–853. https://doi.org/10.1016/j.jep.2014.03.059

- Zwerger, M., Deisl, A., Hämmerle, F., & Ganzera, M. (2024). Determination of anthraquinones in Frangula alnus by supercritical fluid chromatography. Journal of Chromatography A, 1737, 465432. https://doi.org/10.1016/j.chroma.2024.465432

- Şeker Karatoprak, G., Küpeli Akkol, E., Yücel, Ç. Bahadır Acıkara, Ö. & Sobarzo-Sánchez, E. (2022). Advances in Understanding the Role of Aloe Emodin and Targeted Drug Delivery Systems in Cancer. Oxidative medicine and cellular longevity, 2022, 7928200. https://doi.org/10.1155/2022/7928200

- Shang, H., Hu, Y., Li, J., Li, L., Tian, Y., Li, X., Wu, Q., & Zou, Z. (2022). The Synthesis and Biological Evaluation of Aloe-Emodin-Coumarin Hybrids as Potential Antitumor Agents. Molecules, 27(19), 6153. https://doi.org/10.3390/molecules27196153

- Dong, X., Zeng, Y., Liu, Y., You, L., Yin, X., Fu, J., & Ni, J. (2020). Aloe-emodin: A review of its pharmacology, toxicity, and pharmacokinetics. Phytotherapy research: PTR, 34(2), 270–281. https://doi.org/10.1002/ptr.6532

- Sanders, B., Ray, A. M., Goldberg, S., Clark, T., McDaniel, H. R., Atlas, S. E., Farooqi, A., Konefal, J., Lages, L. C., Lopez, J., Rasul, A., Tiozzo, E., Woolger, J. M., & Lewis, J. E. (2017). Anti-cancer effects of aloe-emodin: a systematic review. Journal of clinical and translational research, 3(3), 283–296.

- Lin, C. W., Wu, C. F., Hsiao, N. W., Chang, C. Y., Li, S. W., Wan, L., Lin, Y. J., & Lin, W. Y. (2008). Aloe-emodin is an interferon-inducing agent with antiviral activity against Japanese encephalitis virus and enterovirus 71. International journal of antimicrobial agents, 32(4), 355–359. https://doi.org/10.1016/j.ijantimicag.2008.04.018

- Wang, Y., Wang, M., Lin, Z., Wang, G., Qin, Y., Liu, M., Ling, F., Jiang, H., Liu, T., & Wang, G. (2025). Evaluation on the antiviral activity of aloe emodin against Micropterus salmoides rhabdovirus in vitro and in vivo. Aquaculture, 601, 742265. https://doi.org/10.1016/j.aquaculture.2025.742265

- Yang, D., Ge, T., Zhou, J., Li, H., & Zhang, Y. (2024). Aloe-emodin alleviates inflammatory bowel disease in mice by modulating intestinal microbiome homeostasis via the IL-4/IL-13 axis. Heliyon, 10(15), e34932. https://doi.org/10.1016/j.heliyon.2024.e34932

- Pandey A, Srivastava N, Dubey RC, Dhaneshwar S, Shukla AK. Anti-psoriatic evaluation of aloe emodin-loaded topical hydrogel in an imiquimod-induced human plaque-type psoriasis in BALB/c mice. J Appl Pharm Sci. 2024;14 (09):279–291. http://doi.org/10.7324/JAPS.2024.199942

- Gao, H., Ren, Y., & Liu, C. (2022). Aloe-Emodin Suppresses Oxidative Stress and Inflammation via a PI3K-Dependent Mechanism in a Murine Model of Sepsis. Evidence-based complementary and alternative medicine: eCAM, 2022, 9697887. https://doi.org/10.1155/2022/9697887

- Li, T., Lu, Y., Zhang, H., Wang, L., Beier, R. C., Jin, Y., Wang, W., Li, H., & Hou, X. (2021). Antibacterial Activity and Membrane-Targeting Mechanism of Aloe-Emodin against Staphylococcus epidermidis. Frontiers in microbiology, 12,621866. https://doi.org/10.3389/fmicb.2021.621866

- Coopoosamy, R., & Magwa, M. (2006). Antibacterial activity of aloe emodin and aloin A isolated from Aloe excelsa. African Journal of Biotechnology, 5(11). https://doi.org/10.4314/ajb.v5i11.42978

- Adeyemi, O. S., Ishii, K., & Kato, K. (2023). The In Vitro Anti-Parasitic Activities of Emodin toward Toxoplasma gondii. Pharmaceuticals, 16(3), 447. https://doi.org/10.3390/ph16030447

- Kumar, S., Yadav, M., Yadav, A., Rohilla, P., & Yadav, J. P. (2017). Antiplasmodial potential and quantification of aloin and aloe-emodin in Aloe vera collected from different climatic regions of India. BMC complementary and alternative medicine, 17(1), 369. https://doi.org/10.1186/s12906-017-1883-0

- Yan, N., Wang, S., Gao, H., Chen, J., Cao, J., Wei, P., Li, X., Yu, Y., Wang, Y., Niu, Y., Wang, Y., Liu, S., & Jin, G. (2023). Neuroprotective effect of aloe emodin against Huntington's disease-like symptoms in R6/1 transgenic mice. Food & function, 14(11), 5205–5216. https://doi.org/10.1039/d3fo00156c

- Yan, N., Wang, S., Gao, H., Chen, J., Cao, J., Wei, P., Li, X., Yu, Y., Wang, Y., Niu, Y., Wang, Y., Liu, S., & Jin, G. (2023). Neuroprotective effect of aloe emodin against Huntington’s disease-like symptoms in R6/1 transgenic mice. Food & Function, 14(11), 5205–5216. https://doi.org/10.1039/D3FO00156C

- Saha, P., & Ahmad, F. (2024). Neuroprotective, anti-inflammatory and antifibrillogenic offerings by emodin against Alzheimer’s dementia: A systematic review. ACS Omega, 9(7), 7296–7309. https://doi.org/10.1021/acsomega.3c07178

- Hu, N., Liu, J., Xue, X., & Li, Y. (2020). The effect of emodin on liver disease: Comprehensive advances in molecular mechanisms. European Journal of Pharmacology, 882, 173269. https://doi.org/10.1016/j.ejphar.2020.173269

- Luo, H., Jia, X., Zhang, M., Ren, Y., Tan, R., Jiang, H., & Wu, X. (2024). Aloe-emodin: Progress in pharmacological activity, safety, and pharmaceutical formulation applications. Mini Reviews in Medicinal Chemistry, 24, Article https://doi.org/10.2174/0113895575298364240409064833

- Luo, Y., Yang, Y., Wang, W., Gao, Q., Gong, T., Feng, Y., Wu, D., Zheng, X., Zhang, G., & Wang, H. (2023). Aloe-emodin inhibits African swine fever virus replication by promoting apoptosis via regulating NF-κB signaling pathway. Virology Journal, 20(1), 158. https://doi.org/10.1186/s12985-023-02126-8

- Li, S. W., Yang, T. C., Lai, C. C., Huang, S. H., Liao, J. M., Wan, L., Lin, Y. J., & Lin, C. W. (2014). Antiviral activity of aloe-emodin against influenza a virus via galectin-3 up-regulation. European journal of pharmacology, 738, 125–132. https://doi.org/10.1016/j.ejphar.2014.05.028

- Zhao, F., Lv, J., Yang, M., Zhang, F., Zhang, C., Wang, F., & Wang, Y. (2025). Aloe-emodin from rhubarb suppresses islet amyloid polypeptide (IAPP) aggregation and expression: Therapeutic implications for type 2 diabetes mellitus. Bioorganic chemistry, 164, 108807. https://doi.org/10.1016/j.bioorg.2025.108807

- Pandey, A., Srivastava, N., Dubey, R. C., Dhaneshwar, S., & Shukla, A. (2024). UV spectrophotometric analytical method development and validation for aloe-emodin phytochemical in bulk and formulations. Research Journal of Pharmacy and Technology, 5439–5444. https://doi.org/10.52711/0974-360X.2024.00832

- International Council for Harmonisation of Technical Requirements for Pharmaceuticals for Human Use (ICH). (2025). ICH Q2 (R2) and Q14 training materials: Module 7 [PDF]. https://www.ich.org/page/quality-guidelines

- Pandey, A., Srivastava, N., Dubey, R. C., Dhaneshwar, S., & Shukla, A. (2024). UV spectrophotometric analytical method development and validation for aloe-emodin phytochemical in bulk and formulations. Research Journal of Pharmacy and Technology, 5439–5444. https://doi.org/10.52711/0974-360X.2024.00832

- Chavan, S. D., & Desai, D. M. (2022). Analytical method validation: A brief review. World Journal of Advanced Research and Reviews, 16(02), 389–402. https://doi.org/10.30574/wjarr.2022.16.2.1165

- International Journal of Research and Review Volume 12; Issue: 8; August 2025.

- European Medicines Agency. (1995). ICH Guideline Q2 (R1): Validation of Analytical Procedures — Text and Methodology (Step 5 First Version) (CPMP/ICH/381/95). European Medicines Agency. https://www.ema.europa.eu/en/documents/scientific-guideline/ich-guideline-q2r1-validation-analytical-procedures-text-methodology-step-5-first-version_en.pdf

- De Caro, C., & Haller, C. (2025). UV/Vis spectrophotometry: Fundamentals and applications. Springer.

- Ambi, A., Wakte, P., & Bhusari, S. (2025). Development and Validation of UV-Visible Spectrophotometric Method for Estimation of Dexlansoprazole. Journal of Drug Delivery & Therapeutics, 15(8).