| Journal Name: | Journal of Engineering Research and Reports |
| --- | --- |
| Manuscript Number: | Ms_JERR_154091 |
| Title of the Manuscript: | A Review on Wind Effects and Wind Resistance Performance Improvement of Flexible Photovoltaic Supports |
| Type of the Article |  |

| PART 1: Comments |  |  |
| --- | --- | --- |
|  | Reviewer’s comment | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | The manuscript addresses wind effects and wind-resistance performance of flexible photovoltaic support systems, which are increasingly used in large-scale installations and complex terrains. Due to their low stiffness and damping, their aeroelastic response under wind loading is a key concern for structural safety and reliability. The review summarizes recent studies on wind loads, dynamic behavior, mitigation measures, and monitoring technologies, providing a useful reference for researchers and engineers in PV structural and wind engineering. | Thank you for your comments. The manuscript has been revised and refined based on the original text. |
| Is the title of the article suitable? (If not please suggest an alternative title) | Yes, the title is generally appropriate and reflects the main content of the manuscript | Thank you for your comment. The title has not been revised and remains unchanged. |
| Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | The abstract is adequate. | Thank you for your valuable comments. The abstract has been revised and refined for improved clarity and quality. |
| Is the manuscript scientifically, correct? Please write here. | The manuscript is scientifically sound and the technical discussion is generally consistent with current knowledge in wind engineering and flexible structural systems. The review covers major aspects including wind load distribution, aeroelastic response, structural optimization, damping strategies, and monitoring technologies. However, several issues should be addressed: - The paper is mainly descriptive, with limited critical comparison between studies. - There is little synthesis in the form of tables, performance comparison, or quantitative analysis. - Some sections repeat similar statements about the influence of tilt angle and pre-tension without deeper interpretation. - The manuscript lacks a clear discussion of research gaps in a structured manner. - Figures are mentioned but their scientific contribution is limited in a review context. A stronger critical analysis and synthesis would significantly improve the scientific value. | Thank you for your insightful comments. We have conducted a more in-depth critical analysis and synthesis of the literature, explored research gaps, and identified specific limitations. Redundant expressions have been optimized, and a more in-depth explanation of the effects of tilt angle and pre-tension has been provided. The overall content has been revised and refined accordingly. |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | The reference list is extensive and generally adequate. Many references are recent (2023–2025), which reflects the current state of research. However: - A large proportion of references come from regional journals or theses, which may limit international visibility. - Some older references (e.g., 2010, 2015, 2016) should be justified as foundational works | Thank you for your valuable comments. Multi-regional and multi-journal references have been added to the manuscript. |
| Is the language/English quality of the article suitable for scholarly communications? | The English is generally understandable | Thank you for your valuable comments. The English expression has been revised and refined to enhance clarity and readability. |
| Optional/General comments | - Some figures appear to be reproduced from individual studies; proper permissions and clearer captions should be ensured. - Figure 8 “Graphical user interface of the iMOO model” is not clearly presented; its resolution and readability should be improved to enhance its graphical quality. | Thank you for your valuable comments. Citations have been added to clarify the referenced data. The clarity of Figure 8, "Graphical user interface of the iMOO model," has been improved to enhance the graphic quality. |

| PART 2: |  |  |
| --- | --- | --- |
|  | Reviewer’s comment | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in detail) NO | Thank you for your insightful comments. |