Review Form 3

	

	Journal Name:
	Asian Journal of Physical and Chemical Sciences 

	Manuscript Number:
	Ms_AJOPACS_155009

	Title of the Manuscript: 
	DESIGN, MODELLING AND IMPLEMENTATION OF HIGH-EFFICIENCY TRANSFORMERLESS SOLAR INVERTER WITH REDUCED LEAKAGE CURRENT FOR PHOTOVOLTAIC APPLICATIONS

	Type of the Article
	Original Research Article


	PART  1: Comments



	
	Reviewer’s comment


	Author’s Feedback (It is mandatory that authors should write his/her feedback here)



	Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part.


	This manuscript holds significant value for the scientific community as it addresses one of the primary challenges in transformerless PV systems-leakage current. By employing an enhanced HERIC topology combined with advanced control strategies, the study demonstrates high efficiency, superior power quality, and compliance with international safety standards. The consistency between simulation and experimental results reinforces its scientific contribution and provides a practical reference for the development of safer and more sustainable solar energy systems.
	

	Is the title of the article suitable?

(If not please suggest an alternative title)


	The title of the article is appropriate, just consider whether to use the long version (more descriptive) or the short version (more concise).
	

	Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here.


	In general, the article's abstract covers the main points and provides practical relevance. However, there are several areas that could be strengthened:
· Add context to the problem, for example, why transformerless inverters are important for modern PV systems (efficiency, compact size, leakage current issues).

· Briefly mention that the simulations were performed in MATLAB/Simulink and that a 1 kW prototype was experimentally tested.

· State that this research contributes to the development of an improved HERIC topology to suppress leakage current while maintaining high efficiency.

· Some sentences about the results could be condensed to make the abstract more concise and focused.
	

	Is the manuscript scientifically, correct? Please write here.
	Yes, the manuscript scientifically.
	

	Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form.
	The references used are adequate and up-to-date (2020–2024). However, recommend adding references to international standards (IEC 61727, IEC 62109) as well as the latest literature on the application of wide-bandgap devices (SiC/GaN) and advanced control strategies for grid synchronization, to make the manuscript more comprehensive and relevant to the latest research trends.
	

	Is the language/English quality of the article suitable for scholarly communications?


	In general, the quality of the English in this manuscript is suitable for scientific communication. However, some sentences are long and could be shortened for greater clarity. Pay attention to the use of (a, an, the) and plurals to make the English sound more natural.
	

	Optional/General comments
	Overall, this manuscript is quite good. However, it would be better to include explicit reference standards (e.g., IEC 61727 for power quality, IEC 62109 for safety) can see the direct relationship to regulations. Include a comparison table of simulated versus experimental results to demonstrate data consistency.
	


	PART  2: 



	
	Reviewer’s comment
	Author’s Feedback (It is mandatory that authors should write his/her feedback here)



	Are there ethical issues in this manuscript? 


	(If yes, Kindly please write down the ethical issues here in details)


	


Reviewer details:
Pribadyo, Teuku Umar University, Indonesia
Created by: DR
              Checked by: PM                                           Approved by: MBM
   
Version: 3 (07-07-2024)


