Original Research Article

Determination of Soil Nitrogen for Sustainable Agriculture Using the Kjeldahl Method

Abstract

A comprehensive assessment of soil nitrogen content was carried out across seven villages in the Raigad district,……. using the classical Kjeldahl method. The objective was to determine spatial variations in total organic nitrogen and relate them to soil fertility status and prevailing agricultural practices. Soil samples were collected from surface horizons and analyzed for total nitrogen, with results  and expressed both in percentage and kilograms per hectare for agronomic relevance. Significant variability was observed among villages in soil total nitrogen. Sarde, Nagoan and Mahaivali exhibited high nitrogen levels, indicating fertile soils, possibly due to organic amendments and crop rotation practices. Conversely, Avare and Vindhane recorded low nitrogen content, likely reflecting poor nutrient management or continuous cropping without replenishment. Villages like Koproli, Jui and Kegaon showed intermediate nitrogen levels, suggesting moderate fertility with potential for improvement through better soil nutrient management. The study highlights the utility of the Kjeldahl method for reliable nitrogen quantification and emphasizes the importance of regular soil testing to guide targeted nutrient interventions. Findings support the need for location-specific nitrogen management strategies to enhance soil health, crop productivity and long-term agricultural sustainability in the region.

Keywords: Soil nitrogen, Kjeldahl method, soil fertility, nutrient management, Raigad, sustainable agriculture.

- Introduction

Soil is a complex and dynamic natural resource that serves as the foundation for terrestrial ecosystems and agricultural production. Understanding its physical, chemical and biological properties is essential for evaluating soil health and fertility, which directly impact crop growth, yield and quality[1]. Soil analysis involves a systematic examination of soil components to assess nutrient availability, pH balance, organic matter content, texture and potential contaminants. This information enables farmers, agronomists and environmental scientists to make informed decisions regarding land management, crop selection, fertilization strategies and sustainable agricultural practices[2].

With the continuously increase in global population , there is an urgent need to enhance food production, while preserving soil quality and minimizing environmental impact[3]. Proper soil management relies heavily on accurate nutrient assessment, as nutrient imbalances can lead to decreased productivity and degradation of soil resources[4]. Among essential nutrients, nitrogen is arguably the most critical for plant growth. It is a fundamental constituent of amino acids, proteins, nucleic acids and chlorophyll molecules, thereby influencing photosynthesis, enzyme activity and overall metabolism in plants[5]. Nitrogen availability in soil affects various physiological processes and its deficiency manifests as poor vegetative growth, chlorosis (yellowing of leaves) and reduced crop quality[6]. Conversely, excess nitrogen can disrupt nutrient uptake, promote excessive vegetative growth at the expense of reproductive development and cause environmental issues such as nitrate leaching, eutrophication of water bodies and greenhouse gas emissions[7].

Therefore, precise quantification of soil nitrogen content is crucial for optimizing fertilizer application, enhancing crop yields and promoting sustainable farming systems. Nitrogen exists in the soil in both organic and inorganic forms, and its availability depends on numerous factors such as microbial activity, moisture content, temperature, and soil texture[8]. To measure the total nitrogen effectively, reliable analytical techniques are required. Among various methods available, the Kjeldahl method remains a widely accepted and standardized procedure for determining total nitrogen content in diverse samples[9].

The Kjeldahl method, developed by Johan Kjeldahl in 1883, has  extensively been refined over the decades. It involves three main steps: digestion, distillation, and titration. In the digestion phase, organic nitrogen compounds are converted into ammonium sulfate using concentrated sulfuric acid and a catalyst, often selenium or copper[10]. This is followed by steam distillation, where ammonia is released from the alkaline digested sample and trapped in a boric acid solution. Finally, the trapped ammonia is quantified through titration with a standardized acid solution, typically hydrochloric or sulfuric acid[11]. The amount of acid used corresponds directly to the nitrogen content in the sample. The simplicity, cost-effectiveness, and ability to determine total organic nitrogen make this method a gold standard, especially in agricultural research[12]. In recent years, technological improvements have led to the development of semi-automated and fully automated Kjeldahl systems, enhancing safety, reproducibility, and processing speed. These modern instruments integrate temperature controls, distillation units, and automated titrators, which collectively reduce human error and ensure consistent results across multiple samples. This makes the method suitable not only for soil but also for analyzing plant tissues, food products, wastewater, and fertilizers[13].

In the context of agriculture, accurate nitrogen data obtained through this method enables better nutrient budgeting, helping to avoid both under- and over-fertilization. Such precision is crucial for promoting plant health, improving yield quality, and conserving soil fertility in the long term. Moreover, the correct application of nitrogen fertilizers based on analytical data helps to prevent nitrogen runoff and gaseous emissions, which are significant contributors to water and air pollution. Thus, this method supports both agronomic efficiency and environmental stewardship[14].

In this study, soil samples from various agricultural fields were collected and analyzed for nitrogen content using Kjeldahl method. The selection of this method ensured the reliable detection of total nitrogen, including organically bound forms not measurable through other rapid test kits[15]. The digestion process was followed by steam distillation and acid-base titration, which provided precise and reproducible measurements of nitrogen levels in each sample. The objective of this work was to gain comprehensive insights into the spatial variation of soil nitrogen across different sites and soil types[16]. Results of the analysis aimed to inform more effective and site-specific fertilizer recommendations, tailored to the actual nitrogen needs of crops in those regions. This could help reduce unnecessary fertilizer use and enhance nutrient-use efficiency. Additionally, the findings contribute to the broader goal of sustainable land management by supporting practices that maintain or improve soil fertility without compromising environmental health.

- Materials and Methods.

  - Material.

The chemicals used for nitrogen analysis in soil samples included potassium permanganate (KMnO₄), sodium hydroxide (NaOH), bromocresol green, methyl red, boric acid, and sulfuric acid (H₂SO₄). All reagents were of analytical grade to ensure accuracy and reliability in the results. Potassium permanganate and sodium hydroxide were used as key reagents for oxidation and alkaline digestion. Bromocresol green and methyl red served as indicators to detect pH changes during titration. Boric acid was used as a buffer to capture ammonia gas during the distillation process, while sulfuric acid was applied in the titration step to quantify nitrogen content. These chemicals were sourced from certified and trusted laboratory suppliers, ensuring their purity and suitability for soil analysis.  Soil samples were collected from agricultural fields across several villages—Babhulgaon, Bhivpur, Darodi, Kolwadi, Padali, Sugaon, and Umbraj- representing diverse soil conditions within the study area. Systematic sample collection combined with high-quality reagents ensured consistent and accurate nitrogen determination using the Kjeldahl method[17].

  - Method

To begin the Kjeldahl analysis, prepare the required reagents as follows: dissolve 3.2 g of KMnO₄ in distilled water to make 1000 mL of 0.32% solution; dissolve 25 g of NaOH in distilled water to make 1000 mL solution; prepare the mixed indicator by combining 13 mL of bromocresol green with 0.6 g of methyl red in 100 mL of ethanol; prepare boric acid solution by dissolving 20 g of boric acid in 1000 mL of distilled water; and dilute 0.56 mL of H₂SO₄ to 1000 mL with distilled water for titration. Weigh 5 g of soil into a Kjeldahl digestion tube and add 25 mL each of the KMnO₄ and NaOH solutions. In a conical flask, place 20 mL of boric acid solution. Ensure the steam distillation unit has sufficient water and is functioning properly. Start distillation. The released ammonia is absorbed in boric acid, changing the solution color from red to yellow. Titrate with H₂SO₄ until the color changes to reddish.

  - Machine of Soil Nitrogen Analyzer.

Figure  1. Machine Nitrogen Analyzer.

The instrument shown in the image is a steam distillation-based nitrogen analyzer, commonly used for determining the nitrogen content in soil and other organic samples. The device automates parts of the Kjeldahl method by providing preset operational options on a digital control screen. The process starts by preparing standard reagents such as 0.32% KMnO₄, NaOH, boric acid, mixed indicator (bromocresol green and methyl red in ethanol), and 0.01N H₂SO₄. First, weigh 5 g of dried, sieved soil sample into a Kjeldahl digestion tube. Then, add 25 mL each of the KMnO₄ and NaOH solutions. In a separate conical flask, place 20 mL of boric acid solution containing the mixed indicator. Before starting, ensure the boiler level is adequate—this can be manually adjusted using the "Add Manually" option on the analyzer’s screen. After confirming the boiler level and water supply, press "Start" to initiate steam distillation. During distillation, ammonia gas released from the alkaline digestion reacts with the boric acid in the receiving flask, changing its color from red to yellow. Once distillation is complete, titrate the boric acid solution with 0.01N H₂SO₄ until the color changes from yellow to a reddish endpoint. The volume of acid used indicates the amount of ammonia, and thereby nitrogen, present in the soil.

Compared to the traditional Kjeldahl method, which involves manual digestion, distillation, and titration steps, this nitrogen analyzer offers more automation, safety, and time-efficiency. The manual process is labor-intensive and requires close monitoring, whereas the analyzer ensures consistent and reproducible results by minimizing human error. This makes the analyzer highly suitable for routine soil nitrogen testing in research and agricultural laboratories[18].

- Results and discussion.

  - Nitrogen Analysis in Soil – Explanation of the Formula

The nitrogen content in soil samples was determined using the Kjeldahl method, a well-established analytical technique commonly used for the estimation of total organic nitrogen. The procedure involves three main stages: digestion of the soil sample, distillation of the released ammonia, and final quantification by acid–base titration. After completion of the titration step, the nitrogen content of the sample was calculated using the following equation:

Nitrogen(%)=(T−B)×N×0.014×100W

T – Volume of standard sulfuric acid (H₂SO₄) in milliliters used for titration of the distilled soil sample.

B – Volume of sulfuric acid (H₂SO₄) in milliliters required for the blank titration, carried out without soil to correct for reagent impurities.

N – Normality of the sulfuric acid solution used in titration (0.02 N in this study).

0.014 – Milliequivalent weight of nitrogen expressed in grams. This constant is obtained from the atomic weight of nitrogen (14.01 g/mol) divided by 1000 to convert it into grams per milliequivalent.

100 – Conversion factor used to express nitrogen content in percentage.

W – Weight of the soil sample taken for analysis, expressed in grams. In this study, a constant sample weight of 5 g was used.

This equation provides the percentage of nitrogen present in the soil sample based on its dry weight. The blank correction ensures that any acidity originating from reagents or experimental conditions is excluded from the final nitrogen value, thereby improving the accuracy of the measurement.

### Example Calculation

As an illustration, consider a soil sample where the titration volume (T) was 12.3 mL and the blank titration value (B) was 0.5 mL. The nitrogen percentage can be calculated as follows:

Nitrogen(%)=(12.3−0.5)×0.02×0.014×1005
Nitrogen(%)=0.6608%

### Conversion to Kilograms per Hectare

For practical agricultural interpretation, the nitrogen percentage obtained from laboratory analysis was converted into kilograms per hectare (kg/ha). This conversion allows the nitrogen content to be expressed in field-relevant units that are useful for fertilizer recommendation and soil fertility evaluation.

The conversion was performed using the following relationship:

Nitrogen(kg/ha)=22,400×%N

Substituting the calculated nitrogen percentage:

Nitrogen(kg/ha)=22,400×0.6608
Nitrogen(kg/ha)=14,799.04 kg/ha

This value represents the estimated nitrogen availability in the soil and provides useful information for planning appropriate nutrient management strategies aimed at improving soil fertility and crop productivity.

  - Variation in Nitrogen Content Across Soil Samples

Figure 2. Nitrogen content (kg/ha) in soil samples from Koproli, Jui, and Avare.

This section presents a comparative evaluation of nitrogen concentrations in soil samples obtained from the villages of Koproli, Jui, and Avare. The x-axis of the corresponding graph indicates the individual sample numbers, while the y-axis represents the nitrogen content measured in kilograms per hectare (kg/ha). The numerical values listed beside each village name (0.3, 0.8, 0.5) appear to serve as internal classification codes and are not associated with nitrogen levels.

Among the three villages, Koproli exhibits the highest soil nitrogen content across its soil samples. The concentrations range from approximately 400 to over 700 kg/ha, with notable peaks observed at several sampling points. This suggests spatial variation in soil fertility within the village. The elevated nitrogen values may be the result of better soil management practices, including the application of nitrogen-rich fertilizers, higher organic matter presence, or effective crop rotation techniques that help sustain nutrient levels.

Jui village shows moderate nitrogen content, with most values falling between 300 and 500 kg/ha. The graph indicates a relatively steady trend with smaller fluctuations compared to Koproli. This consistency may reflect balanced and sustained nutrient availability, supported by moderately intensive agricultural practices. Such stability suggests that the soil in Jui is adequately fertile to support crop production under normal farming conditions. In contrast, Avare village records the lowest nitrogen levels, with most samples ranging between 150 and 250 kg/ha. The minimal variation across samples indicates consistently low nutrient availability. This condition may be attributed to inadequate fertilization, prolonged cultivation without replenishment, or limited incorporation of organic matter. A nitrogen deficiency could limit crop productivity if corrective measures are not taken.

The overall pattern in nitrogen concentration across the three villages follows the trend: Koproli > Jui > Avare. This gradient highlights distinct differences in soil fertility status among the locations and underlines the importance of tailored soil management strategies. Regular monitoring of soil nutrients and the implementation of appropriate fertilization practices are essential for enhancing soil quality and promoting sustainable agricultural outcomes in these regions[19].

  - Variation in Nitrogen Content Across Soil Samples

Figure 3. Nitrogen content (kg/ha) in soil samples from Sarde, Nagoan, Ransae, Vindhane)

The graph titled "Nitrogen Content in Soil Samples (kg/ha) from Different Villages" presents a comparative analysis of nitrogen concentrations across soil samples collected from five locations: Sarde, Nagoan, Ransae (represented through two distinct data series), and Vindhane. The x-axis displays sample numbers ranging from 1 to 37, while the y-axis represents nitrogen levels measured in kilograms per hectare (kg/ha). The numerical values shown next to the village names (e.g., 0.2, 0.6, etc.) are interpreted as internal codes or identifiers and do not influence the actual nitrogen measurements.

Among the five villages, Sarde consistently shows the highest nitrogen concentrations across the sample range. The values frequently exceed 700 kg/ha, with several samples even surpassing 900 kg/ha. While the data show some dips at certain points, the overall trend remains significantly high. This pattern suggests the presence of nutrient-rich soils in Sarde, potentially due to the use of organic matter, regular application of nitrogenous fertilizers, or favorable natural soil properties that retain and recycle nutrients effectively.

Nagoan also exhibits elevated nitrogen values, although generally lower than those observed in Sarde. Most nitrogen concentrations from this village range between 500 and 700 kg/ha, with at least one sample peaking slightly above 700 kg/ha. The trend suggests consistent soil fertility, possibly maintained through well-managed agricultural practices and adequate fertilization. This relatively narrow range also reflects a more uniform distribution of nitrogen content across different sampling sites within the village.

Ransae Village appears twice in the graph, represented by two different data series. This likely corresponds to different sampling zones, layers, or collection periods within the same village. The first data series shows nitrogen levels mostly between 300 and 500 kg/ha, indicating moderate soil fertility. The second series, however, reveals a considerably lower nitrogen range, generally between 200 and 350 kg/ha. The noticeable difference between the two sets of data within the same village highlights possible spatial variability in soil nutrient levels or changes over time due to seasonal practices or variable input strategies.

Vindhane Village consistently shows the lowest nitrogen levels among all five locations analyzed. Most values fall between 100 and 200 kg/ha, with only minor fluctuations across the sample set. The persistently low nitrogen content may indicate long-term nutrient depletion, insufficient fertilizer application, or continuous cultivation without proper soil restoration practices. Such low fertility conditions could negatively affect crop yields unless effective nutrient management is adopted.

The nitrogen concentration trend across the villages can be ranked as follows: Sarde > Nagoan > Ransae (Series 1) > Ransae (Series 2) > Vindhane. These findings underscore the regional disparities in soil fertility and the need for tailored soil improvement strategies, such as precision fertilization and organic matter incorporation, to enhance agricultural productivity.

  - Variation in Nitrogen Content Across Soil Samples –

Figure 4. Nitrogen content (kg/ha) in soil samples from Sarde, Nagoan, Mahaivali, Kegaon, Ransae, Vindhane

The graph represents nitrogen content (kg/ha) in soil samples collected from seven different villages: Sarde, Nagoan, Mahaivali, Kegaon, Ransae, and Vindhane. The x-axis shows the sample number from 1 to 24, and the y-axis indicates the nitrogen concentration in kg/ha. Each village is denoted by a differently styled line, allowing easy visual comparison of nitrogen variability across the locations. The values such as 0.5, 1.0, etc., mentioned in the legend are sample identifiers and do not directly influence the nitrogen values.

Sarde Village displays the highest nitrogen content among all the villages. Its nitrogen levels are significantly elevated, especially at the beginning, with peaks exceeding 1500 kg/ha and consistently remaining above 1000 kg/ha for several samples. This trend indicates that Sarde has nutrient-rich soils, likely due to effective agricultural management, appropriate use of organic fertilizers, or inherent natural fertility. The consistently high values also suggest that Sarde may benefit from good irrigation and high biomass turnover, which contribute to enhanced nitrogen retention. Such fertility conditions are highly favorable for growing nitrogen-demanding crops such as paddy, wheat, and maize, supporting both crop health and yield potential.

Nagoan Village also demonstrates relatively high nitrogen content, with values ranging between 750 and 1400 kg/ha in the initial samples. There is a gradual decrease after sample 12, but the nitrogen levels remain above 400 kg/ha, indicating adequate fertility. This pattern could reflect seasonal nutrient depletion or the effects of repeated cultivation without adequate nutrient replenishment. Nevertheless, the high initial values suggest that nitrogen is sufficient for short-term productivity. However, the declining trend emphasizes the importance of adopting sustainable soil management practices like compost incorporation, crop rotation, or cover cropping to maintain soil health over time.

Mahaivali Village shows moderate to high nitrogen content across its samples. The nitrogen concentration generally ranges from 600 to 1100 kg/ha, with several observable peaks and dips. These results suggest the soil in Mahaivali is fertile and suitable for cultivating various crops. The fluctuations may be due to differences in land use or inconsistent application of fertilizers across the sampled areas. Despite the variation, the overall fertility level is satisfactory, and integrating balanced nutrient strategies, including timely fertilizer application and organic amendments, may further improve crop yields and soil quality.

Kegaon Village presents nitrogen values that mostly range between 450 and 950 kg/ha. The data pattern reveals several peaks, particularly around samples 5 and 12, suggesting localized areas of higher fertility. However, nitrogen levels drop considerably after sample 13, falling to approximately 250–400 kg/ha. This indicates intra-village variability in soil fertility. The findings emphasize the importance of conducting field-specific soil tests and implementing site-based fertilization practices to ensure uniform productivity and reduce nutrient wastage.

Ransae Village exhibits moderate nitrogen concentrations, predominantly between 300 and 600 kg/ha. Although not as high as Sarde or Nagoan, these values remain suitable for general agricultural purposes. The data shows steady fluctuations without sharp drops, indicating stable soil conditions. Such stability might result from consistent farming techniques, moderate fertilizer application, or a natural nitrogen cycle balance. To boost yields, farmers might consider increasing organic inputs or incorporating nitrogen-fixing crops such as legumes to enhance soil fertility naturally.

Vindhane Village appears twice in the data set. The first data set reveals very low nitrogen values, mainly between 100 and 250 kg/ha. This persistent deficiency suggests poor nitrogen fertility, which could adversely affect crop productivity. Potential causes include overuse of land, insufficient fertilizer application, or soil with low nutrient-holding capacity such as sandy textures. Immediate interventions such as adding compost, practicing legume cultivation, and adopting conservation tillage could aid in restoring soil nitrogen levels and improving long-term soil health in this region.

Summery

Across all three graphs, the villages of Sarde, Nagoan, and Mahaivali consistently exhibit the highest soil nitrogen content, indicating superior soil fertility. In contrast, Koproli, Jui, and Kegaon display moderate nitrogen levels, while Avare and Vindhane consistently show the lowest nitrogen content, suggesting relatively poorer soil fertility.

- Conclusion

This study successfully evaluated soil nitrogen content across multiple villages using the Kjeldahl method, a reliable technique for determining total organic nitrogen. The nitrogen content varied significantly among the different locations, reflecting differences in soil fertility and agricultural practices.Villages such as Sarde, Nagoan, and Mahaivali consistently showed high nitrogen levels, indicating fertile soils likely supported by effective management practices, including the use of organic fertilizers and crop rotations. These areas demonstrate good potential for sustaining high crop yields. In contrast, Avare and Vindhane exhibited low nitrogen concentrations, suggesting nutrient depletion caused by factors such as continuous cropping without adequate nutrient replenishment or poor soil conservation practices. Koproli, Jui, and Kegaon fell in the intermediate range, indicating moderate soil fertility that could benefit from improved nutrient management.

Translating nitrogen percentages into kilograms per hectare provided practical insights relevant for agricultural planning and fertilizer application. The observed spatial variability in soil nitrogen highlights the importance of site-specific soil fertility management to optimize crop productivity and minimize environmental impacts. Regular soil testing and tailored fertilization strategies, including the incorporation of organic matter and nitrogen-fixing crops, are essential for improving soil health in nutrient-deficient areas this study underscores the need for targeted soil nutrient management to enhance agricultural sustainability. By addressing nitrogen deficiencies and maintaining soil fertility, farmers can achieve better crop performance while promoting long-term soil conservation and food security in the regio

- References

[1]	D. C. Țopa, S. Căpșună, A. E. Calistru, and C. Ailincăi, “Sustainable Practices for Enhancing Soil Health and Crop Quality in Modern Agriculture: A Review,” May 01, 2025, Multidisciplinary Digital Publishing Institute (MDPI). doi: 10.3390/agriculture15090998.

[2]	D. Kalfas, S. Kalogiannidis, O. Papaevangelou, K. Melfou, and F. Chatzitheodoridis, “Integration of Technology in Agricultural Practices towards Agricultural Sustainability: A Case Study of Greece,” Sustainability (Switzerland) , vol. 16, no. 7, Apr. 2024, doi: 10.3390/su16072664.

[3]	M. A. Busari, S. S. Kukal, A. Kaur, R. Bhatt, and A. A. Dulazi, “Conservation tillage impacts on soil, crop and the environment,” Jun. 01, 2015, International Research and Training Center on Erosion and Sedimentation and China Water and Power Press. doi: 10.1016/j.iswcr.2015.05.002.

[4]	R. Derpsch et al., “Nature’s laws of declining soil productivity and Conservation Agriculture,” Soil Security, vol. 14, Mar. 2024, doi: 10.1016/j.soisec.2024.100127.

[5]	O. Zayed et al., “Nitrogen Journey in Plants: From Uptake to Metabolism, Stress Response, and Microbe Interaction,” Oct. 01, 2023, Multidisciplinary Digital Publishing Institute (MDPI). doi: 10.3390/biom13101443.

[6]	M. A. Bhat et al., “Soil and Mineral Nutrients in Plant Health: A Prospective Study of Iron and Phosphorus in the Growth and Development of Plants,” Jun. 01, 2024, Multidisciplinary Digital Publishing Institute (MDPI). doi: 10.3390/cimb46060312.

[7]	M. Anas et al., “Fate of nitrogen in agriculture and environment: agronomic, eco-physiological and molecular approaches to improve nitrogen use efficiency,” Dec. 01, 2020, BioMed Central Ltd. doi: 10.1186/s40659-020-00312-4.

[8]	A. H. Bingham and M. F. Cotrufo, “Organic nitrogen storage in mineral soil: Implications for policy and management,” May 01, 2016, Elsevier B.V. doi: 10.1016/j.scitotenv.2016.02.020.

[9]	P. Sáez-Plaza, T. Michałowski, M. J. Navas, A. G. Asuero, and S. Wybraniec, “An Overview of the Kjeldahl Method of Nitrogen Determination. Part I. Early History, Chemistry of the Procedure, and Titrimetric Finish,” Crit Rev Anal Chem, vol. 43, no. 4, pp. 178–223, Oct. 2013, doi: 10.1080/10408347.2012.751786.

[10]	J. Aguirre, “The Kjeldahl Method,” in The Kjeldahl Method: 140 Years, Springer Nature Switzerland, 2023, pp. 53–78. doi: 10.1007/978-3-031-31458-2_4.

[11]	W. P. Utomo, H. Wu, and Y. H. Ng, “Quantification Methodology of Ammonia Produced from Electrocatalytic and Photocatalytic Nitrogen/Nitrate Reduction,” Jan. 01, 2023, MDPI. doi: 10.3390/en16010027.

[12]	T. D. Hicks, C. M. Kuns, C. Raman, Z. T. Bates, and S. Nagarajan, “Simplified Method for the Determination of Total Kjeldahl Nitrogen in Wastewater,” Environments - MDPI, vol. 9, no. 5, May 2022, doi: 10.3390/environments9050055.

[13]	C. O. Asadu et al., “Enhanced efficiency fertilizers: Overview of production methods, materials used, nutrients release mechanisms, benefits and considerations,” Environmental Pollution and Management, vol. 1, pp. 32–48, Oct. 2024, doi: 10.1016/j.epm.2024.07.002.

[14]	D. Ferland et al., “Improved nitrogen fertilizer management reduces nitrous oxide emissions in a northern Prairie cropland,” Science of the Total Environment, vol. 956, Dec. 2024, doi: 10.1016/j.scitotenv.2024.177211.

[15]	C. Dimkpa, P. Bindraban, J. E. McLean, L. Gatere, U. Singh, and D. Hellums, “Methods for Rapid Testing of Plant and Soil Nutrients,” 2017, pp. 1–43. doi: 10.1007/978-3-319-58679-3_1.

[16]	D. E. Clarke, E. A. Stockdale, J. A. Hannam, B. P. Marchant, and S. H. Hallett, “Spatial-temporal variability in nitrogen use efficiency: Insights from a long-term experiment and crop simulation modeling to support site specific nitrogen management,” European Journal of Agronomy, vol. 158, Aug. 2024, doi: 10.1016/j.eja.2024.127224.

[17]	 by J. Robert Okalebo, K. W. Gathua, and P. L. Woomer, “LABORATORY METHODS OF SOIL AND PLANT ANALYSIS: A Working Manual The Second Edition The Sustainable Agriculture Centre for Research Extension and Development in Africa.”

[18]	P. C. Nie, T. Dong, Y. He, and F. Qu, “Detection of soil nitrogen using near infrared sensors based on soil pretreatment and algorithms,” Sensors (Switzerland), vol. 17, no. 5, May 2017, doi: 10.3390/s17051102.

[19]	B. Rotich et al., “Variation in Soil Organic Carbon and Total Nitrogen Stocks Across Elevation Gradients and Soil Depths in the Mount Kenya East Forest,” Land (Basel), vol. 14, no. 6, p. 1217, Jun. 2025, doi: 10.3390/land14061217.