Review Form 3

	

	Journal Name:
	Journal of Scientific Research and Reports 

	Manuscript Number:
	Ms_JSRR_154475

	Title of the Manuscript: 
	Solar PV Performance and Shading Analysis in a Roof top Agro-Voltaic System

	Type of the Article
	


	PART  1: Comments



	
	Reviewer’s comment


	Author’s Feedback (It is mandatory that authors should write his/her feedback here)



	Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part.


	The paper discusses the performance analysis of a 76.8 kWp roof-top agro voltaic system installed in the state of Maharashtra, India. The paper also discusses the shadow trajectory modeling. The topic is timely, and the dual focus of the paper is also relevant. Overall, the paper addresses an important gap in the renewable energy and agro voltaic systems literature by offering an analysis of the electrical performance as well as the spatiotemporal distribution of the shadow trajectory in the rooftop agro voltaic system, which is an important aspect that has been analyzed separately in earlier studies.
	

	Is the title of the article suitable?

(If not please suggest an alternative title)


	Yes
	

	Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here.


	The abstract is well-organized, covering the objectives, methods, major results, and conclusions. However, the assertion that "PV performance remained unaffected" based on an R² > 0.98 value is slightly misleading, as this R² value actually relates to the irradiance generation correlation. One sentence summarily indicating the originality of the paper, such as the evaluation of the PV performance as well as the shadow trajectory analysis under the rooftop agrovoltaic system, which was not conducted in previous studies, would greatly improve the abstract.
	

	Is the manuscript scientifically, correct? Please write here.
	Yes
	

	Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form.
	References are sufficient and recent
	

	Is the language/English quality of the article suitable for scholarly communications?


	The writing in the manuscript is in intelligible English, and the basic scientific content is easily understandable to a reader. However, the quality of the writing in the manuscript is not up to the standards that are expected in an international journal. There are grammatical, tense, vocabulary, hyphen, and sentence structure problems in the manuscript, which need to be corrected to make the manuscript acceptable.
	

	Optional/General comments


	
	


	PART  2: 



	
	Reviewer’s comment
	Author’s Feedback (It is mandatory that authors should write his/her feedback here)



	Are there ethical issues in this manuscript? 


	(If yes, Kindly please write down the ethical issues here in details)


	


Reviewer details:
D. Poornima, Sri Ramakrishna Institute of Technology, India
Created by: DR
              Checked by: PM                                           Approved by: MBM
   
Version: 3 (07-07-2024)

