Review Article

Advances in 3D Printing for Periodontal Regeneration: A Comprehensive Review

ABSTRACT

Three-dimensional (3D) printing and bioprinting are emerging as advanced tools for periodontal regeneration, enabling patient-specific scaffolds and precise tissue engineering. The periodontium comprising alveolar bone, periodontal ligament, cementum, and gingiva has a complex architecture that makes complete regeneration challenging. Bioprinting strategies allow controlled placement of cells, biomaterials, and growth factors, closely mimicking the native periodontal environment. Advances in 3D bioprinting enable precise spatial control of cells, biomaterials, and bioactive molecules, allowing the fabrication of scaffolds that closely mimic the native periodontal microenvironment. This review highlights bioprinting techniques, bioink formulations, and its applications for alveolar bone, periodontal ligament, and gingival regeneration. By enabling functional and spatially organized tissue regeneration, 3D bioprinting represents a promising shift from conventional reparative therapies toward true biological and clinically relevant periodontal regeneration.

Keywords: 3D bioprinting; periodontal regeneration, bioinks, alveolar bone, tissue engineering

1. INTRODUCTION

Periodontal disease is a chronic inflammatory condition initiated by microbial biofilms and perpetuated by a dysregulated host immune response, leading to progressive destruction of the tooth-supporting structures, including gingiva, periodontal ligament (PDL), cementum, and alveolar bone1. Thus, severe periodontitis remains a leading cause of tooth loss. Current regenerative approaches such as guided tissue regeneration, bone grafts, membranes, and biologic agents show variable outcomes, particularly in complex defects such as furcations and fenestrations2. These limitations are largely attributed to inadequate space maintenance, poor defect adaptation, and the inability to recreate the native hierarchical architecture of periodontal tissues3.

Traditional manufacturing techniques are based on subtractive manufacturing, in which material is removed from a solid block to obtain the desired shape. In contrast, three-dimensional (3D) printing is an additive manufacturing technology, where a digital model is designed using computer-aided design (CAD) software, sliced into successive layers, and transferred to a printer that fabricates the object layer by layer following the principle of layered manufacturing4. This approach enables precise control over scaffold geometry, porosity, and internal architecture, making it particularly suitable for periodontal applications where defect morphology and tissue interfaces are highly complex5.

In additive manufacturing or 3D printing, three-dimensional structures are fabricated directly from digital data using CAD-based workflows. When the printed materials incorporate living cells within bioactive biomaterials, the process is referred to as 3D bioprinting6. Commonly employed bioprinting techniques include inkjet bioprinting, extrusion-based bioprinting, laser-assisted bioprinting, and stereolithography, each offering distinct advantages in terms of resolution, cell viability, and material compatibility7. These technologies allow the spatially controlled delivery of cells, biomaterials, and biological cues, which is critical for orchestrating periodontal tissue regeneration.

With these advances in scaffold fabrication and bioprinting technologies, 3D printing has transitioned from an experimental manufacturing tool to a biologically driven regenerative strategy. In periodontology, this technology has enabled the development of customized scaffolds, membranes, and tissue-guiding constructs and has expanded toward practical clinical applications including education, socket preservation, periodontal defect regeneration, ridge augmentation, sinus augmentation, and peri-implant regeneration.Top of Form

The aim of this paper is to review the present data in the literature, related to 3D printing and bioprinting techniques and materials, as well as applications in the form of membranes and scaffolds in the regeneration of the periodontal apparatus.

Bottom of Form

2. BIOINKS FOR PERIODONTAL TISSUE ENGINEERING

Bioinks play a central role in bioprinting by providing a supportive microenvironment that mimics the extracellular matrix (ECM). An ideal bioink must balance printability, mechanical integrity, biocompatibility, biodegradability, and biological signalling.

2.1 Types of Bioinks

Natural hydrogels

Examples include collagen, gelatin, fibrin, alginate, hyaluronic acid, agarose, and gelatin methacryloyl (GelMA). These materials exhibit excellent cell affinity and biocompatibility but generally possess limited mechanical strength.

Synthetic hydrogels

Synthetic polymers such as polycaprolactone (PCL), polyethylene glycol (PEG), PEG diacrylate (PEGDA), polylactic acid (PLA), polyglycolic acid (PGA), and poly(lactic-co-glycolic acid) (PLGA) offer tunable mechanical properties and controlled degradation but lack inherent bioactivity.

Composite bioinks

Combinations of natural and synthetic polymers, often reinforced with ceramics such as hydroxyapatite (HA), β-tricalcium phosphate (β-TCP), or bioactive glass.

Decellularized extracellular matrices (dECM)

Provide tissue-specific biochemical cues and growth factors, enhancing cell differentiation and regeneration.

2.2 Commonly Used Biomaterials in Periodontal 3D Printing

| Material Category | Material | Advantages | Disadvantages |
| --- | --- | --- | --- |
| Natural polymers | Collagen | Biocompatible Excellent cell affinity | Low mechanical properties |
|  | Alginate | Hydrophilic Easy gelation | Rapid degradation rate |
|  | Hyaluronic acid | Supports cell migration and proliferation | Lack of bioactivity |
|  | Chitosan | Antibacterial Biocompatible | Poor mechanical strength |
| Synthetic polymers | Polycaprolactone (PCL) | Highly adjustable physicochemical and mechanical properties | Low bioactivity |
|  | Polylactic acid (PLA) | Wide range of degradation and resorption kinetics | Slow degradation rate |
|  | Polyglycolic acid (PGA) | Good repeatability | Acidic byproducts |
|  | Polyethylene glycol (PEG) | Tuneable properties; hydrophilic | Not compatible with cell encapsulation |
|  | Poly(lactic-co-glycolic) acid (PLGA) | Controlled degradation; good processability | Acidic degradation products |
| Bio-ceramics | Hydroxyapatite (HA) | Bioactive; biocompatible; osteoconductive | Stiffness brittleness |
|  | β-tricalcium phosphate (β-TCP) | Potential Osteoinductive properties | Low ductility |
|  | Bioactive glass | Hydrophilicity promotes mineralization | Low flexibility, inconsistent cell reactions due to surface variability |

Table no.1: Commonly used Bioinks for Periodontal regeneration. Irina-Georgeta Sufaru et al8

3.

WORKFLOW AND STEPS IN 3D PRINTING AND BIOPRINTING FOR PERIODONTAL REGENERATION

3D printing is fundamentally different from traditional subtractive manufacturing techniques, as it relies on the principle of layered manufacturing to fabricate structures directly from computer-aided design (CAD) models. When bioactive biomaterials and living cells are incorporated into printable formulations, the process is referred to as 3D bioprinting. This technology is particularly suited for periodontal applications, where precise control over defect geometry and tissue interfaces is critical.

Fig.1: Schematic diagram of the process for 3D printing dental tissue. Fengxiao Zhao et al.9

Step 1: Data acquisition and 3D model design

The first step involves creating a three-dimensional model representing the macroscopic and microscopic architecture of the target scaffold. Anatomical data can be acquired using computed tomography (CT) or cone-beam computed tomography (CBCT) scans followed by digital post-processing, or generated directly using computer-aided design (CAD) software.

Step 2: Selection of biomaterials, cells, and bioactive components

Based on the target tissue such as periodontal ligament, gingiva, or alveolar bone appropriate biomaterials are selected. Relevant cell types and bioactive agents, including growth factors and signaling molecules, are also chosen to promote tissue-specific regeneration.

Step 3: Ink or bioink preparation

The selected biomaterials are formulated into printable inks (cell-free biomaterials) or bioinks (biomaterials incorporating living cells). These formulations must exhibit suitable viscosity, printability, mechanical stability, and biocompatibility.

Step 4: Selection of printing technique and scaffold fabrication

The prepared inks or bioinks are loaded into the 3D printer. Commonly used techniques include extrusion-based printing and its variants such as fused deposition modeling (FDM) and melt electrowriting (MEW), inkjet-based printing, and laser-assisted printing techniques including stereolithography (SLA), digital light processing (DLP), and selective laser sintering (SLS). Each technique has distinct features that influence resolution, mechanical strength, and cell viability and must be carefully considered during fabrication.

Step 5: Post-printing cell seeding (for cell-free scaffolds)

In cases of cell-free printing, cells are seeded onto the fabricated scaffold after printing to ensure optimal cell attachment, proliferation, and distribution.

Step 6: In vitro maturation or in vivo implantation

Finally, the 3D-printed constructs are cultured under controlled in vitro conditions to allow tissue maturation or implanted in vivo to facilitate biological regeneration and functional integration with host periodontal tissues.

4. TYPES OF 3D PRINTERS

3D printers can be broadly classified into following categories: inkjet printing, extrusion printing, fused deposition modeling, light-assisted printing, and electrospinning. Of these most commonlly  used are inkjet printing, extrusion printing and Light-assisted printing.

4.1 Inkjet printing

In inkjet printing, bioink is deposited in a droplet-wise manner.¹⁰ The formation of these bioink droplets can be achieved through several actuation mechanisms, including acoustic, piezoelectric, hydrodynamic, electrostatic, thermal, and microvalve-based systems. The printhead operates in synchronisation with a motorised stage, enabling the fabrication of three-dimensional constructs through layer-by-layer deposition using a raster-scanning approach.

This technique usually requires low viscosity bioinks (3.5–12 mPa/s) and is fast, and the cell viability after printing is high (>85%)11,12.

4.2 Extrusion printing

In extrusion-based printing, the bioink is forced through a nozzle by the application of mechanical or pneumatic pressure. This technique enables the use of bioinks across a broad viscosity range (30 mPa·s to 60 × 10⁷ mPa·s).¹³ Three-dimensional constructs are produced through the deposition of continuous filaments or discrete beads of bioink, while the printhead traverses the stage in a raster-scanning pattern..

Fig.3: Extrusion printing

The printer head then moves in the Z direction, allowing layer-by-layer fabrication.The technique is fast, and the cell viability after printing remains high (∼80%).

4.3 Light-assisted printing

In laser-assisted printing, a bioink with a viscosity of 1–300 mPa/s is loaded on a ribbon coated by a thin metallic film (gold or titanium)14. A laser pulse induces metal vaporization, which ejects a droplet of bioink toward the substrate.

Fig.4: Light-assisted printing

Extrusion printing

This is a fast printing technique with high precision deposition, and the cell viability after printing is high (>95%).

4.4 Stereolithography

In stereolithography, a photosensitive resin is cured point by point by a laser beam to fabricate a 3D structure. The technique is fast, and the cell viability after printing is high (>85%)15,16.

Fig.5: Stereolithography

| Techniques | Advantages | Disadvantages | Application |
| --- | --- | --- | --- |
| Extrusion-based printing | Extensive sources of material. Low cost | Limited printing resolution Slow printing speed Shearing force unfavorable to cells | Dentin–pulp complex Alveolar bone PDL Cementum17 |
| Inkjet-based printing | Relatively fast printing speed. High resolution. High cell viability. | Viscosity limitations of ink | Dental pulp Alveolar bone18 |
| Laser-assisted printing | High printing speed. High precision | Expensive cost. Only light-curing materials | Dental pulp Bio-root Periodontal tissue Alveolar bone PDL Cementum19 |

Table no. 2: Types of 3D printers with Advantages and Disadvantages.

5. APPLICATIONS OF 3D PRINTING IN PERIODONTOLOGY

5.1 Education of Patients and Dental Students

Three-dimensional (3D) printed models have emerged as powerful educational tools in periodontology, benefiting both patients and dental trainees. Physical models allow visualization of complex periodontal defects that are difficult to comprehend using two-dimensional radiographs or verbal explanations alone.

The VANPERIO model, a 3D-printed periodontal defect model, has been specifically developed to enhance understanding of periodontal regenerative procedures. These models enable patients to better grasp the nature of their disease, treatment sequence, and expected regenerative outcomes, thereby improving patient compliance and informed consent. Additionally, VANPERIO models allow simulation of regenerative procedures using bone grafts and barrier membranes, offering clinicians and students a realistic, hands-on understanding of defect morphology and surgical complexity20.

For dental education, 3D-printed surgical models fabricated from CBCT data have proven highly reliable in teaching advanced regenerative procedures, including sinus floor elevation and guided bone regeneration. Studies report improved spatial understanding, procedural confidence, and surgical planning skills among dental students and practitioners using these models21.

5.2 Socket Preservation

Socket preservation following tooth extraction is critical to minimize alveolar ridge resorption and facilitate future implant placement. 3D-printed scaffolds provide a customized and space-maintaining solution to this clinical challenge.

Goh et al.22 demonstrated that a prefabricated 3D-printed polycaprolactone (PCL) scaffold, fabricated using fused deposition modeling (FDM), effectively preserved alveolar ridge dimensions over a 6-month period. Micro-CT and histological findings revealed reduced vertical bone resorption compared to ungrafted sockets.

Custom-made scaffolds exhibit superior defect adaptation compared to prefabricated designs; however, limitations such as soft tissue dehiscence and incomplete bone regeneration have been reported. These shortcomings may be attributed to the slow degradation rate of PCL, limited osteoconductivity, and poor cellular affinity.

More recently, Kijartorn et al.23 compared 3D-printed nanoporous hydroxyapatite scaffolds with nanocrystalline bone grafts for ridge preservation. The 3D-printed scaffold demonstrated significantly reduced soft tissue dimensional changes, suggesting enhanced volume stability.

Nicola De Angelis et al.24 evaluated 3D-printed bioresorbable polymeric disks compounded with osteoconductive ceramics for socket sealing after tooth extraction. Both poly-D-lactic acid with 10% hydroxyapatite and poly-ε-caprolactone with 20% β-tricalcium phosphate significantly improved soft-tissue closure compared with spontaneous healing, particularly in posterior sites. Near-complete epithelial coverage was achieved within six weeks without flap elevation or postoperative complications, highlighting the importance of effective socket sealing in preserving ridge morphology for future implant placement.

The controlled resorption of the customized 3D-printed devices and their favorable tissue response support their role as effective socket sealing systems, reinforcing the concept that soft-tissue management is a critical component of socket preservation for maintaining ridge morphology and optimizing future implant placement. Overall, 3D printing allows fabrication of socket-specific scaffolds with controlled architecture and porosity, offering promising outcomes in ridge preservation.

5.3 Fenestration Defects

Fenestration defects pose a regenerative challenge due to limited bony walls and compromised blood supply. 3D-printed fiber-guiding scaffolds have shown encouraging results in addressing these defects.

Park et al.25 evaluated amorphous and fiber-guiding PCL scaffolds in surgically created buccal fenestration defects in rat mandibles. Micro-CT analysis revealed that fiber-guiding scaffolds demonstrated superior adaptation and increased mineralized tissue formation compared to non-guided designs.

Notably, regeneration of mineralized tooth-supporting structures was observed adjacent to the defect, suggesting that scaffold architecture plays a crucial role in directing periodontal tissue regeneration. These findings support the concept that fiber-guiding 3D-printed scaffolds can enhance spatial control over periodontal regeneration.

5.4 Peri-Osseous and Intra-Bony Defects

3D-printed scaffolds are particularly advantageous in the management of peri-osseous defects due to their ability to be customized to defect geometry, size, and anatomical complexity.

Rasperini et al.26 evaluated a patient-specific PCL scaffold fabricated using selective laser sintering (SLS) for the treatment of large periodontal defects. The scaffold incorporated PDL-guiding pegs and an internal port for recombinant platelet-derived growth factor delivery. Short-term results demonstrated improved clinical attachment levels and partial root coverage up to 12 months. However, long-term follow-up revealed scaffold exposure and impaired wound healing, highlighting the need for improved material stability and degradation kinetics.

Mohd et al. encompassing ten animal studies reported that hydroxyapatite- and tricalcium phosphate (TCP)-based three-dimensional printed scaffolds consistently promoted new bone formation in intraoral osseous defects. Adel-Khattab et al. demonstrated that a three-dimensional printed bioceramic scaffold composed of silica-containing calcium alkali orthophosphate closely replicated the mechanical and physical characteristics of autogenous bone grafts. The scaffold exhibited substantial regenerative potential, as it contained homogeneously distributed terminally differentiated osteoblasts and a mineralising bone matrix, thereby indicating its suitability for subsequent in vivo implantation in the regeneration of segmental discontinuity bone defects.

Additionally, bilayered PLGA-CaP scaffolds have shown promise in treating Grade II furcation defects in dogs by providing mechanical stability and facilitating periodontal tissue regeneration. As it did not collapse into the defect and was able to retain the blood clot throughout the buccal defect29.

5.5 Sinus Augmentation

3D-printed scaffolds have also been investigated as substitutes for conventional bone grafts in sinus augmentation procedures. Their customized design and osteoconductive properties provide distinct advantages.

Mangano et al.30 evaluated a custom-made calcium phosphate (CaP) ceramic scaffold produced via rapid prototyping for monolateral sinus augmentation in a sheep model. Histological analysis at 45 and 90 days revealed complete bone regeneration from the periphery toward the center of the sinus cavity, demonstrating excellent osteoconductivity.

The use of 3D-printed surgical models derived from CBCT data has further enhanced training and accuracy in sinus lift procedures, offering realistic simulation and improved procedural outcomes20.

5.6 Ridge Augmentation

Alveolar ridge augmentation is essential for implant placement in severely resorbed ridges. 3D-printed scaffolds and meshes provide predictable space maintenance and defect-specific adaptation. Park et al.31 investigated 3D-printed PCL scaffolds combined with β-TCP in saddle-type defects in beagle dogs. Scaffolds with a 400/1200 lattice configuration demonstrated greater new bone formation than denser designs, emphasizing the importance of scaffold architecture in regenerative outcomes.

Sumida et al.32 demonstrated that custom-made titanium meshes fabricated using selective laser melting (SLM) offer a secure and predictable method for guided bone regeneration, with reduced intraoperative complications.

Yen and Stathopoulou et al.33 highlighted that 3D printing enables fabrication of corticocancellous allografts and customized titanium shells with optimized micro- and macroporosities, minimizing material wastage and enhancing regenerative precision compared to conventional CAD/CAM techniques.

5.7 Peri-Implant Regeneration

In peri-implant defects, 3D-printed membranes and scaffolds have shown outcomes comparable or superior to conventional collagen membranes.

Won et al.34 compared an extrusion-based 3D-printed PCL/PLGA/β-TCP membrane with a collagen membrane in a beagle implant model. While collagen membranes demonstrated higher tensile strength, the 3D-printed membrane showed increased new bone volume and regeneration rate. Both membranes exhibited comparable cellular proliferation and osteogenic differentiation, suggesting that 3D-printed membranes are a viable alternative for peri-implant regeneration.

5.8 Multiphasic Scaffolds for Complete Periodontal Regeneration

Monophasic scaffolds primarily support bone regeneration but fail to achieve complete periodontal regeneration. Consequently, biphasic and triphasic scaffolds have been developed to regenerate alveolar bone, periodontal ligament, and cementum simultaneously.

Triphasic scaffolds with spatially controlled architecture and growth factor gradients have demonstrated promising results in experimental models, including cementogenesis, ligament fiber alignment, and bone formation35. However, challenges such as interphase cohesion, mechanical stability, and predictability of fiber orientation persist.

Continuous additive manufacturing and simultaneous multiphase crosslinking have been proposed as potential solutions to overcome these limitations.

6. ADVANTAGES AND DISADVANTAGES OF 3D PRINTING

6.1 Advantages

- Time saving

- Accurate details and scan reproduction that produce high-quality work and reliable results

- It is feasible to print intricate geometric forms and interlocking components that don't need to be assembled.

- Reduction of production-related material loss.

- Single items can be produced in small quantities for quick delivery.

6.2 Disadvantages

- Cost and availability of the material

- Requires individual training

- Finishing of final product is time consuming and requires skill

- An inherent weakness is literally built into the design.

- Depending on the material, it may still need additional treatment to reach full strength.

7. DISCUSSION

Periodontal regeneration remains a major clinical challenge due to the highly specialized and compartmentalized architecture of the periodontium, comprising alveolar bone, periodontal ligament (PDL), cementum, and gingiva, all of which must regenerate in a spatially and functionally coordinated manner to restore true periodontal attachment³⁶˒³⁷. Conventional regenerative strategies such as guided tissue regeneration (GTR), bone grafting, and biologic mediators have demonstrated variable and often unpredictable outcomes, particularly in complex defects including furcations, fenestrations, and combined perio-endodontic lesions. These limitations are largely attributed to inadequate space maintenance and limited control over tissue architecture³⁸˒³⁹.

Three-dimensional (3D) printing and bioprinting have emerged as transformative approaches in periodontal tissue engineering by enabling the fabrication of patient-specific scaffolds with precise control over geometry, porosity, mechanical properties, and spatial organization40,41,42,43. These attributes directly address key shortcomings of conventional regenerative therapies by improving defect adaptation, mechanical stability, and compartmentalized tissue guidance, which are critical prerequisites for predictable periodontal regeneration44.

Recent evidence highlights that scaffold architecture plays a decisive role in directing cellular behavior and tissue regeneration. Multiphasic and anisotropic scaffold designs fabricated using extrusion-based printing, melt electrowriting, or hybrid manufacturing techniques have demonstrated enhanced regeneration of alveolar bone, cementum-like tissue, and functionally oriented PDL fibers in preclinical models45,46. Such findings underscore the importance of biomimetic scaffold design in replicating native periodontal tissue interfaces rather than promoting isolated bone formation alone.

The evolution of bioinks has further advanced bioprinting toward biologically functional periodontal constructs. Natural polymer-based bioinks exhibit excellent biocompatibility and cell affinity but lack sufficient mechanical stability, whereas synthetic polymers provide tunable mechanical properties and controlled degradation profiles but limited inherent bioactivity47,48,49. To overcome these limitations, recent studies emphasize the development of composite and hybrid bioinks incorporating bioactive ceramics, ion-releasing materials, or decellularized extracellular matrix (dECM) components, which enhance osteogenesis, angiogenesis, and periodontal ligament differentiation.

Various bioprinting techniques exhibit distinct advantages and limitations. Extrusion-based bioprinting remains the most widely used approach due to its versatility and compatibility with a wide range of biomaterials, although shear stress during printing may adversely affect cell viability50. Inkjet and laser-assisted bioprinting offer higher resolution and improved cell viability but are constrained by viscosity requirements, limited material options, and higher costs51,52. Light-assisted techniques such as stereolithography and digital light processing provide excellent geometric precision; however, their clinical translation is currently limited by restricted biomaterial choices and concerns regarding photoinitiator cytotoxicity53.

Translational evidence supporting the clinical potential of 3D-printed scaffolds in periodontology has increased in recent years. Clinical and preclinical studies have demonstrated improved outcomes in socket preservation, intrabony defects, ridge augmentation, sinus augmentation, and peri-implant regeneration when customized 3D-printed scaffolds or membranes are employed compared with conventional materials54,55.  Nevertheless, complications such as scaffold exposure, delayed degradation, and compromised soft-tissue healing have been reported, emphasizing the need for optimized material selection, surface modification, and synchronized degradation kinetics56, 57.

A major conceptual advancement in periodontal tissue engineering is the development of biphasic and triphasic scaffolds designed to regenerate alveolar bone, periodontal ligament, and cementum simultaneously58,59. Recent studies report encouraging outcomes, including cementogenesis, functional PDL fiber orientation, and integrated bone regeneration60. However, challenges related to interfacial cohesion, vascularization, mechanical stability, and long-term functional integration remain unresolved61.

Overall, current evidence supports a paradigm shift in periodontal regenerative therapy from passive defect filling toward biologically instructive, patient-specific tissue engineering enabled by 3D printing and bioprinting technologies. Continued interdisciplinary research, material innovation, and well-designed long-term clinical studies are essential to establish these technologies as predictable and clinically reliable tools in regenerative periodontology62,63.

8. CONCLUSION

Three-dimensional (3D) printing and bioprinting have emerged as promising technologies for periodontal regeneration by enabling patient-specific, geometrically precise scaffolds and tissue-guiding constructs. These additive manufacturing approaches overcome several limitations of conventional regenerative therapies by allowing controlled modulation of scaffold architecture, biomaterial composition, and biological signaling. Advances in bioinks, printing techniques, and multiphasic scaffold design have demonstrated encouraging outcomes in periodontal defect regeneration, socket preservation, ridge augmentation, and peri-implant therapy.

Although challenges related to vascularization, degradation kinetics, and long-term clinical predictability remain, continued technological refinement and clinical validation position 3D bioprinting as a key strategy for achieving biologically driven and functionally integrated periodontal regeneration.

Disclaimer (Artificial intelligence)

Author(s) hereby declare that NO generative AI technologies such as Large Language Models (ChatGPT, COPILOT, etc.) and text-to-image generators have been used during the writing or editing of this manuscript.

8. REFERENCES

- Song J., Zhao H., Pan C., Li C., Liu J., Pan Y. Risk factors of chronic periodontitis on healing response: A multilevel modelling analysis. BMC Med. Inform. Decis. Mak. 2017.

- Cirelli J.A., Fiorini T., Moreira C.H.C., de Molon R.S., Dutra T.P., Sallum E.A. Periodontal regeneration: Is it still a goal in clinical periodontology? Braz. Oral Res. 2021.

- Cho Y.D., Kim K.H., Lee Y.M., Ku Y., Seol Y.J. Periodontal Wound Healing and Tissue Regeneration: A Narrative Review. Pharmaceuticals. 2021.

- Murphy S.V., Atala A. 3D bioprinting of tissues and organs. Nat. Biotechnol. 2014.

- Yamada S., Shanbhag S., Mustafa K. Scaffolds in periodontal regenerative treatment. Dent. Clin. N. Am. 2022.

- Bethany, C.G.; Jayda, L.E.; Sarah, Y.L.; Chengpeng, C.; Dana, M.S. Evaluation of 3D Printing and Its Potential Impact on Biotechnology and the Chemical Sciences. Anal. Chem. 2014.

- Gul, M., Arif, A., & Ghafoor, R. Role of three-dimensional printing in periodontal regeneration and repair:  literature review.  Journal of Indian Society of Periodontology, 2019.

- Irina-Georgeta Sufaru et al., 3D Printed and Bioprinted Membranes and Scaffolds for the Periodontal Tissue Regeneration: A Narrative Review, Membranes (Basel), 2022 Sep.

- Fengxiao Zhao et al., The 3-dimensional printing for dental tissue regeneration: the state of the art and future challenges. Frontiers in Bioengineering and Biotechnolog, 2024.

- Ma, Y., Xie, L., Yang, B., and Tian, W. Three-dimensional printing biotechnology for the regeneration of the tooth and tooth-supporting tissues. Biotechnol. Bioeng, 2019

- Mandrycky, C., Wang, Z., Kim, K., and Kim, D.-H. 3D bioprinting for engineering complex tissues. Biotechnol. Adv, 2016.

- Amoli, S. M., EzEldeen, M., Jacobs, R., and Bloemen, V. Materials for dentoalveolar bioprinting: Current state of the art. Biomedicines, 2022.

- Guzzi, E. A., and Tibbitt, M. W. Additive manufacturing of precision biomaterials. Adv. Mat, 2019.

- Zennifer, A., Subramanian, A., and Sethuraman, S. Design considerations of bioinks for laser bioprinting technique towards tissue regenerative applications. Bioprinting, 2022.

- Grigoryan, B., Sazer, D. W., Avila, A., Albritton, J. L., Padhye, A., Ta, A. H., et al. (). Development, characterization, and applications of multi-material stereolithography bioprinting. Sci. Rep, 2021.

- Khorsandi, D., Fahimipour, A., Abasian, P., Saber, S. S., Seyedi, S., Ahmad, A., et al. 3D and 4D printing in dentistry and maxillofacial surgery: Printing techniques, materials, and applications. Acta Biomater, 2021.

- Gao, G., Kim, B. S., Jang, J., and Cho, D.-W. Recent strategies in extrusion- based three-dimensional cell printing toward organ biofabrication. ACS Biomater. Sci. Eng, 2019.

- Li, X., Liu, B., Pei, B., Chen, J., Zhou, D., Peng, J., et al., Inkjet bioprinting of biomaterials. Chem. Rev, 2020.

- Quan, H., Zhang, T., Xu, H., Luo, S., Nie, J., and Zhu, X. Photo-curing 3D printing technique and its challenges. Bioact. Mater 5, 2020.

- Liya Anil & K. L. Vandana et al., Three Dimensional Printing of ‘Vanperio’ Model: A Novel Approach in Periodontics, EC Dental Science, 2019.

- Stoyanova D., Peev S., Sapundziev N., Bakhova A. Subantral Bone Loss Specification. International Journal of Science and Research (IJSR), Volume 11 Issue 5, May 2022.

- Goh, B. T., Teh, L. Y., Tan, D. B. P., Zhang, Z., & Teoh, S. H. Novel 3D polycaprolactone scaffold for ridge preservation: A pilot randomized controlled clinical trial. Clinical Oral Implants Research, 2015

- Kijartorn, S., et al. Clinical evaluation of 3D printed nano-porous hydroxyapatite bone graft for alveolar ridge preservation: A randomized controlled trial. Journal of Dental Sciences, 2022.

- Nicola De Angelis et al., 3D-Printable Biopolymers for Socket Preservation Technique: Soft Tissues Response: A Pilot Randomised Clinical Study. Dent J (Basel). 2024 Oct 7.

- Park CH, Rios HF, Taut AD, Padial-Molina M, Flanagan CL, Pilipchuk SP, et al. Image-based, fiber guiding scaffolds: A platform for regenerating tissue interfaces. Tissue Eng Part C Methods. 2014.

- Rasperini, G., Pilipchuk, S. P., Flanagan, C. L., Park, C. H., Pagni, G., Hollister, S. J., et al. 3D-printed Bioresorbable Scaffold for Periodontal Repair. Journal of dental research, 2015.

- Nurulhuda Mohd et al., 3D-Printed Hydroxyapatite and Tricalcium Phosphates-Based Scaffolds for Alveolar Bone Regeneration in Animal Models: A Scoping Review Materials, 2022.

- Doaa Adel-Khattab et al., Development of a synthetic tissue engineered three-dimensional printed bioceramic-based bone graft with homogenously distributed osteoblasts and mineralizing bone matrix in vitro. J Tissue Eng Regen Med. 2018 Jan.

- Emily C Carlo Reis  et al., Periodontal regeneration using a bilayered PLGA/calcium phosphate construct. Biomaterials. 2011 Dec.

- Carlo Mangano et al., In Vivo Behavior of a Custom-Made 3D Synthetic Bone Substitute in Sinus Augmentation Procedures in Sheep. J Oral Implantol. 2015 Jun.

- Park S.A. et al., In vivo evaluation of 3D-printed polycaprolactone (PCL) scaffold implantation combined with β-TCP powder for alveolar bone augmentation in a beagle defect model. Materials, 2018

- Sumida T., Otawa N., Kamata Y.U., Kamakura S., Mtsushita T., Kitagaki H., Mori S., Sasaki K., Fujibayashi S., Takemoto M., et al. Custom-made titanium devices as membranes for bone augmentation in implant treatment: Clinical application and the comparison with conventional titanium mesh. J. Craniomaxillofac Surg. 2015.

- Yen H. & Stathopoulou P. et al., CAD/CAM and 3D printing in alveolar ridge augmentation for implant placement: review and clinical perspectives. Journal of Indian Society of Periodontology, 2018.

- Won J.S. et al., Evaluation of 3D-printed PCL/PLGA/β-TCP membranes vs collagen membranes for guided bone regeneration in a beagle implant model. Journal of Periodontal Implant Science, 2016

- Lee, C. H., Hajibandeh, J., Suzuki, T., Fan, A., Shang, P., and Mao, J. J. Three-dimensional printed multiphase scaffolds for regeneration of periodontium complex. Tissue Eng. Part A 20, 2014.

- Sculean A, Chapple ILC, Giannobile WV. Wound models for periodontal and bone regeneration. Periodontol 2000. 2022.

- Vaquette C, Ivanovski S. Emerging technologies in periodontal regeneration. J Clin Periodontol. 2024.

- Cortellini P, Tonetti MS. Clinical concepts for regenerative therapy in intrabony defects. J Clin Periodontol. 2022.

- Sculean A, Nikolidakis D, Schwarz F. Regeneration of periodontal tissues: Combinations of barrier membranes and graft materials. J Clin Periodontol. 2022.

- Graves DT, Corrêa JD, Silva TA. Inflammation and periodontal regeneration. J Dent Res. 2022.

- Mangano F, Chambrone L, van Noort R, et al. Additive manufacturing in dentistry. Int J Oral Sci. 2022.

- Daghrery A, et al. Advances in 3D-printed scaffolds for periodontal regeneration. Curr Oral Health Rep. 2026.

- Vaquette C, Ivanovski S. Engineered scaffolds for periodontal regeneration. J Dent Res. 2022.

- Park CH, Kim KH, Rios HF, et al. Spatially controlled periodontal regeneration. Biomaterials. 2022.

- Pilipchuk SP, Monje A, Jiao Y, et al. Integration of 3D printing and tissue engineering. Tissue Eng Part B Rev. 2023.

- Ivanovski S, Vaquette C, Gronthos S, et al. Multiphasic scaffolds for periodontal tissue engineering. Periodontol 2000. 2023.

- Hospodiuk M, et al. The bioink: A comprehensive review. Biotechnol Adv. 2022.

- Sheikh Z, et al. Biomaterials for periodontal regeneration. Dent Mater. 2022.

- Zhang Y, Miron RJ, Li S, et al. Ion-releasing biomaterials for periodontal regeneration. Adv Sci. 2023.

- Guillotin B, Guillemot F. Laser-assisted bioprinting. Trends Biotechnol. 2023.

- Zhang AP, et al. Stereolithography-based bioprinting. Adv Mater. 2022.

- Won JY, et al. Advanced 3D-printed membranes for peri-implant regeneration. J Periodontal Implant Sci. 2023.

- Mangano C, et al. Custom-made calcium phosphate scaffolds. Clin Oral Implants Res. 2022.

- Parihar A, et al. 3D-printed scaffolds in guided tissue regeneration. J Pharm Bioall Sci. 2025.

- Rasperini G, et al. Complications of 3D-printed scaffolds. J Periodontol. 2022.

- Lee CH, et al. Engineering gradient multiphasic scaffolds. Biomaterials. 2023.

- Kim JH, Park CH. Stem cell-based bioprinting for periodontal regeneration. Biofabrication. 2024.

- Miron RJ, Bosshardt DD. Immune modulation in periodontal regeneration. J Dent Res. 2022.

- Zhang Y, Lin K, Shao Y. Immuno-instructive biomaterials. Bioact Mater. 2023.

- Ma L, Feng X, Zhang Z. AI-assisted scaffold design. Bioengineering. 2023.

- Vaquette C, Ivanovski S. Translational challenges in periodontal tissue engineering. J Clin Periodontol. 2024.

- Chen H, Wang Y, Lai Y, et al. Advances of 3D bioprinting technology for periodontal regeneration. iScience. 2025.

- Miron RJ, Zhang YF. Osteoinduction revisited. J Dent Res. 2023.