Review article

Ligaplants: A Biological Revolution in Dental Implantology – A Comprehensive Review

Abstract
Conventional endosseous dental implants rely on osseointegration to achieve anchorage. Although clinically successful, they inherently lack a functional periodontal ligament (PDL), which in natural dentition provides shock absorption, proprioception, adaptive mobility and a dynamic soft‐tissue and bone interface. The concept of a “ligaplant,” defined as a tissue‐engineered implant incorporating PDL stem or progenitor cells (or PDL‐like scaffolds) around a biomaterial fixture, offers a promising biomimetic alternative. This review presents the biological rationale for PDL integration, surveys current methodologies for ligaplant fabrication, summarises pre-clinical and emerging clinical evidence, discusses advantages and barriers, and outlines future translational pathways. While animal and in-vitro studies demonstrate formation of PDL‐like fibres, cementum‐like tissue and mechanical behaviour closer to natural teeth, the technique remains largely experimental with limited human data. Rigorous translational research, standardisation of cell‐scaffold constructs, and long-term clinical trials are required to validate ligaplants as a clinically viable alternative to conventional implants.

Keywords: ligaplant, periodontal ligament, tissue engineering, dental implants, biomimetic implant, PDL stem cells

## Introduction

Dental implants have revolutionized contemporary prosthodontic rehabilitation and are widely regarded as the gold standard for replacement of missing teeth. Their long-term clinical success is primarily attributed to the biological phenomenon of osseointegration, defined as a direct structural and functional connection between living bone and the surface of a load-bearing implant without intervening soft tissue.¹,² This intimate bone-implant contact provides primary and secondary stability, enabling predictable functional loading and high survival rates over extended periods.1

Despite these achievements, osseointegrated implants fundamentally differ from natural teeth in their biological anchorage. Natural teeth are suspended within the alveolus by the periodontal ligament (PDL)—a specialized, highly vascularized and innervated fibrous connective tissue that connects cementum to alveolar bone.³ The PDL is not merely a suspensory apparatus; it is a dynamic mechanosensory organ that plays a critical role in proprioception, shock absorption, axial and lateral micromovement, adaptive bone remodelling, and regulation of occlusal forces. Through its viscoelastic properties and mechanotransductive capacity, the PDL distributes functional loads evenly to surrounding bone, thereby preserving structural integrity and maintaining periodontal homeostasis3.

In contrast, dental implants are ankylosed directly to bone and lack this intervening ligamentous interface. The absence of a functional PDL alters biomechanical behavior under occlusal loading. Stress is transmitted directly to the crestal cortical bone, often resulting in concentrated stress zones at the implant neck.⁴ Unlike natural teeth, implants exhibit negligible physiologic mobility (typically <10 μm compared to 50–200 μm in teeth), eliminating the protective cushioning mechanism inherent to the PDL. Finite element analyses and biomechanical studies have demonstrated that this difference in micromovement and stress distribution may compromise biomechanical harmony within the arch and contribute to marginal bone remodelling or peri-implant bone loss over time.⁵ Furthermore, the absence of periodontal mechanoreceptors diminishes tactile sensitivity and proprioceptive feedback, potentially affecting occlusal force modulation5.

These biological and functional limitations have stimulated growing interest in the development of biofunctional and biomimetic implant systems aimed at recreating a periodontal-like interface around dental implants. The concept extends beyond simple osseointegration toward a regenerative approach that seeks to restore a living, adaptive attachment apparatus capable of physiologic load transfer and neurosensory function. Tissue engineering principles—integrating stem cells, scaffolds, and signaling molecules—have opened new avenues for achieving this objective4,5.

Among these innovations, the Ligaplant has emerged as a pioneering concept in regenerative implant dentistry.⁶ A Ligaplant is essentially a tissue-engineered dental implant designed to establish a functional periodontal ligament interface between the implant surface and surrounding alveolar bone. This strategy involves the incorporation of periodontal ligament stem cells (PDLSCs), cementoblast-inducing bioactive surfaces, or biodegradable scaffolds capable of guiding oriented collagen fiber formation. The ultimate goal is to create cementum-like tissue on the implant surface with inserting Sharpey’s-type fibers that anchor into newly formed alveolar bone—thereby mimicking the structural organization of a natural tooth attachment apparatus6.

Recent advances in regenerative biology, stem-cell isolation techniques, growth factor delivery systems, and nanostructured scaffold fabrication have significantly enhanced the feasibility of this concept.⁷,⁸ Surface modification technologies such as bioactive coatings, extracellular matrix protein immobilization, and nano-topographical patterning facilitate selective cell adhesion and differentiation. Concurrently, three-dimensional scaffold engineering enables spatial orientation of collagen fibers to replicate the oblique and horizontal fiber bundles characteristic of natural PDL architecture. Experimental models have demonstrated the possibility of forming cementum-like mineralized layers and ligamentous fiber insertions around titanium implants, suggesting that functional ligament regeneration is biologically attainable.

The Ligaplant concept therefore represents a paradigm shift from static osseointegration toward functional periodontal integration—a regenerative interface that may restore physiologic mobility, proprioception, shock absorption, and adaptive bone remodeling. If successfully translated into routine clinical practice, this innovation could redefine implant biomechanics, enhance long-term peri-implant tissue stability, and narrow the biological disparity between natural teeth and implant-supported prostheses.

Figure1: Ligaplants9

Biological Rationale for PDL-Integrated Implants

The periodontal ligament (PDL) is a highly specialized, vascularized, and innervated connective tissue structure measuring approximately 0.15–0.38 mm in thickness, interposed between root cementum and alveolar bone.³ It is composed of densely packed collagen fiber bundles—predominantly type I collagen—arranged in principal fiber groups (alveolar crest, horizontal, oblique, apical, and interradicular fibers) that insert into both cementum and bone as Sharpey’s fibers.³,⁹ Embedded within this organized extracellular matrix are fibroblasts (the most abundant cellular component), cementoblasts, osteoblasts, endothelial cells, neural elements, and a reservoir of mesenchymal stem cells capable of multilineage differentiation.³,⁹

This intricate cellular and extracellular organization enables the PDL to function not merely as a suspensory apparatus but as a dynamic mechanobiological organ. Its viscoelastic properties allow controlled physiologic tooth mobility under occlusal loading, dissipating forces and preventing stress concentration within the alveolar crest.³,⁹,¹⁰ Mechanotransduction within PDL fibroblasts and stem cells regulates adaptive bone remodeling, ensuring structural equilibrium in response to functional demands. Additionally, the rich neural network within the ligament provides fine proprioceptive feedback, enabling modulation of bite force, protection against overload, and coordinated mastication.³,⁹,¹⁰

In contrast, osseointegrated implants are characterized by direct ankylotic contact between bone and implant surface, lacking any intervening ligamentous structure. This rigid fixation eliminates physiologic micromobility and alters the biomechanical environment of the peri-implant bone. Concentrated stresses develop at the crestal cortical region during axial and lateral loading, potentially predisposing the area to marginal bone remodeling and peri-implant bone loss over time.⁴ The absence of periodontal mechanoreceptors also results in diminished tactile sensitivity and compromised neuromuscular regulation of occlusal forces.4

Histologic investigations and biomechanical simulations have therefore proposed that re-establishing a fibrous, PDL-like attachment around implants could restore a degree of physiologic mobility, redistribute functional stresses more evenly, and enhance long-term peri-implant tissue stability.¹¹ Experimental models have demonstrated that formation of collagen fiber bundles oriented perpendicular or oblique to the implant surface can partially replicate the load-dampening effect observed in natural dentition.

Guided by these observations, contemporary tissue-engineering strategies aim to recreate the triphasic architecture of the natural periodontium—cementum, Sharpey’s fiber-inserted ligament, and alveolar bone—through the synergistic application of stem cells, biomimetic scaffolds, and molecular signaling cues.¹² The biological triad of regenerative engineering involves:

- Stem cells (particularly periodontal ligament stem cells, PDLSCs) capable of differentiating into cementoblastic and fibroblastic lineages;

- Scaffold matrices engineered to guide oriented collagen fiber deposition and vascular ingrowth;

- Growth factors and bioactive surface modifications that promote selective cell adhesion and lineage commitment.12

Periodontal ligament stem cells cultured on bioactive titanium or hydroxyapatite-modified implant surfaces have demonstrated cementoblastic differentiation and the formation of mineralized cementum-like layers.¹³ More importantly, collagen fiber bundles resembling Sharpey’s fibers have been observed inserting into both the mineralized surface and adjacent bone, accompanied by evidence of vascular and neural ingrowth. Such findings suggest that functional ligament regeneration is biologically attainable rather than purely theoretical.13

These advances collectively underpin the biological rationale of Ligaplants—a regenerative implant concept designed to achieve not only osseointegration but true functional biointegration.⁴ Unlike conventional implants that rely solely on bone anchorage, Ligaplants aspire to create a living, adaptive interface capable of proprioception, controlled micromovement, and mechanoregulated bone remodeling. By restoring elements of the natural periodontal attachment apparatus, this approach represents a paradigm shift in implant dentistry—from static ankylosis toward dynamic, biomimetic integration.

## Evolution of the Ligaplant Concept and Fabrication Strategies

The conceptual evolution of the Ligaplant represents a paradigm shift in implant dentistry—from rigid osseointegration toward biologically mediated ligamentous integration. Early experimental efforts in the 1990s sought to determine whether a periodontal ligament (PDL)-like interface could be induced around titanium implants. Rather than relying solely on bone–implant contact, researchers hypothesized that the regenerative capacity of periodontal tissues could be harnessed to recreate a functional attachment apparatus.

Pioneering investigations by Daniel Buser and colleagues in canine models demonstrated that plasma-sprayed titanium implants placed in proximity to teeth with intact periodontal ligaments could acquire cementum-like deposits and collagen fiber insertions on their surfaces.¹⁴ Histologic analysis revealed oriented fiber bundles inserting into mineralized layers reminiscent of Sharpey’s fibers, thereby providing the first experimental evidence that artificial implant surfaces could support periodontal attachment under favorable biological conditions. This finding fundamentally challenged the prevailing belief that osseointegration must necessarily exclude soft connective tissue interfaces.

Subsequent studies by Choi, Rinaldi, and others expanded upon these observations by deliberately seeding implants with periodontal ligament–derived cells prior to placement.¹⁵,¹⁶ In both in-vitro and in-vivo models, these cell-seeded implants developed organized collagen fiber bundles extending between the implant surface and adjacent alveolar bone. Importantly, the fibers demonstrated directional orientation and mineralized insertion patterns consistent with Sharpey’s-like attachments. These investigations provided proof-of-concept that periodontal cell populations possess the intrinsic capacity to regenerate ligamentous architecture on biomaterial substrates, thereby laying the biological foundation for the Ligaplant concept.

Modern Ligaplant fabrication strategies are grounded in the classical tissue-engineering triad: cells, scaffolds, and signaling molecules. Periodontal ligament stem cells (PDLSCs), dental follicle progenitor cells, or multipotent mesenchymal stem cells are harvested and expanded under controlled laboratory conditions.¹⁷ Temperature-responsive culture systems have enabled the formation of intact cell sheets rich in extracellular matrix proteins, which can be transferred onto implant surfaces without enzymatic disruption of adhesion molecules. This cell-sheet engineering technique preserves cell–cell junctions and enhances survival and integration following transplantation.17

These biologically active constructs are then applied to titanium or hydroxyapatite-coated scaffolds that function as three-dimensional templates for cellular alignment and matrix deposition.¹⁷ In experimental models, such constructs have generated fibrous connective tissue zones interposed between implant surfaces and alveolar bone, along with cementum-like mineralized layers exhibiting perpendicular collagen fiber insertions. Concurrently, adjacent bone defects have demonstrated new bone formation, suggesting coordinated regeneration of the entire periodontal complex.

The addition of bioactive signaling molecules further enhances regenerative outcomes. Growth factors such as platelet-derived growth factor (PDGF), bone morphogenetic proteins (BMPs), and vascular endothelial growth factor (VEGF) promote cellular proliferation, angiogenesis, cementoblastic differentiation, and collagen maturation.¹⁸ Controlled delivery of these factors accelerates integration and improves structural organization of regenerated ligament tissue, contributing to functional stability.

Recent technological advancements have further refined Ligaplant fabrication through nanotechnology and surface biofunctionalization.¹⁹ Nanostructured titanium surfaces enhance protein adsorption, integrin-mediated cell adhesion, and stem-cell anchorage, thereby improving initial cellular colonization. Sustained-release coatings embedded within implant surfaces provide localized, time-controlled delivery of osteogenic and ligamentogenic molecules, creating a microenvironment conducive to simultaneous bone and ligament regeneration.19

Mechanical conditioning has also emerged as a critical determinant of fiber orientation and maturation. Controlled micro-motion and cyclic loading during in-vitro culture guide collagen alignment along physiologic stress vectors, mimicking the natural mechanotransductive environment of the PDL. Moreover, gene-activated scaffolds incorporating transcription factors such as RUNX2 and SP7 (osterix) have demonstrated enhanced cementoblastic differentiation, organized collagen deposition, and improved mineralized interface formation.²⁰ These gene-based strategies represent a sophisticated integration of molecular biology with biomaterial science, pushing the Ligaplant concept toward translational feasibility.

Collectively, the evolution of the Ligaplant reflects progressive integration of periodontal biology, regenerative medicine, nanotechnology, and molecular engineering. What began as observational evidence of accidental fiber attachment on titanium surfaces has matured into a structured, multi-component strategy aimed at achieving true functional biointegration—a dynamic, vascularized, and mechanically responsive interface that transcends static osseointegration.²⁰

As fabrication methodologies continue to advance, Ligaplants increasingly represent not merely a theoretical innovation but a biologically plausible and technologically achievable alternative to conventional implant anchorage.

Tissue Engineering Steps in Liga plant Fabrication

The commonly described laboratory/tissue-engineering protocol involves three sequential phases: preparation of culture surfaces, cell isolation and cultivation, and assembly of the engineered PDL around the implant (bioreactor phase)17.

- Preparation of Cell Culture Surfaces

- Culture dishes are modified with a temperature-responsive polymer (poly N-isopropylacrylamide) to allow harvest of intact cell sheets without enzymatic treatment.

- These dishes are prepared by grafting the polymer onto polystyrene and sterilizing appropriately17.

B) PDL Cell Isolation & Initial Culture

- Source of cells: Human periodontal ligament tissue is obtained by scraping the middle third of an extracted tooth root or another source.

- Culture conditions:

  - Medium: Dulbecco’s Modified Eagle’s Medium (DMEM) with 10 % fetal bovine serum and antibiotics.

  - Incubation: 37 °C, 5 % CO₂ for ~48 h to allow attachment to culture dish.

  - Medium changes: ~3 times per week to remove debris and support outgrowth.

- Cell sheet creation: Once cells reach sufficient density, they are seeded at ~1 × 10⁵ cells per dish (using 35 mm temperature-responsive dishes) and cultured in osteodifferentiation medium (including ascorbic acid, dexamethasone, β-glycerophosphate) to form cohesive PDL cell sheets17,21.

C) Bioreactor Phase (Cell Placement Around Implant)

Implant–Bioreactor Assembly

- A hydroxyapatite-coated titanium implant surrogate is placed centrally within a hollow plastic cylinder.

- A gap of ~3 mm is maintained between the implant surface and the cylinder wall.

- Cells are thus placed within this 3 mm annular space and oriented to attach to the implant surface — resembling the natural PDL space between tooth root and alveolar bone.

- Cells populate the space between the implant and cylinder, forming a PDL-like tissue layer around the implant over ~18 days17,21,22.

Advantages and Biological Benefits of Ligaplants

Ligaplants are designed to biologically replicate the natural tooth–periodontium complex, thereby offering significant structural and functional advantages over conventional osseointegrated implants. Unlike rigid bone-anchored systems, Ligaplants incorporate a regenerated periodontal ligament (PDL) interface capable of providing physiological micromobility, closely approximating the mobility observed in natural dentition.⁴–⁷ This controlled movement allows dissipation of occlusal forces through viscoelastic fiber deformation, thereby reducing stress concentration at the crestal cortical bone—a region particularly vulnerable to overload and marginal bone loss in conventional implant systems.7

The shock-absorbing capacity of the regenerated ligament improves biomechanical harmony within the dental arch by distributing axial and lateral loads more evenly to the surrounding alveolar bone.⁴–⁷ By mitigating stress peaks, Ligaplants may reduce microdamage accumulation and subsequent bone remodeling imbalance, contributing to enhanced peri-implant tissue preservation over time. This dynamic load modulation more closely mirrors the adaptive response of natural teeth, wherein mechanotransduction within the PDL regulates osteoblastic and osteoclastic activity in accordance with functional demand.4,5

Beyond mechanical advantages, Ligaplants provide substantial neurobiological benefits. The regenerated ligamentous interface supports re-establishment of vascular and neural components, thereby restoring elements of proprioception that are absent in conventional implants.⁶ Functional sensory feedback enables fine modulation of bite force and improved neuromuscular coordination during mastication. This proprioceptive capacity may reduce the risk of overload-related complications, particularly in patients with parafunctional habits or high occlusal forces.

Furthermore, the presence of a living connective tissue interface promotes angiogenesis, cellular turnover, and continuous tissue remodeling.⁶ The cementum-like layer formed on the implant surface serves as an anchorage substrate for Sharpey’s fiber insertions, establishing a biologically active interface composed of mineralized tissue, oriented collagen fibers, and vascular connective tissue.⁷ This triphasic architecture enhances dynamic biomechanical stability by allowing adaptive remodeling in response to functional stimuli rather than relying solely on static bone-implant contact.7

Clinically, Ligaplants may offer distinct advantages in complex or growth-sensitive scenarios. In patients with alveolar bone defects or compromised bone quality, the regenerative ligamentous interface may facilitate improved load distribution and stimulate localized bone maturation. Additionally, in younger patients with continuing craniofacial growth, the presence of a ligament-like attachment could theoretically accommodate minor adaptive changes, reducing the infraocclusion often observed with ankylosed implants.6,7

Another promising application lies in orthodontic contexts. Unlike conventional implants, which are absolutely immobile and unsuitable for orthodontic repositioning, Ligaplants—with their functional ligamentous interface—may permit controlled orthodontic movement through biologically mediated bone remodeling.²³,²⁴ This capability could expand implant therapy into interdisciplinary treatment planning, integrating prosthodontics, periodontics, and orthodontics within a regenerative framework.

From a prosthetic perspective, the biomimetic anchorage of Ligaplants may also function as a physiologic stress distributor between implant components and superstructures, potentially reducing mechanical complications such as screw loosening, component fracture, or prosthetic overload. By harmonizing biological integration with mechanical performance, Ligaplants redefine implant success not merely as survival of osseointegration, but as the restoration of a living, adaptive attachment system.²³,²⁴

Although Ligaplants involve advanced tissue-engineering procedures such as stem-cell culture and scaffold fabrication, their long-term economic benefits may offset initial costs. Conventional implant therapy often requires additional procedures including bone grafting, sinus augmentation, and management of peri-implant complications, which increase overall treatment expenditure.²⁵

By restoring a functional periodontal ligament interface, Ligaplants may improve load distribution and reduce peri-implant complications, thereby lowering long-term maintenance costs. Regenerative periodontal approaches have demonstrated outcomes comparable to implant therapy in certain clinical situations, supporting the economic value of biologically based treatment strategies.²⁵,²⁶ Furthermore, the ability of ligament-integrated implants to stimulate local bone remodeling may reduce the need for extensive augmentation procedures.²⁷

Although current fabrication methods remain complex and costly, advancements in regenerative technologies and biomaterial manufacturing may improve scalability and reduce costs in the future.²⁷

Collectively, these advantages position Ligaplants as a transformative advancement in implant dentistry—shifting the paradigm from rigid ankylotic fixation toward dynamic, functional biointegration that closely emulates natural tooth physiology.24

### Immunological Considerations of Ligaplants

The immunological response to implanted biomaterials is critical for long-term success. Periodontal ligament stem cells used in Ligaplant fabrication possess immunomodulatory properties that regulate inflammatory responses and promote tissue regeneration.²⁸ These cells can modulate macrophage activity and reduce pro-inflammatory cytokine expression, creating a microenvironment favorable for healing.

In addition, biomaterials such as nanostructured titanium and hydroxyapatite scaffolds demonstrate excellent biocompatibility and support cellular attachment with minimal immunogenicity.²⁹ The vascularized ligament interface further facilitates immune surveillance and tissue turnover, potentially reducing the risk of inflammatory complications such as peri-implantitis.

However, the immunological behavior of Ligaplants remains an evolving area of research, and further clinical studies are required to validate long-term safety and host responses.³⁰

Evidence Base: Preclinical and Emerging Human Data
Extensive preclinical research has demonstrated the biological feasibility of Ligaplants. In-vitro and animal studies consistently show periodontal ligament cell adhesion to titanium and hydroxyapatite surfaces, deposition of cementum-like matrix, and the formation of oriented Sharpey’s-type fibres, establishing a functional, biologically active interface superior to conventional osseointegration. Systematic reviews of PDL stem-cell–based therapies further confirm the predictable regeneration of PDL, cementum, and alveolar bone under controlled conditions.23,26

Emerging human investigations, though limited in number, provide promising clinical indications. Early pilot studies and case reports describe successful cell-mediated integration of PDL-like tissue around implant surfaces, accompanied by angiogenesis, collagen fibre organisation, and cementum-like layer formation. These findings support the translational potential of Ligaplants as a next-generation implant system designed to achieve functional biointegration through restoration of a living ligamentous attachment.4,6,26

Limitations, Technical Challenges and Barriers to Clinical Translation
Despite encouraging preclinical outcomes, several factors continue to impede the clinical translation of Ligaplants.6 The harvesting, expansion, and application of periodontal ligament (PDL) stem cells onto implant surfaces require advanced bioreactor systems, stringent aseptic conditions, and precise regulation of culture parameters, rendering the procedure both technically complex and resource intensive. Variability in stem-cell behaviour, scaffold integration, and host response introduces further unpredictability, as differentiation may diverge from the PDL lineage under suboptimal conditions.26-28

Regulatory and ethical considerations also pose substantial barriers. As with other stem-cell–based interventions, potential issues of immunogenicity, contamination, and long-term biosafety necessitate strict compliance and multi-tiered approval pathways. Furthermore, the absence of standardised fabrication protocols, success criteria, and longitudinal human data limits reproducibility and broad clinical adoption.27

Given their living tissue interface, Ligaplants may also present unique maintenance challenges. The biologically active attachment could be more susceptible to infection, inflammatory breakdown, or mechanical overload than conventional osseointegrated implants. Establishing robust follow-up protocols and evidence-based maintenance guidelines will therefore be essential prerequisites for routine clinical implementation.4,24,26

Future Directions and Translational Outlook
Future progress in Ligaplant research depends on optimising scaffold design and surface biofunctionalization to enhance PDL cell adhesion, fibre alignment, and cementum-like matrix formation. Mechanobiological conditioning through controlled micro-motion may further reproduce physiological loading responses. Achieving vascular and neural integration within the engineered interface remains crucial to restoring true biofunctionality.6,27

Standardised protocols, validated cell banking systems, and streamlined regulatory frameworks are needed to ensure safety and reproducibility. Comparative clinical trials assessing long-term survival, bone stability, proprioception, and patient outcomes are essential, along with cost–benefit and maintenance evaluations.

Emerging tools such as 3D bioprinting, organ-on-chip models, and CRISPR-based gene editing offer exciting prospects for creating customised, fully functional ligament-integrated implants, potentially transforming clinical implantology in the coming decade.30

Conclusion
The ligaplant concept represents an exciting convergence of regenerative medicine, biomaterials science and implantology. By aiming to recreate the natural tooth–periodontium interface, ligaplants may overcome inherent limitations of conventional osseointegration and deliver improved biomechanical function, proprioception and adaptive tissue responses. Although preclinical results are promising, clinical translation remains limited by technical, regulatory, and economic challenges. Continued interdisciplinary research and well-designed human trials are essential to validate their long-term safety, functionality, and cost-effectiveness. With sustained innovation, Ligaplants may soon redefine the biological standard for implant rehabilitation.

Disclaimer (Artificial intelligence)

Author(s) hereby declare that NO generative AI technologies such as Large Language Models (ChatGPT, COPILOT, etc.) and text-to-image generators have been used during the writing or editing of this manuscript.

REFERENCES:

- Albrektsson T, Zarb G, Worthington P, Eriksson AR. The long-term efficacy of currently used dental implants: a review and proposed criteria of success. Int j oral maxillofac implants. 1986 Jan 1;1(1):11-25.

- Jayesh RS, Dhinakarsamy V. Osseointegration. J Pharm Bioallied Sci. 2015 Apr;7(Suppl 1):S226-9.

- Wen X, Pei F, Jin Y, Zhao Z. Exploring the mechanical and biological interplay in the periodontal ligament. International Journal of Oral Science. 2025 Apr 2;17(1):23.

- Saleem M, Kaushik M, Ghai A, Tomar N, Singh S. Ligaplants: A Revolutionary Concept in Implant Dentistry. Ann Maxillofac Surg. 2020 Jan-Jun;10(1):195-197.

- Pei X, Wang L, Chen C, Yuan X, Wan Q, Helms JA. Contribution of the PDL to Osteotomy Repair and Implant Osseointegration. J Dent Res. 2017 Jul;96(8):909-916.

- Garg H, Deepa D. Bioengineered periodontal ligament: Ligaplants, a new dimension in the field of implant dentistry–Mini review. Journal of Oral Research and Review. 2018 Jul 1;10(2):92-5.

- Rizwanulla CMR, Padmaja S, Dayalan M. Ligaplant - An Era of Third Dentition. J Prosthet Implant Dent. 2019;2(2):69-73.

- Iwasaki K, Washio K, Meinzer W, Tsumanuma Y, Yano K, Ishikawa I. Application of cell-sheet engineering for new formation of cementum around dental implants. Heliyon. 2019 Jun 1;5(6).

- Jiang N, Guo W, Chen M, Zheng Y, Zhou J, Kim SG, Embree MC, Songhee Song K, Marao HF, Mao JJ. Periodontal Ligament and Alveolar Bone in Health and Adaptation: Tooth Movement. Front Oral Biol. 2016;18:1-8.

- Mortazavi H, Baharvand M. Review of common conditions associated with periodontal ligament widening. Imaging Sci Dent. 2016 Dec;46(4):229-237.

- Mishra SK, Chowdhary R, Chrcanovic BR, Brånemark PI. Osseoperception in dental implants: a systematic review. Journal of Prosthodontics. 2016 Apr;25(3):185-95.

- Liu J, Ruan J, Weir MD, Ren K, Schneider A, Wang P, Oates TW, Chang X, Xu HHK. Periodontal Bone-Ligament-Cementum Regeneration via Scaffolds and Stem Cells. Cells. 2019 Jun 4;8(6):537.

- Winning L, Robinson L, Boyd AR, El Karim IA, Lundy FT, Meenan BJ. Osteoblastic differentiation of periodontal ligament stem cells on non-stoichiometric calcium phosphate and titanium surfaces. J Biomed Mater Res A. 2017 Jun;105(6):1692-1702.

- Buser D, Warrer K, Karring T. Formation of a periodontal ligament around titanium implants. J Periodontol. 1990 Sep;61(9):597-601.

- Choi BH. Periodontal ligament formation around titanium implants using cultured periodontal ligament cells: a pilot study. Int J Oral Maxillofac Implants. 2000 Mar-Apr;15(2):193-6.

- Lin Y, Gallucci GO, Buser D, Bosshardt D, Belser UC, Yelick PC. Bioengineered periodontal tissue formed on titanium dental implants. J Dent Res. 2011 Feb;90(2):251-6.

- Sanketh AK, Kalavathy N, Shetty MM, Kumar PR, Mundhra H. Ligaplants: the next generation implants. RGUHS Journal of Dental Sciences. 2022;14(1).

- Safi IN, Hussein BMA, Al-Shammari AM. Bio-hybrid dental implants prepared using stem cells with β-TCP-coated titanium and zirconia. J Periodontal Implant Sci. 2022 Jun;52(3):242-257.

- Wu B, Tang Y, Wang K, Zhou X, Xiang L. Nanostructured Titanium Implant Surface Facilitating Osseointegration from Protein Adsorption to Osteogenesis: The Example of TiO2 NTAs. Int J Nanomedicine. 2022 Apr 29;17:1865-1879.

- Barone A, Toti P, Bertossi D, Marconcini S, De Santis D, Nocini PF, Iurlaro A, Alfonsi F, Covani U. Gene Expression of Human Mesenchymal Stem Cells Cultured on Titanium Dental Implant Surfaces. J Craniofac Surg. 2016 May;27(3):712-7.

- Aeran H, Tuli AS. Anamika: Ligaplants: recreation of a natural link in implant dentistry: a review. Int J Oral Health Dent. 2021;15:3-7.

- Bathla N, Sailo JL, Kapoor N, Nagpal A, Gupta R, Singla A. Ligaplants, the next-generation prosthodontic implants: A comprehensive review. Indian Journal of Dental Sciences. 2021 Apr 1;13(2):146-9.

- Shetty P. A New Innovation Of Implant: Ligaplant. International Journal. 2023 Nov;6(6):593.

- Pethe P, Barabde AS, Dammani B, Ambadkar S, Shirbhate A, Bele R, Nemade S. Ligaplants-Tissue engineered ligaments in Prosthodontic and implant dentistry: A revolutionary concept. PROSTHETIC REHABILITATION.:10.

- Afrashtehfar KI, Assery NM, Alblooshi KAK, Schmidlin PR. The cost-effectiveness of tooth preservation versus implant placement in severe periodontal disease patients: A systematic review. Quintessence Int. 2024;55(1):24-36.

- Amrou YT, Alrmali A, et al. Cost-effectiveness and long-term outcomes of periodontal regeneration versus dental implants: A retrospective study. J Periodontal Res. 2025.

- Sharma A, Chatterjee R. Pioneering ligaplants: The future of biofunctional tooth implants—A systematic review. Nano Biomed Eng. 2025.

- Huang TH, Lin YC, et al. Unlocking the future of periodontal regeneration: Advances in stem-cell-based tissue engineering. Int J Mol Sci. 2024;25:6432.

- Fanid M, et al. Effectiveness and safety of stem cell-based tissue engineering therapies for periodontal regeneration: A systematic review. J Clin Med. 2025.

- Chatterjee R, Sharma A. Ligaplants: A paradigm shift in implant dentistry. J Clin Health Res. 2025.

- Washio K, Tsutsumi Y, Tsumanuma Y, Yano K, Srithanyarat SS, Takagi R, Ichinose S, Meinzer W, Yamato M, Okano T, Hanawa T. In vivo periodontium formation around titanium implants using periodontal ligament cell sheet. Tissue Engineering Part A. 2018 Aug 1;24(15-16):1273-82.

- Melath A, Raveendran AM, Stephenraj S, Prakash N, Sayoojya V, Nazir S. Ligaplants-A future endeavour. International Journal of Preventive and Clinical Dental Research. 2024 Jan 1;11(1):5-9.

- Bousnaki M, Beketova A, Kontonasaki E. A Review of In Vivo and Clinical Studies Applying Scaffolds and Cell Sheet Technology for Periodontal Ligament Regeneration. Biomolecules. 2022 Mar 11;12(3):435.

- Zhao Z, Liu J, Weir MD, Schneider A, Ma T, Oates TW, Xu HH, Zhang K, Bai Y. Periodontal ligament stem cell-based bioactive constructs for bone tissue engineering. Frontiers in Bioengineering and Biotechnology. 2022 Dec 2;10:1071472.

- Lysaght T, Kerridge IH, Sipp D, Porter G, Capps BJ. Ethical and regulatory challenges with autologous adult stem cells: a comparative review of international regulations. Journal of Bioethical Inquiry. 2017 Jun;14(2):261-73.

- Acharya JR, Kumar S, Girdhar GA, Patel S, Parekh NH, Patadiya HH, Zinjala AN, Haque M. 3D Bioprinting: Shaping the Future of Periodontal Tissue Regeneration and Disease Management. Cureus. 2025 Apr 17;17(4):e82432.