| Journal Name: | Journal of Engineering Research and Reports |
| --- | --- |
| Manuscript Number: | Ms_JERR_156409 |
| Title of the Manuscript: | Study of the effect of the behavior of reinforced beams containing small openings |
| Type of the Article | Research Article |

PART 1 (Importance of the manuscript)

|  | ## Comments of the Reviewers | Author’s Feedback |
| --- | --- | --- |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | NA |  |

## PART 2.1 (Objective Evaluation)

|  | ## Rating of the Reviewers | Author’s Feedback |
| --- | --- | --- |
| 1. Is the title clear and appropriate for the study? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |
| ## 2. Is the abstract of the article comprehensive? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |
| ## 3. Are the keywords appropriate and useful? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |
| ## 4. Is the background information of the paper sufficient and well organized? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |
| ## 5. Are the research objectives/hypotheses clearly stated? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |
| ## 6. Is the literature review relevant and up to date? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |
| ## 7. Is the research methodology appropriate for the study? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |
| ## 8. Were ethical issues properly addressed (if applicable)? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |
| 9. Are the results presented clearly? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |
| 10. Are tables and figures clear, relevant, and necessary? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |
| 11. Does the discussion relate findings to existing literature? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |
| 12. Are the conclusions supported by the data? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |
| 13. Are the limitations of the study discussed? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |
| 14. Are the references relevant and sufficient (in number)? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |
| 15. Is the manuscript written in clear and understandable language? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | NA |  |

## PART 2.2 (Subjective Evaluation)

|  | ## Reviewer’s comment | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| --- | --- | --- |
| Is the title of the article suitable? If your answer is NO, please provide a brief, clear suggestion for improvement. | NA |  |
| ## Is the abstract of the article comprehensive? If your answer is NO, please provide a brief, clear suggestion for improvement. | NA |  |
| ## Is the manuscript scientifically correct? If your answer is NO, please provide a brief, clear suggestion for improvement. | NA |  |
| Are the references sufficient and recent? (YES or NO) If your answer is NO, please provide clear suggestion for improvement. | NA |  |
| Are there ethical issues in this manuscript? (YES or NO) (If yes, kindly please write down the ethical issues here in details) | NA |  |

## PART 3

| Editorial Comments (This section is reserved for the comments for the journal editorial office and editors): |  |
| --- | --- |
|  | Author’s Feedback |
| Finite element model The boundaries conditions are not well defined The load applied (static or dynamic load) Defined all the reinforcements (longitudinal reinforcement and stirrup) Give the load protocol of your numerical test Figure3 can be improved You have to describe the position and the dimensions of the openings Give information about the reinforcement in the opening zone of the tested beam Give the calibration curves of the concrete and the reinforcements Give also the damage curve Give the failure mechanisms of the beam Show the stress distribution in the concrete Show the stress distribution in the stirrup Plotted the curves load versus deflections Improved the references | We thank the reviewer for these valuable suggestions. In the revised manuscript, we have expanded the numerical modeling section to clarify the loading procedure, the geometry and location of the openings, and the reinforcement arrangement in the opening region. Specifically, the revised text now states that all beams were analyzed under monotonic nonlinear static loading in a four-point bending configuration with displacement-controlled loading applied incrementally through the loading points. The manuscript also now specifies that each beam contained two square openings located in the shear spans, with their centers positioned 300 mm from the adjacent support, and with opening sizes of 75 × 75 mm, 150 × 150 mm, and 225 × 225 mm, corresponding to 0.25H, 0.5H, and 0.75H, respectively. In addition, the reinforcement in the opening region is now described explicitly, including the statement that no additional perimeter or diagonal bars were provided unless otherwise noted. These revisions were incorporated in the revised manuscript. We also revised the material-modeling section to clarify the constitutive calibration adopted in the ABAQUS model. The manuscript now explains that the concrete was modeled using the Concrete Damaged Plasticity (CDP) model with tensile stress–cracking strain behavior, compressive stress–inelastic strain behavior, and the associated tensile and compressive damage variables, while the steel reinforcement was assigned a calibrated elastic–plastic constitutive law. The corresponding constitutive curves for concrete and steel are presented in Figures 8, 9, and 11, and the explanatory text was added in in the revised version. Regarding the requested load–deflection response, the manuscript already includes these curves in Figures 12–15. In the ABAQUS plot output used in the manuscript, the term “Transition” refers to the vertical response at mid-span, i.e., the beam deflection. Thus, these figures represent the load–deflection behavior of the analyzed beams. In response to the reviewer’s request concerning failure mechanisms, we added a short qualitative discussion in the Results and discussions section stating that the numerical results indicate progressive deterioration of the unstrengthened beams with increasing opening size and improved stiffness and load-carrying performance in the ferrocement-strengthened beams. This was included as a qualitative interpretation of the numerical results, without introducing unsupported claims beyond the scope of the available outputs. With respect to the requests for explicit damage curves and concrete/stirrup stress-distribution contours, we respectfully note that these outputs are beyond the scope of the present study, which focused mainly on load–deflection response and maximum shear stress. As stated in the Limitations and Future Research section, crack propagation, bond behavior, energy dissipation, and other detailed response parameters were not examined in detail in the present work. 8-10 new references have been included. |