| Journal Name: | Journal of Engineering Research and Reports |
| --- | --- |
| Manuscript Number: | Ms_JERR_156682 |
| Title of the Manuscript: | Numerical Investigation of Thermal and Hydraulic Performance for Grid-Type Earth-to-Air Heat Exchangers: A Comparative Study of U-Type and Z-Type Configurations |
| Type of the Article | Research Article |

PART 1 (Importance of the manuscript)

|  | Comments of the Reviewers | Author’s Feedback |
| --- | --- | --- |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | - This manuscript provides a clear and systematic comparison of grid-type earth-to-air heat exchanger configurations under identical conditions, addressing a gap in existing studies. - It introduces a comprehensive evaluation approach by combining thermal and hydraulic performance metrics. - The results improve understanding of airflow distribution and energy efficiency in passive cooling systems. - Additionally, it offers practical design insights for developing sustainable greenhouse ventilation solutions. | This manuscript is important to the scientific community because it provides a controlled and systematic numerical comparison between two grid-type EAHE layouts under identical geometric and operating conditions. The study combines thermal and hydraulic performance indicators within a unified assessment framework, which helps clarify the effect of flow-path arrangement on airflow distribution, pressure loss, and overall system efficiency. The findings contribute to a better understanding of passive greenhouse-conditioning systems in hot climates. In addition, the results offer useful design guidance for selecting more effective grid configurations for sustainable greenhouse ventilation applications. |

PART 2.1 (Objective Evaluation)

|  | Rating of the Reviewers | Author’s Feedback |
| --- | --- | --- |
| 1. Is the title clear and appropriate for the study? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: 4 = Good |  |
| 2. Is the abstract of the article comprehensive? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: 4 = Good |  |
| 3. Are the keywords appropriate and useful? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: 3 = Satisfactory |  |
| 4. Is the background information of the paper sufficient and well organized? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: 4 = Good |  |
| 5. Are the research objectives/hypotheses clearly stated? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: 4 = Good |  |
| 6. Is the literature review relevant and up to date? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: 4 = Good |  |
| 7. Is the research methodology appropriate for the study? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: 5 = Excellent |  |
| 8. Were ethical issues properly addressed (if applicable)? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: N/A |  |
| 9. Are the results presented clearly? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: 4 = Good |  |
| 10. Are tables and figures clear, relevant, and necessary? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: 4 = Good |  |
| 11. Does the discussion relate findings to existing literature? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: 4 = Good |  |
| 12. Are the conclusions supported by the data? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: 5 = Excellent |  |
| 13. Are the limitations of the study discussed? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: 2 = Needs Improvement | Thank you. The limitations section has been strengthened. A dedicated paragraph was added before the Conclusions to clarify the main modelling assumptions, operating-range restrictions, and the limited applicability of the findings beyond the investigated case. |
| 14. Are the references relevant and sufficient (in number)? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: 4 = Good |  |
| 15. Is the manuscript written in clear and understandable language? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | Rating: 4 = Good |  |

PART 2.2 (Subjective Evaluation)

|  | Reviewer’s comment | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| --- | --- | --- |
| Is the title of the article suitable? If your answer is NO, please provide a brief, clear suggestion for improvement. | Yes, the title is suitable. It clearly conveys the focus of the study—the thermal and hydraulic performance of grid-type earth-to-air heat exchangers—and specifies the comparison between U-type and Z-type configurations |  |
| Is the abstract of the article comprehensive? If your answer is NO, please provide a brief, clear suggestion for improvement. | Yes, the abstract is comprehensive. It clearly presents the study’s background, objectives, methodology, key results, and conclusions. Minor improvements could include shortening long sentences and emphasizing the research gap. | Thank you for the suggestion. The abstract has been revised by shortening some sentences and by stating the research gap more explicitly. It now emphasizes that the novelty of the paper lies in the controlled numerical comparison of U-type and Z-type grid EAHE layouts under identical conditions using unified thermal–hydraulic performance indicators. |
| Is the manuscript scientifically correct? If your answer is NO, please provide a brief, clear suggestion for improvement. | Yes, the manuscript is scientifically correct. The study uses an appropriate CFD methodology, employs relevant dimensionless performance parameters, and presents quantitative results that logically support the conclusions. The analysis aligns with established principles of thermal–hydraulic performance in EAHE systems. |  |
| Are the references sufficient and recent? (YES or NO) If your answer is NO, please provide clear suggestion for improvement. | Overall, the references are sufficient and mostly up to date, but a slight update with the latest studies could enhance the manuscript’s credibility. | Thank you for the suggestion. The manuscript has been revised by adding several recent peer-reviewed references (2024–2025) directly related to EAHE greenhouse applications and thermal–hydraulic performance. The reference list was also checked and formatted more consistently. |
| Are there ethical issues in this manuscript? (YES or NO) (If yes, kindly please write down the ethical issues here in details) | No, The study is purely numerical and computational, with no human or animal subjects, sensitive data, or experiments requiring ethical approval. |  |

PART 3

| Editorial Comments (This section is reserved for the comments from journal editorial office and editors): |  |
| --- | --- |
|  | Author’s Feedback |
| ## 1.The manuscript presents a well-structured and systematic comparison of U-type and Z-type grid EAHEs, providing valuable insights into thermal and hydraulic performance for energy-efficient greenhouse ventilation. ## 2. The abstract and introduction are informative, but could be slightly refined for clarity, with a more explicit statement of the research gap and the study’s novelty. ## 3. The manuscript does not clearly discuss limitations; addressing potential constraints of the CFD model, operating conditions, and applicability to different greenhouse designs would enhance transparency. ## 4. The references are mostly relevant and sufficient, but including a few more recent studies (2024–2025) and ensuring consistent formatting would strengthen the literature review. ## It is scientifically solid and relevant but requires minor improvements in language, data presentation, cautious interpretation, and methodological details | 2. Thank you for this helpful comment. The abstract and introduction have been revised for greater clarity. In particular, the end of the Introduction has been rewritten to state the research gap and the novelty of the study more explicitly. We now clarify that the contribution of this paper lies in providing a controlled CFD-based comparison between U-type and Z-type grid EAHE layouts under identical geometric and operating conditions, so that the effect of flow path alone can be isolated using four unified dimensionless performance indicators. The abstract has also been refined to better emphasize this point and to improve sentence clarity. 3. Thank you for this important comment. The manuscript has been revised to discuss the study limitations more explicitly. A dedicated subsection, “Limitations of the Present Study,” has been added immediately before the Conclusions section. This new text clarifies the main constraints of the CFD model, including the steady-state formulation, the assumption of constant thermophysical properties, the use of a prescribed soil-temperature boundary, and the restriction of the conclusions to the investigated geometry and operating range. We also clarified that the reported superiority of the U-type layout applies to the present conditions and should not be generalized directly to all greenhouse designs or operating scenarios without further study. 4. Thank you for this helpful comment. The literature review has been updated by adding several recent peer-reviewed studies published in 2024–2025 that are directly relevant to EAHE systems, greenhouse applications, and thermal–hydraulic performance assessment. These studies were incorporated into the Introduction to strengthen the background and to improve the currency of the literature review. In addition, the reference list has been revised and standardized for more consistent formatting throughout the manuscript. Thank you for this overall assessment. The manuscript has been carefully revised to improve language clarity, tighten several result-discussion paragraphs, and present the interpretation more cautiously. We also refined selected methodological descriptions, particularly in the numerical-model setup and boundary-condition sections, to improve clarity and consistency. |