| Journal Name: | Journal of Engineering Research and Reports |
| --- | --- |
| Manuscript Number: | Ms_JERR_156682 |
| Title of the Manuscript: | Numerical Investigation of Thermal and Hydraulic Performance for Grid-Type Earth-to-Air Heat Exchangers: A Comparative Study of U-Type and Z-Type Configurations |
| Type of the Article | Research Article |

PART 1 (Importance of the manuscript)

|  | Comments of the Reviewers | Author’s Feedback |
| --- | --- | --- |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | This is a novel work using EAHE for green house application suing 2 different geometries viz. U and Z configurations of 100 mm dia pipe 3.5 m below earth surface. Lot of detailed work has been undertaken using mathematical modelling and experimental work duly taking various flow and inlet temperature conditions. The results are satisfactory and detailed | This manuscript is important to the scientific community because it provides a controlled and systematic numerical comparison between two grid-type EAHE layouts under identical geometric and operating conditions. The study combines thermal and hydraulic performance indicators within a unified assessment framework, which helps clarify the effect of flow-path arrangement on airflow distribution, pressure loss, and overall system efficiency. The findings contribute to a better understanding of passive greenhouse-conditioning systems in hot climates. In addition, the results offer useful design guidance for selecting more effective grid configurations for sustainable greenhouse ventilation applications. |

PART 2.1 (Objective Evaluation)

|  | Rating of the Reviewers | Author’s Feedback |
| --- | --- | --- |
| 1. Is the title clear and appropriate for the study? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 2 Is it just numerical analysir or even experimental work ?? | Thank you for this observation. The manuscript has been revised to clarify that the present article reports only a numerical CFD-based comparison between the U-type and Z-type layouts. No experimental results are presented in this paper. |
| 2. Is the abstract of the article comprehensive? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 5yes |  |
| 3. Are the keywords appropriate and useful? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 5yes |  |
| 4. Is the background information of the paper sufficient and well organized? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 5yes |  |
| 5. Are the research objectives/hypotheses clearly stated? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 5yes |  |
| 6. Is the literature review relevant and up to date? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 2, can include more articles | Thank you for the suggestion. We have expanded the literature review by adding several recent journal articles directly related to EAHE systems, greenhouse applications, and layout-sensitive thermal–hydraulic performance. These additions were included in the Introduction to improve the coverage and currency of the cited literature. |
| 7. Is the research methodology appropriate for the study? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 4 yes |  |
| 8. Were ethical issues properly addressed (if applicable)? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 5no |  |
| 9. Are the results presented clearly? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs | yes |  |

|  | Rating of the Reviewers | Author’s Feedback |
| --- | --- | --- |
| Improvement 1 = Poor N/A = Not Applicable |  |  |
| 10. Are tables and figures clear, relevant, and necessary? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 5 yes |  |
| 11. Does the discussion relate findings to existing literature? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 4 yes |  |
| 12. Are the conclusions supported by the data? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 4 yes |  |
| 13. Are the limitations of the study discussed? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 3 yes | Thank you. The limitations section has been strengthened. A dedicated paragraph was added before the Conclusions to clarify the main modelling assumptions, operating-range restrictions, and the limited applicability of the findings beyond the investigated case. |
| 14. Are the references relevant and sufficient (in number)? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 4 yes |  |
| 15. Is the manuscript written in clear and understandable language? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 5 yes |  |

PART 2.2 (Subjective Evaluation)

|  | Reviewer’s comment | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| --- | --- | --- |
| Is the title of the article suitable? If your answer is NO, please provide a brief, clear suggestion for improvement. | I think the work includes experimental work too and thus can be revisited | Thank you for this helpful observation. We agree that some wording in the original version could unintentionally suggest that the paper includes an experimental component. The manuscript has been revised throughout to clarify that the present article reports only the numerical comparative part of the broader study. No new experimental results are presented in this paper. In particular, we revised the end of the Introduction to state the scope explicitly, and we modified the boundary-condition descriptions to avoid phrases such as “measured experimentally in the present study.” The prescribed soil temperature is now clearly referenced to our previously published experimental work and used only as a site-specific boundary condition for the CFD analysis. |
| Is the abstract of the article comprehensive? If your answer is NO, please provide a brief, clear suggestion for improvement. | yes |  |
| Is the manuscript scientifically correct? If your answer is NO, please provide a brief, clear suggestion for improvement. | yes |  |
| Are the references sufficient and recent? (YES or NO) If your answer is NO, please provide clear suggestion for improvement. | yes |  |
| Are there ethical issues in this manuscript? (YES or NO) (If yes, kindly please write down the ethical issues here in details) | no |  |