Diagnostic Accuracy of Artificial Intelligence for Breast Cancer Detection: A Systematic Review

Abstract

Background: Breast cancer remains a leading cause of cancer-related morbidity and mortality worldwide, necessitating accurate and early detection strategies. Conventional imaging and pathological assessment are limited by interobserver variability, reduced sensitivity in dense breast tissue, and increasing workload pressures. Artificial intelligence (AI) and machine learning (ML) have emerged as potential tools to enhance diagnostic performance and clinical decision-making.

Objective: To systematically evaluate the diagnostic accuracy and clinical applicability of Artificial Intelligence & Machine Learning models in breast cancer detection across imaging modalities and clinical settings.

Methods: A systematic search of PubMed, Scopus, and Web of Science was conducted for studies published between January 2014 and May 2025, following PRISMA 2020 guidelines. Original studies assessing AI/ML-based diagnostic models and reporting performance metrics were included. Two reviewers independently performed study selection, data extraction, and risk-of-bias assessment using the Prediction Model Risk of Bias Assessment Tool (PROBAST). Due to substantial methodological heterogeneity, results were synthesized descriptively.

Results: Of 1,892 identified records, 29 studies met inclusion criteria. Most evaluated imaging-based models using mammography, ultrasound, MRI, CT, thermography, or digital histopathology. Deep learning approaches, particularly convolutional neural networks, predominated. Reported AUC values ranged from 84 to 99%, with sensitivity and specificity frequently exceeding 85% in retrospective cohorts. Large screening studies demonstrated that AI-assisted mammography was non-inferior to double reading while reducing radiologist workload. However, most studies relied on retrospective datasets with limited external validation.

Conclusion: Artificial Intelligence & Machine Learning models show high diagnostic potential across breast imaging modalities and may enhance screening efficiency and diagnostic support. Nevertheless, the predominance of retrospective designs and limited prospective multicentre validation restricts assessment of real-world generalizability. Rigorous external validation, standardized reporting, and implementation-focused research are essential before widespread clinical integration.

Graphical abstract

Keywords: Artificial intelligence; Machine learning; Breast cancer; Diagnostic accuracy; Deep learning

Introduction

Breast cancer remains one of the most common malignancies among women worldwide and continues to be a leading cause of cancer-related morbidity and mortality [1]. According to global cancer statistics, the burden of breast cancer has increased steadily over the past decade, particularly in low- and middle-income countries, where access to early detection and timely treatment is often limited. Early and accurate diagnosis is a cornerstone of effective breast cancer management, as it significantly improves survival rates, enables less aggressive treatment strategies, and enhances quality of life [2]. Conventional diagnostic approaches, including mammography, ultrasound, magnetic resonance imaging (MRI), and histopathological examination, are widely used in clinical practice; however, these methods are subject to limitations such as inter-observer variability, high false-positive rates, and reduced sensitivity in dense breast tissue [3].

In recent years, Artificial Intelligence (AI) and Machine Learning (ML) have emerged as transformative technologies in the field of medical diagnostics. By leveraging advanced computational algorithms, AI/ML systems can identify complex patterns within large datasets that may not be readily apparent to human observers [4]. In breast cancer detection, AI/ML models particularly deep learning architectures have demonstrated promising capabilities in image interpretation, lesion classification, and risk stratification [5,6]. These systems have been applied across multiple diagnostic modalities, including digital mammography, ultrasound imaging, MRI scans, and histopathological slides, with several studies reporting diagnostic performance comparable to or exceeding that of experienced radiologists [7].

Despite the rapid expansion of research in this domain, the clinical applicability of AI/ML-based diagnostic tools remains a subject of ongoing debate. Variations in dataset size, population characteristics, imaging protocols, algorithm selection, and validation strategies have contributed to inconsistent findings across studies [8]. Additionally, many investigations are conducted in controlled research environments, which may not accurately reflect real-world clinical settings. Concerns related to model generalizability, potential bias, lack of transparency, and reproducibility further underscore the need for a comprehensive and critical synthesis of existing evidence [9,10].

the present systematic review aims to evaluate the diagnostic performance of Artificial Intelligence & Machine Learning models in breast cancer detection by synthesizing evidence from studies published between 2014 and 2025. The primary objective is to assess key diagnostic accuracy metrics, including sensitivity, specificity, positive predictive value, and negative predictive value. Secondary objectives include identifying commonly used AI/ML algorithms, types of input data, and factors influencing model performance. By providing a comprehensive and methodologically robust synthesis, this review seeks to inform clinicians, researchers, and policymakers about the current state of AI-driven breast cancer diagnostics and highlight directions for future research and clinical translation.

Methodology

Study design and registration

The review methodology was developed a priori and registered using the Generalized Systematic Review Registration Form on OSF [10.17605/OSF.IO/7BD4P] to ensure transparency and methodological rigor. This systematic review was conducted in accordance with the PRISMA-DTA (Preferred Reporting Items for Systematic Reviews and Meta-Analyses of Diagnostic Test Accuracy Studies) guidelines [11].

Research question

The research question was developed using the PIRD (Population, Index test, Reference standard, Target condition and design) frame work. (1) Population: women undergoing breast imaging for suspected breast cancer, (2) index Test: AI-based diagnostic models (deep learning, CNN, radiomics ML classifiers), (3) reference standard: histopathology and/or clinical follow-up, (4) target condition: breast cancer (invasive or in situ), (5) 
design: diagnostic accuracy studies.

Eligibility criteria

Studies were selected based on predefined inclusion and exclusion criteria. Eligible studies included original research articles evaluating Artificial Intelligence or Machine Learning models for the diagnosis or detection of breast cancer in human subjects. Only studies published in English between January 2014 and May 2025 were considered. Studies were required to report at least one diagnostic performance metric, such as sensitivity, specificity, accuracy, area under the receiver operating characteristic curve (AUC), positive predictive value (PPV), or negative predictive value (NPV).

Exclusion criteria comprised non-English publications, review articles, editorials, letters, opinion pieces, conference abstracts without full data, studies involving non-human subjects, and studies lacking clear diagnostic performance outcomes.

Search strategy

A comprehensive literature search was conducted across four electronic databases: PubMed, Scopus, Web of Science, and Google Scholar. Grey literature was additionally explored using ResearchGate.

The search strategy combined controlled vocabulary terms and free-text keywords related to breast cancer, artificial intelligence, machine learning, and diagnostic performance. The core search string used was: (“breast cancer” OR “breast neoplasms”) AND (“artificial intelligence” OR “machine learning” OR “deep learning”) AND (“diagnosis” OR “detection”) AND (“sensitivity” OR “specificity” OR “accuracy”).

Pilot searches were conducted in each database to ensure retrieval of key studies, and search terms were refined accordingly.

Study selection

All retrieved records were imported into Microsoft Excel for data management and deduplication. Study selection was performed in three stages: title screening, abstract screening, and full-text screening. Two independent reviewers conducted the title and abstract screening, followed by full-text assessment of potentially eligible articles. Any disagreements between reviewers were resolved through discussion, and a third reviewer was consulted when consensus could not be reached.

To reduce selection bias, author names, journal titles, and publication years were masked during the screening process. A total of 30 studies were included following PRISMA-guided identification, screening, and eligibility assessment (Figure 1).

Figure 1. PRISMA flow diagram of literature search and study selection

Data extraction

Data extraction was conducted using a standardized, pre-piloted extraction form. One reviewer performed the initial data extraction, which was subsequently verified by a second reviewer for accuracy and completeness. Extracted data included study characteristics (author, year, country, study design, sample size), type of AI/ML algorithm, input data modality (e.g., mammography, ultrasound, MRI, histopathology), validation method, and reported diagnostic performance metrics (sensitivity, specificity, PPV, NPV, accuracy, AUC, F1 score).

Any discrepancies in extracted data were resolved through consensus or third-reviewer arbitration.

Quality assessment and risk of bias

The methodological quality and risk of bias of the included studies were independently assessed by two reviewers using the Prediction model Risk Of Bias Assessment Tool (PROBAST) (Supplementary table 1). The assessment covered four domains: participants, predictors, outcome, and analysis. Key methodological aspects evaluated included dataset representativeness, validation strategy, transparency of model development, and adequacy of performance metric reporting. Discrepancies between reviewers were resolved through discussion. Based on predefined PROBAST criteria, studies were categorized as having low, moderate, or high risk of bias.

Data synthesis

A narrative qualitative synthesis of findings was performed. Due to substantial methodological heterogeneity in imaging modalities, Artificial Intelligence architectures, datasets, validation methods, and outcome reporting, formal meta-analysis and pooled diagnostic accuracy estimation were not considered appropriate.

Results

The database search identified 1,892 records across PubMed, Scopus, Web of Science, and Google Scholar. After removal of 436 duplicates, 1,456 records underwent title and abstract screening. Of these, 1,332 articles were excluded for irrelevance, non-original design, or absence of diagnostic performance metrics. The full texts of 124 studies were assessed for eligibility, and 94 were excluded due to inadequate outcome reporting, non-human data, conference-only publication, or lack of AI-based methodology. Ultimately, 29 studies met the predefined inclusion criteria and were included in the qualitative synthesis (Figure 1 & Table 1).

Study characteristics

The 30 included studies were published between 2014 and 2025 and represented diverse geographic regions including Asia, Europe, North America, and the Middle East (Table 1). Study designs included retrospective diagnostic analyses, prospective cohort studies, randomized controlled trials, and population-based screening trials. Sample sizes varied substantially, ranging from 20 participants to 105,934 screening examinations.

Most investigations employed imaging-based datasets (mammography, ultrasound, MRI, PET/CT, tomosynthesis, and thermography), whereas others used histopathology, genomic, or clinical registry data. Deep learning architectures particularly convolutional neural networks (CNNs) were the most frequently applied models, followed by Random Forest, XGBoost, Support Vector Machines (SVM), and ensemble approaches. Risk of bias assessment using PROBAST indicated overall low risk across studies, although concerns related to retrospective design and limited external validation were noted in selected analyses (Table 2).

Prevalence of Artificial Intelligence models and model performance

Artificial Intelligence applications were predominantly developed for diagnostic classification tasks, especially malignant versus benign lesion differentiation. Across modalities, reported area under the receiver operating characteristic curve (AUC) values ranged from 0.68 to 0.99. MRI-based machine learning approaches demonstrated high discriminative performance. For example, multiparametric MRI models achieved AUC values up to 0.96 in BI-RADS 4 lesions, reflecting strong sensitivity–specificity balance (Table 1). Similarly, CNN ensembles applied to MRI achieved AUC values of 0.94 for differentiating triple-negative breast cancer from fibroadenoma.

Ultrasound-based deep learning systems demonstrated robust classification performance, with multicenter CNN models achieving accuracy of 89.2% and significantly improved sensitivity compared with radiologists. Ensemble deep learning frameworks consistently outperformed single-model architectures, suggesting additive predictive benefit from model aggregation.

Thermography-based CAD systems reported exceptionally high AUC values (up to 0.9935); however, these findings were derived from relatively smaller datasets and retrospective validation frameworks. Comparative interpretation indicated that while thermography showed promising internal performance, imaging-based Artificial Intelligence (mammography, MRI) demonstrated stronger external validity in large-scale trials.

Overall, deep learning approaches, particularly CNN-based architectures, achieved the highest and most consistent AUC values across modalities. Classical ML models performed competitively in structured clinical or radiomic datasets but showed comparatively lower robustness in heterogeneous imaging environments.

Clinical characteristics

The included populations encompassed screening cohorts, symptomatic patients, and individuals undergoing neoadjuvant therapy or radiotherapy planning. Screening trials involved asymptomatic women within national programs, whereas diagnostic studies primarily enrolled patients with BI-RADS 3–5 lesions. Large prospective screening trials demonstrated Artificial Intelligence non-inferiority to double reading. In a population-based randomized trial involving over 100,000 examinations, AI-assisted mammography increased cancer detection by 29% while reducing radiologist workload (Table 1). Detection rate ratios approximated 1.04 compared with standard practice, confirming comparable sensitivity with operational efficiency gains.

Clinical heterogeneity was evident in dataset composition, lesion prevalence, and imaging acquisition protocols. Studies integrating clinical variables (age, tumor grade, receptor status) alongside imaging inputs reported improved calibration and model stability compared with imaging-only systems.

Diagnostic accuracy

Diagnostic accuracy metrics were consistently reported across studies. Sensitivity values ranged from 76% to over 95%, with specificity typically between 70% and 94%, depending on modality and dataset characteristics. Stand-alone Artificial Intelligence in mammography achieved AUC values around 0.84 and demonstrated performance comparable to large panels of radiologists.

MRI-based pharmacokinetic modeling and radiomics approaches achieved AUC values between 0.91 and 0.96, outperforming conventional morphological assessment. PET/CT radiomics models demonstrated moderate discrimination (AUC 0.76) for HER2 expression prediction, indicating potential utility in molecular characterization rather than primary detection. Comparatively, multimodal Artificial Intelligence systems integrating imaging and genomic or clinical predictors achieved superior performance relative to unimodal approaches. Genomic ML models predicting metastasis reported AUC values exceeding 0.99, although derived from smaller cohorts.

Strengths included high discriminatory performance and reproducibility across modalities. Limitations involved variability in threshold selection, limited external validation in several retrospective studies, and potential spectrum bias in enriched case–control datasets.

Prognosis and treatment prediction

Beyond detection, Artificial Intelligence models demonstrated utility in prognostic and therapeutic contexts. Random Forest–based prognostic models predicted post-neoadjuvant chemotherapy events with AUC values of 0.81–0.83. Explainable ML survival models achieved concordance indices (C-index) of 0.73, outperforming traditional Cox regression approaches. Tumor-infiltrating lymphocyte quantification using deep learning correlated with clinical outcomes in luminal breast cancer cohorts. In radiotherapy planning, saliency-guided deep learning segmentation achieved Dice similarity coefficients of 76.4%, supporting automated tumor bed delineation. Radiomics-based ML nomograms demonstrated high predictive value for intensity-modulated radiotherapy (IMRT) field optimization.

These findings indicated that Artificial Intelligence applications extended beyond diagnostic tasks into personalized treatment planning and risk stratification, although prospective validation remained limited.

Risk factors and predictors

Key predictive features varied by modality. In MRI models, kinetic enhancement parameters and diffusion metrics significantly contributed to classification performance. In ultrasound models, elastography stiffness measures improved lesion differentiation. Genomic ML analyses identified metastasis-associated biomarkers through explainable Artificial Intelligence frameworks. Multimodal integration consistently improved predictive robustness. Studies employing dimensionality reduction (PCA, VAE) and ensemble classifiers demonstrated reduced variance and enhanced generalizability compared with single-feature or single-model systems.

However, several studies did not report calibration metrics or decision-curve analysis, limiting assessment of clinical net benefit.

Comparative analysis across modalities

Comparative synthesis revealed that MRI-based Artificial Intelligence models achieved the highest median AUC values (≥0.90), followed by ultrasound and mammography systems. Mammography-based Artificial Intelligence demonstrated the strongest evidence base due to large prospective trials and randomized controlled designs. Thermography and cellular-level ML systems exhibited high internal accuracy but lacked extensive external validation. PET/CT-based Artificial Intelligence provided moderate diagnostic discrimination but showed particular strength in molecular subtype prediction. Deep learning models consistently outperformed classical ML in image-intensive tasks, whereas classical ML remained competitive in structured tabular datasets. Ensemble and multimodal approaches yielded the most stable performance across heterogeneous cohorts.

Overall trends and methodological considerations

Across 30 included studies, Artificial Intelligence & Machine Learning models demonstrated high diagnostic accuracy and expanding clinical applicability in breast cancer detection and management. Performance metrics were generally strong, with AUC values frequently exceeding 0.85 and reaching up to 0.99 in selected applications. Nevertheless, heterogeneity in study design, dataset composition, validation strategies, and outcome definitions limited direct quantitative comparability. Although most studies were assessed as low risk of bias (Table 2), retrospective designs and limited external validation remained recurrent methodological limitations.

Collectively, the evidence indicated consistent diagnostic benefit of Artificial Intelligence assisted workflows, particularly in mammography screening and MRI-based lesion characterization, while underscoring the need for standardized reporting, calibration assessment, and large-scale multi-center prospective validation to ensure reliable clinical implementation.

Clinical applicability

The clinical applicability of artificial intelligence models in breast cancer diagnosis depends not only on their reported diagnostic accuracy but also on their integration into real-world clinical workflows, generalizability across populations, and impact on patient outcomes. Across the included studies, AI systems demonstrated high sensitivity and specificity in retrospective datasets; however, translation into routine practice requires careful consideration of operational and methodological factors.

In mammography, Artificial Intelligence models have shown potential as decision-support tools to assist radiologists by prioritizing suspicious cases, reducing false negatives, and potentially decreasing workload. Several studies reported performance metrics comparable to experienced radiologists, suggesting Artificial Intelligence could function as a second reader in screening programs. This application is particularly relevant in high-volume screening settings and regions with limited specialist availability. However, many of these studies were conducted using enriched datasets with higher cancer prevalence than population-based screening programs, raising concerns about spectrum bias and overestimation of performance.

For ultrasound and MRI applications, Artificial Intelligence models demonstrated strong discriminatory performance in lesion classification tasks. These tools may assist in standardizing interpretation, particularly in ultrasound, which is inherently operator-dependent. Artificial Intelligence & Machine Learning -based classification could reduce inter-observer variability and improve diagnostic consistency across institutions. In MRI, Artificial Intelligence & Machine Learning integration with radiomic feature extraction offers the potential for more precise lesion characterization, potentially supporting personalized diagnostic pathways. Nonetheless, smaller sample sizes and limited external validation in MRI studies reduce confidence in widespread applicability.

A major limitation affecting clinical implementation is the scarcity of prospective, multi-center validation studies. Most included investigations relied on retrospective datasets with internal validation, increasing the risk of overfitting and limiting external generalizability. Additionally, few studies evaluated calibration, decision-curve analysis, or net clinical benefit, which are essential to determine whether improved statistical performance translates into meaningful clinical gains. Threshold selection was often optimized post hoc, and standardized reporting of integration into existing workflows was lacking.

From a regulatory and practical perspective, integration of Artificial Intelligence & Machine Learning systems into clinical practice requires interoperability with imaging platforms, transparent model performance reporting, and ongoing performance monitoring. Ethical considerations, including algorithmic bias and equitable performance across diverse populations, must also be addressed prior to deployment.

| Author & Year | Country | Study Type | Modality / Data | Sample Size | AI / ML Model | Key Performance | Main Conclusion |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Adapa et al., 2025 [12] | India | Prospective real-world evaluation | Infrared thermography | 15,069 | Thermalytix AI | Detection rate 18% | Feasible AI screening in low-resource settings |
| Arya et al., 2023 [13] | India | Retrospective methodological | WSI + genomics + clinical | NR | SVM, RF (PCA/VAE) | Improved robustness | Multimodal fusion improves prognosis |
| Banumathy et al., 2022 [14] | Iraq | ML CAD development | Thermography + FNA | 750 | DLNN, XGB, LR | AUC up to 99.35% | Low-cost CAD shows high accuracy |
| Bhattarai et al., 2019 [15] | UK | Retrospective prognostic | Mammography + IHC | 92 | Surr-INVIGOR ML | HR 3.62 | ML predicts tumor growth & survival |
| Cai et al., 2014 [16] | China | Retrospective diagnostic | DCE-MRI + DWI | 234 | Classical ML | AUC 91 % | Combined MRI features improve diagnosis |
| Chen et al., 2021 [17] | China | Retrospective radiomics | PET/CT | 217 | XGBoost | AUC 0.76 | PET/CT fusion predicts HER2 |
| Damiani et al., 2023 [18] | UK | Case–control | Mammography | 5,480 | Deep learning | AUC 68– 72 % | AI predicts future cancer risk |
| Dembrower et al., 2023 [19] | Sweden | Prospective trial | Mammography | 55,581 | Lunit INSIGHT MMG | DRR 1.04 | AI non-inferior to double reading |
| Friedewald et al., 2025 [20] | USA | RCT | Mammography | 855 | DL triage | NR | AI enables same-day review |
| Fukuda et al., 2023 [21] | Japan/USA | Retrospective | US elastography | 245 | GoogLeNet CNN | High ROC | DL improves mass classification |
| Hernström et al., 2024 [22] | Sweden | RCT | Mammography | 105,934 | Transpara v1.7 | Detection ↑29% | AI boosts detection & reduces workload |
| Iparraguirre-Villanueva et al., 2023 [23] | Peru | ML benchmarking | Tabular (WDBC) | 569 | RF, GB, AdaBoost | Accuracy 100% | Ensemble ML highly accurate |
| Jin et al., 2023 [24] | China | Prognostic ML | Clinical data | 315 | Random Forest | AUC 81- 83 % | Predicts post-NAC events |
| Kazemimoghadam et al., 2021 [25] | USA/China | DL segmentation | CT | 145 volumes | SDL-Seg (U-Net) | Dice 76.4% | Improved tumor bed segmentation |
| Li et al., 2021 [26] | Japan | Diagnostic DL | FDG-PET/CT | 407 | 3D CNN | Sensitivity ↑ | AI aids LN metastasis detection |
| Liu et al., 2023 [27] | China | Prospective diagnostic | DCE-MRI PK | 140 | PK modeling | AUC 96 % | High-temporal MRI improves accuracy |
| Mahmood et al., 2020 [28] | Korea | Algorithm development | Histopathology | 1,696 images | Faster R-CNN | Benchmark-level | Accurate mitosis detection |
| Makhlouf et al., 2023 [29] | UK | Prognostic cohort | Histopathology WSI | 2,231 | DL-TIL analysis | NR | AI-TILs predict outcome |
| Mao et al., 2023 [30] | China | Radiomics ML | Planning CT | 242 | Random Forest | Best AUC | Optimizes IMRT field selection |
| Moncada-Torres et al., 2021 [31] | Netherlands | Survival ML | Registry data | 36,658 | XGBoost + SHAP | C-index 0.73 | ML outperforms Cox regression |
| Morra et al., 2015 [32] | Italy | Diagnostic accuracy | DBT | 175 exams | Commercial CAD | Sensitivity 89% | Effective DBT lesion detection |
| Mungle et al., 2017 [33] | India | ML method dev. | IHC images | NR | MRF-ANN | ICC >0.90 | Accurate automated ER scoring |
| Ragab et al., 2022 [34] | Saudi/Egypt | DL ensemble | Ultrasound | NR | CNN ensemble | Superior to SOTA | Robust US cancer classification |
| Rodriguez-Ruiz et al., 2019 [35] | Multi-country | Multi-reader study | Mammography | 2,652 | DL-CAD | AUC 84 % | AI rivals radiologists |
| Tripathy et al., 2014 [36] | India | ML classification | Cellular images | NR | LS-SVM | Accuracy 95.3% | Effective cancer cell detection |
| Yagin et al., 2023 [37] | Multi-country | ML + XAI | Genomics | 98 | LightGBM | AUC 99.3% | Genomic ML predicts metastasis |
| Yin et al., 2022 [38] | China | DL diagnostic | MP-MRI | 319 | CNN ensemble | AUC 94 % | DL improves TNBC diagnosis |
| Yu et al., 2017 [39] | China | Prospective cohort | Optical spectroscopy | 20 | Not ML | AUC 91% | Blood content predicts NAC response |
| Yu et al., 2021 [40] | China | Multi-center DL | Ultrasound | 3,623 | CNN | Accuracy 89.2% | CNN outperformed radiologists |

Table 1: Summary of studies evaluating artificial intelligence and machine learning applications in breast cancer

Discussion

This systematic review demonstrates that Artificial Intelligence and Machine Learning technologies have evolved into clinically meaningful tools across the breast cancer continuum, including screening, diagnosis, prognostication, and treatment planning. Across diverse study designs and datasets, AI-based models consistently achieved high diagnostic and predictive performance, supporting their growing integration into breast cancer care pathways.

Artificial Intelligence in screening and early detection

Population-level screening studies provide the strongest evidence for real-world Artificial Intelligence utility. Large prospective and randomized trials from national screening programs showed that Artificial Intelligence -assisted mammography was non-inferior to conventional double reading while significantly reducing radiologist workload [19,23]. These findings are reinforced by multi-reader studies demonstrating that stand-alone Artificial Intelligence & Machine Learning systems performed comparably to, or better than, a substantial proportion of experienced radiologists [36]. Additionally, Artificial Intelligence -based mammographic risk prediction models were able to identify women at increased future cancer risk several years after a negative screening exam, indicating value beyond immediate detection [19,21].

In low-resource settings, thermography-based Artificial Intelligence screening demonstrated feasibility for large-scale community deployment, enabling early triage and reduced diagnostic delays where mammography access is limited [12]. Although sensitivity was lower than imaging-based screening, such approaches may offer pragmatic public health benefits in underserved populations.

Diagnostic performance across imaging modalities

Artificial Intelligence models showed consistently high diagnostic accuracy across imaging modalities. MRI-based Machine Learning and deep learning approaches achieved excellent discrimination between malignant and benign lesions, particularly in BI-RADS 4 cases, by leveraging kinetic, diffusion, and texture features [17,28,39]. Ultrasound-based deep learning models, especially those incorporating elastography or Doppler information, significantly outperformed radiologists in multicenter evaluations [18,22,35]

Histopathology and cellular-Level AI applications

Histopathology-based AI systems reduced interobserver variability and improved reproducibility in key diagnostic and prognostic tasks. Deep learning approaches for mitosis detection and estrogen receptor scoring showed strong agreement with expert pathologists [29,34]. Artificial Intelligence -based quantification of tumor-infiltrating lymphocytes provided prognostically relevant information in luminal breast cancer [29], while cellular-level ML classifiers effectively distinguished malignant from normal breast cells [37].

Prognostic, predictive, and treatment-related applications

Several studies extended AI beyond diagnosis to prognostic and predictive modeling. ML models successfully predicted tumor growth rates, recurrence, metastasis, and survival outcomes, often outperforming traditional statistical methods [15,25,38,32. Multimodal models integrating imaging, clinical, and genomic data demonstrated improved robustness and stability compared with unimodal approaches [13]. Artificial Intelligence & Machine Learning was also applied to treatment planning and response assessment, including tumour bed segmentation for radiotherapy and prediction of chemotherapy response, highlighting its potential role in personalized treatment strategies [26,31,40].

Regulatory and Ethical Considerations

Successful integration of Artificial Intelligence & Machine Learning into breast cancer diagnostics also requires robust regulatory oversight and ethical governance. Future AI systems should comply with international standards for transparency, reproducibility, safety monitoring, and data protection. Regulatory agencies such as the FDA and European Medicines Agency are increasingly emphasizing continuous post-deployment monitoring and real-world performance evaluation for Artificial Intelligence -based medical devices. Ethical Artificial Intelligence & Machine Learning implementation should ensure fairness, accountability, and equitable performance across diverse patient populations.

Challenges and Future Directions

Despite promising diagnostic performance, several challenges limit widespread clinical implementation of artificial intelligence (AI) in breast cancer detection. Most studies relied on retrospective single-center datasets with limited external validation, reducing generalizability [35]. Future research should prioritize prospective multicenter validation and standardized reporting frameworks [36]. Federated learning may improve privacy-preserving collaborative model development across institutions [37]. AI–human collaboration remains essential to support clinical decision-making rather than replace clinicians [38]. Additional challenges include data harmonization, workflow integration, cost-effectiveness, and algorithmic bias [39,40]. AI-assisted screening may particularly benefit low-resource settings with limited radiology expertise [41].

Limitations and future perspectives

Despite encouraging results, limitations remain. Many studies relied on retrospective designs, single-center datasets, and heterogeneous validation strategies, raising concerns about generalizability and overfitting. Inconsistent reporting of thresholds, calibration, and external validation limits cross-study comparability. Most included studies demonstrated low overall risk of bias according to PROBAST assessment; however, several retrospective studies showed concerns related to analysis methods and lack of external validation

Another important consideration is the limited use of external validation cohorts across included studies. Most Artificial Intelligence & Machine Learning models were trained and validated using retrospective single-center datasets, increasing the risk of overfitting and limiting generalizability across diverse populations and imaging settings. Future research should prioritize multicenter prospective validation and standardized benchmarking frameworks. Additionally, explainable Artificial Intelligence (XAI) approaches are increasingly important to improve transparency, interpretability, and clinician trust in Artificial Intelligence -assisted decision-making. Ethical concerns including dataset imbalance, algorithmic bias, patient privacy, and equitable deployment across different healthcare systems remain important barriers to widespread implementation. Future work should emphasize prospective multicenter validation, standardized reporting, and integration of explainable AI frameworks to ensure safe, equitable, and transparent clinical adoption.

Conclusion

Artificial intelligence and machine learning demonstrate substantial potential across the breast cancer care continuum, including screening, diagnostic classification, prognostic assessment, and treatment planning. Across multiple imaging modalities mammography, ultrasound, MRI, PET/CT, thermography, and digital histopathology— Artificial Intelligence models frequently achieved high diagnostic performance, often comparable to experienced clinicians. Evidence from large screening cohorts suggests that Artificial Intelligence may safely support double-reading workflows and improve efficiency in high-volume settings. Additionally, multimodal Artificial Intelligence approaches integrating imaging and clinical data show promise in predicting tumour behaviour, molecular subtypes, treatment response, and survival outcomes. However, the current evidence base is largely derived from retrospective studies with limited external validation and heterogeneous reporting standards. These limitations constrain assessment of real-world generalizability and clinical impact. Future research should prioritize prospective, multicentre validation, standardized performance evaluation, and transparent model development frameworks to enable responsible integration of Artificial Intelligence  into routine breast cancer care.

Disclaimer (Artificial intelligence)

Author(s) hereby declare that NO generative AI technologies such as Large Language Models (ChatGPT, COPILOT, etc.) and text-to-image generators have been used during the writing or editing of this manuscript.

Reference

- Uzun Ozsahin, D., Ikechukwu Emegano, D., Uzun, B., & Ozsahin, I. (2022). The systematic review of artificial intelligence applications in breast cancer diagnosis. Diagnostics, 13(1), 45.

- Alongi, P., Rovera, G., Stracuzzi, F., Popescu, C. E., Minutoli, F., Arnone, G., ... & Caobelli, F. (2023). Artificial intelligence in breast cancer: A systematic review on PET imaging clinical applications. Current Medical Imaging Reviews, 19(8), 832-843.

- SalekShahabi, M. (2026). Artificial Intelligence for Early Detection and Diagnosis of Breast Cancer: A Systematic Review of Machine Learning and Deep Learning Approaches. Eurasian Journal of Chemical, Medicinal and Petroleum Research, 5(1), 64-76.

- Liu, J., Lei, J., Ou, Y., Zhao, Y., Tuo, X., Zhang, B., & Shen, M. (2023). Mammography diagnosis of breast cancer screening through machine learning: a systematic review and meta-analysis. Clinical and Experimental Medicine, 23(6), 2341-2356.

- Gardezi, S. J. S., Elazab, A., Lei, B., & Wang, T. (2019). Breast cancer detection and diagnosis using mammographic data: Systematic review. Journal of medical Internet research, 21(7), e14464.

- Ali, A., Alghamdi, M., Marzuki, S. S., Tengku Din, T. A. D. A. A., Yamin, M. S., Alrashidi, M., ... & Ahmed, N. (2025). Exploring AI approaches for breast cancer detection and diagnosis: A review Article. Breast Cancer: Targets and Therapy, 927-947.

- Nasser, M., & Yusof, U. K. (2023). Deep learning based methods for breast cancer diagnosis: a systematic review and future direction. Diagnostics, 13(1), 161.

- Firuzpour, F., Heydari, M., Aram, C., & Alishvandi, A. (2025). The role of artificial intelligence in enhancing breast cancer screening and diagnosis: A review of current advances. BioImpacts: BI, 15, 30984.

- Kourou, K., Exarchos, K. P., Papaloukas, C., Sakaloglou, P., Exarchos, T., & Fotiadis, D. I. (2021). Applied machine learning in cancer research: A systematic review for patient diagnosis, classification and prognosis. Computational and structural biotechnology journal, 19, 5546-5555.

- Hanis, T. M., Islam, M. A., & Musa, K. I. (2022). Diagnostic accuracy of machine learning models on mammography in breast cancer classification: a meta-analysis. Diagnostics, 12(7), 1643.

- McInnes MDF, Moher D, Thombs BD, McGrath TA, Bossuyt PM; and the PRISMA-DTA Group; Clifford T, Cohen JF, Deeks JJ, Gatsonis C, Hooft L, Hunt HA, Hyde CJ, Korevaar DA, Leeflang MMG, Macaskill P, Reitsma JB, Rodin R, Rutjes AWS, Salameh JP, Stevens A, Takwoingi Y, Tonelli M, Weeks L, Whiting P, Willis BH. Preferred Reporting Items for a Systematic Review and Meta-analysis of Diagnostic Test Accuracy Studies: The PRISMA-DTA Statement. JAMA. 2018 Jan 23;319(4):388-396. doi: 10.1001/jama.2017.19163. Erratum in: JAMA. 2019 Nov 26;322(20):2026. doi: 10.1001/jama.2019.18307. PMID: 29362800.

- Adapa, K., Gupta, A., Singh, S., Kaur, H., Trikha, A., Sharma, A., & Rahul, K. (2025). A real world evaluation of an innovative artificial intelligence tool for population-level breast cancer screening. npj Digital Medicine, 8(1), 2.

- Arya, N., Saha, S., Mathur, A., & Saha, S. (2023). Improving the robustness and stability of a machine learning model for breast cancer prognosis through the use of multi-modal classifiers. Scientific Reports, 13(1), 4079.

- Banumathy, D., Khalaf, O. I., Romero, C. A. T., Indra, J., & Sharma, D. K. (2022). CAD of BCD from Thermal Mammogram Images Using Machine Learning. Intelligent Automation & Soft Computing, 34(1).

- Bhattarai, S., Klimov, S., Aleskandarany, M. A., Burrell, H., Wormall, A., Green, A. R., Rida, P., Ellis, I. O., Osan, R. M., Rakha, E. A., & Aneja, R. (2019). Machine learning-based prediction of breast cancer growth rate in vivo. British journal of cancer, 121(6), 497â€“504. https://doi.org/10.1038/s41416-019-0539-x

- Cai, H., Peng, Y., Ou, C., Chen, M., & Li, L. (2014). Diagnosis of breast masses from dynamic contrast-enhanced and diffusion-weighted MR: a machine learning approach. PloS one, 9(1), e87387. https://doi.org/10.1371/journal.pone.0087387

- Chen, Y., Wang, Z., Yin, G., Sui, C., Liu, Z., Li, X., & Chen, W. (2022). Prediction of HER2 expression in breast cancer by combining PET/CT radiomic analysis and machine learning. Annals of Nuclear Medicine, 36(2), 172-182.

- Damiani, C., Kalliatakis, G., Sreenivas, M., Al-Attar, M., Rose, J., Pudney, C., ... & Brentnall, A. R. (2023). Evaluation of an AI model to assess future breast cancer risk. Radiology, 307(5), e222679.

- Dembrower, K., Crippa, A., ColÃ³n, E., Eklund, M., Strand, F., & ScreenTrustCAD Trial Consortium (2023). Artificial intelligence for breast cancer detection in screening mammography in Sweden: a prospective, population-based, paired-reader, non-inferiority study. The Lancet. Digital health, 5(10), e703â€“e711. https://doi.org/10.1016/S2589-7500(23)00153-X

- Friedewald, S. M., Sieniek, M., Jansen, S., Mahvar, F., Kohlberger, T., Schacht, D., Bhole, S., Gupta, D., Prabhakara, S., McKinney, S. M., Caron, S., Melnick, D., Etemadi, M., Winter, S., Saensuksopa, T., Maciel, A., Speroni, L., Sevenich, M., Agharwal, A., Zhang, R., â€¦ Shetty, S. (2025). Triaging mammography with artificial intelligence: an implementation study. Breast cancer research and treatment, 211(1), 1â€“10. https://doi.org/10.1007/s10549-025-07616-7

- Fukuda, T., Tsunoda, H., Yagishita, K., Naganawa, S., Hayashi, K., & Kurihara, Y. (2023). Deep Learning for Differentiation of Breast Masses Detected by Screening Ultrasound Elastography. Ultrasound in medicine & biology, 49(4), 989â€“995. https://doi.org/10.1016/j.ultrasmedbio.2022.12.003

- HernstrÃ¶m, V., Josefsson, V., Sartor, H., Schmidt, D., Larsson, A. M., Hofvind, S., Andersson, I., Rosso, A., Hagberg, O., & LÃ¥ng, K. (2025). Screening performance and characteristics of breast cancer detected in the Mammography Screening with Artificial Intelligence trial (MASAI): a randomised, controlled, parallel-group, non-inferiority, single-blinded, screening accuracy study. The Lancet. Digital health, 7(3), e175â€“e183. https://doi.org/10.1016/S2589-7500(24)00267-X

- Iparraguirre-Villanueva, O., EpifanÃa-Huerta, A., Torres-CeclÃ©n, C., Ruiz-Alvarado, J., & Cabanillas-Carbonell, M. (2023). Breast cancer prediction using machine learning models. International Journal of Advanced Computer Science and Applications, 14(2).

- Jin, Y., Lan, A., Dai, Y., Jiang, L., & Liu, S. (2023). Development and testing of a random forest-based machine learning model for predicting events among breast cancer patients with a poor response to neoadjuvant chemotherapy. European journal of medical research, 28(1), 394. https://doi.org/10.1186/s40001-023-01361-7

- Kazemimoghadam, M., Chi, W., Rahimi, A., Kim, N., Alluri, P., Nwachukwu, C., Lu, W., & Gu, X. (2021). Saliency-guided deep learning network for automatic tumor bed volume delineation in post-operative breast irradiation. Physics in medicine and biology, 66(17), 10.1088/1361-6560/ac176d. https://doi.org/10.1088/1361-6560/ac176d

- Li, Z., Kitajima, K., Hirata, K., Togo, R., Takenaka, J., Miyoshi, Y., ... & Haseyama, M. (2021). Preliminary study of AI-assisted diagnosis using FDG-PET/CT for axillary lymph node metastasis in patients with breast cancer. EJNMMI research, 11(1), 10.

- Liu, Y., Wang, S., Qu, J., Tang, R., Wang, C., Xiao, F., Pang, P., Sun, Z., Xu, M., & Li, J. (2023). High-temporal resolution DCE-MRI improves assessment of intra- and peri-breast lesions categorized as BI-RADS 4. BMC medical imaging, 23(1), 58. https://doi.org/10.1186/s12880-023-01015-4

- Mahmood, T., Arsalan, M., Owais, M., Lee, M. B., & Park, K. R. (2020). Artificial intelligence-based mitosis detection in breast cancer histopathology images using faster R-CNN and deep CNNs. Journal of clinical medicine, 9(3), 749.

- Makhlouf, S., Wahab, N., Toss, M., Ibrahim, A., Lashen, A. G., Atallah, N. M., ... & Rakha, E. (2023). Evaluation of tumour infiltrating lymphocytes in luminal breast cancer using artificial intelligence. British Journal of Cancer, 129(11), 1747-1758.

- Mao, Y., Di, W., Zong, D., Mu, Z., & He, X. (2024). Machine learning-based radiomics nomograms to predict number of fields in postoperative IMRT for breast cancer. Journal of applied clinical medical physics, 25(3), e14194. https://doi.org/10.1002/acm2.14194

- Moncada-Torres, A., van Maaren, M. C., Hendriks, M. P., Siesling, S., & Geleijnse, G. (2021). Explainable machine learning can outperform Cox regression predictions and provide insights in breast cancer survival. Scientific reports, 11(1), 6968.

- Morra, L., Sacchetto, D., Durando, M., Agliozzo, S., Carbonaro, L. A., Delsanto, S., Pesce, B., Persano, D., Mariscotti, G., Marra, V., Fonio, P., & Bert, A. (2015). Breast Cancer: Computer-aided Detection with Digital Breast Tomosynthesis. Radiology, 277(1), 56â€“63. https://doi.org/10.1148/radiol.2015141959

- Mungle, T., Tewary, S., Das, D. K., Arun, I., Basak, B., Agarwal, S., ... & Chakraborty, C. (2017). MRFâ€ANN: a machine learning approach for automated ER scoring of breast cancer immunohistochemical images. Journal of microscopy, 267(2), 117-129.

- Ragab, M., Albukhari, A., Alyami, J., & Mansour, R. F. (2022). Ensemble deep-learning-enabled clinical decision support system for breast cancer diagnosis and classification on ultrasound images. Biology, 11(3), 439.

- Rodriguez-Ruiz, A., LÃ¥ng, K., Gubern-Merida, A., Broeders, M., Gennaro, G., Clauser, P., ... & Sechopoulos, I. (2019). Stand-alone artificial intelligence for breast cancer detection in mammography: comparison with 101 radiologists. JNCI: Journal of the National Cancer Institute, 111(9), 916-922.

- Tripathy, R. K., Mahanta, S., & Paul, S. (2014). Artificial intelligence-based classification of breast cancer using cellular images. Rsc Advances, 4(18), 9349-9355.

- Yagin, B., Yagin, F. H., Colak, C., Inceoglu, F., Kadry, S., & Kim, J. (2023). Cancer metastasis prediction and genomic biomarker identification through machine learning and eXplainable artificial intelligence in breast cancer research. Diagnostics, 13(21), 3314.

- Yin, H. L., Jiang, Y., Xu, Z., Jia, H. H., & Lin, G. W. (2023). Combined diagnosis of multiparametric MRI-based deep learning models facilitates differentiating triple-negative breast cancer from fibroadenoma magnetic resonance BI-RADS 4 lesions. Journal of cancer research and clinical oncology, 149(6), 2575â€“2584. https://doi.org/10.1007/s00432-022-04142-7

- Yu, T. F., He, W., Gan, C. G., Zhao, M. C., Zhu, Q., Zhang, W., Wang, H., Luo, Y. K., Nie, F., Yuan, L. J., Wang, Y., Guo, Y. L., Yuan, J. J., Ruan, L. T., Wang, Y. C., Zhang, R. F., Zhang, H. X., Ning, B., Song, H. M., Zheng, S., â€¦ Guang, Y. (2021). Deep learning applied to two-dimensional color Doppler flow imaging ultrasound images significantly improves diagnostic performance in the classification of breast masses: a multicenter study. Chinese medical journal, 134(4), 415â€“424. https://doi.org/10.1097/CM9.0000000000001329

- Yu, Y. H., Zhu, X., Mo, Q. G., & Cui, Y. (2018). Prediction of neoadjuvant chemotherapy response using diffuse optical spectroscopy in breast cancer. Clinical & translational oncology : official publication of the Federation of Spanish Oncology Societies and of the National Cancer Institute of Mexico, 20(4), 524â€“533. https://doi.org/10.1007/s12094-017-1745-8

Supplementary files

| Study | RoB: Participants | RoB: Predictors | RoB: Outcome | RoB: Analysis | Applicability: Participants | Applicability: Predictors | Applicability: Outcome | Overall RoB | Overall Applicability |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Adapa et al., 2025 | LR | UR | LR | LR | LR | LR | LR | UR | LR |
| Arya et al., 2023 | LR | LR | UR | HR | LR | LR | LR | HR | LR |
| Banumathy et al., 2022 | LR | UR | UR | HR | LR | LR | LR | HR | LR |
| Bhattarai et al., 2019 | LR | LR | HR | LR | LR | LR | LR | HR | LR |
| Cai et al., 2014 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Chen et al., 2021 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Damiani et al., 2023 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Dembrower et al., 2023 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Friedewald et al., 2025 | LR | LR | HR | LR | LR | LR | LR | HR | LR |
| Fukuda et al., 2023 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Hernström et al., 2024 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Iparraguirre-Villanueva et al., 2023 | LR | LR | LR | HR | LR | LR | LR | HR | LR |
| Jin et al., 2023 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Kazemimoghadam et al., 2021 | LR | LR | HR | LR | LR | LR | LR | HR | LR |
| Li et al., 2021 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Liu et al., 2023 | LR | LR | HR | LR | LR | LR | LR | HR | LR |
| Mahmood et al., 2020 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Makhlouf et al., 2023 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Mao et al., 2023 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Moncada-Torres et al., 2021 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Morra et al., 2015 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Mungle et al., 2017 | LR | LR | UR | LR | LR | LR | LR | UR | LR |
| Ragab et al., 2022 | LR | LR | UR | HR | LR | LR | LR | HR | LR |
| Rodriguez-Ruiz et al., 2019 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Tripathy et al., 2014 | LR | LR | HR | HR | LR | LR | LR | HR | LR |
| Yagin et al., 2023 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Yin et al., 2022 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Yu et al., 2017 | LR | LR | LR | LR | LR | LR | LR | LR | LR |
| Yu et al., 2021 | LR | UR | HR | UR | LR | LR | LR | HR | LR |

Abbreviations: LR = Low Risk; HR = High Risk; UR = Unclear Risk.

Table 2:  PROBAST quality assessment results